The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

MARYLOU SUDDERS

Secretary

MONICA BHAREL, MD, MPH Commissioner

Tel: 617-624-6000

www.mass.gov/dph

5 Randolph Street, Canton, MA 02021

Phone: 781-828-7700 Fax: 781-774-6700

CHARLES D. BAKER Governor KARYN E. POLITO Lieutenant Governor

April 4, 2019

Steven W. Tompkins, Sheriff

Suffolk County Sheriff’s Department

20 Bradston Street

Boston, MA 02118	(electronic copy)

Re: Facility Inspection – Suffolk County Jail, Boston

Dear Sheriff Tompkins:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; 105 CMR 520.000 Labeling; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the Suffolk County Jail on March 27 and 28, 2019 accompanied by John Fallon, Environmental Health and Safety/Fire Safety Officer. Violations noted during the inspection are listed below including 172 repeat violations:

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

Entry Level

Front Lobby

No Violations Noted

Male Bathroom

No Violations Noted

Female Bathroom

No Violations Noted

Main Control

No Violations Noted

7th Floor

Hallway

No Violations Noted

Visiting Rooms

No Violations Noted

Floor 6.5

Gym

No Violations Noted

Staff Bathroom # 6503

No Violations Noted

Storage Room # 6504

No Violations Noted

Inmate Bathroom # 6505

No Violations Noted

Inmate Bathroom # 6506

No Violations Noted

6th Floor

Staff Bathroom 6-1 & 6-2

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Staff Bathroom 6-3 & 6-4

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Control 6-1 & 6-1A

No Violations Noted

Unit 6-1A

Common Area

No Violations Noted

Kitchenette

No Violations Noted

Slop Sink Room # 61B

No Violations Noted

Mattress Storage Room

No Violations Noted

Storage Room # 61G

No Violations Noted

Shower Area

No Violations Noted

Cells

No Violations Noted

Unit 6-1

Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353*	Interior Maintenance: Wall paint damaged around phones

Visiting Rooms

No Violations Noted

Kitchenette

No Violations Noted

Attorney Room

No Violations Noted

Slop Sink Room

No Violations Noted

Second Floor Storage Room

No Violations Noted

Shower # 617

105 CMR 451.123*	Maintenance: Walls dirty

105 CMR 451.123*	Maintenance: Door paint damaged

105 CMR 451.123*		Maintenance: Soap scum on walls

Shower # 618

105 CMR 451.123*	Maintenance: Door paint damaged

105 CMR 451.123*	Maintenance: Walls dirty

105 CMR 451.123*		Maintenance: Soap scum on walls

Shower # 711

105 CMR 451.123*	Maintenance: Wall paint damaged

105 CMR 451.123*	Maintenance: Door paint damaged

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123		Maintenance: Floor dirty

Shower # 712

105 CMR 451.123*	Maintenance: Door paint damaged

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123*		Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Cells

No Violations Noted

Recreation Deck 6-1 & 6-2

No Violations Noted

Control 6-2

No Violations Noted

Unit 6-2

Common Area

105 CMR 451.353*	Interior Maintenance: Wall paint damaged around phones

105 CMR 451.353*	Interior Maintenance: Exercise equipment padding damaged

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty outside cell # 17

Kitchenette

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink

Slop Sink Room # 62B

No Violations Noted

Shower # 625

105 CMR 451.123*	Maintenance: Door frame rusted

105 CMR 451.123*	Maintenance: Door frame paint damaged

Shower # 626

105 CMR 451.123*	Maintenance: Wall vent dusty

105 CMR 451.123*	Maintenance: Door frame paint damaged

Storage # 620

No Violations Noted

Meeting Room # 627

No Violations Noted

Visiting Room

No Violations Noted

Shower # 721

105 CMR 451.123*	Maintenance: Wall vent rusted

105 CMR 451.123*	Maintenance: Door frame rusted

105 CMR 451.123*		Maintenance: Door paint damaged

105 CMR 451.123		Maintenance: Door rusted

105 CMR 451.123		Maintenance: Soap scum on walls

Shower # 722

Unable to Inspect – In Use

Shower # 723

105 CMR 451.123*		Maintenance: Door paint damaged

105 CMR 451.123*		Maintenance: Door frame rusted

105 CMR 451.123*	Maintenance: Door rusted

105 CMR 451.123	Maintenance: Wall vent rusted

105 CMR 451.123	Maintenance: Sprinkler shroud missing

Cells

No Violations Noted

Control 6-3 & 6-4

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Unit 6-3

Common Area

105 CMR 451.353*	Interior Maintenance: Wall paint damaged around phones

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty near phones

105 CMR 451.353*	Interior Maintenance: Exercise equipment padding damaged

Kitchenette

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

105 CMR 451.353*		Interior Maintenance: Paint damaged on partition

Meeting Room # 63B

No Violations Noted

Shower # 63C

Unable to Inspect – In Use

Slop Sink Room # 63D

105 CMR 451.353*	Interior Maintenance: Wall vent dusty

Shower # 63E

105 CMR 451.123*	Maintenance: Shower curtain missing

105 CMR 451.123	Maintenance: Drain flies observed

Storage Room # 63F

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Shower # 63G

Unable to Inspect – In Use

Shower # 63H

105 CMR 451.123*	Maintenance: Soap scum on walls

Shower # 63I

105 CMR 451.123*	Maintenance: Soap scum on walls

Visiting Rooms

No Violations Noted

Cells

105 CMR 451.103	Mattresses: Mattress cover missing in cell # 9

Recreation Deck 6-3 & 6-4

No Violations Noted

Unit 6-4

Common Area

105 CMR 451.353*	Interior Maintenance: Wall vent dusty

105 CMR 451.353*	Interior Maintenance: Wall paint damaged near entrance

105 CMR 451.353	Interior Maintenance: Floor tile missing outside cell # 23

Kitchenette

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink

Shower # 64B

105 CMR 451.123*	Maintenance: Soap scum on walls

Slop Sink Closet # 64C

105 CMR 451.353*	Interior Maintenance: Mold observed on walls throughout closet

Shower # 64D

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Soap scum on floor

Meeting Room # 64E

No Violations Noted

Storage Room # 64F

No Violations Noted

Shower # 64G

105 CMR 451.123*	Maintenance: Light fixture rusted

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123*	Maintenance: Soap scum on floor

Shower # 64H

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Soap scum on floor

Handicap Shower # 64I

105 CMR 451.123*	Maintenance: Shower curtain missing

Visiting Rooms

No Violations Noted

Cells

No Violations Noted

5th Floor

Hallway

No Violations Noted

Visiting Rooms

No Violations Noted

Medical Area

Waiting Room

No Violations Noted

Exam Room # 1

No Violations Noted

Bathroom # 5032

No Violations Noted

Room # 5029

No Violations Noted

Bathroom # 5030

No Violations Noted

Mental Health # 5504

No Violations Noted

Biohazard Storage # 5507

No Violations Noted

X-Ray Room

No Violations Noted

Nurses Area

No Violations Noted

Omni Cell Room # 5041

No Violations Noted

Records Storage # 5043

No Violations Noted

Diabetic’s Room # 5044

No Violations Noted

Dental Office

No Violations Noted

Office # 5034

No Violations Noted

Room # 5035

No Violations Noted

Female Staff Locker and Bathroom # 5124

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Male Staff Locker and Bathroom # 5093

No Violations Noted

Staff Break Room # 5033

No Violations Noted

Medical Housing Unit

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty in hallway

105 CMR 451.353	Interior Maintenance: Floor tiles damaged at entrance to cell # 5556 and 5558

Storage # 5553

No Violations Noted

Storage Room # 5555

105 CMR 451.360*	Protective Measures: Building not protected against infestation, rodent droppings observed

105 CMR 451.360	Protective Measures: Building not protected against infestation, dead mouse observed in snap trap

Room # M56

No Violations Noted

Storage # 5522

105 CMR 451.360*	Protective Measures: Building not protected against infestation, rodent droppings observed

105 CMR 451.353	Interior Maintenance: Water pooling on floor

Storage # 5523

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Storage # 5524

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353	Interior Maintenance: Soap scum on walls

Isolation Cell # 5513

No Violations Noted

Isolation Cell # 5514

105 CMR 451.103	Mattresses: Mattress damaged

Shower # 55C

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Slop Sink # 5511

105 CMR 451.360*	Protective Measures: Building not protected against infestation, rodent droppings observed

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Shower # 55B

105 CMR 451.123*	Maintenance: Door frame rusted

Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Kitchenette

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Cells

105 CMR 451.353*	Interior Maintenance: Wall vent blocked in cell # 5515, 5516, 5518,

and 5519

Psychiatric Housing Unit # 5552

Common Area

No Violations Noted

Cell # 5564-5570

105 CMR 451.103	Mattresses: Mattress damaged in cell # 5569

Kitchenette

No Violations Noted

Shower # 55A

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Slop Sink Room # 5572

105 CMR 451.360*	Protective Measures: Building not protected against infestation, rodent droppings observed

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.130		Plumbing: Plumbing not maintained in good repair, faucet leaking at slop sink

4th Floor

Control 4-1 & 4-2

No Violations Noted

Staff Bathroom 4-1 & 4-2

No Violations Noted

Unit 4-1

Common Area

105 CMR 451.353*	Interior Maintenance: Wall paint damaged around phones

105 CMR 451.353*	Interior Maintenance: Wall vent dusty under television

105 CMR 451.353	Interior Maintenance: Padding damaged on exercise equipment

Kitchenette

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Shower # 41I

No Violations Noted

Shower # 41J

105 CMR 451.123	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Ceiling vent dusty

Shower # 41K

105 CMR 451.123	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Ceiling vent dusty

Room # 41M

No Violations Noted

Slop Sink Room # 41N

No Violations Noted

Shower # 41H (near cell # 27)

105 CMR 451.123	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Wall vent dusty

Shower # 41G (near cell # 10)

105 CMR 451.123	Maintenance: Soap scum on walls

105 CMR 451.130	Hot Water: Shower water temperature recorded at 1150F

Storage Closet

No Violations Noted

Case Workers Office

No Violations Noted

Attorney Visit Room

No Violations Noted

Visiting Rooms

No Violations Noted

Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 16

Recreation Deck 4-1 & 4-2

No Violations Noted

Unit 4-2

Common Area

105 CMR 451.353*	Interior Maintenance: Wall paint damaged near phones

105 CMR 451.353*	Interior Maintenance: Wall paint damaged near kitchenette

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty outside cell # 17

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty outside cell # 34

Kitchenette

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.360*	Protective Measures: Building not protected against infestation, rodent droppings observed under sink

Attorney Visit Room

No Violations Noted

Meeting Room # 42B

No Violations Noted

Slop Sink Room # 42C

No Violations Noted

Shower # 42D

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Soap scum on floor

Shower # 42E (near cell # 15)

105 CMR 451.123	Maintenance: Shower curtain missing

Storage Room # 42F

No Violations Noted

Shower # 42G

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking

Shower # 42H

105 CMR 451.123*	Maintenance: Soap scum on walls

Shower # 42I (near cell # 32)

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower head leaking

105 CMR 451.123*	Maintenance: Soap scum on walls

Visiting Rooms

105 CMR 451.350	Structural Maintenance: Window cracked in room # 505

Cells

No Violations Noted

Control 4-3 & 4-4

No Violations Noted

Staff Bathroom 4-3 & 4-4

No Violations Noted

Unit 4-3

Common Area

105 CMR 451.353*	Interior Maintenance: Exercise equipment padding damaged

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty outside cell # 1 and 18

105 CMR 451.353*	Interior Maintenance: Wall paint damaged around phones

Kitchenette

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

Visiting Rooms

No Violations Noted

Closet # 43F

No Violations Noted

Shower # 43G

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Soap scum on floor

Shower # 43H

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123*	Maintenance: Wall vent dusty

Shower # 43I

105 CMR 451.123*	Maintenance: Soap scum on walls

Shower # 43E

105 CMR 451.123*	Maintenance: Soap scum on walls

Slop Sink # 43D

105 CMR 451.353	Interior Maintenance: Wall vent dusty

Shower # 43C

105 CMR 451.123	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Wall vent dusty

Cells

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 17

Unit 4-4

Common Area

105 CMR 451.353*	Interior Maintenance: Wall paint damaged near microwave and phones

105 CMR 451.353*	Interior Maintenance: Exercise equipment padding damaged

105 CMR 451.353*	Interior Maintenance: Wall vent dusty under television

Kitchenette

105 CMR 451.353*	Interior Maintenance: Wall paint damaged on partition

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of 2 microwave ovens dirty

Attorney Visit Room

No Violations Noted

Case Worker’s Office

No Violations Noted

Shower # 44J (near visiting rooms)

105 CMR 451.123*	Maintenance: Light shield broken

Closet # 44G

No Violations Noted

Shower # 44I (near cell # 28)

105 CMR 451.123	Maintenance: Soap scum on walls

Shower # 44H (near cell # 9)

105 CMR 451.123*	Maintenance: Soap scum on walls

Meeting Room # 44E

No Violations Noted

Shower # 44B

105 CMR 451.123	Maintenance: Soap scum on walls

Shower # 44D (near meeting room # 44E)

105 CMR 451.123	Maintenance: Soap scum on walls

Slop Sink Room # 44C

105 CMR 451.353	Interior Maintenance: Wet mop stored upside down

Visiting Rooms

No Violations Noted

Cells

No Violations Noted

Recreation Deck 4-3 & 4-4

No Violations Noted

3rd Floor

Hallway

No Violations Noted

Visiting Rooms

105 CMR 451.353*	Interior Maintenance: Baseboard missing in room # 301 and 305

Floor 3.5

Office Area

No Violations Noted

Female Staff Bathroom

Unable to Inspect – In Use

Slop Sink Room # 3503

No Violations Noted

Male Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

File Room Kitchen # 3516

No Violations Noted

Education

Bathroom # 3520

No Violations Noted

Bathroom # 3521

No Violations Noted

Janitor’s Closet/Education Storage

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water damaged

105 CMR 451.353		Interior Maintenance: Ceiling vent dusty

Storage Closet # 3517

No Violations Noted

Room # 3515

No Violations Noted

Room # 3513

No Violations Noted

Room 3511

No Violations Noted

Library

No Violations Noted

Room # 3528

No Violations Noted

2nd Floor

Chapel

No Violations Noted

Male Staff Bathroom # 2034

105 CMR 451.123*	Maintenance: Wall tiles missing behind toilet

Female Staff Bathroom # 2035

No Violations Noted

Offices

No Violations Noted

Control 2-1 & 2-2

105 CMR 451.353*	Interior Maintenance: Desk surface damaged

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Staff Bathroom 2-1 & 2-2

No Violations Noted

Unit 2-1

105 CMR 451.350*	Structural Maintenance: Window cracked at entrance

Common Area

105 CMR 451.353*	Interior Maintenance: Wall paint damaged near phones

105 CMR 451.353*	Interior Maintenance: Exercise equipment padding damaged

105 CMR 451.353*	Interior Maintenance: Wall vent dusty

Kitchenette

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Shower (near room # 21H)

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Wall vent rusted

Closet # 21H

No Violations Noted

Shower # 21G (near cell # 30)

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Soap scum on walls

Shower # 21B

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Soap scum on floor

Slop Sink Room # 21C

105 CMR 451.353	Interior Maintenance: Wet mop stored upside down

Shower # 21D

105 CMR 451.123*	Maintenance: Soap scum on walls

Meeting Room # 21E

No Violations Noted

Shower # 21F (near cell # 11)

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Soap scum on handicapped bath seat

Visiting Rooms

No Violations Noted

Cells

No Violations Noted

Recreation Deck 2-1 & 2-2

No Violations Noted

Unit 2-2

Common Area

105 CMR 451.353*	Interior Maintenance: Wall paint damaged near phones

105 CMR 451.353*	Interior Maintenance: Exercise equipment padding damaged

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty outside cell # 17 and 34

Kitchenette

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

105 CMR 451.353*	Interior Maintenance: Walls dirty

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink

105 CMR 451.360	Protective Measures: Building not protected against infestation, rodent droppings observed under counter tops

Meeting Room # 22B

No Violations Noted

Shower # 22C (near slop sink room # 22D)

105 CMR 451.123*	Maintenance: Soap scum on walls

Slop Sink Room # 22D

No Violations Noted

Shower # 22E (near cell # 15)

105 CMR 451.123*	Maintenance: Soap scum on walls

Closet # 22F

No Violations Noted

Shower # 22G (near closet # 22F)

105 CMR 451.123*	Maintenance: Soap scum on walls

Shower # 22H (near cell # 34)

105 CMR 451.123*	Maintenance: Soap scum on walls

Shower # 22I (near cell # 32)

105 CMR 451.123	Maintenance: Shower curtain missing

Visiting Rooms

No Violations Noted

Cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 25

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 15

105 CMR 451.103	Mattresses: Mattress damaged in cell # 16

Control 2-3 & 2-4

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Staff Bathroom 2-3 & 2-4

105 CMR 451.123*	Maintenance: Light shield damaged

Unit 2-3

Common Area

105 CMR 451.353*	Interior Maintenance: Wall paint damaged near phones

105 CMR 451.353*	Interior Maintenance: Exercise equipment padding damaged

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty outside slop sink room # 23D

Kitchenette

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, water pressure low on bubbler

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Meeting Room # 23B

No Violations Noted

Shower # 23C

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123*	Maintenance: Wall vent dusty

Slop Sink Room # 23D

105 CMR 451.353*	Interior Maintenance: Hole in ceiling

Shower # 23E (near cell # 3)

No Violations Noted

Closet # 23F

105 CMR 451.353*	Interior Maintenance: Wall vent dusty

Shower # 23G

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123*	Maintenance: Wall vent dusty

Shower # 23H (near cell # 18)

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123*	Maintenance: Wall vent dusty

Shower # 23I

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123*	Maintenance: Soap scum on floor

Visiting Rooms

105 CMR 451.353*	Interior Maintenance: Door frame rusted in room # 307

Cells

No Violations Noted

Recreation Deck 2-3 & 2-4

No Violations Noted

Unit 2-4

Common Area

105 CMR 451.353*	Interior Maintenance: Wall paint damaged near phones

105 CMR 451.353*	Interior Maintenance: Wall vent dusty

105 CMR 451.353*	Interior Maintenance: Padding damaged on exercise equipment

Kitchenette

105 CMR 451.353*		Interior Maintenance: Paint damaged on partition

105 CMR 451.353	Interior Maintenance: Water fountain dirty

Attorney Visiting Room

No Violations Noted

Shower # 24B

Unable to Inspect – In Use

Slop Sink Room # 24C

105 CMR 451.353*	Interior Maintenance: Walls dirty

Shower # 24D

105 CMR 451.123	Maintenance: Drain flies observed

Meeting Room # 24E

No Violations Noted

Shower # 24F (near cell # 9)

Unable to Inspect – In Use

Shower (near room # 28)

105 CMR 451.123*	Maintenance: Soap scum on walls

Closet # 24G

No Violations Noted

Shower # 24J (near visiting rooms)

105 CMR 451.123*	Maintenance: Light rusted

105 CMR 451.123*	Maintenance: Soap scum on walls

Visiting Rooms

No Violations Noted

Cells

No Violations Noted

Contact Visits/Roll Call

Female Bathroom

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, left sink out-of-order

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, right sink out-of-order

Male Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, left sink out-of-order

105 CMR 451.123	Maintenance: Ceiling vent dusty

Entry Level (Inside)

Staff Cafeteria # 1066

FC 6-301.14*	Numbers and Capacity; Handwashing Facilities: No handwashing signage located at 	handwashing sink

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, window broken

FC 3-501.16(B)*	Limitation of Growth of Organisms, Temperature and Time Control: Left side refrigerator temperature recorded at 500F

FC 7-101.11	Poisonous or Toxic Materials; Original Containers: Cleaning chemicals not labeled properly, original manufactures label missing

Male Staff Bathroom

105 CMR 451.123	Maintenance: Ceiling vent dusty

Female Staff Bathroom

No Violations Noted

Inside Administration

No Violations Noted

Weight Room # 1070

No Violations Noted

Cardio Room

No Violations Noted

Slop Sink Room # 1072

No Violations Noted

Water Fountain

105 CMR 451.124*	Water Supply: Insufficient water supply in quantity and pressure at water bubbler

Blue Shirt’s Locker Room # 1075

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water damaged

Female Staff Locker Room # 1076

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Captain and Lieutenant’s Locker Room # 1077

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Communications Office

No Violations Noted

Mail Room

No Violations Noted

Outside Administration Bathrooms

Female Bathroom # 1013

No Violations Noted

Male Bathroom # 1015

No Violations Noted

Slop Sink Room # 1004

105 CMR 451.353*	Interior Maintenance: Ceiling water damaged

105 CMR 451.353		Interior Maintenance: Wall paint damaged

Ground Level

Canteen # G10

No Violations Noted

Staff Bathroom # G5

No Violations Noted

Staff Bathroom # G6

No Violations Noted

Store Room # G11

No Violations Noted

Maintenance Department # G12

No Violations Noted

Locker Room # G13

No Violations Noted

Maintenance Kitchen # G15

No Violations Noted

Laundry Room # G23/G29

No Violations Noted

Office # G25

Unable to Inspect – Not Used

Loading Dock # G26

105 CMR 451.350*	Structural Maintenance: Loading door not rodent and weathertight

Garbage Room # G37

No Violations Noted

Computer Room # G39

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water damaged

Storage # G43

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water damaged

Staff Bathroom # G44

No Violations Noted

Staff Bathroom # G46

No Violations Noted

Female Booking Area

Holding Cells

No Violations Noted

Male Booking Area

Control

No Violations Noted

Property Room # G62

No Violations Noted

Inmate Bathroom # G64

No Violations Noted

Intake Area

No Violations Noted

Property Storage Room # G63

No Violations Noted

Property Storage Room # G65

No Violations Noted

Male Intake Cells # G74

No Violations Noted

Holding Cage

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Holding Cells

No Violations Noted

Back Gate Control # G80

No Violations Noted

Staff Bathroom # G81

No Violations Noted

Food Service Area

Trash Area

No Violations Noted

Office # G30

No Violations Noted

Summit Food Service Office

105 CMR 590.009(G)(3)(b)(1)	Special Requirements: Food Allergen Awareness Training, no prominently posted food allergen awareness training certificate

Oven and Steamer Hood Area

FC 5-203.14*			Plumbing System, Design: No backflow prevention device on prep sink

FC 5-205.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, faucet loose at prep sink

Handwash Sink

No Violations Noted

Grease Hood

No Violations Noted

Dry Storage # G23

No Violations Noted

Slicing Cage

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, ceiling paint damaged

Inmate Bathroom

No Violations Noted

Inmate Dining Area

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, ceiling damaged above pipe

Chemical Storage Cage

No Violations Noted

Can Opener Table

No Violations Noted

Vegetable Chest # 3

No Violations Noted

Milk Chest # 4

No Violations Noted

Food Prep Table

No Violations Noted

Handwash Sink (near food prep table)

No Violations Noted

Freezer # 5

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, light shield damaged

Ice Machine

No Violations Noted

Bread Refrigerator # 6

No Violations Noted

Tray Prep Area

No Violations Noted

Prep Table with 2-Compartment Sink

FC 5-203.14*	Plumbing System, Design: No backflow prevention device

Kettle Area

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, kettle # 3 out-of-order

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, wall paint damaged behind kettles

3-Compartment Sink

FC 5-203.14*			Plumbing System, Design: No backflow prevention device

FC 5-205.15(B)			Plumbing System, Operations and Maintenance: Plumbing system not maintained in 					good repair, faucet leaking at left side sink

FC 5-205.15(B)			Plumbing System, Operations and Maintenance: Plumbing system not maintained in 					good repair, pipes leaking below left side sink

Mechanical Warewashing Area

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, mold observed on ceiling around warewashing machine

Tray Racks

No Violations Noted

Refrigerator # 1

No Violations Noted

Refrigerator # 2

No Violations Noted

Observations and Recommendations

- The inmate population was 571 at the time of inspection.

- During the Department’s last 3 inspections of the facility the temperature has been recorded higher than allowable in the left side refrigerator in the Staff Cafeteria. At the time of inspection, there was a sign posted on the door to the refrigerator that stated that the temperature does not go below 50°F. The refrigerator was full of staff lunches and had a strong odor of rotten food. The Department is concerned with this ongoing issue and recommends that the refrigerator be repaired or removed.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Retail Food”. Then under “Regulations” click “2013 Food Code Merged with 105 CMR 590 and 2013 Food Code”

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Processing”. Then under “Regulations” click “105 CMR 500.000: Good Manufacturing Practices for Food”

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Patrick Wallace

Environmental Health Inspector, CSP, BEH

cc:	Monica Bharel, MD, MPH, Commissioner, DPH

Jana Ferguson, Director, BEH

Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services	(electronic copy)

Carol A. Mici, Commissioner, DOC   						(electronic copy)

Thomas Turco, Secretary, EOPSS						(electronic copy)

Nelson Alves, Director, Policy Development and Compliance Unit 		(electronic copy)

Eugene Sumpter, Superintendent			(electronic copy)

Yolanda Smith, Superintendent, Suffolk County House of Correction		(electronic copy)

John Fallon, EHSO/FSO	(electronic copy)

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate