

The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

250 Washington Street, Boston, MA 02108-4619

MARYLOU SUDDERS

Secretary

MONICA BHAREL, MD, MPH Commissioner

Tel: 617-624-6000

www.mass.gov/dph

Phone: 617-624-5757 Fax: 617-624-5777

TTY: 617-624-5286

|  |
| --- |
| CHARLES D. BAKERGovernorKARYN E. POLITOLieutenant Governor  |

March 24, 2016

Steven W. Tompkins, Sheriff

Suffolk County Sheriff’s Department

20 Bradston Street

Boston, MA 02118

Re: Facility Inspection – Suffolk County Jail, Boston

Dear Sheriff Tompkins:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Minimum Requirements for the Management of Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; 105 CMR 520.000 Labeling; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the Suffolk County Jail on March 8, 2016 accompanied by John Fallon, EHSO. Violations noted during the inspection are listed below including 11 repeat violations:

**HEALTH AND SAFETY VIOLATIONS**

(*\* indicates conditions documented on previous inspection reports*)

**Entry Level**

*Front Lobby*

105 CMR 451.353\* Interior Maintenance: Ceiling tiles dusty

*Male Bathroom*

 No Violations Noted

*Female Bathroom*

 No Violations Noted

**7th Floor**

*Hallway*

 No Violations Noted

*Visiting Rooms*

 No Violations Noted

**Floor 6.5**

*Gym*

 No Violations Noted

*Staff Bathroom # 6503*

 Unable to Inspect – Occupied

*Storage Room # 6504*

 No Violations Noted

*Inmate Bathroom # 6505*

 No Violations Noted

*Inmate Bathroom # 6506*

 No Violations Noted

**6th Floor**

*Staff Bathroom 6-1 & 6-2*

 No Violations Noted

*Staff Bathroom 6-3 & 6-4*

 No Violations Noted

***Unit 6-1A***

*Common Area*

 No Violations Noted

*Kitchenette*

 No Violations Noted

*Slop Sink Room # 61B*

 No Violations Noted

*Storage Room # 61G*

 No Violations Noted

*Shower Area*

 No Violations Noted

*Cells*

 No Violations Noted

***Unit 6-1***

*Common Area*

 No Violations Noted

*Visiting Rooms*

 No Violations Noted

*Kitchenette*

 No Violations Noted

*Slop Sink Room*

 No Violations Noted

*Second Floor Storage Room*

 No Violations Noted

*Shower # 617*

 No Violations Noted

*Shower # 618*

 No Violations Noted

*Shower # 711*

 No Violations Noted

*Shower # 712*

 No Violations Noted

*Cells*

 No Violations Noted

***Unit 6-2***

*Common Area*

 No Violations Noted

*Kitchenette*

 No Violations Noted

*Slop Sink Room # 62B*

 No Violations Noted

*Shower # 625*

 No Violations Noted

*Shower # 626*

105 CMR 451.123\* Maintenance: Debris in wall vent

*Storage # 620*

 No Violations Noted

*Meeting Room # 627*

 No Violations Noted

*Visiting Room*

 No Violations Noted

*Shower # 721*

 No Violations Noted

*Shower # 722*

 No Violations Noted

*Shower # 723*

 No Violations Noted

*Cells*

 No Violations Noted

***Unit 6-3***

*Common Area*

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, bubbler not draining properly

*Kitchenette*

 No Violations Noted

*Meeting Room # 63B*

 No Violations Noted

*Shower # 63C*

 No Violations Noted

*Slop Sink Room # 63D*

 No Violations Noted

*Shower # 63E*

 No Violations Noted

*Storage Room # 63F*

 No Violations Noted

*Shower # 63G*

 No Violations Noted

*Shower # 63H*

 No Violations Noted

*Shower # 63I*

 No Violations Noted

*Visiting Rooms*

 No Violations Noted

*Cells*

 No Violations Noted

*Recreational Deck*

 No Violations Noted

***Unit 6-4***

*Common Area*

 No Violations Noted

*Kitchenette*

 No Violations Noted

*Shower # 64B*

 No Violations Noted

*Slop Sink Room # 64C*

 No Violations Noted

*Shower # 64D*

 No Violations Noted

*Meeting Room # 64E*

 No Violations Noted

*Storage Room # 64F*

 No Violations Noted

*Shower # 64G*

 No Violations Noted

*Shower # 64H*

105 CMR 451.123\* Maintenance: Soap scum on walls

*Shower # 64I*

 No Violations Noted

*Visiting Rooms*

 No Violations Noted

*Cells*

 No Violations Noted

**5th Floor**

*Hallway*

 No Violations Noted

*Visiting Rooms*

 No Violations Noted

***Medical Area***

*Waiting Room*

105 CMR 451.353 Interior Maintenance: Ceiling tiles missing

*Nurses Area*

No Violations Noted

*Pharmacy # 5504*

 No Violations Noted

*Omni Cell Room # 5041*

 No Violations Noted

*Diabetic Room # 5044*

105 CMR 480.500(A)(5)\* Procedures; Records; Record-Keeping Log: Generator had no written documentation for all on-site waste storage areas including the capacity and duration of waste storage

105 CMR 480.500(A)(3) Procedures; Records; Record-Keeping Log: Generator had no written documentation for blood borne pathogen training

*Male Staff Locker and Bathroom # 5093*

 No Violations Noted

*Female Staff Locker and Bathroom # 5124*

 No Violations Noted

*Staff Break Room # 5033*

 No Violations Noted

*Dental Office*

 No Violations Noted

*Exam Room # 1 and Bathroom # 5032*

 Unable to Inspect – Occupied

*Exam Room # 2 and Bathroom # 5030*

 No Violations Noted

*X-Ray Room*

 No Violations Noted

*Medical Waste/Biohazard Storage Room # 5507*

 No Violations Noted

***Medical Housing Unit***

*Common Area*

 No Violations Noted

*Kitchenette*

 No Violations Noted

*Slop Sink Room # 5511*

 No Violations Noted

*Shower # 5512*

 No Violations Noted

*Room # 5513*

 No Violations Noted

*Room # 5515*

 No Violations Noted

*Room # 5516*

 No Violations Noted

*Room # 5518*

 No Violations Noted

*Isolation Cell # 5514*

No Violations Noted

*Storage Room # 5522*

 No Violations Noted

*Shower # 55C*

 No Violations Noted

*Storage # 5523*

 No Violations Noted

*Shower/Storage # 5524*

 No Violations Noted

*Shower # 5554*

 No Violations Noted

*Cells*

 No Violations Noted

***Psychiatric Housing Unit # 5552***

*Storage # 5553*

No Violations Noted

*Room # 5555*

 No Violations Noted

*Room # 5558*

 No Violations Noted

*Room # 5562*

 No Violations Noted

*Kitchenette*

 No Violations Noted

*Shower # 55A*

 No Violations Noted

*Slop Sink Room # 5572*

 No Violations Noted

**4th Floor**

*Staff Bathroom 4-1 & 4-2*

 No Violations Noted

*Staff Bathroom 4-3 & 4-4*

 No Violations Noted

***Unit 4-1***

*Kitchenette*

 No Violations Noted

*Slop Sink Room # 41N*

 No Violations Noted

*Room # 41M*

 No Violations Noted

*Shower # 41G (near cell # 10)*

 No Violations Noted

*Shower # 41H (near cell # 27)*

 No Violations Noted

*Shower # 41I*

 No Violations Noted

*Shower # 41J*

 No Violations Noted

*Shower # 41K*

 No Violations Noted

*Showers (near room # 41L)*

 No Violations Noted

*Cells*

 No Violations Noted

***Recreational Deck 4-1 & 4-2***

 No Violations Noted

***Unit 4-2***

*Common Area*

105 CMR 451.353\* Interior Maintenance: Bubbler dirty

*Visiting Rooms*

 No Violations Noted

*Kitchenette*

 No Violations Noted

*Meeting Room # 42B*

 No Violations Noted

*Slop Sink Room # 42C*

 No Violations Noted

*Shower # 42D*

 No Violations Noted

*Shower # 42E (near cell # 15)*

 No Violations Noted

*Room # 42F*

 No Violations Noted

*Shower # 42G*

 No Violations Noted

*Shower # 42H*

 No Violations Noted

*Shower # 42I (near cell # 32)*

 No Violations Noted

*Cells*

 No Violations Noted

***Unit 4-3***

*Common Area*

 No Violations Noted

*Visiting Rooms*

 No Violations Noted

*Kitchenette*

 No Violations Noted

*Meeting Room # 43B*

 No Violations Noted

*Shower # 43C*

105 CMR 451.123\* Maintenance: Shower curtain damaged

*Slop Sink Room # 43D*

 No Violations Noted

*Shower # 43E (near cell # 3)*

 No Violations Noted

*Storage Room # 43F*

 No Violations Noted

*Shower # 43G*

 No Violations Noted

*Shower # 43H*

 No Violations Noted

*Shower # 43I (near cell # 20)*

 No Violations Noted

*Cells*

 No Violations Noted

***Unit 4-4***

*Common Area*

 No Violations Noted

*Kitchenette*

 No Violations Noted

*Shower # 44B*

 No Violations Noted

*Slop Sink Room # 44C*

 No Violations Noted

*Shower # 44D (near meeting room # 44E)*

 No Violations Noted

*Meeting Room # 44E*

 No Violations Noted

*Closet # 44G*

 No Violations Noted

*Shower # 44H (near cell # 9)*

105 CMR 451.123\* Maintenance: Smoke detector head rusted

*Shower # 44I (near cell # 28)*

 No Violations Noted

*Shower # 44J (near visiting rooms)*

 No Violations Noted

*Cells*

 No Violations Noted

**3rd Floor**

*Hallway*

 No Violations Noted

*Visiting Rooms*

 No Violations Noted

**Floor 3.5**

*Office Area*

 No Violations Noted

*Slop Sink Room # 3503*

 No Violations Noted

*Female Staff Bathroom*

 No Violations Noted

*Male Staff Bathroom*

 No Violations Noted

*File Room Kitchen # 3516*

 No Violations Noted

*Bathroom # 3521*

 Unable to Inspect – Locked

**2nd Floor**

*Staff Bathroom 2-1 & 2-2*

 No Violations Noted

*Staff Bathroom 2-3 & 2-4*

 No Violations Noted

*Chapel*

 No Violations Noted

*Male Staff Bathroom # 2034*

 No Violations Noted

*Female Staff Bathroom # 2035*

 No Violations Noted

*Offices*

 No Violations Noted

***Unit 2-1***

*Common Area*

 No Violations Noted

*Visiting Rooms*

 No Violations Noted

*Kitchenette*

 No Violations Noted

*Shower # 21B*

 No Violations Noted

*Slop Sink Room # 21C*

 No Violations Noted

*Shower # 21D*

 No Violations Noted

*Meeting Room # 21E*

 No Violations Noted

*Shower # 21F (near cell # 11)*

 No Violations Noted

*Shower # 21G (near cell # 30)*

 No Violations Noted

*Closet # 21H*

 No Violations Noted

*Shower (near room # 21H)*

 No Violations Noted

*Shower # 21J*

105 CMR 451.130 Hot Water: Shower water temperature recorded at 115oF

*Cells*

 No Violations Noted

***Recreational Deck 2-1 & 2-2***

 No Violations Noted

***Unit 2-2***

*Common Area*

 No Violations Noted

*Visiting Rooms*

 No Violations Noted

*Kitchenette*

 No Violations Noted

*Meeting Room # 22B*

 No Violations Noted

*Shower # 22C (near slop sink room # 22D)*

 No Violations Noted

*Slop Sink Room # 22D*

 No Violations Noted

*Shower # 22E (near cell # 15)*

 No Violations Noted

*Closet # 22F*

 No Violations Noted

*Shower # 22H (near closet # 22F)*

 No Violations Noted

*Shower # 22I (near cell # 34)*

 No Violations Noted

*Shower # 22J (near cell # 32)*

 No Violations Noted

*Cells*

 No Violations Noted

***Unit 2-3***

*Common Area*

 No Violations Noted

*Visiting Rooms*

 No Violations Noted

*Kitchenette*

 No Violations Noted

*Meeting Room # 23B*

 No Violations Noted

*Shower # 23C*

 No Violations Noted

*Slop Sink Room # 23D*

 No Violations Noted

*Shower # 23E (near cell # 3)*

 No Violations Noted

*Closet # 23F*

 No Violations Noted

*Shower # 23G (near cell # 20)*

 No Violations Noted

*Shower # 23H (near cell # 18)*

 No Violations Noted

*Shower # 23J (near closet # 23F)*

 No Violations Noted

*Cells*

105 CMR 451.353 Interior Maintenance: Cold water button damaged in cell # 13

105 CMR 451.353 Interior Maintenance: Window damaged in cell # 13

***Unit 2-4***

*Common Area*

 No Violations Noted

*Kitchenette*

 No Violations Noted

*Shower # 24B*

105 CMR 451.123\* Maintenance: Shower curtain missing

*Slop Sink Room # 24C*

 No Violations Noted

*Shower (near room # 28)*

 No Violations Noted

*Shower # 24D*

 No Violations Noted

*Meeting Room # 24E*

 No Violations Noted

*Shower # 24F (near cell # 9)*

105 CMR 451.123\* Maintenance: Wall vent dusty

*Shower (near room # 312)*

 No Violations Noted

*Closet # 24G*

 No Violations Noted

*Shower # 24H (near cell # 28)*

105 CMR 451.360 Protective Measures: Flying insects observed

*Shower # 24J (near visiting rooms)*

 No Violations Noted

*Cells*

 No Violations Noted

**Contact Visits**

*Female Bathroom*

 No Violations Noted

*Male Bathroom*

 No Violations Noted

**Entry Level (Inside)**

*Staff Cafeteria # 1066*

 No Violations Noted

*Inside Administration*

 No Violations Noted

*Weight Room # 1070*

 No Violations Noted

*Cardio Room*

 No Violations Noted

*Slop Sink Room # 1072*

 No Violations Noted

*Water Fountain*

 No Violations Noted

*Blue Shirt’s Locker Room # 1075*

105 CMR 451.353 Interior Maintenance: Ceiling tile missing

*Female Staff Locker Room # 1076*

 Unable to Inspect - Occupied

*Captain and Lieutenants’ Locker Room # 1077*

 No Violations Noted

***Outside Administration Bathrooms***

*Female Bathroom # 1013*

 No Violations Noted

*Male Bathroom # 1015*

 No Violations Noted

*Slop Sink Room # 1004*

 No Violations Noted

**Ground Level**

*Canteen # G10*

 No Violations Noted

***Hallway Bathrooms***

*Staff Bathroom # G5*

No Violations Noted

*Staff Bathroom # G6*

No Violations Noted

*Storage Room # G11*

No Violations Noted

*Maintenance # G12*

 No Violations Noted

*Locker Room # G13*

 No Violations Noted

*Kitchen Maintenance # G15*

No Violations Noted

*Laundry Room # G23*

No Violations Noted

*Office # G25*

No Violations Noted

*Towel/Linen Storage*

No Violations Noted

*Loading Dock # G26*

 No Violations Noted

*Garbage Room # G37*

 No Violations Noted

*Computer Room # G39*

No Violations Noted

*Storage # G43*

 No Violations Noted

*Staff Bathroom # G44*

No Violations Noted

*Staff Bathroom # G46*

 No Violations Noted

***Female Booking Area***

*Holding Cells*

No Violations Noted

***Male Booking Area***

*Control*

No Violations Noted

*Property Room # G62*

No Violations Noted

*Staff Bathroom # G64*

No Violations Noted

*Intake Area*

No Violations Noted

*Male Intake Cells # G74*

 No Violations Noted

*Holding Cage*

 No Violations Noted

*Holding Cells*

 No Violations Noted

***Back Gate Control # G80***

 No Violations Noted

*Staff Bathroom # G81*

 No Violations Noted

***Food Service Area***

*Trash Room # G37*

 No Violations Noted

*Office # G38*

 No Violations Noted

*Trash Area*

 No Violations Noted

*Oven and Steamer Hood Area*

 No Violations Noted

*Handwash Sink*

 No Violations Noted

*Grease Hood*

 No Violations Noted

*Dry Storage # G23*

 No Violations Noted

*Storage Cage*

 No Violations Noted

*Inmate Bathroom*

 No Violations Noted

*Inmate Dining Area*

 No Violations Noted

*Chemical Storage Cage*

FC 6-501.111(B)\* Maintenance and Operations; Pest Control: Flies observed around chemical storage cage

*Can Opener Table*

 No Violations Noted

*Refrigerator # 1*

 No Violations Noted

*Refrigerator # 2*

 No Violations Noted

*Ice Machines*

 No Violations Noted

*Vegetable Chest # 3*

 No Violations Noted

*Milk Chest # 4*

 No Violations Noted

*Freezer # 5*

 No Violations Noted

*Bread Refrigerator # 6*

 No Violations Noted

*Prep Table with 2-Bay Sink*

 No Violations Noted

*Tray Prep Area*

 No Violations Noted

*Kettle Area*

 No Violations Noted

*Food Prep Table (in front of milk chest # 4)*

 No Violations Noted

*Handwash Sink (near food prep table)*

 No Violations Noted

*3-Bay Sink*

 No Violations Noted

*Mechanical Warewashing Area*

FC 4-501.112(A)(2)\* Maintenance and Operation, Equipment: Inadequate water temperature in the mechanical warewashing machine

*Tray Racks*

 No Violations Noted

**Observations and Recommendations**

1. The inmate population was 655 at the time of inspection.
2. At the time of inspection, the Department recommended using disposable plates and utensils for serving food due to the mechanical warewashing machine not meeting minimum temperature for disinfection.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at [www.mass.gov/dph/dcs](http://www.mass.gov/dph/dcs) and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at [www.mass.gov/dph/fpp](http://www.mass.gov/dph/fpp) and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “[1999 Food Code](http://www.cfsan.fda.gov/~dms/fc99-toc.html)”.

To review the Labeling regulations please visit the Food Protection website at [www.mass.gov/dph/fpp](http://www.mass.gov/dph/fpp) and click on “Food Protection Regulations”. Then under “General Food Regulations” click “105 CMR 520.000: Labeling.”

This inspection report is signed and certified under the pains and penalties of perjury.

 Sincerely,

 Jonathan Brown

 Environmental Health Inspector, CSP, BEH

cc: Jan Sullivan, Acting Director, BEH

 Steven Hughes, Director, CSP, BEH

Jay Youmans, Director of Government Affairs

Marylou Sudders, Secretary, Executive Office of Health and Human Services

Carol Higgins O’Brien, Commissioner, DOC

 Eugene Sumpter, Superintendent

 John Fallon, EHSO/FS

Diane Chalifoux-Judge, R.S., Principal Health Inspector, Boston Inspectional Services

 Clerk, Massachusetts House of Representatives

 Clerk, Massachusetts Senate

 Daniel Bennett, Secretary, EOPS

Jennifer Gaffney, Director, Policy Development and Compliance Unit