The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

MARYLOU SUDDERS

Secretary

MONICA BHAREL, MD, MPH Commissioner

Tel: 617-624-6000

www.mass.gov/dph

5 Randolph Street, Canton, MA 02021

Phone: 781-828-7700 Fax: 781-774-6700

CHARLES D. BAKER Governor KARYN E. POLITO Lieutenant Governor

November 7, 2019

Steven W. Tompkins, Sheriff

Suffolk County Sheriff’s Department

20 Bradston Street

Boston, MA 02118	(electronic copy)

Re: Facility Inspection – Suffolk County Jail, Boston

Dear Sheriff Tompkins:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of the

Suffolk County Jail on October 24 and 25, 2019 accompanied by John Fallon, Environmental Health and Safety/Fire Safety Officer and Sergeant Nicole Muldowney. Violations noted during the inspection are listed below including 146 repeat violations:

Should you have any questions, please don’t hesitate to contact me.

Sincerely,

Patrick Wallace

Environmental Health Inspector, CSP, BEH

cc:	Monica Bharel, MD, MPH, Commissioner, DPH

Jana Ferguson, Director, BEH

Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services	(electronic copy)

Carol A. Mici, Commissioner, DOC   						(electronic copy)

Thomas Turco, Secretary, EOPSS						(electronic copy)

Nelson Alves, Director, Policy Development and Compliance Unit 		(electronic copy)

Michael Colwell, Superintendent			(electronic copy)

Thomas Cloherty, Assistant Superintendent			(electronic copy)

Matthew DeCastro, Assistant Deputy Superintendent			(electronic copy)

Yolanda Smith, Superintendent, Suffolk County House of Correction		(electronic copy)

John Fallon, EHSO/FSO	(electronic copy)

Clerk, Massachusetts House of Representatives					(electronic copy)

Clerk, Massachusetts Senate							(electronic copy)

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

Entry Level

Front Lobby

No Violations Noted

Male Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, right side handwash sink not

draining properly

Female Bathroom

No Violations Noted

Main Control

No Violations Noted

7th Floor

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in hallway

Hallway

No Violations Noted

Visiting Rooms

No Violations Noted

Floor 6.5

Gym

105 CMR 451.353	Interior Maintenance: Wall vents dusty

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, water fountain leaking

Staff Bathroom # 6503

No Violations Noted

Storage Room # 6504

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Inmate Bathroom # 6505

No Violations Noted

Inmate Bathroom # 6506

No Violations Noted

6th Floor

Staff Bathroom 6-1 & 6-2

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Staff Bathroom 6-3 & 6-4

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Control 6-1 & 6-1A

No Violations Noted

Unit 6-1A

Common Area

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged

Kitchenette

No Violations Noted

Slop Sink Room # 61B

No Violations Noted

Mattress Storage Room

No Violations Noted

Storage Room # 61G

No Violations Noted

Shower Area

105 CMR 451.123	Maintenance: Ceiling vent dusty

Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 1

Unit 6-1

Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Visiting Rooms

No Violations Noted

Kitchenette

No Violations Noted

Attorney Room

No Violations Noted

Slop Sink Room

No Violations Noted

Second Floor Storage Room

No Violations Noted

Shower # 617

105 CMR 451.123*	Maintenance: Door paint damaged

105 CMR 451.123*		Maintenance: Soap scum on walls

Shower # 618

105 CMR 451.123*	Maintenance: Door paint damaged

105 CMR 451.123*	Maintenance: Walls dirty

105 CMR 451.123*		Maintenance: Soap scum on walls

Shower # 711

105 CMR 451.123*	Maintenance: Wall paint damaged

105 CMR 451.123*	Maintenance: Door paint damaged

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123		Maintenance: Ceiling paint damaged

Shower # 712

105 CMR 451.123*	Maintenance: Door paint damaged

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 9, 10, 23, 27, 29, 34, 35, and 36

Recreation Deck 6-1 & 6-2

105 CMR 451.353	Interior Maintenance: Excessive standing water observed on floor

Control 6-2

105 CMR 451.353	Interior Maintenance: Light fixture missing

Unit 6-2

Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty outside cell # 17

Kitchenette

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Slop Sink Room # 62B

No Violations Noted

Shower # 625

105 CMR 451.123*	Maintenance: Door frame paint damaged

Shower # 626

105 CMR 451.123*	Maintenance: Wall vent dusty

Storage # 620

No Violations Noted

Meeting Room # 627

No Violations Noted

Visiting Room

No Violations Noted

Shower # 721

105 CMR 451.123*	Maintenance: Wall vent rusted

105 CMR 451.123*	Maintenance: Door frame rusted

105 CMR 451.123*		Maintenance: Door rusted

Shower # 722

105 CMR 451.123	Maintenance: Door frame rusted

105 CMR 451.123		Maintenance: Door dirty

Shower # 723

105 CMR 451.123*		Maintenance: Door paint damaged

105 CMR 451.123*		Maintenance: Door frame rusted

105 CMR 451.123*	Maintenance: Wall vent rusted

105 CMR 451.123*	Maintenance: Sprinkler shroud missing

Cells

No Violations Noted

Control 6-3 & 6-4

Unit 6-3

Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty near phones

Kitchenette

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Meeting Room # 63B

No Violations Noted

Shower # 63C

No Violations Noted

Slop Sink Room # 63D

105 CMR 451.353*	Interior Maintenance: Wall vent dusty

Shower # 63E

105 CMR 451.123*	Maintenance: Shower curtain missing

105 CMR 451.123*	Maintenance: Dead drain flies observed on ceiling

Storage Room # 63F

No Violations Noted

Shower # 63G

105 CMR 451.123	Maintenance: Soap scum on walls

Shower # 63H

105 CMR 451.123*	Maintenance: Soap scum on walls

Shower # 63I

105 CMR 451.123*	Maintenance: Soap scum on walls

Visiting Rooms

No Violations Noted

Cells

No Violations Noted

Recreation Deck 6-3 & 6-4

No Violations Noted

Unit 6-4

Common Area

105 CMR 451.353*	Interior Maintenance: Wall vent dusty

105 CMR 451.353*	Interior Maintenance: Wall paint damaged near entrance

Kitchenette

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking at handwash sink

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of 2 microwave ovens dirty

Shower # 64B

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Soap scum on floor

105 CMR 451.123	Maintenance: Sprinkler head rusted

Slop Sink Closet # 64C

105 CMR 451.353*	Interior Maintenance: Mold observed on walls throughout closet

Shower # 64D

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123	Maintenance: Sprinkler head rusted

105 CMR 451.123	Maintenance: Dead drain flies observed on ceiling

Meeting Room # 64E

No Violations Noted

Storage Room # 64F

No Violations Noted

Shower # 64G

105 CMR 451.123*	Maintenance: Light fixture rusted

105 CMR 451.123*	Maintenance: Soap scum on walls

Shower # 64H

No Violations Noted

Shower # 64I

No Violations Noted

Visiting Rooms

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 2

5th Floor

Hallway

No Violations Noted

Visiting Rooms

No Violations Noted

Medical Area

Waiting Room

No Violations Noted

Exam Room # 1

No Violations Noted

Bathroom # 5032

No Violations Noted

Room # 5029

No Violations Noted

Bathroom # 5030

No Violations Noted

Mental Health # 5504

No Violations Noted

Biohazard Storage # 5507

No Violations Noted

X-Ray Room

No Violations Noted

Nurses Area

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1060F at handwash sink

Omni Cell Room # 5041

No Violations Noted

Records Storage # 5043

No Violations Noted

Diabetic’s Room # 5044

No Violations Noted

Dental Office

No Violations Noted

Office # 5034

No Violations Noted

Room # 5035

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Female Staff Locker and Bathroom # 5124

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Male Staff Locker and Bathroom # 5093

No Violations Noted

Staff Break Room # 5033

No Violations Noted

Medical Housing Unit

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty in hallway

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged at entrance to cell # 5556 and 5558

Storage # 5553

No Violations Noted

Shower # 55B

105 CMR 451.123*	Maintenance: Door frame rusted

Storage Room # 5555

105 CMR 451.360*	Protective Measures: Building not protected against infestation, rodent droppings observed

Room # M56

Unable to Inspect – Locked

Storage # 5522

105 CMR 451.360*	Protective Measures: Building not protected against infestation, rodent droppings observed

Storage # 5523

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Storage # 5524

Unable to Inspect – Locked

Isolation Cell # 5513

No Violations Noted

Isolation Cell # 5514

105 CMR 451.103*	Mattresses: Mattress damaged

Shower # 55C

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Light switch damaged

Slop Sink # 5511

105 CMR 451.360*	Protective Measures: Building not protected against infestation, rodent droppings observed

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Common Area

No Violations Noted

Kitchenette

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Cells

105 CMR 451.353*	Interior Maintenance: Wall vent blocked in cell # 5515 and 5518

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 5517

Psychiatric Housing Unit # 5552

Common Area

No Violations Noted

Cell # 5564-5570

No Violations Noted

Kitchenette

No Violations Noted

Shower # 55A

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.130	Hot Water: Shower water temperature recorded at 1140F

Slop Sink Room # 5572

105 CMR 451.360*	Protective Measures: Building not protected against infestation, rodent droppings observed

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

4th Floor

Control 4-1 & 4-2

No Violations Noted

Staff Bathroom 4-1 & 4-2

105 CMR 451.123	Maintenance: Ceiling vent dusty

Unit 4-1

Common Area

105 CMR 451.353*	Interior Maintenance: Wall vent dusty under television

Kitchenette

No Violations Noted

Shower # 41I

No Violations Noted

Shower # 41J

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Shower # 41K

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Room # 41M

No Violations Noted

Slop Sink Room # 41N

No Violations Noted

Shower # 41H (near cell # 27)

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123*	Maintenance: Wall vent dusty

Shower # 41G (near cell # 10)

105 CMR 451.123*	Maintenance: Soap scum on walls

Storage Closet

No Violations Noted

Case Workers Office

No Violations Noted

Attorney Visit Room

No Violations Noted

Visiting Rooms

No Violations Noted

Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 23 and 35

105 CMR 451.353	Interior Maintenance: Door paint damaged in cell # 18 and 22

Recreation Deck 4-1 & 4-2

105 CMR 451.353	Interior Maintenance: Excessive water pooling on floor

Unit 4-2

Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty outside cell # 17 and 34

Kitchenette

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.360*	Protective Measures: Building not protected against infestation, rodent droppings observed under sink

105 CMR 451.353	Interior Maintenance: Floor dirty

105 CMR 451.353	Interior Maintenance: Excessive trash build-up under sink

Attorney Visit Room

No Violations Noted

Meeting Room # 42B

No Violations Noted

Slop Sink Room # 42C

No Violations Noted

Shower # 42D

105 CMR 451.123*	Maintenance: Soap scum on floor

Shower # 42E (near cell # 15)

105 CMR 451.123	Maintenance: Drain flies observed

105 CMR 451.123	Maintenance: Soap scum on walls

Storage Room # 42F

105 CMR 451.353		Interior Maintenance: Wall vent dusty

Shower # 42G

No Violations Noted

Shower # 42H

No Violations Noted

Shower # 42I (near cell # 32)

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower head leaking

105 CMR 451.123*	Maintenance: Soap scum on walls

Visiting Rooms

105 CMR 451.350*	Structural Maintenance: Window cracked in room # 505

Cells

No Violations Noted

Control 4-3 & 4-4

No Violations Noted

Staff Bathroom 4-3 & 4-4

105 CMR 451.123	Maintenance: Ceiling vent dusty

105 CMR 451.126	Hot Water: Hot water temperature recorded at 700F at handwash sink

Unit 4-3

Common Area

105 CMR 451.353*	Interior Maintenance: Exercise equipment padding damaged

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty outside cell # 1 and 18

Kitchenette

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.353	Interior Maintenance: Floor dirty

105 CMR 451.360	Protective Measures: Building not protected against infestation, rodent droppings observed

Visiting Rooms

No Violations Noted

Closet # 43F

No Violations Noted

Shower # 43G

105 CMR 451.123*	Maintenance: Soap scum on walls

Shower # 43H

105 CMR 451.123*	Maintenance: Wall vent dusty

Shower # 43I

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Wall vent dusty

Shower # 43E

105 CMR 451.123*	Maintenance: Soap scum on walls

Slop Sink # 43D

105 CMR 451.353*	Interior Maintenance: Wall vent dusty

Shower # 43C

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123*	Maintenance: Wall vent dusty

105 CMR 451.123	Maintenance: Dead drain flies observed on ceiling

105 CMR 451.130	Hot Water: Shower water temperature recorded at 840F

Cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 17

105 CMR 451.103	Mattresses: Mattress damaged in cell # 2 and 13

Unit 4-4

Common Area

105 CMR 451.353*	Interior Maintenance: Wall vent dusty under television

Kitchenette

105 CMR 451.353*	Interior Maintenance: Wall paint damaged on partition

105 CMR 451.200*	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of 2 microwave ovens dirty

Attorney Visit Room

No Violations Noted

Case Worker’s Office

No Violations Noted

Shower # 44J (near visiting rooms)

105 CMR 451.123*	Maintenance: Light shield broken

Closet # 44G

No Violations Noted

Shower # 44I (near cell # 28)

105 CMR 451.123*	Maintenance: Soap scum on walls

Shower # 44H (near cell # 9)

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Mold growth observed on ceiling

105 CMR 451.130	Hot Water: Shower water temperature recorded at 850F

Meeting Room # 44E

No Violations Noted

Shower # 44B

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Mold growth observed on ceiling

Shower # 44D (near meeting room # 44E)

105 CMR 451.123	Maintenance: Dead drain flies observed on ceiling

Slop Sink Room # 44C

No Violations Noted

Visiting Rooms

No Violations Noted

Cells

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, insufficient hot/cold water pressure at handwash sink in cell # 22 and 28

105 CMR 451.103	Mattresses: Mattress damaged in cell # 25

Recreation Deck 4-3 & 4-4

105 CMR 451.353	Interior Maintenance: Excessive water pooling on floor

3rd Floor

Hallway

No Violations Noted

Visiting Rooms

105 CMR 451.353*	Interior Maintenance: Baseboard missing in room # 301 and 305

Floor 3.5

Office Area

No Violations Noted

Female Staff Bathroom

No Violations Noted

Slop Sink Room # 3503

No Violations Noted

Male Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

File Room Kitchen # 3516

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of coffee maker dirty

Education

Bathroom # 3520

No Violations Noted

Bathroom # 3521

No Violations Noted

Janitor’s Closet/Education Storage

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water damaged

105 CMR 451.353		Interior Maintenance: Ceiling vent dusty

Storage Closet # 3517

No Violations Noted

Room # 3515

No Violations Noted

Room # 3513

No Violations Noted

Room 3511

No Violations Noted

Library

No Violations Noted

Room # 3528

No Violations Noted

2nd Floor

Chapel

No Violations Noted

Male Staff Bathroom # 2034

Unable to Inspect – In Use

Female Staff Bathroom # 2035

No Violations Noted

Offices

No Violations Noted

Control 2-1 & 2-2

105 CMR 451.353*	Interior Maintenance: Desk surface damaged

Staff Bathroom 2-1 & 2-2

No Violations Noted

Unit 2-1

105 CMR 451.350*	Structural Maintenance: Window cracked at entrance

Common Area

105 CMR 451.353*	Interior Maintenance: Wall paint damaged near phones

105 CMR 451.353*	Interior Maintenance: Wall vent dusty

Kitchenette

105 CMR 451.360	Protective Measures: Building not protected against infestation, rodent

droppings observed

105 CMR 451.353	Interior Maintenance: Drain flies observed

Shower (near room # 21H)

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123*	Maintenance: Wall vent rusted

105 CMR 451.123	Maintenance: Drain flies observed

105 CMR 451.123	Maintenance: Light fixture rusted

Closet # 21H

No Violations Noted

Shower # 21G (near cell # 30)

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123	Maintenance: Drain flies observed

Shower # 21B

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123*	Maintenance: Soap scum on floor

105 CMR 451.123	Maintenance: Wall vent rusted

Slop Sink Room # 21C

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353	Interior Maintenance: Ceiling vent damaged

Shower # 21D

105 CMR 451.123*	Maintenance: Soap scum on walls

Meeting Room # 21E

No Violations Noted

Shower # 21F (near cell # 11)

105 CMR 451.123*	Maintenance: Soap scum on walls

Visiting Rooms

No Violations Noted

Cells

105 CMR 451.103		Mattresses: Mattress damaged in cell # 33

Recreation Deck 2-1 & 2-2

105 CMR 451.353	Interior Maintenance: Excessive water pooling on floor

Unit 2-2

Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty outside cell # 17 and 34

105 CMR 451.353	Interior Maintenance: Floor tile missing outside cell # 21

Kitchenette

105 CMR 451.353*	Interior Maintenance: Walls dirty

Meeting Room # 22B

No Violations Noted

Shower # 22C (near slop sink room # 22D)

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Mold growth observed on ceiling

105 CMR 451.123	Maintenance: Sprinkler head rusted

105 CMR 451.130	Hot Water: Shower water temperature recorded at 850F

Slop Sink Room # 22D

105 CMR 451.353	Interior Maintenance: Walls dirty

Shower # 22E (near cell # 15)

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Sprinkler head rusted

Closet # 22F

No Violations Noted

Shower # 22G (near closet # 22F)

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Wall vent dusty

Shower # 22H (near cell # 34)

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Wall vent dusty

Shower # 22I (near cell # 32)

105 CMR 451.123*	Maintenance: Shower curtain missing

105 CMR 451.123	Maintenance: Drain flies observed

Visiting Rooms

105 CMR 451.353	Interior Maintenance: Baseboard missing in room # 305

Cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 15 and 25

Control 2-3 & 2-4

No Violations Noted

Staff Bathroom 2-3 & 2-4

105 CMR 451.123*	Maintenance: Light shield damaged

Unit 2-3

Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty outside slop sink room # 23D

Kitchenette

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, pipes leaking under handwash sink

Meeting Room # 23B

No Violations Noted

Shower # 23C

Unable to Inspect – In Use

Slop Sink Room # 23D

105 CMR 451.353*	Interior Maintenance: Hole in ceiling

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Shower # 23E (near cell # 3)

105 CMR 451.130	Hot Water: Shower water temperature recorded at 1180F

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, water control push button

damaged and leaking

105 CMR 451.123	Maintenance: Drain flies observed

Closet # 23F

105 CMR 451.353*	Interior Maintenance: Wall vent dusty

Shower # 23G

Unable to Inspect – In Use

Shower # 23H (near cell # 18)

No Violations Noted

Shower # 23I

Unable to Inspect – In Use

Visiting Rooms

105 CMR 451.353*	Interior Maintenance: Door frame rusted in room # 307

Cells

No Violations Noted

Recreation Deck 2-3 & 2-4

105 CMR 451.353	Interior Maintenance: Excessive water pooling on floor

Unit 2-4

Common Area

105 CMR 451.353*	Interior Maintenance: Wall paint damaged near phones

105 CMR 451.353*	Interior Maintenance: Padding damaged on exercise equipment

105 CMR 451.353	Interior Maintenance: Floor tile missing outside cell # 9

Kitchenette

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Attorney Visiting Room

No Violations Noted

Shower # 24B

No Violations Noted

Slop Sink Room # 24C

105 CMR 451.353*	Interior Maintenance: Walls dirty

105 CMR 451.353	Interior Maintenance: Wet mop stored upside down

Shower # 24D

105 CMR 451.123*	Maintenance: Drain flies observed

Meeting Room # 24E

No Violations Noted

Shower # 24F (near cell # 9)

105 CMR 451.130	Hot Water: Shower water temperature recorded at 1140F

105 CMR 451.123	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Dead drain flies observed on ceiling

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head loose

Shower (near room # 28)

105 CMR 451.123*	Maintenance: Soap scum on walls

Closet # 24G

No Violations Noted

Shower # 24J (near visiting rooms)

105 CMR 451.123*	Maintenance: Light rusted

105 CMR 451.123*	Maintenance: Soap scum on walls

Visiting Rooms

No Violations Noted

Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 24

Contact Visits/Roll Call

Female Bathroom

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, left sink out-of-order

Male Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Entry Level (Inside)

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty outside male staff bathroom

Staff Cafeteria # 1066

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, window broken

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor surface damaged near skillet

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, wall surface damaged under handwash sink

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, interior of microwave oven dirty

FC 6-501.111	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Premises not maintained free of insects, dead cockroaches observed on sticky traps under vending machines

FC 4-303.11(A) 	Numbers and Capacities; Utensils, Temperature Measuring devices and Testing Devices:  Cleaning agents, cleaning agents not available for use during all hours of operation

Male Staff Bathroom

105 CMR 451.123	Maintenance: Ceiling vent dusty

Female Staff Bathroom

No Violations Noted

Inside Administration

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with

105 CMR 590.000, single service utensils not covered and left open to contamination

Weight Room # 1070

No Violations Noted

Cardio Room

No Violations Noted

Slop Sink Room # 1072

No Violations Noted

Water Fountain

No Violations Noted

Blue Shirt’s Locker Room # 1075

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water damaged

Female Staff Locker Room # 1076

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at right side

handwash sink

105 CMR 451.353	Interior Maintenance: Ceiling tiles water stained

Captain and Lieutenant’s Locker Room # 1077

No Violations Noted

Communications Office

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Mail Room

No Violations Noted

Outside Administration Bathrooms

Female Bathroom # 1013

No Violations Noted

Male Bathroom # 1015

No Violations Noted

Slop Sink Room # 1004

105 CMR 451.353*	Interior Maintenance: Ceiling water damaged

105 CMR 451.353*		Interior Maintenance: Wall paint damaged

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Ground Level

105 CMR 451.353	Interior Maintenance: Floor drain cover damaged in hallway

Canteen # G10

No Violations Noted

Staff Bathroom # G5

No Violations Noted

Staff Bathroom # G6

No Violations Noted

Store Room # G11

No Violations Noted

Maintenance Department # G12

No Violations Noted

Locker Room # G13

No Violations Noted

Maintenance Kitchen # G15

No Violations Noted

Laundry Room # G23/G29

No Violations Noted

Office # G25

Unable to Inspect – Not Used

Loading Dock # G26

105 CMR 451.350*	Structural Maintenance: Garage door not rodent and weathertight

105 CMR 451.360	Protective Measures: Building not protected against infestation, rodent droppings observed on floor near door

Garbage Room # G37

105 CMR 451.350*	Structural Maintenance: Garage door not rodent and weathertight

Computer Room # G39

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water damaged

Storage # G43

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water damaged

Staff Bathroom # G44

No Violations Noted

Staff Bathroom # G46

No Violations Noted

Female Booking Area

Holding Cells

No Violations Noted

Male Booking Area

Control

No Violations Noted

Property Room # G62

No Violations Noted

Inmate Bathroom # G64

No Violations Noted

Intake Area

No Violations Noted

Property Storage Room # G63

No Violations Noted

Property Storage Room # G65

No Violations Noted

Male Intake Cells # G74

No Violations Noted

Holding Cage

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Holding Cells

No Violations Noted

Back Gate Control # G80

No Violations Noted

Staff Bathroom # G81

No Violations Noted

Food Service Area

The following Food Code violations listed in BOLD were observed to be corrected on-site.

Trash Area

No Violations Noted

Office # G30

No Violations Noted

Summit Food Service Office

FC 4-204.112(B)	Design and Construction, Functionality: Cold holding equipment not equipped with a permanently affixed temperature measuring device, no thermometer in refrigerator

FC 7-204.11(A)	Operational Supplies and Applications; Chemicals: Chemical sanitizer does not meet the requirements for food contact surfaces

Oven and Steamer Hood Area

No Violations Noted

Handwash Sink

No Violations Noted

Grease Hood

No Violations Noted

Dry Storage # G23

No Violations Noted

Slicing Cage

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, ceiling paint damaged

Inmate Bathroom

No Violations Noted

Inmate Dining Area

No Violations Noted

Chemical Storage Cage

No Violations Noted

Can Opener Table

No Violations Noted

Vegetable Chest # 3

FC 4-204.112(B)	Design and Construction, Functionality: Cold holding equipment not equipped with a permanently affixed temperature measuring device, thermometer not functioning properly

Milk Chest # 4

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, Milk Chest out-of-order

Food Prep Table

No Violations Noted

Handwash Sink (near food prep table)

FC 5-501.16(C)	Refuse, Recyclables, and Returnables; Facilities on the Premises: No trash provided at handwash sink

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, paper towel dispenser damaged and rusted

Freezer # 5

FC 6-501.11*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, light shield damaged

Ice Machine

No Violations Noted

Bread Refrigerator # 6

No Violations Noted

Tray Prep Area

No Violations Noted

Prep Table with 2-Compartment Sink

No Violations Noted

Kettle Area

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, kettle # 3 out-of-order

3-Compartment Sink

FC 5-205.15(B)			Plumbing System, Operations and Maintenance: Plumbing system not maintained in 					good repair, faucet loose on left and right side sinks

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, sink basins damaged

Mechanical Warewashing Area

FC 6-501.12(A)*	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, mold growth observed on ceiling above warewashing machine

FC 6-501.11	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not in good repair, floor paint damaged around floor drain

FC 4-501.112(A)(2)	Maintenance and Operation, Equipment: Inadequate water temperature in the mechanical warewashing machinePf

FC 4-501.15	Maintenance and Operation; Equipment: Warewashing machine not operating in accordance with manufacturer's instructions, temperature gauge not reading correct temperature during sanitizing cycle

Tray Racks

No Violations Noted

Mop Cage

FC 6-501.16	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Wet mop stored in bucket

Refrigerator # 1

No Violations Noted

Refrigerator # 2

No Violations Noted

Observations and Recommendations

- The inmate population was 588 at the time of inspection.

- During the Kitchen inspection, the warewash machine did not reach the appropriate temperature to properly sanitize dishes. The Food Manager stated that staff will manually sanitize the dishes after being washed. Kitchen staff were observed manually using a chemical sanitizing solution to sanitize each item following removal from the warewash machine. The warewash machine has consistently been an issue in past inspections. The CSP recommends replacing the warewash machine to ensure that all items can be properly washed and sanitized.

- The Kitchen was observed to be using a chemical sanitizer that is not approved for use on food contact surfaces. The CSP recommended discontinuing the use of this chemical in the kitchen area.

- Throughout the inspection, the CSP received complaints in each housing unit that outdoor recreation spaces had been unavailable to use for several weeks. Excessive standing water was observed on the floor of each recreation deck. The CSP recommended keeping these areas free of standing water.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Retail Food”. Then under “Regulations” click “2013 Food Code Merged with 105 CMR 590 and 2013 Food Code”

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Processing”. Then under “Regulations” click “105 CMR 500.000: Good Manufacturing Practices for Food”

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Patrick Wallace

Environmental Health Inspector, CSP, BEH