The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

5 Randolph Street

Canton, MA 02021

Telephone: 781-828-7910

Facsimile: 781-828-7703

marian.robertson@state.ma.us

DEVAL L. PATRICK GOVERNOR TIMOTHY P. MURRAY LIEUTENANT GOVERNOR JOHN W. POLANOWICZ SECRETARY LAUREN A. SMITH, MD, MPH INTERIM COMMISSIONER

April 4, 2013

Steven W. Tompkins, Sheriff

Suffolk County Jail

200 Nashua Street

Boston, MA 02214

Re: Suffolk County Jail Facility Inspection

Dear Sheriff Tompkins:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, and Department of Public Health Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the Suffolk County Jail on March 15, 2013 accompanied by Sergeant Daniel Hickey, EHSO/FS, Deputy Michael Chisholm, EHSO, and Amy Riordan, Environmental Health Inspector of the Community Sanitation Program. Violations noted are listed below

(* indicates conditions documented on previous inspection reports).

Entry Level

Front Lobby

105 CMR 451.353	Interior Maintenance: Ceiling vents dusty

Men’s Room

No Violations Noted

Women’s Room

105 CMR 451.123	Maintenance: Light fixture not functioning properly

7th Floor

Hallway

No Violations Noted

Visiting Rooms

105 CMR 451.353	Interior Maintenance: Ceiling vents dusty in all visiting rooms

105 CMR 451.353	Interior Maintenance: Wall paint damaged in visiting room # 704, 706, and 707

Floor 6.5

Gym

105 CMR 451.353*	Interior Maintenance: Wall dirty near water fountain

Staff Bathroom # 6503

No Violations Noted

Storage Room # 6504

105 CMR 451.353*	Interior Maintenance: Wet mop left in bucket

Inmate Bathroom # 6505

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

105 CMR 451.123*	Maintenance: Ceiling vent dirty

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 640F

Inmate Bathroom # 6506

105 CMR 451.126*	Water Supply: No hot water supplied to handwash sink fixture

6th Floor

Staff Bathroom 6-1 & 6-2

No Violations Noted

Staff Bathroom 6-3 & 6-4

No Violations Noted

Unit 6-1A

Common Area

No Violations Noted

Kitchenette

No Violations Noted

Slop Sink Room # 61B

105 CMR 451.353*	Interior Maintenance: Vent dirty

Storage Room # 61G

No Violations Noted

Shower Area

105 CMR 451.123*	Maintenance: Sprinkler head rusted

Cells

No Violations Noted

Unit 6-1

Common Area

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in front of cell # 25-36

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty outside showers on lower tier

Kitchenette

No Violations Noted

Slop Sink Room

No Violations Noted

Second Floor Storage Room

No Violations Noted

Shower # 617

No Violations Noted

Shower # 618

No Violations Noted

Shower # 711

No Violations Noted

Shower # 712

No Violations Noted

Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 12

Unit 6-2

Common Area

No Violations Noted

Kitchenette

FC 4-602.12(B)*	Cleaning of Equipment and Utensils; Frequency: Interior of one microwave oven 	dirty

Slop Sink Room # 62B

105 CMR 451.353*	Interior Maintenance: Wet mop stored on floor

Shower # 625

No Violations Noted

Shower # 626

No Violations Noted

Meeting Room # 627

No Violations Noted

Storage Room # 62C

No Violations Noted

Visit Rooms

No Violations Noted

Shower # 721

No Violations Noted

Shower # 722

No Violations Noted

Shower # 723

No Violations Noted

Cells

No Violations Noted

Unit 6-3

Common Area

No Violations Noted

Kitchenette

105 CMR 451.125*	Drinking Water: Insufficient supply of drinking water, not water provided to water 	fountain

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink faucet leaking

Meeting Room # 63B

No Violations Noted

Shower # 63C

No Violations Noted

Slop Sink Room # 63D

No Violations Noted

Shower # 63E

No Violations Noted

Storage Room # 63F

No Violations Noted

Shower # 63G

105 CMR 451.123*	Maintenance: Shower vent dirty

Shower # 63H

105 CMR 451.123*	Maintenance: Shower vent dirty

Shower # 63I

105 CMR 451.123	Maintenance: Soap scum on metal panel inside shower

Visiting Rooms

No Violations Noted

Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 6

105 CMR 451.353	Interior Maintenance: Light covered by paper in cell # 7, 11, 14, and 17

105 CMR 451.101	Blankets: Blanket damaged in cell # 28

Recreational Deck

105 CMR 451.353	Interior Maintenance: Trash on deck

Unit 6-4

Common Area

No Violations Noted

Kitchenette

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Shower #64B

No Violations Noted

Slop Sink Room # 64C

No Violations Noted

Shower # 64D

105 CMR 451.360	Protective Measures: Flying insects observed near shower drain

Meeting Room # 64E

No Violations Noted

Storage Room # 64F

105 CMR 451.353	Interior Maintenance: Floor tiles damaged outside of storage room

Shower # 64G

105 CMR 451.123	Maintenance: Soap scum on floors in shower

Shower # 64H

No Violations Noted

Shower # 64I

105 CMR 451.123	Maintenance: Shower curtain missing

Visiting Rooms

No Violations Noted

Cells

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vent covered in cell # 3 and 4

5th Floor

Hallway

No Violations Noted

Visiting Rooms

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty in all visiting rooms

Medical Area

Waiting Room

No Violations Noted

Nurses Area

105 CMR 480.500	Procedures; Records; Record-Keeping Log: Not maintaining a current medical waste record-keeping log

105 CMR 451.353	Interior Maintenance: Vent dusty

Omni Cell Room # 5041

No Violations Noted

Diabetic Room 5044

No Violations Noted

Male Staff Locker and Bathroom # 5093

No Violations Noted

Female Staff Locker and Bathroom # 5124

No Violations Noted

Staff Break Room # 5033

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Dental Office

105 CMR 451.353	Interior Maintenance: Washboard loose near sink

Exam Room # 1 and Bathroom #5032

No Violations Noted

Exam Room # 2 and Bathroom #5030

No Violations Noted

X-Ray Room

No Violations Noted

Medical Waste Storage Room # 5507

No Violations Noted

Medical Housing Unit

Common Area

105 CMR 451.353	Interior Maintenance: Floor tile damaged near room # 5515

Kitchenette

No Violations Noted

Slop Sink Room # 5511

No Violations Noted

Shower # 5512

105 CMR 451.123	Maintenance: Soap scum on walls in shower

Isolation Cell # 5514

No longer in use

Storage Room # 5522

105 CMR 451.353	Interior Maintenance: Floor dirty

Shower # 5523	Used for storage

No Violations Noted

Shower # 5524	Used for storage

No Violations Noted

Shower # 5554

105 CMR 451.123	Maintenance: Soap scum on floor in shower

Cells

No Violations Noted

Psychiatric Housing Unit # 5552

Storage # 5553

105 CMR 451.353*	Interior Maintenance: Light shield loose

Room # 5555

No Violations Noted

Kitchenette

No Violations Noted

Shower # 5573

No Violations Noted

Slop Sink Room

105 CMR 451.353*	Interior Maintenance: Vent dirty

Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 5570

4th Floor

Staff Bathroom 4-1 & 4-2

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Staff Bathroom 4-3 & 4-4

No Violations Noted

Unit 4-1

Common Area

No Violations Noted

Kitchenette

No Violations Noted

Slop Sink Room # 41N

No Violations Noted

Room # 41M

105 CMR 451.353	Interior Maintenance: Two light fixtures not functioning properly

Shower # 41G (near cell # 10)

105 CMR 451.123*	Maintenance: Interior access door finish damaged

Shower # 41H (near cell # 27)

105 CMR 451.123*	Maintenance: Interior access door paint damaged

Shower # 41I

No Violations Noted

Shower # 41J

No Violations Noted

Shower # 41K

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking

Cells

No Violations Noted

Unit 4-2

Common Area

No Violations Noted

Kitchenette

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of both microwave ovens dirty

Meeting Room # 42B

No Violations Noted

Slop Sink Room # 42C

105 CMR 451.353	Interior Maintenance: Light not functioning properly

Shower # 42D

No Violations Noted

Shower # 42E

No Violations Noted

Room # 42F

No Violations Noted

Shower # 42G

No Violations Noted

Shower # 42H

No Violations Noted

Shower # 42I (near cell # 32)

105 CMR 451.123	Maintenance: Soap scum on metal panel and walls in shower

Cells

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Potentially hazardous food not held at the proper cold holding temperature, unrefrigerated milk outside cell # 18 and 19

105 CMR 451.353	Interior Maintenance: Light covered by paper in cell # 2

Unit 4-3

Common Area

105 CMR 451.353	Interior Maintenance: Several chair coverings damaged

Kitchenette

No Violations Noted

Meeting Room # 43B

No Violations Noted

Shower # 43C

No Violations Noted

Slop Sink Room # 43D

105 CMR 451.353*	Interior Maintenance: Vent dirty

Shower # 43E

105 CMR 451.123	Maintenance: Residue left on shower floor from cleaning detergent

105 CMR 451.123	Maintenance: Shower curtain missing

Storage Room # 43F

No Violations Noted

Shower # 43G

105 CMR 451.123	Maintenance: Residue left on shower floor from cleaning detergent

Shower # 43H

105 CMR 451.123	Maintenance: Residue left on shower floor from cleaning detergent

105 CMR 451.123	Maintenance: Vent dirty

Shower # 43I

105 CMR 451.123	Maintenance: Residue left on shower floor from cleaning detergent

Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 13

105 CMR 451.353	Interior Maintenance: Light covered in cell # 15

Unit 4-4

Common Area

105 CMR 451.353	Interior Maintenance: Floor tiles damaged at top of stairway

Kitchenette

No Violations Noted

Shower # 44B

105 CMR 451.123	Maintenance: Residue left on shower floor from cleaning detergent

Slop Sink Room # 44C

105 CMR 451.353*	Interior Maintenance: Wet mop left in bucket

Shower # 44D

105 CMR 451.123	Maintenance: Residue left on shower floor from cleaning detergent

Meeting Room # 44E

No Violations Noted

Closet # 44G

No Violations Noted

Shower # 44H (near cell # 9)

105 CMR 451.123	Maintenance: Metal panel rusted

Shower # 44I (near cell # 28)

105 CMR 451.123	Maintenance: Residue left on shower floor from cleaning detergent

Shower # 44J (near Visiting Rooms)

105 CMR 451.123	Maintenance: Shower curtain missing

Cells

105 CMR 451.353	Interior Maintenance: Light blocked by paper in cell # 22, 23, and 30

3rd Floor

Hallway

No Violations Noted

Visiting Rooms

105 CMR 451.353	Interior Maintenance: Ceiling vents dusty in all visiting rooms

Floor 3.5

Office Area

No Violations Noted

Slop Sink Room # 3503

105 CMR 451.353*	Interior Maintenance: Vent dirty

Female Staff Bathroom

No Violations Noted

Male Staff Bathroom

No Violations Noted

File Room Kitchen # 3516

FC 4-602.12(B)*	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Bathroom # 3521

No Violations Noted

2nd Floor

Staff Bathroom 2-1 & 2-2

No Violations Noted

Staff Bathroom 2-3 & 2-4

105 CMR 451.123	Maintenance: Ceiling vent dusty

Unit 2-1

Common Area

105 CMR 451.353	Interior Maintenance: Floor tiles missing outside cell # 16-19

Kitchenette

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of both microwave ovens dirty

105 CMR 451.360	Protective Measures: Flying insects observed

Shower # 21B

105 CMR 451.360	Protective Measures: Flying insects observed in shower

105 CMR 451.123	Maintenance: Residue left on shower floor from cleaning detergent

Slop Sink Room # 21C

105 CMR 451.353	Interior Maintenance: One light shield missing

Shower # 21D

105 CMR 451.123	Maintenance: Shower handle loose

105 CMR 451.123	Maintenance: Vent dusty

Meeting Room # 21E

No Violations Noted

Shower # 21F (near cell # 11)

105 CMR 451.123	Maintenance: Residue left on shower floor from cleaning detergent

Shower # 21G (near cell # 30)

105 CMR 451.123	Maintenance: Shower walls and floor dirty

Closet # 21H

No Violations Noted

Shower # 21J

105 CMR 451.123	Maintenance: Shower walls and floor dirty

Cells

105 CMR 451.353	Interior Maintenance: Light covered by paper in cell # 25 and 26

Recreational Deck

No Violations Noted

Unit 2-2

Common Area

No Violations Noted

Kitchenette

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Meeting Room # 22B

No Violations Noted

Shower # 22C

105 CMR 451.123	Maintenance: Shower walls dirty

105 CMR 451.123	Maintenance: Vent dirty

Slop Sink Room # 22D

105 CMR 451.353*	Interior Maintenance: Wet mop left in bucket

Shower # 22E

105 CMR 451.123	Maintenance: Metal panel stained inside shower

Closet # 22F

No Violations Noted

Shower # 22H

105 CMR 451.123	Maintenance: Residue left on shower floor from cleaning detergent

Shower # 22I

105 CMR 451.123	Maintenance: Shower walls dirty

105 CMR 451.123	Maintenance: Vent dusty

Shower # 22J

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking

105 CMR 451.123	Maintenance: Shower walls dirty

Cells

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 8

Unit 2-3

Common Area

105 CMR 451.360	Protective Measures: Flying insects observed throughout cell block

Kitchenette

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of both microwave ovens dirty

Meeting Room # 23B

No Violations Noted

Shower # 23C

105 CMR 451.123	Maintenance: Shower walls dirty

105 CMR 451.123	Maintenance: Vent dusty

Slop Sink Room # 23D

105 CMR 451.353*	Interior Maintenance: Wet mop left in bucket

105 CMR 451.353*	Interior Maintenance: Vent dirty and damaged

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty outside slop sink room

Shower # 23E

105 CMR 451.123	Maintenance: Metal panel stained inside shower

Closet # 23F

105 CMR 451.353*	Interior Maintenance: Vent dirty

Shower # 23G (near cell # 20)

105 CMR 451.123	Maintenance: Metal panel stained by cleaning detergent

Shower # 23H

105 CMR 451.123	Maintenance: Shower walls dirty

105 CMR 451.123	Maintenance: Residue left on shower floor and walls from cleaning detergent

Shower # 23J

105 CMR 451.123	Maintenance: Residue left on shower floor and walls from cleaning detergent

Visiting Rooms

No Violations Noted

Cells

No Violations Noted

Unit 2-4

Common Area

105 CMR 451.353	Interior Maintenance: Floor tiles damaged outside shower # 24B

105 CMR 451.353	Interior Maintenance: Floor tiles missing outside cell # 24 and 32

Kitchenette

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of one microwave oven dirty

Shower # 24B

105 CMR 451.123	Maintenance: Shower walls dirty

Slop Sink Room # 24C

No Violations Noted

Shower # 24D

105 CMR 451.123	Maintenance: Shower walls dirty

105 CMR 451.123	Maintenance: Residue left on shower floor from cleaning detergent

Meeting Room # 24E

No Violations Noted

Shower # 24F (near cell # 9)

105 CMR 451.123	Maintenance: Shower walls dirty

105 CMR 451.123	Maintenance: Metal panel dirty

Closet # 24G

105 CMR 451.350*	Structural Maintenance: Wall damaged

Shower # 24H (near cell # 28)

105 CMR 451.123	Maintenance: Residue left on metal panel from cleaning detergent

Shower # 24J

105 CMR 451.123*	Maintenance: Shower walls and floor need re-grouting

105 CMR 451.123*	Maintenance: Soap scum on wall tiles

105 CMR 451.123	Maintenance: Possible mold growth observed on ceiling and in between wall tiles

105 CMR 451.123	Maintenance: Floor tiles missing

105 CMR 451.123	Maintenance: Drain flies observed in shower

Cells

No Violations Noted

Entry Level (Inside)

Staff Cafeteria # 1066

FC 4-204.112(A)*	Design and Construction, Functionality: No functioning thermometer in refrigerator

FC 6-301.20*	Numbers and Capacity; Handwashing Facilities: No waste receptacle provided for 	disposable towel at handwash sink

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, floor dirty 	behind vending machines

FC 3-304.14(B)(2)	Preventing Contamination from Linens: Wet cloth not stored in sanitizer bucket and no sanitizer solution available

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, floor dirty under microwave ovens

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, floor tiles damaged near vending machines

FC 7-206.12	Poisonous or Toxic Materials; Pesticides: Rodent traps not covered and tamper 	resistant, sticky rat traps observed behind vending machines

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Vending machine drawer dirty

FC 7-101.11	Poisonous or Toxic Materials; Original Containers: Cleaning chemicals not labeled properly and mislabeled, original manufactures label missing

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, floor tiles damaged throughout cafeteria

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, wall damaged under condiment tray area

Inside Administration

No Violations Noted

Weight Room # 1070

No Violations Noted

Slop Sink Room # 1072

105 CMR 451.350	Structural Maintenance: Wall damaged at bottom of chemical rack

Water Fountain

No Violations Noted

Blue Shirt’s Locker Room # 1075

105 CMR 451.123*	Maintenance: Floor dirty

105 CMR 451.123	Maintenance: Ceiling tiles missing and water stained throughout locker room

Female Staff Locker Room # 1076

No Violations Noted

Captain and Lieutenants’ Locker Room # 1077

No Violations Noted

Outside Administration Bathrooms

Female Bathroom # 1013

105 CMR 451.126	Water Supply: No cold water supplied to handwash sink # 1

105 CMR 451.123	Maintenance: Light fixture not functioning properly

Male Bathroom # 1015

No Violations Noted

Slop Sink Room # 1004

105 CMR 451.353	Interior Maintenance: Chemical substance left in bucket

Ground Level

Canteen # G10

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Hallway Bathrooms

Staff Bathroom # G5

105 CMR 451.123*	Maintenance: Vent dirty

Staff Bathroom # G6	Unable to Inspect – Occupied

Storage Room # G11

No Violations Noted

Maintenance # G12

No Violations Noted

Locker Room # G13

No Violations Noted

Kitchen Maintenance # G15

6-501.112	Removing Dead or Trapped Birds, Insects, Rodents and Other Pests: Sticky fly traps observed in the kitchen with dead insects adhered to it

Laundry Room # G23

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, utensils left uncovered

105 CMR 451.353	Interior Maintenance: Wet mop left in bucket

105 CMR 451.361	Extermination: Sticky fly trap observed in laundry office with dead insects adhered to it

Loading Dock # G26

No Violations Noted

Garbage Room # G37

105 CMR 451.361	Extermination: Sticky fly trap observed in laundry office with dead insects adhered to it

Staff Bathroom # G44

No Violations Noted

Staff Bathroom # G46

No Violations Noted

Female Booking Area

Holding Cells

105 CMR 451.353*	Interior Maintenance: Vent in holding cell # 3

105 CMR 451.353*	Interior Maintenance: Ceiling dirty in holding cell # 1

105 CMR 451.353	Interior Maintenance: Wall dirty in cell # 1

105 CMR 451.126	Water Supply: No hot or cold water supplied to handwash sink in cell # 2 and 4

105 CMR 451.126	Water Supply: No cold water supplied to handwash sink in cell # 3

Male Booking Area

Control

No Violations Noted

Property Room # G62

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, gasket damaged on refrigerator

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, interior of fridge damaged

Staff Bathroom # G64

105 CMR 451.123	Maintenance: Light fixture not functioning properly

Male Intake Cells # G74

No Violations Noted

Holding Cage

No Violations Noted

Holding Cells

105 CMR 451.126	Water Supply: No hot water supplied to handwash sink in cell # 3

Back Gate Control # G80

No Violations Noted

Staff Bathroom # G81

No Violations Noted

Food Service Area

Office # G38

No Violations Noted

Trash Area

No Violations Noted

Oven and Steamer Hood Area

No Violations Noted

Grease Hood

No Violations Noted

Dry Storage

FC 6-202.11(A)	Design, Construction, and Installation; Functionality: Light bulbs not shatter-resistant 	or protected by light shields

FC 7-206.12	Poisonous or Toxic Materials; Pesticides: Rodent traps not covered and tamper 	resistant

Storage Cage

FC 4-903.11(B)(1)	Protection of Clean Items, Storing: Bowls not stored in the inverted position

Inmate Bathroom

No Violations Noted

Inmate Dinning Area

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, baseboard tiles 	damaged

Chemical Storage Cage

No Violation Noted

Can Opener Table

FC 7-101.11	Poisonous or Toxic Materials; Original Containers: Cleaning chemicals not labeled 	properly, original manufactures label missing

Refrigerator # 1

No Violations Noted

Refrigerator # 2

No Violations Noted

Ice Machines

FC 4-602.11(E)(4)(b)	Cleaning of Equipment and Utensils, Frequency: Interior surfaces of ice machine dirty

Vegetable Chest # 3

No Violations Noted

Milk Chest # 4

FC 3-305.11(A)(2)	Preventing Contamination from Premises: Food exposed to dust, vent fans dusty

Freezer # 5

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, ice buildup observed on ceiling near vent fans

Bread Refrigerator # 6

No Violations Noted

Prep Table with 2 bay sink

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, one faucet leaking and piping leaking underneath sink

Tray Prep Area

No Violations Noted

Kettle Area

No Violations Noted

3 Bay Sink

FC 5-205.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, water control handles leaking

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, faucet loose

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, ceiling tiles dirty above 3 bay sink

Mechanical Warewashing Area

FC 5-205.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, mechanical warewashing machine leaking in several areas causing an 	extensive amount of standing water on the floor

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, hose wrapped with 	cloth like material

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, floor drain clogged

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, sink leaking near warewash machine

FC 4-204.115	Design and Construction, Functionality: Thermometer not functioning properly on warewashing machine

FC 4-501.112(A)(2)	Maintenance and Operation, Equipment: Inadequate water temperature in the mechanical warewashing machine

FC 6-202.11(A)	Design, Construction, and Installation; Functionality: Light bulbs not shatter-resistant 	or protected by light shields

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, food observed on floor under tables around warewash machine

Tray Racks

FC 4-901.11(A)	Protection of Clean Items, Drying: Clean and sanitized trays not allowed to air dry fully

Observations and Recommendations

- The inmate populations was 579 at the time of inspection

- Mechanical warewashing machine in the Food Service Area was not reaching correct temperature required for adequate cleaning. The Department recommended using 3 bay sink until problem is corrected.

- The food trays are not be allowed time to air dry properly between uses in Food Service Area. The Department recommends that the appropriate drying rack is used to allow trays to air dry completely between uses.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within ten working days of receiving this report and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Community Sanitation Regulations" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Marian Robertson

Environmental Health Inspector, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

John W. Polanowicz, Secretary, Executive Office of Health and Human Services

Luis S. Spencer, Commissioner, DOC

Eugene Sumpter, Superintendent

Deputy Michael Chisholm, EHSO

Sergeant Daniel Hickey, EHSO/FS

Boston Public Health Commission

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Andrea J. Cabral, EOPS