{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Groundwater Table"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":2,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Groundwater Table","index":0,"n_rows":57,"n_cols":25,"rows_kept":57,"cut":false,"hidden":false,"merged":[[40,0,41,0],[8,0,9,0],[10,0,11,0],[0,0,1,0],[28,0,29,0],[14,0,15,0],[16,0,17,0],[20,0,21,0],[22,0,23,0],[44,0,45,0],[0,2,0,24],[2,0,3,0],[4,0,5,0],[12,0,13,0],[24,0,25,0],[26,0,27,0],[18,0,19,0],[36,0,37,0],[38,0,39,0],[30,0,31,0],[32,0,33,0],[34,0,35,0],[42,0,43,0],[0,1,1,1],[6,0,7,0],[46,0,47,0],[48,0,49,0],[50,0,51,0],[57,0,57,2],[55,0,55,19],[52,0,53,0]]}
["Sample collected      week of","Reported by1 ","Tritium concentration p(Ci/L)"]
[null,null,"MW-201","MW-202S","MW-202I","MW-204 ","MW-205","MW-206 ","MW-207","MW-208S","MW-208I","MW-209","MW-210","MW-211","MW-212","MW-213","MW-214"," MW-215 ","MW-216","MW-217","MW-218","MW-219","MW-220","MW-3","MW-4 R"]
["2018-07-09","ENTERGY/GEL",null,null,null,null,null,319,null,null,null,null,null,null,null,null,null,"<287",1820,null,1110,20500]
[null,"MDPH/MERL",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"<300",1730.7,null,1128]
["2018-07-16","ENTERGY/GEL",null,null,null,null,null,null,null,null,null,null,null,2430,null,null,null,null,null,null,null,34500]
[null,"MDPH/MERL",null,null,null,null,null,null,null,null,null,null,null,2567,null,null,null,null,null,null,null,31784.2]
["2018-07-23","ENTERGY/GEL",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,33000]
[null,"MDPH/MERL"]
["2018-07-30","ENTERGY/GEL",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,40500]
[null,"MDPH/MERL",null,null,null,null,null,"<300",null,null,null,null,null,null,null,null,null,"<300",1966,null,1084,38795]
["2018-08-06","ENTERGY/GEL",null,null,null,null,null,null,null,null,null,null,null,2940,null,null,null,null,null,null,null,11200]
[null,"MDPH/MERL",null,null,null,null,null,null,null,null,null,null,null,3315,null,null,null,null,null,null,null,9772]
["2018-08-13","ENTERGY/GEL",null,null,null,null,null,null,null,null,null,null,null,3260,null,null,null,null,null,null,null,26500]
[null,"MDPH/MERL",null,null,null,null,null,null,null,null,null,null,null,3304,null,null,null,null,null,null,null,25336]
["2018-08-20","ENTERGY/GEL",null,null,null,null,null,"<299",null,null,null,null,null,3420,null,null,null,"<296",3000,null,1280,1910]
[null,"MDPH/MERL",null,null,null,null,null,"<300",null,null,null,null,null,3279,null,null,null,"<300",3009,null,1031,1163]
["2018-08-27","ENTERGY/GEL",null,null,null,null,null,null,null,null,null,null,null,3150,null,null,null,null,null,null,null,34300]
[null,"MDPH/MERL",null,null,null,null,null,null,null,null,null,null,null,3098,null,null,null,null,null,null,null,31690]
["2018-09-03","ENTERGY/GEL",null,null,null,null,null,null,null,null,null,null,null,3370,null,null,null,null,null,null,null,22000,null,"<332"]
[null,"MDPH/MERL",null,null,null,null,null,null,null,null,null,null,null,3064,null,null,null,null,null,null,null,23116,null,"<300"]
["2018-09-10","ENTERGY/GEL",null,"<303",1430,370,null,"<314",410,"<322","<323","<300","<302",3660,702,null,"<327",344,2690,728,1170,4290,523,null,"<328"]
[null,"MDPH/MERL",null,"<300",999,"<300",null,"<300","<300","<300","<300","<300","<300",3633,463,null,"<300","<300",2181,"<300",1023,6690,399,null,"<300"]
["2018-09-17","ENTERGY/GEL","<305",null,null,null,"<307",null,null,null,null,null,null,4020,null,"<299",null,null,null,null,null,25900]
[null,"MDPH/MERL","<300",null,null,null,"<300",null,null,null,null,null,null,3938,null,"<300",null,null,null,null,null,24116]
["2018-09-24","ENTERGY/GEL",null,null,null,null,null,null,null,null,null,null,null,3450,null,null,null,null,null,null,null,19900]
[null,"MDPH/MERL",null,null,null,null,null,null,null,null,null,null,null,3375,null,null,null,null,null,null,null,18016]
["2018-10-01","ENTERGY/GEL",null,null,null,null,null,"<313",null,null,null,null,null,3690,null,null,null,441,1810,null,1340,13300]
[null,"MDPH/MERL",null,null,null,null,null,"<300",null,null,null,null,null,3800,null,null,null,430,1845,null,1095,12296]
["2018-10-08","ENTERGY/GEL",null,null,null,null,null,null,null,null,null,null,null,3430,null,null,null,null,null,null,null,13800]
[null,"MDPH/MERL",null,null,null,null,null,null,null,null,null,null,null,3485,null,null,null,null,null,null,null,14989]
["2018-10-15","ENTERGY/GEL",null,null,null,null,null,null,null,null,null,null,null,3410,null,null,null,null,null,null,null,10000]
[null,"MDPH/MERL",null,null,null,null,null,null,null,null,null,null,null,3019,null,null,null,null,null,null,null,11271]
["2018-10-22","ENTERGY/GEL",null,null,null,null,null,"<304",null,null,null,null,null,2910,null,null,null,620,2170,null,1630,6410]
[null,"MDPH/MERL",null,null,null,null,null,"<300",null,null,null,null,null,3107,null,null,null,675,2117,null,1344,5793]
["2018-10-29","ENTERGY/GEL",null,null,null,null,null,null,null,null,null,null,null,2960,null,null,null,null,null,null,null,722]
[null,"MDPH/MERL",null,null,null,null,null,null,null,null,null,null,null,2968,null,null,null,null,null,null,null,1023]
["2018-11-05","ENTERGY/GEL",null,null,null,null,null,null,null,null,null,null,null,2830,null,null,null,null,null,null,null,1920]
[null,"MDPH/MERL",null,null,null,null,null,null,null,null,null,null,null,3104,null,null,null,null,null,null,null,2270]
["2018-11-12","ENTERGY/GEL",null,null,null,null,null,"<310",null,null,null,null,null,2440,null,null,null,2260,723,null,1150,3280]
[null,"MDPH/MERL",null,null,null,null,null,"<300",null,null,null,null,null,2551,null,null,null,2285,810,null,1279,3548]
["2018-11-19","ENTERGY/GEL",null,null,null,null,null,null,null,null,null,null,null,2100,null,null,null,null,null,null,null,1960]
[null,"MDPH/MERL",null,null,null,null,null,null,null,null,null,null,null,2282,null,null,null,null,null,null,null,1684]
["2018-11-26","ENTERGY/GEL",null,null,null,null,null,null,null,null,null,null,null,1750,null,null,null,null,null,null,null,603]
[null,"MDPH/MERL",null,null,null,null,null,null,null,null,null,null,null,1593,null,null,null,null,null,null,null,865]
["2018-12-03","ENTERGY/GEL",null,null,null,"<326",null,"<317",null,null,null,445,"<326",1460,null,null,null,2310,1380,null,1130,1230,null,"<317"]
[null,"MDPH/MERL",null,null,null,"<300",null,"<300",null,null,null,498,"<300",1508,null,null,null,2904,1091,null,1150,1151,null,"<300"]
["2018-12-10","ENTERGY/GEL","<325","<321",473,null,"<326",null,"<326","<327","<325",null,null,1230,"<326","<326","<325",null,null,"<312",null,3410,"<323",null,"<317"]
[null,"MDPH/MERL","<300","<300",522,null,"<300",null,"<300","<300","<300",null,null,1544,310,306,"<300",null,null,409,null,3444,"<300",null,"<300"]
["2018-12-17","ENTERGY/GEL",null,null,null,null,null,null,null,null,null,null,null,1390,null,null,null,null,null,null,null,589]
[null,"MDPH/MERL",null,null,null,null,null,null,null,null,null,null,null,1107,null,null,null,null,null,null,null,738]
["2018-12-24","ENTERGY/GEL",null,null,null,null,null,406,null,null,null,null,null,1140,null,null,null,3350,1280,null,1170,1140]
[null,"MDPH/MERL",null,null,null,null,null,"<300",null,null,null,null,null,1384,null,null,null,3394,1332,null,976,953]
["2018-12-31","ENTERGY/GEL"]
[null,"MDPH/MERL",null,null,null,null,null,null,null,null,null,null,null,962,null,null,null,null,null,null,null,584]
[]
["1. Sample analysis by PNPS by Teledyne/GEL and for MDPH analysis is by the Massachusetts Environmental Radiation Laboratory (MERL). "]
["\"<\" Results are less than the detection limit shown. MERL's lower detection limit is 300 p(Ci/L)."]