## Data_1
Summary of Tritium Detected in Groundwater Monitoring Wells
Third Quarter of 2014
Pilgrim Nuclear Power Station
Plymouth, MA
Sample Collection Date | Reported By | Tritium Concentration (pCi/L)
|  | MW-201 | MW-202 | MW-202I** | MW-203 | MW-204 | MW-205** | MW-206** | MW-207** | MW-208S** | MW-208I** | MW-209** | MW-210** | MW-211** | MW-212** | MW-213** | MW-214** | MW-215** | MW-216** | MW-217** | MW-218** | MW-219** | MW-3 | MW4 | MW4R
2014-07-07 | Entergy | Tritium Concentration (pCi/L) MW-201: NDA<361; Tritium Concentration (pCi/L) MW-205**: NDA<409; Tritium Concentration (pCi/L) MW-206**: NDA<364; Tritium Concentration (pCi/L) MW-209**: 873; Tritium Concentration (pCi/L) MW-211**: 1040; Tritium Concentration (pCi/L) MW-215**: 1110; Tritium Concentration (pCi/L) MW-216**: 4320; Tritium Concentration (pCi/L) MW-218**: 2650; Tritium Concentration (pCi/L) MW-219**: 735
| MDPH/MERL | Tritium Concentration (pCi/L) MW-201: NDA<300; Tritium Concentration (pCi/L) MW-205**: NDA<300; Tritium Concentration (pCi/L) MW-206**: NDA<300; Tritium Concentration (pCi/L) MW-209**: 681; Tritium Concentration (pCi/L) MW-211**: 1085; Tritium Concentration (pCi/L) MW-215**: 818; Tritium Concentration (pCi/L) MW-216**: 3585; Tritium Concentration (pCi/L) MW-218**: 2090; Tritium Concentration (pCi/L) MW-219**: 793
2014-07-14 | Entergy | Tritium Concentration (pCi/L) MW-205**: NDA<416; Tritium Concentration (pCi/L) MW-209**: 878; Tritium Concentration (pCi/L) MW-211**: 1120; Tritium Concentration (pCi/L) MW-216**: 5910; Tritium Concentration (pCi/L) MW-218**: 2220; Tritium Concentration (pCi/L) MW-219**: 5650
| MDPH/MERL | Tritium Concentration (pCi/L) MW-205**: NDA<300; Tritium Concentration (pCi/L) MW-209**: 780; Tritium Concentration (pCi/L) MW-211**: 1032; Tritium Concentration (pCi/L) MW-216**: 4909; Tritium Concentration (pCi/L) MW-218**: 1997; Tritium Concentration (pCi/L) MW-219**: 4721
2014-07-21 | Entergy | Tritium Concentration (pCi/L) MW-201: NDA<390; Tritium Concentration (pCi/L) MW-205**: NDA<387; Tritium Concentration (pCi/L) MW-206**: NDA<395; Tritium Concentration (pCi/L) MW-209**: 606; Tritium Concentration (pCi/L) MW-211**: 1150; Tritium Concentration (pCi/L) MW-215**: 772; Tritium Concentration (pCi/L) MW-216**: 1990; Tritium Concentration (pCi/L) MW-218**: 1920; Tritium Concentration (pCi/L) MW-219**: 3030
| MDPH/MERL | Tritium Concentration (pCi/L) MW-201: NDA<300; Tritium Concentration (pCi/L) MW-205**: NDA<300; Tritium Concentration (pCi/L) MW-206**: NDA<300; Tritium Concentration (pCi/L) MW-209**: 411; Tritium Concentration (pCi/L) MW-211**: 586; Tritium Concentration (pCi/L) MW-215**: 324; Tritium Concentration (pCi/L) MW-216**: 996; Tritium Concentration (pCi/L) MW-218**: 1683; Tritium Concentration (pCi/L) MW-219**: 3104
2014-07-28 | Entergy | Tritium Concentration (pCi/L) MW-205**: NDA<387; Tritium Concentration (pCi/L) MW-209**: 720; Tritium Concentration (pCi/L) MW-211**: 1010; Tritium Concentration (pCi/L) MW-216**: 4910; Tritium Concentration (pCi/L) MW-218**: 1670; Tritium Concentration (pCi/L) MW-219**: 2720
| MDPH/MERL | Tritium Concentration (pCi/L) MW-205**: NDA<300; Tritium Concentration (pCi/L) MW-209**: 458; Tritium Concentration (pCi/L) MW-211**: 652; Tritium Concentration (pCi/L) MW-216**: 5191; Tritium Concentration (pCi/L) MW-218**: 2064; Tritium Concentration (pCi/L) MW-219**: 3352
2014-08-04 | Entergy | Tritium Concentration (pCi/L) MW-201: NDA<381; Tritium Concentration (pCi/L) MW-205**: NDA<392; Tritium Concentration (pCi/L) MW-206**: NDA<377; Tritium Concentration (pCi/L) MW-209**: 952; Tritium Concentration (pCi/L) MW-211**: 1120; Tritium Concentration (pCi/L) MW-215**: 917; Tritium Concentration (pCi/L) MW-216**: 2230; Tritium Concentration (pCi/L) MW-218**: 2360; Tritium Concentration (pCi/L) MW-219**: 5020
| MDPH/MERL | Tritium Concentration (pCi/L) MW-201: NDA<300; Tritium Concentration (pCi/L) MW-205**: NDA<300; Tritium Concentration (pCi/L) MW-206**: NDA<300; Tritium Concentration (pCi/L) MW-209**: 662; Tritium Concentration (pCi/L) MW-211**: 982; Tritium Concentration (pCi/L) MW-215**: 819; Tritium Concentration (pCi/L) MW-216**: 2017; Tritium Concentration (pCi/L) MW-218**: 1801; Tritium Concentration (pCi/L) MW-219**: 4484
2014-08-11 | Entergy | Tritium Concentration (pCi/L) MW-205**: NDA<381; Tritium Concentration (pCi/L) MW-209**: 1050; Tritium Concentration (pCi/L) MW-211**: 1090; Tritium Concentration (pCi/L) MW-216**: 5120; Tritium Concentration (pCi/L) MW-218**: 1980; Tritium Concentration (pCi/L) MW-219**: 2120
| MDPH/MERL | Tritium Concentration (pCi/L) MW-205**: NDA<300; Tritium Concentration (pCi/L) MW-209**: 914; Tritium Concentration (pCi/L) MW-211**: 1273; Tritium Concentration (pCi/L) MW-216**: 4709; Tritium Concentration (pCi/L) MW-218**: 1943; Tritium Concentration (pCi/L) MW-219**: 2039
2014-08-18 | Entergy | Tritium Concentration (pCi/L) MW-201: NDA<379; Tritium Concentration (pCi/L) MW-205**: NDA<359; Tritium Concentration (pCi/L) MW-206**: NDA<376; Tritium Concentration (pCi/L) MW-209**: 1000; Tritium Concentration (pCi/L) MW-211**: 1150; Tritium Concentration (pCi/L) MW-215**: 839; Tritium Concentration (pCi/L) MW-216**: 4110; Tritium Concentration (pCi/L) MW-218**: 2020; Tritium Concentration (pCi/L) MW-219**: 2440
| MDPH/MERL | Tritium Concentration (pCi/L) MW-201: 302; Tritium Concentration (pCi/L) MW-205**: NDA<300; Tritium Concentration (pCi/L) MW-206**: NDA<300; Tritium Concentration (pCi/L) MW-209**: 990; Tritium Concentration (pCi/L) MW-211**: 1229; Tritium Concentration (pCi/L) MW-215**: 1083; Tritium Concentration (pCi/L) MW-216**: 3739; Tritium Concentration (pCi/L) MW-218**: 2002; Tritium Concentration (pCi/L) MW-219**: 2287
2014-08-25 | Entergy | NDA<398 | NDA<380 | NDA<405 |  | NDA<383 | NDA<389 | NDA<387 | NDA<365 | NDA<364 | NDA<375 | 987 | NDA<371 | 870 | 527 | NDA<372 | NDA<365 | 667 | 3680 | NDA<365 | 2050 | 2150 | NDA<370 |  | 542
| MDPH/MERL | NDA<300 | 345 | NDA<300 |  | 417 | NDA<300 | NDA<300 | 387 | NDA<300 | NDA<300 | 986 | 532 | 1133 | 704 | 304 | NDA<300 | 986 | 4012 | 366 | 2221 | 2253 | NDA<300 |  | 589
2014-09-02 | Entergy | Tritium Concentration (pCi/L) MW-205**: NDA<398; Tritium Concentration (pCi/L) MW-209**: 922; Tritium Concentration (pCi/L) MW-211**: 856; Tritium Concentration (pCi/L) MW-216**: 2770; Tritium Concentration (pCi/L) MW-218**: 2120; Tritium Concentration (pCi/L) MW-219**: 1660
| MDPH/MERL | Tritium Concentration (pCi/L) MW-205**: NDA<300; Tritium Concentration (pCi/L) MW-209**: 892; Tritium Concentration (pCi/L) MW-211**: 1136; Tritium Concentration (pCi/L) MW-216**: 2992; Tritium Concentration (pCi/L) MW-218**: 1987; Tritium Concentration (pCi/L) MW-219**: 1802
2014-09-08 | Entergy | Tritium Concentration (pCi/L) MW-201: NDA<389; Tritium Concentration (pCi/L) MW-205**: NDA<396; Tritium Concentration (pCi/L) MW-206**: NDA<387; Tritium Concentration (pCi/L) MW-209**: 1150; Tritium Concentration (pCi/L) MW-211**: 1200; Tritium Concentration (pCi/L) MW-215**: 1140; Tritium Concentration (pCi/L) MW-216**: 5450; Tritium Concentration (pCi/L) MW-218**: 2140; Tritium Concentration (pCi/L) MW-219**: 1750
| MDPH/MERL | Tritium Concentration (pCi/L) MW-201: NDA<300; Tritium Concentration (pCi/L) MW-205**: NDA<300; Tritium Concentration (pCi/L) MW-206**: 408; Tritium Concentration (pCi/L) MW-209**: 1072; Tritium Concentration (pCi/L) MW-211**: 1344; Tritium Concentration (pCi/L) MW-215**: 808; Tritium Concentration (pCi/L) MW-216**: 5271; Tritium Concentration (pCi/L) MW-218**: 2057; Tritium Concentration (pCi/L) MW-219**: 1453
2014-09-15 | Entergy | Tritium Concentration (pCi/L) MW-205**: NDA<431; Tritium Concentration (pCi/L) MW-209**: 1180; Tritium Concentration (pCi/L) MW-211**: 1320; Tritium Concentration (pCi/L) MW-216**: 4740; Tritium Concentration (pCi/L) MW-218**: 2110; Tritium Concentration (pCi/L) MW-219**: 1670
| MDPH/MERL | Tritium Concentration (pCi/L) MW-205**: NDA<300; Tritium Concentration (pCi/L) MW-209**: 1186; Tritium Concentration (pCi/L) MW-211**: 1093; Tritium Concentration (pCi/L) MW-216**: 4418; Tritium Concentration (pCi/L) MW-218**: 1781; Tritium Concentration (pCi/L) MW-219**: 1287
2014-09-22 | Entergy | Tritium Concentration (pCi/L) MW-201: NDA<396; Tritium Concentration (pCi/L) MW-205**: NDA<383; Tritium Concentration (pCi/L) MW-206**: NDA<365; Tritium Concentration (pCi/L) MW-209**: 1610; Tritium Concentration (pCi/L) MW-211**: 940; Tritium Concentration (pCi/L) MW-215**: 833; Tritium Concentration (pCi/L) MW-216**: 3090; Tritium Concentration (pCi/L) MW-218**: 2090; Tritium Concentration (pCi/L) MW-219**: 1210
| MDPH/MERL | Tritium Concentration (pCi/L) MW-201: NDA<300; Tritium Concentration (pCi/L) MW-205**: NDA<300; Tritium Concentration (pCi/L) MW-206**: NDA<300; Tritium Concentration (pCi/L) MW-209**: 1080; Tritium Concentration (pCi/L) MW-211**: 1102; Tritium Concentration (pCi/L) MW-215**: 891; Tritium Concentration (pCi/L) MW-216**: 3465; Tritium Concentration (pCi/L) MW-218**: 2055; Tritium Concentration (pCi/L) MW-219**: 1423
2014-09-29 | Entergy | Tritium Concentration (pCi/L) MW-205**: NDA<417; Tritium Concentration (pCi/L) MW-209**: 1310; Tritium Concentration (pCi/L) MW-211**: 1360; Tritium Concentration (pCi/L) MW-216**: 5430; Tritium Concentration (pCi/L) MW-218**: 2300; Tritium Concentration (pCi/L) MW-219**: 1350
| MDPH/MERL | Tritium Concentration (pCi/L) MW-205**: NDA<300; Tritium Concentration (pCi/L) MW-209**: 1116; Tritium Concentration (pCi/L) MW-211**: 1046; Tritium Concentration (pCi/L) MW-216**: 5399; Tritium Concentration (pCi/L) MW-218**: 2346; Tritium Concentration (pCi/L) MW-219**: 1064
Notes:
* Entergy samples collected and analyzed by Entergy contract laboratory; MDPH split samples received from Entergy and analyzed by MDPH/RCP Massachusetts Environmental Radiation Laboratory (MERL)
** Groundwater Monitoring Wells MW-202I, MW-205, MW-206, MW-207, MW-208S, and MW-208I were installed in Spring 2010; MW-209, MW-210, MW-211, MW-212, MW-213, and MW-214 were installed Summer 2010; MW-215 and MW217 were installed in late Autumn 2011; MW-216 was installed in late Summer 2012; MW4R, MW218 and MW219 were installed in late Autumn 2013.
*** Results pending
NDA< = Not detected at less than activity value listed
N.A. = Not analyzed
N.S. = Not sampled