## Data_1
Summary of Tritium Detected in Groundwater Monitoring Wells
Fourth Quarter of 2014
Pilgrim Nuclear Power Station
Plymouth, MA
Sample Collected Week of | Reported By | Tritium Concentration (pCi/L)
|  | MW-201 | MW-202 | MW-202I | MW-204 | MW-205 | MW-206 | MW-207 | MW-208S | MW-208I | MW-209 | MW-210 | MW-211 | MW-212 | MW-213 | MW-214 | MW-215 | MW-216 | MW-217 | MW-218 | MW-219 | MW-220 | MW-3 | MW4R
2014-10-06 | Entergy/GEL | Tritium Concentration (pCi/L) MW-201: <348; Tritium Concentration (pCi/L) MW-205: <388; Tritium Concentration (pCi/L) MW-206: 1030; Tritium Concentration (pCi/L) MW-209: 1190; Tritium Concentration (pCi/L) MW-211: 992; Tritium Concentration (pCi/L) MW-215: 821; Tritium Concentration (pCi/L) MW-216: 6610; Tritium Concentration (pCi/L) MW-218: 2310; Tritium Concentration (pCi/L) MW-219: 855
| MDPH/MERL | Tritium Concentration (pCi/L) MW-201: 420; Tritium Concentration (pCi/L) MW-205: <300; Tritium Concentration (pCi/L) MW-206: 921; Tritium Concentration (pCi/L) MW-209: 1273; Tritium Concentration (pCi/L) MW-211: 1163; Tritium Concentration (pCi/L) MW-215: 967; Tritium Concentration (pCi/L) MW-216: 6257; Tritium Concentration (pCi/L) MW-218: 2061; Tritium Concentration (pCi/L) MW-219: 998
2014-10-13 | Entergy/GEL | Tritium Concentration (pCi/L) MW-205: <350; Tritium Concentration (pCi/L) MW-209: 1150; Tritium Concentration (pCi/L) MW-211: 1230; Tritium Concentration (pCi/L) MW-216: 3180; Tritium Concentration (pCi/L) MW-218: 3030; Tritium Concentration (pCi/L) MW-219: 970
| MDPH/MERL | Tritium Concentration (pCi/L) MW-205: 545; Tritium Concentration (pCi/L) MW-209: 1461; Tritium Concentration (pCi/L) MW-211: 1449; Tritium Concentration (pCi/L) MW-216: 3573; Tritium Concentration (pCi/L) MW-218: 2889; Tritium Concentration (pCi/L) MW-219: 1536
2014-10-20 | Entergy/GEL | Tritium Concentration (pCi/L) MW-201: <397; Tritium Concentration (pCi/L) MW-205: <367; Tritium Concentration (pCi/L) MW-206: <367; Tritium Concentration (pCi/L) MW-209: 1600; Tritium Concentration (pCi/L) MW-211: 1270; Tritium Concentration (pCi/L) MW-215: 1040; Tritium Concentration (pCi/L) MW-216: 5940; Tritium Concentration (pCi/L) MW-218: 3200; Tritium Concentration (pCi/L) MW-219: 1240
| MDPH/MERL | Tritium Concentration (pCi/L) MW-201: 497; Tritium Concentration (pCi/L) MW-205: 521; Tritium Concentration (pCi/L) MW-206: 554; Tritium Concentration (pCi/L) MW-209: 1721; Tritium Concentration (pCi/L) MW-211: 1143; Tritium Concentration (pCi/L) MW-215: 969; Tritium Concentration (pCi/L) MW-216: 6127; Tritium Concentration (pCi/L) MW-218: 3127; Tritium Concentration (pCi/L) MW-219: 1241
2014-10-27 | Entergy/GEL | Tritium Concentration (pCi/L) MW-205: <394; Tritium Concentration (pCi/L) MW-209: 1270; Tritium Concentration (pCi/L) MW-211: 1310; Tritium Concentration (pCi/L) MW-216: 4630; Tritium Concentration (pCi/L) MW-218: 1860; Tritium Concentration (pCi/L) MW-219: 889
| MDPH/MERL | Tritium Concentration (pCi/L) MW-205: 301; Tritium Concentration (pCi/L) MW-209: 1576; Tritium Concentration (pCi/L) MW-211: 1631; Tritium Concentration (pCi/L) MW-216: 5060; Tritium Concentration (pCi/L) MW-218: 2395; Tritium Concentration (pCi/L) MW-219: 1091
2014-11-03 | Entergy/GEL | Tritium Concentration (pCi/L) MW-201: <369; Tritium Concentration (pCi/L) MW-205: <394; Tritium Concentration (pCi/L) MW-206: 1080; Tritium Concentration (pCi/L) MW-209: 1510; Tritium Concentration (pCi/L) MW-211: 1380; Tritium Concentration (pCi/L) MW-215: 816; Tritium Concentration (pCi/L) MW-216: 4380; Tritium Concentration (pCi/L) MW-218: 1920; Tritium Concentration (pCi/L) MW-219: 659
| MDPH/MERL | Tritium Concentration (pCi/L) MW-201: <300; Tritium Concentration (pCi/L) MW-205: <300; Tritium Concentration (pCi/L) MW-206: 1226; Tritium Concentration (pCi/L) MW-209: 1438; Tritium Concentration (pCi/L) MW-211: 1389; Tritium Concentration (pCi/L) MW-215: 1079; Tritium Concentration (pCi/L) MW-216: 4810; Tritium Concentration (pCi/L) MW-218: 1817; Tritium Concentration (pCi/L) MW-219: 744
2014-11-10 | Entergy/GEL | Tritium Concentration (pCi/L) MW-205: <395; Tritium Concentration (pCi/L) MW-209: 1520; Tritium Concentration (pCi/L) MW-211: 1120; Tritium Concentration (pCi/L) MW-216: 3320; Tritium Concentration (pCi/L) MW-218: 2640; Tritium Concentration (pCi/L) MW-219: 645
| MDPH/MERL | Tritium Concentration (pCi/L) MW-205: <300; Tritium Concentration (pCi/L) MW-209: 1464; Tritium Concentration (pCi/L) MW-211: 1415; Tritium Concentration (pCi/L) MW-216: 3521; Tritium Concentration (pCi/L) MW-218: 2791; Tritium Concentration (pCi/L) MW-219: 956
2014-11-17 | Entergy/GEL |  | <387 | <389 | <406 | <373 | <390 | <399 | <394 | <387 | 1390 | <406 | 1090 | 624 | <393 | <401 | 1280 | 1590 | <391 | 3150 | 591 |  | <395 | 581
| MDPH/MERL |  | <300 | <300 | 400 | <300 | 322 | 363 | <300 | 306 | 1499 | 502 | 1197 | 588 | 302 | <300 | 887 | 1618 | 386 | 2895 | 744 |  | <300 | 718
2014-11-25 | Entergy/GEL | Tritium Concentration (pCi/L) MW-201: 396; Tritium Concentration (pCi/L) MW-205: <389; Tritium Concentration (pCi/L) MW-209: 1450; Tritium Concentration (pCi/L) MW-211: 1370; Tritium Concentration (pCi/L) MW-216: 5600; Tritium Concentration (pCi/L) MW-218: 4010; Tritium Concentration (pCi/L) MW-219: 865
| MDPH/MERL | Tritium Concentration (pCi/L) MW-201: 541; Tritium Concentration (pCi/L) MW-205: 319; Tritium Concentration (pCi/L) MW-209: 1431; Tritium Concentration (pCi/L) MW-211: 1263; Tritium Concentration (pCi/L) MW-216: 5012; Tritium Concentration (pCi/L) MW-218: 3427; Tritium Concentration (pCi/L) MW-219: 909
2014-12-01 | Entergy/GEL | Tritium Concentration (pCi/L) MW-201: <444; Tritium Concentration (pCi/L) MW-205: <448; Tritium Concentration (pCi/L) MW-206: <448; Tritium Concentration (pCi/L) MW-209: 1070; Tritium Concentration (pCi/L) MW-211: 1110; Tritium Concentration (pCi/L) MW-215: 842; Tritium Concentration (pCi/L) MW-216: 2680; Tritium Concentration (pCi/L) MW-218: 3240; Tritium Concentration (pCi/L) MW-219: 729
| MDPH/MERL | Tritium Concentration (pCi/L) MW-201: 563; Tritium Concentration (pCi/L) MW-205: 472; Tritium Concentration (pCi/L) MW-206: 372; Tritium Concentration (pCi/L) MW-209: 1631; Tritium Concentration (pCi/L) MW-211: 1288; Tritium Concentration (pCi/L) MW-215: 964; Tritium Concentration (pCi/L) MW-216: 2766; Tritium Concentration (pCi/L) MW-218: 2979; Tritium Concentration (pCi/L) MW-219: 1019
2014-12-08 | Entergy/GEL | Tritium Concentration (pCi/L) MW-205: <396; Tritium Concentration (pCi/L) MW-209: 1560; Tritium Concentration (pCi/L) MW-211: 1440; Tritium Concentration (pCi/L) MW-216: 5060; Tritium Concentration (pCi/L) MW-218: 3210; Tritium Concentration (pCi/L) MW-219: 612
| MDPH/MERL | Tritium Concentration (pCi/L) MW-205: <300; Tritium Concentration (pCi/L) MW-209: 1334; Tritium Concentration (pCi/L) MW-211: 1188; Tritium Concentration (pCi/L) MW-216: 3849; Tritium Concentration (pCi/L) MW-218: 2850; Tritium Concentration (pCi/L) MW-219: 848
2014-12-15 | Entergy/GEL | Tritium Concentration (pCi/L) MW-201: <415; Tritium Concentration (pCi/L) MW-205: <397; Tritium Concentration (pCi/L) MW-206: <350; Tritium Concentration (pCi/L) MW-209: 1020; Tritium Concentration (pCi/L) MW-211: 985; Tritium Concentration (pCi/L) MW-215: 809; Tritium Concentration (pCi/L) MW-216: 1650; Tritium Concentration (pCi/L) MW-218: 2930; Tritium Concentration (pCi/L) MW-219: 857
| MDPH/MERL | Tritium Concentration (pCi/L) MW-201: 539; Tritium Concentration (pCi/L) MW-205: 496; Tritium Concentration (pCi/L) MW-206: 451; Tritium Concentration (pCi/L) MW-209: 1364; Tritium Concentration (pCi/L) MW-211: 1232; Tritium Concentration (pCi/L) MW-215: 983; Tritium Concentration (pCi/L) MW-216: 1917; Tritium Concentration (pCi/L) MW-218: 3226; Tritium Concentration (pCi/L) MW-219: 930
2014-12-22 | Entergy/GEL | Tritium Concentration (pCi/L) MW-205: <408; Tritium Concentration (pCi/L) MW-209: 1400; Tritium Concentration (pCi/L) MW-211: 1220; Tritium Concentration (pCi/L) MW-216: 1820; Tritium Concentration (pCi/L) MW-218: 3300; Tritium Concentration (pCi/L) MW-219: 789
| MDPH/MERL | Tritium Concentration (pCi/L) MW-205: 347; Tritium Concentration (pCi/L) MW-209: 1236; Tritium Concentration (pCi/L) MW-211: 1244; Tritium Concentration (pCi/L) MW-216: 2354; Tritium Concentration (pCi/L) MW-218: 3080; Tritium Concentration (pCi/L) MW-219: 839
2014-12-29 | Entergy/GEL | Tritium Concentration (pCi/L) MW-201: <359; Tritium Concentration (pCi/L) MW-205: <349; Tritium Concentration (pCi/L) MW-206: <371; Tritium Concentration (pCi/L) MW-209: 1240; Tritium Concentration (pCi/L) MW-211: 1140; Tritium Concentration (pCi/L) MW-215: 790; Tritium Concentration (pCi/L) MW-216: 1320; Tritium Concentration (pCi/L) MW-218: 3820; Tritium Concentration (pCi/L) MW-219: 846
| MDPH/MERL | Tritium Concentration (pCi/L) MW-201: 549; Tritium Concentration (pCi/L) MW-205: <300; Tritium Concentration (pCi/L) MW-206: 428; Tritium Concentration (pCi/L) MW-209: 1538; Tritium Concentration (pCi/L) MW-211: 1225; Tritium Concentration (pCi/L) MW-215: 904; Tritium Concentration (pCi/L) MW-216: 1432; Tritium Concentration (pCi/L) MW-218: 3152; Tritium Concentration (pCi/L) MW-219: 1155
Notes:
1. Entergy samples collected by Entergy/Consultant and analyzed by Entergy contract laboratory; MDPH split samples received from Entergy and analyzed by MDPH/RCP Massachusetts Environmental Radiation Laboratory (MERL)
2. Results for some wells are pending
< = Not detected above the reporting level (RL) shown

## QC rev 0
Yes
No
NA