## PNPS tritium 3rd quarter 2015
Sample collected week of | Reported by1 | Tritium concentration p(Ci/L)
|  | MW-201 | MW-202S | MW-202I | MW-204 | MW-205 | MW-206 | MW-207 | MW-208S | MW-208I | MW-209 | MW-210 | MW-211 | MW-212 | MW-213 | MW-214 | MW-215 | MW-216 | MW-217 | MW-218 | MW-219 | MW-220 | MW-3 | MW-4R
2015-07-06 | ENTERGY/GEL | Tritium concentration p(Ci/L) MW-206: <333; Tritium concentration p(Ci/L) MW-209: 565; Tritium concentration p(Ci/L) MW-211: 994; Tritium concentration p(Ci/L) MW-215: 1010; Tritium concentration p(Ci/L) MW-216: 2290; Tritium concentration p(Ci/L) MW-218: 2610; Tritium concentration p(Ci/L) MW-219: 1290
| MDPH/MERL | Tritium concentration p(Ci/L) MW-206: 972.8315; Tritium concentration p(Ci/L) MW-209: <300; Tritium concentration p(Ci/L) MW-211: 422.0233; Tritium concentration p(Ci/L) MW-215: <300; Tritium concentration p(Ci/L) MW-216: 2785.8933; Tritium concentration p(Ci/L) MW-218: 1213.3716; Tritium concentration p(Ci/L) MW-219: 608.0714
2015-07-13 | ENTERGY/GEL | Tritium concentration p(Ci/L) MW-206: <335; Tritium concentration p(Ci/L) MW-209: 473; Tritium concentration p(Ci/L) MW-216: 3250; Tritium concentration p(Ci/L) MW-218: 1690
| MDPH/MERL | Tritium concentration p(Ci/L) MW-206: <300; Tritium concentration p(Ci/L) MW-209: <300; Tritium concentration p(Ci/L) MW-216: 3170.1096; Tritium concentration p(Ci/L) MW-218: 1667.2421
2015-07-21 | ENTERGY/GEL | Tritium concentration p(Ci/L) MW-206: <322; Tritium concentration p(Ci/L) MW-209: 577; Tritium concentration p(Ci/L) MW-216: 3360; Tritium concentration p(Ci/L) MW-218: 1940
| MDPH/MERL | Tritium concentration p(Ci/L) MW-206: <300; Tritium concentration p(Ci/L) MW-209: <300; Tritium concentration p(Ci/L) MW-216: 3275.6; Tritium concentration p(Ci/L) MW-218: 1715.5109
2015-07-27 | ENTERGY/GEL | Tritium concentration p(Ci/L) MW-206: <343; Tritium concentration p(Ci/L) MW-209: 410; Tritium concentration p(Ci/L) MW-216: 2700; Tritium concentration p(Ci/L) MW-218: 1980
| MDPH/MERL | Tritium concentration p(Ci/L) MW-206: <300; Tritium concentration p(Ci/L) MW-209: <300; Tritium concentration p(Ci/L) MW-216: 2622.5866; Tritium concentration p(Ci/L) MW-218: 3115.8369
2015-08-03 | ENTERGY/GEL | Tritium concentration p(Ci/L) MW-206: <183; Tritium concentration p(Ci/L) MW-209: 468; Tritium concentration p(Ci/L) MW-211: 992; Tritium concentration p(Ci/L) MW-215: 726; Tritium concentration p(Ci/L) MW-216: 2930; Tritium concentration p(Ci/L) MW-218: 1750; Tritium concentration p(Ci/L) MW-219: 1140
| MDPH/MERL | Tritium concentration p(Ci/L) MW-206: <300; Tritium concentration p(Ci/L) MW-209: 346.3321; Tritium concentration p(Ci/L) MW-211: 993.8556; Tritium concentration p(Ci/L) MW-215: 664.8782; Tritium concentration p(Ci/L) MW-216: 2546.4522; Tritium concentration p(Ci/L) MW-218: 1643.7927; Tritium concentration p(Ci/L) MW-219: 881.1571
2015-08-12 | ENTERGY/GEL | Tritium concentration p(Ci/L) MW-206: <317; Tritium concentration p(Ci/L) MW-209: 497; Tritium concentration p(Ci/L) MW-216: 3600; Tritium concentration p(Ci/L) MW-218: 1490
| MDPH/MERL | Tritium concentration p(Ci/L) MW-206: <300; Tritium concentration p(Ci/L) MW-209: 561.0528; Tritium concentration p(Ci/L) MW-216: 3696.5838; Tritium concentration p(Ci/L) MW-218: 1511.2833
2015-08-17 | ENTERGY/GEL | Tritium concentration p(Ci/L) MW-206: <323; Tritium concentration p(Ci/L) MW-209: 622; Tritium concentration p(Ci/L) MW-216: 1490; Tritium concentration p(Ci/L) MW-218: 1460
| MDPH/MERL | Tritium concentration p(Ci/L) MW-206: <300; Tritium concentration p(Ci/L) MW-209: 360.6548; Tritium concentration p(Ci/L) MW-216: 3514.8009; Tritium concentration p(Ci/L) MW-218: 1518.5364
2015-08-25 | ENTERGY/GEL | Tritium concentration p(Ci/L) MW-206: <343; Tritium concentration p(Ci/L) MW-209: 854; Tritium concentration p(Ci/L) MW-216: 1480; Tritium concentration p(Ci/L) MW-218: 2070
| MDPH/MERL | Tritium concentration p(Ci/L) MW-206: <300; Tritium concentration p(Ci/L) MW-209: 377.4724; Tritium concentration p(Ci/L) MW-216: 3288.5397; Tritium concentration p(Ci/L) MW-218: 1443.1371
2015-08-31 | ENTERGY/GEL | 476 | 376 | <346 | <306 | <345 | <339 |  | <341 | <347 | 755 | 842 | 749 | 759 | <343 | <344 | 863 | 3480 |  | 1440 | 1340 | 697 | <343 | <346
| MDPH/MERL | 379.9471 | <300 | <300 | 301.9055 | <300 | <300 |  | <300 | <300 | 450.5982 | 341.7542 | 890.0148 | 435.2626 | <300 | <300 | 629.3166 | 3647.4921 |  | 1372.872 | 1046.0575 | 396.7832 | <300 | <300
2015-09-08 | ENTERGY/GEL | Tritium concentration p(Ci/L) MW-206: <347; Tritium concentration p(Ci/L) MW-207: <344; Tritium concentration p(Ci/L) MW-209: 548; Tritium concentration p(Ci/L) MW-216: 2490; Tritium concentration p(Ci/L) MW-217: 678; Tritium concentration p(Ci/L) MW-218: 1940
| MDPH/MERL | Tritium concentration p(Ci/L) MW-206: <300; Tritium concentration p(Ci/L) MW-207: <300; Tritium concentration p(Ci/L) MW-209: 404.9616; Tritium concentration p(Ci/L) MW-216: 2613.2947; Tritium concentration p(Ci/L) MW-217: 378.6082; Tritium concentration p(Ci/L) MW-218: 1372.9178
2015-09-15 | ENTERGY/GEL | Tritium concentration p(Ci/L) MW-206: <334; Tritium concentration p(Ci/L) MW-209: 422; Tritium concentration p(Ci/L) MW-216: 3650; Tritium concentration p(Ci/L) MW-218: 1430
| MDPH/MERL | Tritium concentration p(Ci/L) MW-206: <300; Tritium concentration p(Ci/L) MW-209: <300; Tritium concentration p(Ci/L) MW-216: 4178.6373; Tritium concentration p(Ci/L) MW-218: 1542.3595
2015-09-22 | ENTERGY/GEL | Tritium concentration p(Ci/L) MW-206: <335; Tritium concentration p(Ci/L) MW-209: 437; Tritium concentration p(Ci/L) MW-216: 3630; Tritium concentration p(Ci/L) MW-218: 1340
| MDPH/MERL | Tritium concentration p(Ci/L) MW-206: <300; Tritium concentration p(Ci/L) MW-209: <300; Tritium concentration p(Ci/L) MW-216: 3481.9302; Tritium concentration p(Ci/L) MW-218: 1548.9329
1. Sample analysis for PNPS by Teledyne/GEL; for MDPH analysis is by the Massachusetts Environmental Radiation Laboratory (MERL).
"<" - Results are less than the reporting level shown. MERL's lower detection limit is 300 pCi/L.