## PNPS tritium 4th quarter 2015
Sample collected week of | Reported by1 | Tritium concentration p(Ci/L)
|  | MW-201 | MW-202S | MW-202I | MW-204 | MW-205 | MW-206 | MW-207 | MW-208S | MW-208I | MW-209 | MW-210 | MW-211 | MW-212 | MW-213 | MW-214 | MW-215 | MW-216 | MW-217 | MW-218 | MW-219 | MW-220 | MW-3 | MW-4R
2015-10-01 | ENTERGY/GEL | Tritium concentration p(Ci/L) MW-206: <317; Tritium concentration p(Ci/L) MW-209: <312; Tritium concentration p(Ci/L) MW-216: 4300; Tritium concentration p(Ci/L) MW-218: 1470
| MDPH/MERL | Tritium concentration p(Ci/L) MW-206: <300; Tritium concentration p(Ci/L) MW-209: 327.6888; Tritium concentration p(Ci/L) MW-216: 3936.047; Tritium concentration p(Ci/L) MW-218: 1526.8244
2015-10-06 | ENTERGY/GEL | Tritium concentration p(Ci/L) MW-206: <315; Tritium concentration p(Ci/L) MW-209: <321; Tritium concentration p(Ci/L) MW-211: 797; Tritium concentration p(Ci/L) MW-215: 521; Tritium concentration p(Ci/L) MW-216: 4280; Tritium concentration p(Ci/L) MW-218: 1280; Tritium concentration p(Ci/L) MW-219: 1170
| MDPH/MERL | Tritium concentration p(Ci/L) MW-206: <300; Tritium concentration p(Ci/L) MW-209: <300; Tritium concentration p(Ci/L) MW-211: 984.0118; Tritium concentration p(Ci/L) MW-215: 582.9929; Tritium concentration p(Ci/L) MW-216: 3819.3269; Tritium concentration p(Ci/L) MW-218: 1236.8501; Tritium concentration p(Ci/L) MW-219: 1127.6172
2015-10-12 | ENTERGY/GEL | Tritium concentration p(Ci/L) MW-206: <330; Tritium concentration p(Ci/L) MW-209: 527; Tritium concentration p(Ci/L) MW-216: 3130; Tritium concentration p(Ci/L) MW-218: 1810
| MDPH/MERL | Tritium concentration p(Ci/L) MW-206: <300; Tritium concentration p(Ci/L) MW-209: <300; Tritium concentration p(Ci/L) MW-216: 3050.5423; Tritium concentration p(Ci/L) MW-218: 1432.1749
2015-10-19 | ENTERGY/GEL | Tritium concentration p(Ci/L) MW-206: <334; Tritium concentration p(Ci/L) MW-209: 644; Tritium concentration p(Ci/L) MW-216: 2540; Tritium concentration p(Ci/L) MW-218: 1760
| MDPH/MERL | Tritium concentration p(Ci/L) MW-206: <300; Tritium concentration p(Ci/L) MW-209: <300; Tritium concentration p(Ci/L) MW-216: 2570.6257; Tritium concentration p(Ci/L) MW-218: 1382.0808
2015-10-26 | ENTERGY/GEL | Tritium concentration p(Ci/L) MW-206: <287; Tritium concentration p(Ci/L) MW-209: 470; Tritium concentration p(Ci/L) MW-216: 3280; Tritium concentration p(Ci/L) MW-218: 1630
| MDPH/MERL | Tritium concentration p(Ci/L) MW-206: <300; Tritium concentration p(Ci/L) MW-209: 337.4649; Tritium concentration p(Ci/L) MW-216: 3159.4609; Tritium concentration p(Ci/L) MW-218: 1305.2487
2015-11-02 | ENTERGY/GEL | Tritium concentration p(Ci/L) MW-206: <322; Tritium concentration p(Ci/L) MW-209: 796; Tritium concentration p(Ci/L) MW-211: 1060; Tritium concentration p(Ci/L) MW-215: 899; Tritium concentration p(Ci/L) MW-216: 4110; Tritium concentration p(Ci/L) MW-218: 1620; Tritium concentration p(Ci/L) MW-219: 1260
| MDPH/MERL | Tritium concentration p(Ci/L) MW-206: <300; Tritium concentration p(Ci/L) MW-209: 506.3116; Tritium concentration p(Ci/L) MW-211: 1040.2414; Tritium concentration p(Ci/L) MW-215: 719.8725; Tritium concentration p(Ci/L) MW-216: 3603.3827; Tritium concentration p(Ci/L) MW-218: 1445.6524; Tritium concentration p(Ci/L) MW-219: 1151.1757
2015-11-09 | ENTERGY/GEL | Tritium concentration p(Ci/L) MW-206: <322; Tritium concentration p(Ci/L) MW-209: 646; Tritium concentration p(Ci/L) MW-216: 2480; Tritium concentration p(Ci/L) MW-218: 1690
| MDPH/MERL | Tritium concentration p(Ci/L) MW-206: <300; Tritium concentration p(Ci/L) MW-209: 491.7823; Tritium concentration p(Ci/L) MW-216: 2809.7734; Tritium concentration p(Ci/L) MW-218: 1540.1431
2015-11-16 | ENTERGY/GEL | 438 | <339 | <339 | 579 | <345 | <343 | 572 | <343 | <334 | 762 | 424 | 1050 | 658 | <335 | <339 | 862 | 3090 | 635 | 1270 | 1060 | 577 | <334 | <334
| MDPH/MERL | <300 | <300 | <300 | 308.705 | <300 | <300 | <300 | <300 | <300 | 488.2582 | <300 | 1123.1945 | 462.4899 | <300 | <300 | 633.7665 | 2857.8316 | 436.5404 | 1432.7116 | 952.307 | 448.1446 | <300 | <300
2015-11-24 | ENTERGY/GEL | Tritium concentration p(Ci/L) MW-206: <287; Tritium concentration p(Ci/L) MW-209: 705; Tritium concentration p(Ci/L) MW-216: 3770; Tritium concentration p(Ci/L) MW-218: 1870
| MDPH/MERL | Tritium concentration p(Ci/L) MW-206: <300; Tritium concentration p(Ci/L) MW-209: 659.0978; Tritium concentration p(Ci/L) MW-216: 3721.4148; Tritium concentration p(Ci/L) MW-218: 1679.3109
2015-12-01 | ENTERGY/GEL | Tritium concentration p(Ci/L) MW-206: <346; Tritium concentration p(Ci/L) MW-209: 796; Tritium concentration p(Ci/L) MW-216: 2680; Tritium concentration p(Ci/L) MW-218: 1740
| MDPH/MERL | Tritium concentration p(Ci/L) MW-206: <300; Tritium concentration p(Ci/L) MW-209: 706.8044; Tritium concentration p(Ci/L) MW-216: 2799.7611; Tritium concentration p(Ci/L) MW-218: 1617.0952
2015-12-08 | ENTERGY/GEL | Tritium concentration p(Ci/L) MW-206: 543; Tritium concentration p(Ci/L) MW-209: 675; Tritium concentration p(Ci/L) MW-215: 890; Tritium concentration p(Ci/L) MW-216: 2940; Tritium concentration p(Ci/L) MW-218: 1790; Tritium concentration p(Ci/L) MW-219: 1310
| MDPH/MERL | Tritium concentration p(Ci/L) MW-206: <300; Tritium concentration p(Ci/L) MW-209: 727; Tritium concentration p(Ci/L) MW-215: 867.7967; Tritium concentration p(Ci/L) MW-216: 2658.9089; Tritium concentration p(Ci/L) MW-218: 1549.4791; Tritium concentration p(Ci/L) MW-219: 1194.0442
2015-12-16 | ENTERGY/GEL | Tritium concentration p(Ci/L) MW-206: <296; Tritium concentration p(Ci/L) MW-209: 733; Tritium concentration p(Ci/L) MW-211: 1990; Tritium concentration p(Ci/L) MW-216: 3610; Tritium concentration p(Ci/L) MW-218: 1880
| MDPH/MERL | Tritium concentration p(Ci/L) MW-206: <300; Tritium concentration p(Ci/L) MW-209: <300; Tritium concentration p(Ci/L) MW-211: 1302.0604; Tritium concentration p(Ci/L) MW-216: 3842.8962; Tritium concentration p(Ci/L) MW-218: 1569.8513
2015-12-22 | ENTERGY/GEL | Tritium concentration p(Ci/L) MW-206: <311; Tritium concentration p(Ci/L) MW-209: 818; Tritium concentration p(Ci/L) MW-216: 2620; Tritium concentration p(Ci/L) MW-218: 1330
| MDPH/MERL | Tritium concentration p(Ci/L) MW-206: <300; Tritium concentration p(Ci/L) MW-209: 580.4021; Tritium concentration p(Ci/L) MW-216: 2520.7956; Tritium concentration p(Ci/L) MW-218: 1751.7924
2015-12-29 | ENTERGY/GEL | Tritium concentration p(Ci/L) MW-206: <311; Tritium concentration p(Ci/L) MW-209: 595; Tritium concentration p(Ci/L) MW-216: 2970; Tritium concentration p(Ci/L) MW-218: 1330
| MDPH/MERL | Tritium concentration p(Ci/L) MW-206: 382.8243; Tritium concentration p(Ci/L) MW-209: 651.099; Tritium concentration p(Ci/L) MW-216: 2902.2925; Tritium concentration p(Ci/L) MW-218: 1471.8924
1 - Sample analysis for PNPS is done by Teledyne/GEL; for MDPH analysis is by the Massachusetts Environmental Radiation Laboratory (MERL).
"<" - Results are less than the reporting level shown. MERL's lower detection limit is 300 pCi/L.