## Groundwater Table
Sample collected week of | Reported by1 | Tritium concentration p(Ci/L)
|  | MW-201 | MW-202S | MW-202I | MW-204 | MW-205 | MW-206 | MW-207 | MW-208S | MW-208I | MW-209 | MW-210 | MW-211 | MW-212 | MW-213 | MW-214 | MW-215 | MW-216 | MW-217 | MW-218 | MW-219 | MW-220 | MW-3 | MW-4 R
2020-07-06 | HOLTEC-TEL | Tritium concentration p(Ci/L) MW-209: <263; Tritium concentration p(Ci/L) MW-216: 2050; Tritium concentration p(Ci/L) MW-219: <270
2019-01-09 | MDPH-MERL | Tritium concentration p(Ci/L) MW-209: 402.6; Tritium concentration p(Ci/L) MW-216: 2491.1; Tritium concentration p(Ci/L) MW-219: <300
2020-08-03 | HOLTEC-TEL | Tritium concentration p(Ci/L) MW-209: 487; Tritium concentration p(Ci/L) MW-212: <331; Tritium concentration p(Ci/L) MW-216: 3150; Tritium concentration p(Ci/L) MW-219: <332; Tritium concentration p(Ci/L) MW-220: 400; Tritium concentration p(Ci/L) MW-3: <331
2019-02-26 | MDPH-MERL | Tritium concentration p(Ci/L) MW-209: 465.4; Tritium concentration p(Ci/L) MW-212: 402.1; Tritium concentration p(Ci/L) MW-216: 2903; Tritium concentration p(Ci/L) MW-219: 340.3; Tritium concentration p(Ci/L) MW-220: 500.8; Tritium concentration p(Ci/L) MW-3: <300
2020-08-10 | HOLTEC-TEL | 378 | <327 | <328 | <335 | 913 | <333 | <324 |  |  |  | <340 | 686 |  | <340 | <331 | 594 |  | <319 | 907 |  |  |  | <321
2019-02-26 | MDPH-MERL | <300 | <300 | <300 | <300 | 890.6 | <300 | <300 |  |  |  | <300 | 608.9 |  | 356.2 | <300 | 548.3 |  | <300 | 787.8 |  |  |  | <300
2020-08-31 | HOLTEC-TEL | Tritium concentration p(Ci/L) MW-208S: <335; Tritium concentration p(Ci/L) MW-208I: <330; Tritium concentration p(Ci/L) MW-209: 408; Tritium concentration p(Ci/L) MW-216: 2930; Tritium concentration p(Ci/L) MW-219: <333
2019-02-26 | MDPH-MERL | Tritium concentration p(Ci/L) MW-208S: <300; Tritium concentration p(Ci/L) MW-208I: <300; Tritium concentration p(Ci/L) MW-209: 425.9; Tritium concentration p(Ci/L) MW-216: 2607.9; Tritium concentration p(Ci/L) MW-219: 326.1
2020-10-05 | HOLTEC-TEL | Tritium concentration p(Ci/L) MW-209: 566; Tritium concentration p(Ci/L) MW-216: 2130; Tritium concentration p(Ci/L) MW-219: 383
| MDPH-MERL | Tritium concentration p(Ci/L) MW-209: 451.5; Tritium concentration p(Ci/L) MW-216: 2110.3; Tritium concentration p(Ci/L) MW-219: 398.5
2020-11-02 | HOLTEC-TEL | Tritium concentration p(Ci/L) MW-3: <345
| MDPH-MERL | Tritium concentration p(Ci/L) MW-3: <300
2020-11-09 | HOLTEC-TEL | <337 | <339 | <316 | <340 | 398 | <337 | <345 | <345 | <339 | 619 | 422 | 440 |  | <340 | <349 | 648 | 1830 | <341 | 782 | <343 |  |  | <349
| MDPH-MERL | <300 | <300 | <300 | <300 | <300 | <300 | <300 | <300 | <300 | <300 | <300 | <300 |  | <300 | <300 | 461.1 | 1379.7 | <300 | 503.9 | <300 |  |  | <300
2020-11-16 | HOLTEC-TEL | Tritium concentration p(Ci/L) MW-212: <343; Tritium concentration p(Ci/L) MW-220: <346
| MDPH-MERL | Tritium concentration p(Ci/L) MW-212: <300; Tritium concentration p(Ci/L) MW-220: <300
2020-12-07 | HOLTEC-TEL | Tritium concentration p(Ci/L) MW-209: 467; Tritium concentration p(Ci/L) MW-216: 1420; Tritium concentration p(Ci/L) MW-219: 356
| MDPH-MERL | Tritium concentration p(Ci/L) MW-209: 329.1; Tritium concentration p(Ci/L) MW-216: 1088.5; Tritium concentration p(Ci/L) MW-219: <300
1. Sample analysis for Holtec is by Teledyne and for MDPH is by the Massachusetts Environmental Radiation Laboratory (MERL).
"<" Results are less than the detection limit shown. MERL's lower detection limit is 300 p(Ci/L).