## Groundwater Table
Sample collected week of | Reported by1 | Tritium concentration p(Ci/L)
|  | MW-201 | MW-202S | MW-202I | MW-204 | MW-205 | MW-206 | MW-207 | MW-208S | MW-208I | MW-209 | MW-210 | MW-211 | MW-212 | MW-213 | MW-214 | MW-215 | MW-216 | MW-217 | MW-218 | MW-219 | MW-220 | MW-3 | MW-4 R
2021-07-12 | HOLTEC-TEL | Tritium concentration p(Ci/L) MW-209: <547; Tritium concentration p(Ci/L) MW-216: 799; Tritium concentration p(Ci/L) MW-219: <555
2019-01-09 | MDPH-MERL | Tritium concentration p(Ci/L) MW-209: <300; Tritium concentration p(Ci/L) MW-216: 558; Tritium concentration p(Ci/L) MW-219: <300
2021-08-01 | HOLTEC-TEL |  | <522 | <537 | <546 | <534 | <539 |  | <536 | <523 | <540 | <527 |  |  | <551 | <542 | <541 | <550 |  |  | <526 |  |  | <537
2019-02-26 | MDPH-MERL |  | <300 | 433.4141 | 397.0799 | 508.9729 | <300 |  | 334.5301 | <300 | <300 | <300 |  |  | <300 | <300 | <300 | <300 |  |  | <300 |  |  | 333.8
2021-08-16 | HOLTEC-TEL | Tritium concentration p(Ci/L) MW-207: <541; Tritium concentration p(Ci/L) MW-211: <542; Tritium concentration p(Ci/L) MW-212: <532; Tritium concentration p(Ci/L) MW-217: <548; Tritium concentration p(Ci/L) MW-218: <543; Tritium concentration p(Ci/L) MW-220: <552
2019-02-26 | MDPH-MERL | Tritium concentration p(Ci/L) MW-207: 350.2667; Tritium concentration p(Ci/L) MW-211: 399.7748; Tritium concentration p(Ci/L) MW-212: <300; Tritium concentration p(Ci/L) MW-217: <300; Tritium concentration p(Ci/L) MW-218: <300; Tritium concentration p(Ci/L) MW-220: <300
2021-08-23 | HOLTEC-TEL | Tritium concentration p(Ci/L) MW-3: <521
2019-02-26 | MDPH-MERL | Tritium concentration p(Ci/L) MW-3: <300
2021-09-13 | HOLTEC-TEL | Tritium concentration p(Ci/L) MW-201: <579; Tritium concentration p(Ci/L) MW-209: <575; Tritium concentration p(Ci/L) MW-216: <568; Tritium concentration p(Ci/L) MW-219: <573
2019-02-26 | MDPH-MERL | Tritium concentration p(Ci/L) MW-201: <300; Tritium concentration p(Ci/L) MW-209: <300; Tritium concentration p(Ci/L) MW-216: <300; Tritium concentration p(Ci/L) MW-219: <300
2021-10-04 | HOLTEC-TEL | Tritium concentration p(Ci/L) MW-209: <503; Tritium concentration p(Ci/L) MW-216: 913; Tritium concentration p(Ci/L) MW-219: <507
2019-02-26 | MDPH-MERL | Tritium concentration p(Ci/L) MW-209: <300; Tritium concentration p(Ci/L) MW-216: 922.1151; Tritium concentration p(Ci/L) MW-219: <300
2021-10-25 | HOLTEC-TEL | Tritium concentration p(Ci/L) MW-208S: <505; Tritium concentration p(Ci/L) MW-208I: <462; Tritium concentration p(Ci/L) MW-211: <507; Tritium concentration p(Ci/L) MW-214: <514; Tritium concentration p(Ci/L) MW-217: <472; Tritium concentration p(Ci/L) MW-218: <505; Tritium concentration p(Ci/L) MW-4 R: <498
2019-02-26 | MDPH-MERL | Tritium concentration p(Ci/L) MW-208S: <300; Tritium concentration p(Ci/L) MW-208I: <300; Tritium concentration p(Ci/L) MW-211: <300; Tritium concentration p(Ci/L) MW-214: <300; Tritium concentration p(Ci/L) MW-217: <300; Tritium concentration p(Ci/L) MW-218: <300; Tritium concentration p(Ci/L) MW-4 R: <300
2021-11-01 | HOLTEC-TEL | Tritium concentration p(Ci/L) MW-201: <511; Tritium concentration p(Ci/L) MW-202S: <522; Tritium concentration p(Ci/L) MW-202I: <542; Tritium concentration p(Ci/L) MW-204: <489; Tritium concentration p(Ci/L) MW-205: <505; Tritium concentration p(Ci/L) MW-206: <491; Tritium concentration p(Ci/L) MW-207: <474; Tritium concentration p(Ci/L) MW-210: <514; Tritium concentration p(Ci/L) MW-213: <519; Tritium concentration p(Ci/L) MW-215: <508; Tritium concentration p(Ci/L) MW-3: <486
2019-02-26 | MDPH-MERL | Tritium concentration p(Ci/L) MW-201: <300; Tritium concentration p(Ci/L) MW-202S: <300; Tritium concentration p(Ci/L) MW-202I: <300; Tritium concentration p(Ci/L) MW-204: <300; Tritium concentration p(Ci/L) MW-205: <300; Tritium concentration p(Ci/L) MW-206: <300; Tritium concentration p(Ci/L) MW-207: <300; Tritium concentration p(Ci/L) MW-210: <300; Tritium concentration p(Ci/L) MW-213: <300; Tritium concentration p(Ci/L) MW-215: <300; Tritium concentration p(Ci/L) MW-3: <300
2021-11-15 | HOLTEC-TEL | Tritium concentration p(Ci/L) MW-209: <602; Tritium concentration p(Ci/L) MW-212: <562; Tritium concentration p(Ci/L) MW-216: <545; Tritium concentration p(Ci/L) MW-219: <604; Tritium concentration p(Ci/L) MW-220: <574
2019-02-26 | MDPH-MERL | Tritium concentration p(Ci/L) MW-209: <300; Tritium concentration p(Ci/L) MW-212: <300; Tritium concentration p(Ci/L) MW-216: 417.9056; Tritium concentration p(Ci/L) MW-219: <300; Tritium concentration p(Ci/L) MW-220: <300
2021-12-06 | HOLTEC-TEL | Tritium concentration p(Ci/L) MW-209: <165; Tritium concentration p(Ci/L) MW-216: 486; Tritium concentration p(Ci/L) MW-219: <177
| MDPH-MERL | Tritium concentration p(Ci/L) MW-209: <300; Tritium concentration p(Ci/L) MW-216: 411.049; Tritium concentration p(Ci/L) MW-219: <300
1. Sample analysis for Holtec is by Teledyne and for MDPH is by the Massachusetts Environmental Radiation Laboratory (MERL).
"<" Results are less than the detection limit shown. MERL's lower detection limit is 300 p(Ci/L).