## Groundwater Table
Sample collected week of | Reported by1 | Tritium concentration p(Ci/L)
|  | MW-201 | MW-202S | MW-202I | MW-204 | MW-205 | MW-206 | MW-207 | MW-208S | MW-208I | MW-209 | MW-210 | MW-211 | MW-212 | MW-213 | MW-214 | MW-215 | MW-216 | MW-217 | MW-218 | MW-219 | MW-220 | MW-3 | MW-4 R
2023-02-20 | HOLTEC-TEL | Tritium concentration p(Ci/L) MW-3: <534
2019-01-09 | MDPH-MERL | Tritium concentration p(Ci/L) MW-3: <300
2023-03-20 | HOLTEC-TEL | <511 | <498 | <494 | <525 | <498 | <496 | <528 | <509 | <481 | <504 | <495 | <510 | <491 | <498 | <535 | <496 | <507 | <533 | 585 | <494 | <524 |  | <535
2019-01-09 | MDPH-MERL | <300 | <300 | <300 | <300 | <300 | <300 | <300 | <300 | <300 | <300 | <300 | <300 | <300 | <300 | <300 | <300 | 416.4 | <300 | <300 | <300 | <300 |  | <300
2023-05-15 | HOLTEC-TEL | Tritium concentration p(Ci/L) MW-213: <182; Tritium concentration p(Ci/L) MW-216: 467; Tritium concentration p(Ci/L) MW-3: <181
2019-01-09 | MDPH-MERL | Tritium concentration p(Ci/L) MW-213: <300; Tritium concentration p(Ci/L) MW-216: 345.1; Tritium concentration p(Ci/L) MW-3: <300
2023-05-22 | HOLTEC-TEL | Tritium concentration p(Ci/L) MW-201: <177; Tritium concentration p(Ci/L) MW-202S: <189; Tritium concentration p(Ci/L) MW-202I: <188; Tritium concentration p(Ci/L) MW-204: <178; Tritium concentration p(Ci/L) MW-205: <176; Tritium concentration p(Ci/L) MW-206: <181; Tritium concentration p(Ci/L) MW-209: <176; Tritium concentration p(Ci/L) MW-210: <184; Tritium concentration p(Ci/L) MW-212: <187; Tritium concentration p(Ci/L) MW-215: <184; Tritium concentration p(Ci/L) MW-219: <192; Tritium concentration p(Ci/L) MW-220: <187
2019-01-09 | MDPH-MERL | Tritium concentration p(Ci/L) MW-201: <300; Tritium concentration p(Ci/L) MW-202S: <300; Tritium concentration p(Ci/L) MW-202I: <300; Tritium concentration p(Ci/L) MW-204: <300; Tritium concentration p(Ci/L) MW-205: <300; Tritium concentration p(Ci/L) MW-206: <300; Tritium concentration p(Ci/L) MW-209: <300; Tritium concentration p(Ci/L) MW-210: <300; Tritium concentration p(Ci/L) MW-212: <300; Tritium concentration p(Ci/L) MW-215: <300; Tritium concentration p(Ci/L) MW-219: 306.5; Tritium concentration p(Ci/L) MW-220: <300; Tritium concentration p(Ci/L) MW-4 R: <300
2023-06-19 | HOLTEC-TEL | Tritium concentration p(Ci/L) MW-207: <493; Tritium concentration p(Ci/L) MW-208S: <487; Tritium concentration p(Ci/L) MW-208I: <491; Tritium concentration p(Ci/L) MW-211: <495; Tritium concentration p(Ci/L) MW-214: <488; Tritium concentration p(Ci/L) MW-217: <493; Tritium concentration p(Ci/L) MW-218: <506; Tritium concentration p(Ci/L) MW-4 R: <498
| MDPH-MERL | Tritium concentration p(Ci/L) MW-207: <300; Tritium concentration p(Ci/L) MW-208S: <300; Tritium concentration p(Ci/L) MW-208I: <300; Tritium concentration p(Ci/L) MW-214: <300; Tritium concentration p(Ci/L) MW-217: <300; Tritium concentration p(Ci/L) MW-218: <300; Tritium concentration p(Ci/L) MW-4 R: <300
1. Sample analysis for Holtec is by Teledyne and for MDPH is by the Massachusetts Environmental Radiation Laboratory (MERL).
"<" Results are less than the detection limit shown. MERL's lower detection limit is 300 p(Ci/L).