## Surface Water Table
Summary of Tritium Detected in Surface Water Samples
through December 31, 2023
Pilgrim Nuclear Power Station Plymouth, MA
| Sample Collection Date | Reported By1 | Tritium Concentration (pCi/L)
|  |  | North of MW 205 (Intake) | Surface Water Inlet at Boat Ramp
| 2010-07-07 | Entergy | <402 | <402
|  | MDPH/MERL | <300 | <300
| 2010-07-26 | Entergy | <339 | <340
|  | MDPH/MERL | <300 | <300
| 2010-08-02 | Entergy | <466 | <466
|  | MDPH/MERL | <300 | <300
| 2010-08-09 | Entergy | <316 | <314
|  | MDPH/MERL | Not analyzed | Not analyzed
| 2010-08-26 | Entergy | <343 | <347
|  | MDPH/MERL | Not analyzed | Not analyzed
| 2010-08-30 | Entergy | <320 | <319
|  | MDPH/MERL | Not analyzed | Not analyzed
| September 7/8, 2010 | Entergy | <328 | <326
|  | MDPH/MERL | <300 | <300
| 2010-09-13 | Entergy | <378 | <374
|  | MDPH/MERL | Not analyzed | Not analyzed
| September 20/21, 2010 | Entergy | <393 | <389
|  | MDPH/MERL | Not analyzed | Not analyzed
| September 28/29, 2010 | Entergy | <309 | <311
|  | MDPH/MERL | Not analyzed | Not analyzed
| 2010-10-04 | Entergy | <303 | <305
|  | MDPH/MERL | <300 | <300
| 2010-10-13 | Entergy | <346 | <343
|  | MEPH/MERL | Not analyzed | Not analyzed
| 2010-10-18 | Entergy | <325 | <325
|  | MDPH/MERL | <300 | <300
| 2010-11-01 | Entergy | <339 | <312
|  | MDPH/MERL | <300 | <300
| 2010-11-16 | Entergy | <301 | <305
|  | MDPH/MERL | Not analyzed | Not analyzed
| 2010-11-22 | Entergy | <319 | <319
|  | MDPH/MERL | Not analyzed | Not analyzed
| 2010-11-30 | Entergy | <317 | <398
|  | MDPH/MERL | Not analyzed | Not analyzed
| 2010-12-09 | Entergy | <418 | <416
|  | MDPH/MERL | <300 | <300
| 2010-12-15 | Entergy | <354 | <371
|  | MDPH/MERL | Not analyzed | Not analyzed
| 2011-01-04 | Entergy | <313 | <338
|  | MDPH/MERL | <300 | <300
| 2011-03-02 | Entergy | <399 | <325
|  | MDPH/MERL | <300 | <300
| 2011-03-29 | Entergy | <328 | <327
|  | MDPH/MERL | <300 | <300
| 2011-04-27 | Entergy | <390 | <389
|  | MDPH/MERL | <300 | <300
| 2011-05-25 | Entergy | <372 | <379
|  | MDPH/MERL | <300 | <300
| June 21,2011 | Entergy | <318 | <319
|  | MDPH/MERL | <300 | <300
| 2011-07-19 | Entergy | <306 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2011-08-16 | Entergy | <377 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2011-09-13 | Entergy | <375 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2011-10-11 | Entergy | <300 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2011-11-08 | Entergy | <400 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2012-02-07 | Entergy | <414 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2012-02-21 | Entergy | <333 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2012-03-06 | Entergy | <373 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2012-03-20 | Entergy | <411 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2012-04-03 | Entergy | <385 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2012-04-17 | Entergy | <346 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2012-05-09 | Entergy | <388 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2012-05-21 | Entergy | <405 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2012-05-25 | Entergy | <428 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2012-06-26 | Entergy | No Sample | <419
|  | MDPH/MERL | No Sample | <300
| 2012-07-23 | Entergy | < 419 | No Sample
|  | MDPH/MERL | < 300 | No Sample
| 2012-08-06 | Entergy | < 398 | No Sample
|  | MDPH/MERL | < 300 | No Sample
| 2012-08-20 | Entergy | < 364 | No Sample
|  | MDPH/MERL | < 300 | No Sample
| 2012-09-10 | Entergy | < 333 | No Sample
|  | MDPH/MERL | < 300 | No Sample
| 2012-09-17 | Entergy | < 351 | No Sample
|  | MDPH/MERL | < 300 | No Sample
| 2012-10-01 | Entergy | < 419 | No Sample
|  | MDPH/MERL | < 300 | No Sample
| 2012-10-15 | Entergy | < 359 | No Sample
|  | MDPH/MERL | < 300 | No Sample
| 2012-10-22 | Entergy | < 356 | < 397
|  | MDPH/MERL | < 300 | < 300
| 2012-10-29 | Entergy | < 352 | No Sample
|  | MDPH/MERL | < 300 | No Sample
| 2012-11-12 | Entergy | < 377 | < 391
|  | MDPH/MERL | < 300 | < 300
| 2012-11-26 | Entergy | < 371 | No Sample
|  | MDPH/MERL | < 300 | No Sample
| 2012-12-10 | Entergy | < 381 | No Sample
|  | MDPH/MERL | < 300 | No Sample
| 2012-12-24 | Entergy | < 329 | No Sample
|  | MDPH/MERL | < 300 | No Sample
| 2013-01-07 | Entergy | < 346 | No Sample
|  | MDPH/MERL | < 300 | No Sample
| 2013-01-21 | Entergy | < 365 | No Sample
|  | MDPH/MERL | < 300 | No Sample
| 2013-02-04 | Entergy | < 439 | No Sample
|  | MDPH/MERL | < 300 | No Sample
| 2013-02-18 | Entergy | < 421 | < 425
|  | MDPH/MERL | < 300 | < 300
| 2013-03-11 | Entergy | < 408 | No Sample
|  | MDPH/MERL | < 300 | No Sample
| 2013-03-18 | Entergy | < 373 | No Sample
|  | MDPH/MERL | < 300 | No Sample
| 2013-04-01 | Entergy | < 343 | No Sample
|  | MDPH/MERL | < 300 | No Sample
| 2013-04-15 | Entergy | < 333 | No Sample
|  | MDPH/MERL | < 300 | No Sample
| 2013-04-29 | Entergy | < 336 | No Sample
|  | MDPH/MERL | < 300 | No Sample
| 2013-05-13 | Entergy | < 413 | < 432
|  | MDPH/MERL | < 300 | < 300
| 2013-05-27 | Entergy | < 376 | No Sample
|  | MDPH/MERL | < 300 | No Sample
| 2013-06-10 | Entergy | < 348 | No Sample
|  | MDPH/MERL | < 300 | No Sample
| 2013-06-24 | Entergy | < 351 | No Sample
|  | MDPH/MERL | < 300 | No Sample
| 2013-07-08 | Entergy | < 333 | No Sample
|  | MDPH/MERL | < 300 | No Sample
| 2013-07-22 | Entergy | < 414 | No Sample
|  | MDPH/MERL | < 300 | No Sample
| 2013-08-05 | Entergy | < 357 | No Sample
|  | MDPH/MERL | < 300 | No Sample
| 2013-08-19 | Entergy | < 351 | No Sample
|  | MDPH/MERL | < 300 | No Sample
| 2013-08-26 | Entergy | < 384 | < 360
|  | MDPH/MERL | < 300 | < 300
| 2013-09-02 | Entergy | < 438 | No Sample
|  | MDPH/MERL | < 300 | No Sample
| 2013-09-16 | Entergy | < 436 | No Sample
|  | MDPH/MERL | < 300 | No Sample
| 2013-09-30 | Entergy | < 356 | No Sample
|  | MDPH/MERL | Unable to Analyze | No Sample
| 2013-10-14 | Entergy | < 379 | No Sample
|  | MDPH/MERL | < 300 | No Sample
| 2013-10-28 | Entergy | < 356 | No Sample
|  | MDPH/MERL | < 300 | No Sample
| 2013-11-04 | Entergy | No Sample | < 356
|  | MDPH/MERL | No Sample | < 300
| 2013-11-11 | Entergy | < 361 | No Sample
|  | MDPH/MERL | < 300 | No Sample
| 2013-11-25 | Entergy | < 308 | No Sample
|  | MDPH/MERL | < 300 | No Sample
| 2013-12-09 | Entergy | < 366 | No Sample
|  | MDPH/MERL | < 300 | No Sample
| 2013-12-23 | Entergy *** |  | No Sample
|  | MDPH/MERL | < 300 | No Sample
| 2014-01-06 | Entergy | < 379 | No Sample
|  | MDPH/MERL | < 300 | No Sample
| 2014-01-13 | Entergy | < 347 | No Sample
|  | MDPH/MERL | < 300 | No Sample
| 2014-01-20 | Entergy | < 348 | No Sample
|  | MDPH/MERL | < 300 | No Sample
| 2014-02-03 | Entergy | < 404 | No Sample
|  | MDPH/MERL | < 300 | No Sample
| 2014-02-10 | Entergy | < 361 | < 370
|  | MDPH/MERL | < 300 | < 300
| 2014-02-17 | Entergy | < 376 | No Sample
|  | MDPH/MERL | < 300 | No Sample
| 2014-02-24 | Entergy | < 337 | No Sample
|  | MDPH/MERL | < 300 | No Sample
| 2014-03-03 | Entergy | < 355 | No Sample
|  | MDPH/MERL | < 300 | No Sample
| 2014-03-10 | Entergy | < 351 | No Sample
|  | MDPH/MERL | < 300 | No Sample
| 2014-03-17 | Entergy | < 329 | No Sample
|  | MDPH/MERL | < 300 | No Sample
| 2014-03-24 | Entergy | < 311 | No Sample
|  | MDPH/MERL | < 300 | No Sample
| 2014-03-31 | Entergy | < 367 | No Sample
|  | MDPH/MERL | < 300 | No Sample
| 2014-04-07 | Entergy | < 353 | No Sample
|  | MDPH/MERL | < 300 | No Sample
| 2014-04-14 | Entergy | < 332 | No Sample
|  | MDPH/MERL | < 300 | No Sample
| 2014-04-21 | Entergy | < 352 | No Sample
|  | MDPH/MERL | < 300 | No Sample
| 2014-04-28 | Entergy | < 316 | No Sample
|  | MDPH/MERL | < 300 | No Sample
| 2014-05-05 | Entergy | < 317 | No Sample
|  | MDPH/MERL | < 300 | No Sample
| 2014-05-12 | Entergy | < 343 | < 368
|  | MDPH/MERL | < 300 | < 300
| 2014-05-19 | Entergy | < 364 | No Sample
|  | MDPH/MERL | < 300 | No Sample
| 2014-05-26 | Entergy | < 370 | No Sample
|  | MDPH/MERL | < 300 | No Sample
| 2014-06-02 | Entergy | < 345 | No Sample
|  | MDPH/MERL | < 300 | No Sample
| 2014-06-12 | Entergy | <378 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2014-06-16 | Entergy | <336 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2014-06-25 | Entergy | <341 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2014-06-30 | Entergy | <412 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2014-07-07 | Entergy | <416 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2014-07-14 | Entergy | <405 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2014-07-21 | Entergy | <396 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2014-07-28 | Entergy | <386 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2014-08-04 | Entergy | <383 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2014-08-11 | Entergy | <366 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2014-08-19 | Entergy | <363 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2014-08-25 | Entergy | <372 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2014-09-02 | Entergy | <400 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2014-09-09 | Entergy | <312 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2014-09-15 | Entergy | <375 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2014-09-22 | Entergy | <386 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2014-09-29 | Entergy | <416 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2014-10-06 | Entergy | No Sample | <427
|  | MDPH/MERL | No Sample | <300
| 2014-10-10 | Entergy | <388 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2014-10-13 | Entergy | <351 | No Sample
|  | MDPH/MERL | 305 | No Sample
| 2014-10-24 | Entergy | <390 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2014-10-28 | Entergy | <391 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2014-11-07 | Entergy | <390 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2014-11-10 | Entergy | <361 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2014-11-19 | Entergy | <382 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2014-11-21 | Entergy | No Sample | <386
|  | MDPH/MERL | No Sample | <300
| 2014-11-24 | Entergy | <391 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2014-12-01 | Entergy | <360 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2014-12-08 | Entergy | <397 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2014-12-15 | Entergy | <396 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2014-12-22 | Entergy | <358 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2014-12-29 | Entergy | <354 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2015-01-05 | Entergy | <351 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2015-01-12 | Entergy | <349 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2015-01-19 | Entergy | <356 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2015-02-01 | Entergy | <352 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2015-02-05 | Entergy | <345 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2015-02-10 | Entergy | <408 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2015-02-17 | Entergy | <426 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2015-02-27 | Entergy | <400 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2015-03-02 | Entergy | <388 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2015-03-09 | Entergy | <401 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2015-03-20 | Entergy | <382 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2015-03-23 | Entergy | <364 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2015-04-02 | Entergy | <361 | <363
|  | MDPH/MERL | <300 | <300
| 2015-04-06 | Entergy | <309 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2015-04-16 | Entergy | <308 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2015-04-20 | Entergy | <340 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2015-04-27 | Entergy | <345 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2015-05-04 | Entergy | <245 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2015-05-11 | Entergy | <285 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2015-05-18 | Entergy | <281 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2015-05-25 | Entergy | <315 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2015-06-01 | Entergy | <317 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2015-06-08 | Entergy | <339 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2015-06-15 | Entergy | <327 | <330
|  | MDPH/MERL | <300 | <300
| 2015-06-24 | Entergy | <311 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2015-06-29 | Entergy | <332 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2015-07-06 | Entergy | <336 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2015-07-14 | Entergy | <333 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2015-07-20 | Entergy | <319 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2015-07-27 | Entergy | <348 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2015-08-03 | Entergy | <183 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2015-08-10 | Entergy | <319 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2015-08-17 | Entergy | <325 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2015-08-25 | Entergy | <338 | No Sample
|  | MDPH/MERL |  | No Sample
| 2015-08-31 12:35 | Entergy | <342 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2015-09-11 11:10 | Entergy | <341 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2015-09-14 10:35 | Entergy | <338 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2015-09-23 15:45 | Entergy | <339 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2015-09-28 10:25 | Entergy | <317 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2015-10-08 07:50 | Entergy | <323 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2015-10-15 | Entergy | <336 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2015-10-20 | Entergy | <336 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2015-10-30 | Entergy | <315 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2015-11-04 | Entergy | <322 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2015-11-13 | Entergy | <332 | No sample
|  | MDPH/MERL | <300 | No sample
| 2015-11-16 | Entergy | <350 | <337
|  | MDPH/MERL | <300 | <300
| 2015-11-23 | Entergy | <282 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2015-11-30 | Entergy | <285 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2015-12-07 | Entergy | <327 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2015-12-14 | Entergy | <300 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2015-12-21 | Entergy | <317 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2015-12-31 | Entergy | <309 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2016-01-04 | Entergy | <344 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2016-01-11 | Entergy | <346 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2016-01-18 | Entergy | <347 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2016-01-25 | Entergy | <348 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2016-02-01 | Entergy | <320 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2016-02-12 | Entergy | <328 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2016-02-15 | Entergy | <324 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2016-02-22 | Entergy | <322 | <337
|  | MDPH/MERL | <300 | <300
| 2016-02-29 | Entergy | <289 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2016-03-08 | Entergy | <280 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2016-03-14 | Entergy | <283 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2016-03-22 | Entergy | <317 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2016-03-29 | Entergy | <314 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2016-04-04 | Entergy | <320 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2016-04-11 | Entergy | <316 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2016-04-19 | Entergy | <312 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2016-04-25 | Entergy | <327 | <305
|  | MDPH/MERL | <300 | <300
| 2016-05-02 | Entergy | <315 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2016-05-09 | Entergy | <327 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2016-05-16 | Entergy | <324 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2016-05-24 | Entergy | <193 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2016-06-02 | Entergy | <299 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2016-06-06 | Entergy | <308 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2016-06-13 | Entergy | <296 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2016-06-20 | Entergy | <304 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2016-06-27 | Entergy | <174 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2016-07-05 | ENTERGY/GEL | <347 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2016-07-11 | ENTERGY/GEL | <347 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2016-07-19 | ENTERGY/GEL | <333 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2016-07-26 | ENTERGY/GEL | <329 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2016-08-03 | ENTERGY/GEL | <346 | <336
|  | MDPH/MERL | <300 | <300
| 2016-08-09 | ENTERGY/GEL | <344 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2016-08-15 | ENTERGY/GEL | <343 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2016-08-22 | ENTERGY/GEL | <343 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2016-08-29 | ENTERGY/GEL | <344 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2016-09-06 | ENTERGY/GEL | <339 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2016-09-12 | ENTERGY/GEL | <287 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2016-09-20 | ENTERGY/GEL | <269 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2016-09-29 | ENTERGY/GEL | <345 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2016-10-04 | ENTERGY/GEL | <336 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2016-10-10 | ENTERGY/GEL | <341 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2016-11-03 | ENTERGY/GEL | <331 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2016-11-14 | ENTERGY/GEL | <243 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2016-12-07 | ENTERGY/GEL | <244 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2016-12-27 | ENTERGY/GEL | <325 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2017-01-04 | ENTERGY/GEL | NDA<258 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2017-01-11 | ENTERGY/GEL | NDA<265 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2017-01-18 | ENTERGY/GEL | NDA<262 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2017-01-25 | ENTERGY/GEL | NDA<276 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2017-02-02 | ENTERGY/GEL | NDA<280 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2017-02-08 | ENTERGY/GEL | NDA<285 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2017-02-15 | ENTERGY/GEL | NDA<276 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2017-02-23 | ENTERGY/GEL | NDA<277 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2017-03-03 | ENTERGY/GEL | NDA<282 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2017-03-08 | ENTERGY/GEL | NDA<279 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2017-03-16 | ENTERGY/GEL | NDA<280 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2017-03-22 | ENTERGY/GEL | NDA<280 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2017-03-30 | ENTERGY/GEL | NDA<266 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2017-04-05 | ENTERGY/GEL | NDA<263 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2017-04-12 | ENTERGY/GEL | NDA<269 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2017-04-19 | ENTERGY/GEL | NDA<287 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2017-04-26 | ENTERGY/GEL | NDA<290 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2017-05-03 | ENTERGY/GEL | NDA<290 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2017-05-10 | MDPH/MERL | NDA<268 | No Sample
|  | ENTERGY/GEL | <300 | No Sample
| 2017-05-17 | ENTERGY/GEL | NDA<264 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2017-05-24 | ENTERGY/GEL | NDA<223 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2017-05-31 | ENTERGY/GEL | NDA<230 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2017-06-08 | ENTERGY/GEL | NDA<229 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2017-06-14 | ENTERGY/GEL | NDA<259 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2017-06-21 | ENTERGY/GEL | NDA<280 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2017-06-28 | ENTERGY/GEL | NDA<277 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2017-07-05 | ENTERGY/GEL | NDA<277 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2017-07-12 | ENTERGY/GEL | NDA<281 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2017-07-19 | ENTERGY/GEL | NDA<284 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2017-07-26 | ENTERGY/GEL | NDA<280 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2017-08-02 | ENTERGY/GEL | NDA<276 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2017-08-09 | ENTERGY/GEL | NDA<278 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2017-08-16 | MDPH/MERL | NDA<263 | No Sample
|  | ENTERGY/GEL | <300 | No Sample
| 2017-08-23 | ENTERGY/GEL | NDA<270 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2017-08-30 | ENTERGY/GEL | NDA<265 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2017-09-06 | ENTERGY/GEL | NDA<309 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2017-09-14 | ENTERGY/GEL | NDA<278 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2017-09-27 | ENTERGY/GEL | NDA<285 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2017-10-05 | ENTERGY/GEL | NDA<289 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2017-10-11 | ENTERGY/GEL | NDA<286 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2017-10-20 | ENTERGY/GEL | NDA<296 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2017-10-25 | ENTERGY/GEL | NDA<291 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2017-11-03 | ENTERGY/GEL | NDA<277 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2017-11-08 | ENTERGY/GEL | NDA<281 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2017-11-15 | ENTERGY/GEL | NDA<278 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2017-11-22 | ENTERGY/GEL | NDA<264 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2017-11-29 | ENTERGY/GEL | NDA<276 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2017-12-06 | ENTERGY/GEL | NDA<275 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2017-12-13 | ENTERGY/GEL | NDA<346 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2017-12-20 | ENTERGY/GEL | NDA<327 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2017-12-28 | ENTERGY/GEL | NDA<340 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2018-01-01 | ENTERGY/GEL | NDA<337 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2018-01-08 | ENTERGY/GEL | NDA<323 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2018-01-15 | ENTERGY/GEL | NDA<321 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2018-01-22 | ENTERGY/GEL | NDA<321 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2018-01-29 | ENTERGY/GEL | NDA<272 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2018-02-05 | ENTERGY/GEL | NDA<274 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2018-02-12 | ENTERGY/GEL | NDA<270 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2018-02-19 | ENTERGY/GEL | NDA<331 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2018-02-26 | ENTERGY/GEL | NDA<273 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2018-03-05 | ENTERGY/GEL | NDA<281 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2018-03-12 | ENTERGY/GEL | NDA<328 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2018-03-19 | ENTERGY/GEL | NDA<292 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2018-03-26 | ENTERGY/GEL | NDA<287 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2018-04-02 | ENTERGY/GEL | NDA<316 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2018-04-09 | ENTERGY/GEL | NDA<308 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2018-04-16 | ENTERGY/GEL | NDA<317 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2018-04-23 | ENTERGY/GEL | NDA<325 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2018-04-30 | ENTERGY/GEL | NDA<294 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2018-05-07 | ENTERGY/GEL | NDA<291 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2018-05-14 | ENTERGY/GEL | NDA<290 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2018-05-21 | ENTERGY/GEL | NDA<328 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2018-05-28 | ENTERGY/GEL | NDA<325 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2018-06-04 | ENTERGY/GEL | NDA<305 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2018-06-11 | ENTERGY/GEL | NDA<302 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2018-06-18 | ENTERGY/GEL | NDA<332 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2018-06-25 | ENTERGY/GEL | NDA<318 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2018-07-02 | ENTERGY/GEL | NDA<293 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2018-07-09 | ENTERGY/GEL | NDA<306 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2018-07-16 | ENTERGY/GEL | NDA<305 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2018-07-23 | ENTERGY/GEL | NDA<318 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2018-07-30 | ENTERGY/GEL | NDA<328 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2018-08-06 | ENTERGY/GEL | NDA<336 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2018-08-13 | ENTERGY/GEL | NDA<330 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2018-08-20 | ENTERGY/GEL | NDA<328 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2018-08-28 | ENTERGY/GEL | NDA<290 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2018-09-03 | ENTERGY/GEL | NDA<288 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2018-09-10 | ENTERGY/GEL | NDA<320 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2018-09-17 | ENTERGY/GEL | NDA<321 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2018-09-24 | ENTERGY/GEL | NDA<332 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2018-10-01 | ENTERGY/GEL | NDA<326 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2018-10-08 | ENTERGY/GEL | NDA<319 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2018-10-15 | ENTERGY/GEL | NDA<308 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2018-10-22 | ENTERGY/GEL | NDA<316 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2018-10-29 | ENTERGY/GEL | NDA<309 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2018-11-05 | ENTERGY/GEL | NDA<320 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2018-11-14 | ENTERGY/GEL | NDA<326 | No Sample
|  | MDPH/MERL |  | No Sample
| 2018-11-19 | ENTERGY/GEL | NDA<328 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2018-11-26 | ENTERGY/GEL | NDA<321 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2018-12-03 | ENTERGY/GEL | NDA<313 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2018-12-10 | ENTERGY/GEL | NDA<320 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2018-12-17 | ENTERGY/GEL | NDA<330 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2018-12-24 | ENTERGY/GEL | NDA<286 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2019-01-03 | ENTERGY/TEL | NDA<282 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2019-01-10 | ENTERGY/TEL | NDA<309 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2019-01-17 | ENTERGY/TEL | NDA<303 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2019-01-24 | ENTERGY/TEL | NDA<324 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2019-01-31 | ENTERGY/TEL | NDA<325 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2019-02-07 | ENTERGY/TEL | NDA<329 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2019-02-14 | ENTERGY/TEL | NDA<315 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2019-02-21 | ENTERGY/TEL | NDA<341 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2019-03-07 | ENTERGY/TEL | NDA<309 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2019-03-14 | ENTERGY/TEL | NDA<330 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2019-03-21 | ENTERGY/TEL | NDA<335 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2019-03-28 | ENTERGY/TEL | NDA<336 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2019-04-04 | ENTERGY/TEL | NDA<333 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2019-04-11 | ENTERGY/TEL | NDA<338 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2019-04-18 | ENTERGY/TEL | NDA<179 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2019-04-25 | ENTERGY/TEL | NDA<341 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2019-05-02 | ENTERGY/TEL | NDA<329 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2019-05-08 | ENTERGY/TEL | NDA<308 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2019-05-15 | ENTERGY/TEL | NDA<308 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2019-05-24 | ENTERGY/TEL | NDA<318 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2019-05-29 | ENTERGY/TEL | NDA<299 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2019-06-05 | HOLTEC/TEL | NDA<304 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2019-06-12 | HOLTEC/TEL | NDA<288 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2019-06-19 | HOLTEC/TEL | NDA<289 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2019-06-26 | HOLTEC/TEL | NDA<288 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2019-07-10 | HOLTEC/TEL | NDA<272 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2019-07-17 | HOLTEC/TEL | NDA<268 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2019-07-24 | HOLTEC/TEL | NDA<311 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2019-07-31 | HOLTEC/TEL | NDA<300 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2019-08-09 | HOLTEC/TEL | NDA<290 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2019-08-15 | HOLTEC/TEL | NDA<287 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2019-09-18 | HOLTEC/TEL | NDA<299 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2019-10-15 | HOLTEC/TEL | NDA<280 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2019-11-14 | HOLTEC/TEL | NDA<296 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2019-12-16 | HOLTEC/TEL | NDA<301 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2020-01-08 | HOLTEC/TEL | NDA<315 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2020-02-05 | HOLTEC/TEL | NDA<288 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2020-03-03 | HOLTEC/TEL | NDA<344 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2020-04-08 | HOLTEC/TEL | NDA<301 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2020-05-07 | HOLTEC/TEL | NDA<282 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2020-06-08 | HOLTEC/TEL | NDA<330 | No Sample
|  | MDPH/MERL | <300 | No Sample
| 2020-07-09 | HOLTEC-TEL | NDA<266 | No Sample
|  | MDPH-MERL | <300 | No Sample
| 2020-08-10 | HOLTEC-TEL | NDA<335 | No Sample
|  | MDPH-MERL | <300 | No Sample
| 2020-09-03 | HOLTEC-TEL | NDA<329 | No Sample
|  | MDPH-MERL | <300 | No Sample
| 2020-10-02 | HOLTEC-TEL | NDA<337 | No Sample
|  | MDPH-MERL | <300 | No Sample
| 2020-11-03 | HOLTEC-TEL | NDA<346 | No Sample
|  | MDPH-MERL | <300 | No Sample
| 2020-12-03 | HOLTEC-TEL | NDA<342 | No Sample
|  | MDPH-MERL | <300 | No Sample
| 2021-01-08 | HOLTEC-TEL | NDA<397 | No Sample
|  | MDPH-MERL | <300 | No Sample
| 2021-02-08 | HOLTEC-TEL | NDA<360 | No Sample
|  | MDPH-MERL | <300 | No Sample
| 2021-03-05 | HOLTEC-TEL | NDA<353 | No Sample
|  | MDPH-MERL | <300 | No Sample
| 2021-04-02 | HOLTEC-TEL | NDA<307 | No Sample
|  | MDPH-MERL | <300 | No Sample
| 2021-05-03 | HOLTEC-TEL | NDA<548 | No Sample
|  | MDPH-MERL | <300 | No Sample
| 2021-06-09 | HOLTEC-TEL | NDA<473 | No Sample
|  | MDPH-MERL | <300 | No Sample
| 2021-07-14 | HOLTEC-TEL | NDA<548 | No Sample
|  | MDPH-MERL | <300 | No Sample
| 2021-08-09 | HOLTEC-TEL | NDA<534 | No Sample
|  | MDPH-MERL | <300 | No Sample
| 2021-09-09 | HOLTEC-TEL | NDA<572 | No Sample
|  | MDPH-MERL | <300 | No Sample
| 2021-10-14 | HOLTEC-TEL | NDA<499 | No Sample
|  | MDPH-MERL | <300 | No Sample
| 2021-11-10 | HOLTEC-TEL | NDA<501 | No Sample
|  | MDPH-MERL | <300 | No Sample
| 2021-12-09 | HOLTEC-TEL | NDA<172 | No Sample
|  | MDPH-MERL | <300 | No Sample
| 2022-02-16 | HOLTEC-TEL | NDA<510 | No Sample
|  | MDPH-MERL | <300 | No Sample
| 2022-05-09 | HOLTEC-TEL | NDA<526 | No Sample
|  | MDPH-MERL | <300 | No Sample
| 2022-08-02 | HOLTEC-TEL | NDA<611 | No Sample
|  | MDPH-MERL | <300 | No Sample
| 2022-11-09 | HOLTEC-TEL | NDA<576 | No Sample
|  | MDPH-MERL | <300 | No Sample
| 2023-02-09 | HOLTEC-TEL | NDA<419 | No Sample
|  | MDPH-MERL | <300 | No Sample
| 2023-05-15 | HOLTEC-TEL | NDA<401 | No Sample
|  | MDPH-MERL | <300 | No Sample
| 2023-08-21 | HOLTEC-TEL | NDA<602 | No Sample
|  | MDPH-MERL | <300 | No Sample
| 2023-11-09 | HOLTEC-TEL | NDA<632 | No Sample
|  | MDPH-MERL | <300 | No Sample