| UST Owner/Operator Requirements: - Sumps shall be clean and free of solid and liquid material at all times. - All sump sensors shall be placed in accordance with manufacturer’s specifications or the lowest possible location in the sump. - Sumps with continuous monitoring sensors shall be inspected annually. - Required visual inspection shall: - Determine if there is solid or liquid material in the sump; - Inspect for signs of sump corrosion, breakage and wear; and - Verify sump sensors are installed in accordance with manufacturer’s specifications or the lowest possible location in the sump. - If a sensor or visual inspection indicates there is liquid in the sump, the liquid shall be removed immediately in accordance with federal, state and local requirements. - If the liquid is a regulated substance, the Owner/Operator shall investigate the path of entry to the sump and make any necessary repairs. - Repair or replacement of sumps and sump components shall be done in accordance with 310 CMR 80.33 and shall pass an integrity test upon repair or replacement. - All records shall maintain in hard copy or electronically for a minimum of four years. |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Facility Name |  |  |  |  |  | UST ID# |  |  |  |  |  |  |
| Date of Inspection: |  | Basis for Inspection: |  |  | Alarm |  |  | Annual |  |  |  | Other |
| Sump Inspected: Turbine Sump UST #____ Dispenser Sump #____ Intermediate Sump #____ |  | Material Removed: | Regulated Substance Water Solids |  | Path of Entry for Liquid and/or Solids: |  |  |  | UST System leak Crack, tear, hole in sump or boot Failed sump cover seal |  |  |  |
| Liquid and solid material removed immediately and managed in accordance with applicable federal, state and local requirements. |  |  |  |  |  |  |  |  |  |  | Yes No |  |
| Repair Made: |  |  |  | Date of Repair |  |  | Attach Passing Integrity Test Results (if applicable) |  |  |  |  |  |
| Date of Inspection: |  | Basis for Inspection: |  |  | Alarm |  |  | Annual |  |  |  | Other |
| Sump Inspected: Turbine Sump UST #____ Dispenser Sump #____ Intermediate Sump #____ |  | Material Removed: | Regulated Substance Water Solids |  | Path of Entry for Liquid and/or Solids: |  |  |  | UST System leak Crack, tear, hole in sump or boot Failed sump cover seal |  |  |  |
| Liquid and solid material removed immediately and managed in accordance with applicable federal, state and local requirements. |  |  |  |  |  |  |  |  |  |  | Yes No |  |
| Repair Made: |  |  |  | Date of Repair |  |  | Attach Passing Integrity Test Results (if applicable) |  |  |  |  |  |

| Facility Name |  |  |  |  |  | UST ID# |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Date of Inspection: |  | Basis for Inspection: |  |  | Alarm |  |  | Annual |  |  |  | Other |
| Sump Inspected: Turbine Sump UST # Dispenser Sump # Intermediate Sump # |  | Material Removed: | Regulated Substance Water Solids |  | Path of Entry for Liquid and/or Solids: |  |  |  | UST System leak Crack, tear, hole in sump or boot Failed sump cover seal |  |  |  |
| Liquid and solid material removed immediately and managed in accordance with applicable federal, state and local requirements. |  |  |  |  |  |  |  |  |  |  | Yes No |  |
| Repair Made: |  |  |  | Date of Repair |  |  | Attach Passing Integrity Test Results (if applicable) |  |  |  |  |  |
| Date of Inspection: |  | Basis for Inspection: |  |  | Alarm |  |  | Annual |  |  |  | Other |
| Sump Inspected: Turbine Sump UST # Dispenser Sump # Intermediate Sump # |  | Material Removed: | - Regulated Substance - Water - Solids |  | Path of Entry for Liquid and/or Solids: |  |  |  | UST System leak Crack, tear, hole in sump or boot Failed sump cover seal |  |  |  |
| Liquid and solid material removed immediately and managed in accordance with applicable federal, state and local requirements. |  |  |  |  |  |  |  |  |  |  | Yes No |  |
| Repair Made: |  |  |  | Date of Repair |  |  | Attach Passing Integrity Test Results (if applicable) |  |  |  |  |  |
| Date of Inspection: |  | Basis for Inspection: |  |  | Alarm |  |  | Annual |  |  |  | Other |
| Sump Inspected: Turbine Sump UST # Dispenser Sump # Intermediate Sump # |  | Material Removed: | Regulated Substance Water Solids |  | Path of Entry for Liquid and/or Solids: |  |  |  | UST System leak Crack, tear, hole in sump or boot Failed sump cover seal |  |  |  |
| Liquid and solid material removed immediately and managed in accordance with applicable federal, state and local requirements. |  |  |  |  |  |  |  |  |  |  | Yes No |  |
| Repair Made: |  |  |  | Date of Repair |  |  | Attach Passing Integrity Test Results (if applicable) |  |  |  |  |  |