| UST Owner/Operator Requirements: - Sumps shall be clean and free of solid and liquid material at all times. - Sumps without continuous monitoring sensors shall be visually inspected every 90 days. - Required visual inspection shall - Determine if there is solid or liquid material in the sump; - Inspect for signs of sump corrosion, breakage and wear. - Solid and liquid material shall be removed immediately in accordance with applicable federal, state and local requirements. - If the liquid is a regulated substance, the Owner/Operator shall investigate the path of entry to the sump and make any necessary repairs. - Repair or replacement of sumps and sump components shall be done in accordance with 310 CMR 80.33 and shall pass an integrity test upon repair or replacement. - Records of inspections, repairs and replacements shall be maintained in hard copy or electronically for a minimum of four years. |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Facility Name |  |  |  |  |  |  |  | UST ID# |  |  |  |  |
| Date of Inspection (Every 90 days): |  |  |  |  |  |  |  |  |  |  |  |  |
| Sump Inspected: Sump for DEP UST#____ Sump for Dispenser #____ Intermediate Sump #____ |  | Material Removed: |  | Regulated Substance Water Solids |  | Path of Entry for Liquid and/or Solids: |  |  |  | UST System leak Crack, tear, hole in sump or boot Failed sump cover seal |  |  |
| Liquid and solid material removed immediately and managed in accordance with applicable federal, state and local requirements. |  |  |  |  |  |  |  |  |  |  |  | Yes No |
| Repair(s) Made: |  |  |  |  | Date of repair |  |  |  | Attach Passing Integrity Test Results (if applicable) |  |  |  |
| Date of Inspection (Every 90 days): |  |  |  |  |  |  |  |  |  |  |  |  |
| Sump Inspected: Sump for DEP UST#____ Sump for Dispenser #____ Intermediate Sump #____ |  | Material Removed: |  | Regulated Substance Water Solids |  | Path of Entry for Liquid and/or Solids: |  |  |  | UST System leak Crack, tear, hole in sump or boo Failed sump cover seal |  |  |
| Liquid and solid material removed immediately and managed in accordance with applicable federal, state and local requirements. |  |  |  |  |  |  |  |  |  |  |  | Yes No |
| Repair(s) Made: |  |  |  |  | Date of repair |  |  |  | Attach Passing Integrity Test Results (if applicable) |  |  |  |

| Facility Name |  |  |  |  |  |  |  | UST ID# |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Date of Inspection (Every 90 days): |  |  |  |  |  |  |  |  |  |  |  |  |
| Sump Inspected: Sump for DEP UST#____ Sump for Dispenser #____ Intermediate Sump #____ |  | Material Removed: |  | Regulated Substance Water Solids |  | Path of Entry for Liquid and/or Solids: |  |  |  | UST System leak Crack, tear, hole in sump or boot Failed sump cover seal |  |  |
| Liquid and solid material removed immediately and managed in accordance with applicable federal, state and local requirements. |  |  |  |  |  |  |  |  |  |  |  | Yes No |
| Repair(s) Made: |  |  |  |  | Date of repair |  |  |  | Attach Passing Integrity Test Results (if applicable) |  |  |  |
| Date of Inspection (Every 90 days): |  |  |  |  |  |  |  |  |  |  |  |  |
| Sump Inspected: Sump for DEP UST#____ Sump for Dispenser #____ Intermediate Sump #____ |  | Material Removed: |  | Regulated Substance Water Solids |  | Path of Entry for Liquid and/or Solids: |  |  |  | UST System leak Crack, tear, hole in sump or boot Failed sump cover seal |  |  |
| Liquid and solid material removed immediately and managed in accordance with applicable federal, state and local requirements. |  |  |  |  |  |  |  |  |  |  |  | Yes No |
| Repair(s) Made: |  |  |  |  | Date of repair |  |  |  | Attach Passing Integrity Test Results (if applicable) |  |  |  |
| Facility Name |  |  |  |  |  |  |  | UST ID# |  |  |  |  |
| Date of Inspection (Every 90 days): |  |  |  |  |  |  |  |  |  |  |  |  |
| Sump Inspected: Sump for DEP UST#____ Sump for Dispenser #____ Intermediate Sump #____ |  | Material Removed: |  | Regulated Substance Water Solids |  | Path of Entry for Liquid and/or Solids: |  |  |  | UST System leak Crack, tear, hole in sump or boot Failed sump cover seal |  |  |
| Liquid and solid material removed immediately and managed in accordance with applicable federal, state and local requirements. |  |  |  |  |  |  |  |  |  |  |  | Yes No |
| Repair(s) Made: |  |  |  |  | Date of repair |  |  |  | Attach Passing Integrity Test Results (if applicable) |  |  |  |