## Form_F
| Massachusetts Department of Environmental Protection - Drinking Water Program | [13 empty] | SWTR F
TURBIDITY DATA SHEET FOR FILTERED SYSTEMS
I. PWS INFORMATION:
| PWS ID#: |  |  |  | PWS Name: | [7 empty] | PWS Town:
|  |  | Treatment Facility Name: |  |  |  |  | Reporting Period: | Month: |  |  | Year:
II. DAILY REPORTING:
Filtered Water Turbidity Measured (check only one): |  |  |  |  | Combined Filter Effluent |  |  | Individual Filter Effluent
[5 empty] | Clearwell |  |  | Plant Effluent
Filtration Technology: |  | Conventional |  | Direct |  | Alternative | Monthly Turbidity (95%) NTU Limit = 0.3 |  |  |  | Max Day Turbidity NTU Limit = 1.0
|  | Slow Sand |  | Diatomaceous Earth |  |  | Monthly Turbidity (95%) NTU Limit = 1.0 |  |  |  | Max Day Turbidity NTU Limit = 5.0
Day | Max Filtered Water Turbidity Result2 (NTU) |  |  |  | Number of Turbidity Measurements3 |  |  | Number of Turbidity Measurements < Monthly (95%) NTU Limit4 |  |  |  |  | Number of Turbidity Measurements > Max Day NTU Limit5
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
Totals: |  |  |  |  | 0 |  |  | 0 |  |  |  |  | % Turbidity Meeting 95% Limit B/A X 100 % = X (Enter on SWTR - Form G)
[5 empty] | A |  |  | B
1. May be used by systems serving less than 10,000 persons, subject to DEP approval.
2. Enter the Maximum Filtered Water Turbidity Result recorded each day, at the 4th hour or other approved interval.
3. Enter the Total # of Tubidity measurements taken for each day. Measurements must be taken at a minimum of 4-hour intervals (I.e. 6 readings per day). For continous monitors count each 4-hour period as 1 measurement. Record the actual turbidity result at the specified interval of time. Do not average turbidity measurements. If DEP approved, 15-minute readings (i.e. 96 readings per day) may be submitted. Filtered turbidity data must be kept on file for DEP review.
4. Out of the # of tubidity measurements taken and recorded in the previous column, enter the number of turbidity measurements that were less than or equal to the Monthly (95%) NTU Limit for the filtration technology used.
5. If at any time the fitlered turbidity Max Day NTU Limit is exceeded, the DEP must be notified no later than the end of the next business day. For each exceedance, record the turbidity value(s) and date(s) on SWTR - Form G.
I certify under penalties of law that I am the person authorized to fill out this form and the information contained herein is true, accurate and complete to the best extent of my knowledge.
|  |  |  | PWS Authorized Signature: | [5 empty] | Date: |  |  |  | Title:
|  |  |  | Phone #: |  |  |  | Fax: |  |  |  |  | Email:
In accordance with 310 CMR 22.15(2), if mailing paper reports, TWO copies of this report must be received by your MassDEP Regional Office no later than 10 days after the end of the month in which the results are received or no later than 10 days after the end of the monitoring period, whichever is sooner. Please note: Electronic reporting (eDEP) deadline is the same as above.