## Form_G
| Massachusetts Department of Environmental Protection - Drinking Water Program | [13 empty] | SWTR G
COMPLIANCE DETERMINATION FOR FILTERED SYSTEMS - Monthly Report
I. PWS INFORMATION
PWS ID#: |  |  |  | PWS Name: | [7 empty] | PWS Town:
|  | Treatment Plant Name: | [6 empty] | Reporting Period: |  | Month: |  | Year:
II. TURBIDITY PERFORMANCE CRITERIA
1. | Monthly Turbidity (95%) NTU Limit - The turbidity level of a system's filtered water must be less than or equal to the Montly Turbidity NTU Limit in at least 95% of the measurements taken each month for the filtration technology used, otherwise SWTR TT Violation (Tier 2)
|  | = A |  | Total # of filtered water turbidity measurements for month (SWTR - Form F)
|  | = B |  | Total # of filtered water turbidity measurements less than or equal to the specified limits for the filtration technology used. (SWTR - Form F)
| #DIV/0! | = (B/A) X 100 |  | The percentage of turbidity measurements meeting the Monthly Turbidity 95% NTU Limit.
2. | Max Day NTU Limit - The turbidity level of a system's filtered water must at no time exceed the Max Day NTU Limit for the filtration technology used, otherwise SWTR TT Violation (Tier 2).
Record the date and turbidity value for any measurements exceeding the Max Day NTU. Check box if "None"
Date |  | Value |  | Date Reported to DEP |  |  |  |  | Date |  | Value |  | Date Reported to DEP
For each day the Max Day NTU limit is exceeded, the DEP must be notified by the end of the next business day. SWTR TT Violation (Tier 2). If DEP is not consulted within 24 hours then it is a SWTR TT (Tier 1) violation requiring public notification within 24 hours.
III. DISINFECTION PERFORMANCE CRITERIA
1. | Point-of-Entry Minimum Disinfectant Residual Criteria - Residual Disinfectant concentration cannot be <0.2 mg/L for more than 4 hours. SWTR TT Violation (Tier 2).
Minimum Disinfection Residual at Point-of-Entry to Distribution System
| Day | Cl2 mg/L | Day | Cl2 mg/L | Day | Cl2 mg/L | Day | Cl2 mg/L | Day | Cl2 mg/L | Day | Cl2 mg/L | Day | Cl2 mg/L
| 1 |  | 6 |  | 11 |  | 16 |  | 21 |  | 26 |  | 31
| 2 |  | 7 |  | 12 |  | 17 |  | 22 |  | 27 |  | Residual Measured
| 3 |  | 8 |  | 13 |  | 18 |  | 23 |  | 28 |  | Free Cl2
| 4 |  | 9 |  | 14 |  | 19 |  | 24 |  | 29 |  | Total Cl2
| 5 |  | 10 |  | 15 |  | 20 |  | 25 |  | 30 |  |  | Combined Cl2
If at any time the residual falls below 0.2 mg/L in the water entering the distribution system, the supplier of water must notify the Department as soon as possible, but no later than by the end of the next business day. The supplier of water also must notify the Department by the end of the next business day whether or not the residual was restored to at least 0.2 mg/L within four hours.
Date(s) Residual < 0.2 mg/L |  | Duration of Low Level (hrs.) |  | Date Reported to DEP |  |  |  |  | Date(s) Residual < 0.2 mg/L |  | Duration of Low Level (hrs.) |  | Date Reported to DEP
2. | Distribution System Disinfectant Residual Criteria - Residual Disinfectant concentration (V) cannot be undetectable in greater than 5% of samples in a month, for any two consecutive months. SWTR TT Violation (Tier 2). Chlorine residuals must be measured at the same time and location as total coliform distribution routine & repeat samples. If no residual is detected, an HPC sample must be collected and analyzed.
Total # of HPC samples taken during month: | [6 empty] | # HPC sites > 500/mL: |  |  |  | # HPC sites < 500/mL:
|  | = a |  | # of sites where Cl2 residual measurements were made, whether a residual was detected or not (should be the same # of sites reported on your monthly DBPR Cl2 residual report)
|  | = b |  | # of sites HPC samples were analyzed instead of Cl2 residual measurements
|  | = c |  | # of sites where no Cl2 residual was detected and no HPC sample was analyzed
|  | = d |  | # of sites where no Cl2 residual was detected and HPC > 500 CFU/mL
|  | = e |  | # of sites where no Cl2 residual measurement was made and HPC > 500 CFU/mL
Water in the distribution system with a heterotrophic bacteria concentration (HPC) less than or equal to 500/mL, is deemed to have a detectable disinfectant residual for purposes of determining compliance with this requirement. When analyzed, report HPC results on your monthly DEP Bacteriological Report.
V = | (c + d + e) | X 100 | This Month % V = |  |  | #DIV/0! | Previous Month % V = |  |  |  |  | Is V > 5% for 2 months?
| (a + b) | [11 empty] | #DIV/0!
I certify under penalties of law that I am the person authorized to fill out this form and the information contained herein is true, accurate and complete to the best extent of my knowledge. |  |  |  | PWS Authorized Signature: | [5 empty] | Date: |  | Title:
|  |  |  | Phone #: |  |  |  | Fax: |  |  |  | Email:
In accordance with 310 CMR 22.15(2), if mailing paper reports, TWO copies of this report must be received by your MassDEP Regional Office no later than 10 days after the end of the month in which the results are received or no later than 10 days after the end of the monitoring period, whichever is sooner. Please note: Electronic reporting (eDEP) deadline is the same as above.