## Form_I
| Massachusetts Department of Environmental Protection - Drinking Water Program | [13 empty] | SWTR I
CT DETERMINATION FOR FILTERED SYSTEMS
I. PWS INFORMATION:
PWS ID#: |  |  | PWS Name: | [5 empty] | PWS Town:
| Treatment Facility Name: |  |  |  |  | Reporting Period: | Month: |  |  | Year:
Disinfectant1: |  |  |  |  | Sequence of Disinfectant Application: |  |  | 1st | 2nd | 3rd | 4th | 5th | 6th
II. DAILY REPORTING: All measurements taken during peak hourly flow.
Day | Peak Hourly Flow2 (gpm) | Disinfectant Concentration3 C (mg/L) |  | Disinfectant Contact Time4 T (min.) | CT Calc (=C x T) |  | pH5 | 1st: Water Temp6 (oC); Year: 3rd: CT7 99.9; Year: 5th: Inactivation Ratio8 (CT calc / CT 99.9) | Inactivation Ratio9 <1.0
1 |  |  |  |  | 0 |  |  | Year: 5th: #DIV/0!
2 |  |  |  |  | 0 |  |  | Year: 5th: #DIV/0!
3 |  |  |  |  | 0 |  |  | Year: 5th: #DIV/0!
4 |  |  |  |  | 0 |  |  | Year: 5th: #DIV/0!
5 |  |  |  |  | 0 |  |  | Year: 5th: #DIV/0!
6 |  |  |  |  | 0 |  |  | Year: 5th: #DIV/0!
7 |  |  |  |  | 0 |  |  | Year: 5th: #DIV/0!
8 |  |  |  |  | 0 |  |  | Year: 5th: #DIV/0!
9 |  |  |  |  | 0 |  |  | Year: 5th: #DIV/0!
10 |  |  |  |  | 0 |  |  | Year: 5th: #DIV/0!
11 |  |  |  |  | 0 |  |  | Year: 5th: #DIV/0!
12 |  |  |  |  | 0 |  |  | Year: 5th: #DIV/0!
13 |  |  |  |  | 0 |  |  | Year: 5th: #DIV/0!
14 |  |  |  |  | 0 |  |  | Year: 5th: #DIV/0!
15 |  |  |  |  | 0 |  |  | Year: 5th: #DIV/0!
16 |  |  |  |  | 0 |  |  | Year: 5th: #DIV/0!
17 |  |  |  |  | 0 |  |  | Year: 5th: #DIV/0!
18 |  |  |  |  | 0 |  |  | Year: 5th: #DIV/0!
19 |  |  |  |  | 0 |  |  | Year: 5th: #DIV/0!
20 |  |  |  |  | 0 |  |  | Year: 5th: #DIV/0!
21 |  |  |  |  | 0 |  |  | Year: 5th: #DIV/0!
22 |  |  |  |  | 0 |  |  | Year: 5th: #DIV/0!
23 |  |  |  |  | 0 |  |  | Year: 5th: #DIV/0!
24 |  |  |  |  | 0 |  |  | Year: 5th: #DIV/0!
25 |  |  |  |  | 0 |  |  | Year: 5th: #DIV/0!
26 |  |  |  |  | 0 |  |  | Year: 5th: #DIV/0!
27 |  |  |  |  | 0 |  |  | Year: 5th: #DIV/0!
28 |  |  |  |  | 0 |  |  | Year: 5th: #DIV/0!
29 |  |  |  |  | 0 |  |  | Year: 5th: #DIV/0!
30 |  |  |  |  | 0 |  |  | Year: 5th: #DIV/0!
31 |  |  |  |  | 0 |  |  | Year: 5th: #DIV/0!
Notes: 1.Use a separate form for each disinfectant/sampling point. Enter disinfectant and sequence position, e.g. "ozone/1st" or "ClO2/3rd". If more than one disinfectant sampling point, you must also complete SWTR Form H and calculate the cummulative inactivation ratio SUM (CT calc/CT 99.9) to determine compliance. 2. Peak hourly flow means the highest pumpage hour during the day, not the absolute peak flow at any instant. 3. The residual disinfectant concentration(s) ("C") of the water before or at the first customer must be measured each day during peak hourly flow. 4. The disinfectant contact time(s) ("T") must be determined for each day during peak hourly flow. The time T used in calculating CT, is the time it takes the water, during peak hourly flow, to move between the point of disinfection application and the point at which the residual is measured. 5. If the system uses free chlorine, the pH of the disinfected water must be measured at least once per day at each chlorine residual disinfectant concentration sampling point during peak hourly flow. 6. The temperature of the disinfected water must be measured at least once per day at each residual disinfectant concentration sampling point during peak hourly flow. 7. Use Inactivation Tables at 310CMR 22.20A Tables 1.1 - 1.6, 2.1 and/or 3.1 8. The inactivation ratio is determined before or at the first customer during peak hourly flow and if the ratio is < 1.0, the 99.9% Giardia lamblia inactivation requirement has not been achieved.Note: Add log credits for watershed & filtration to the numerator of inactivation ratio. 9. A "Yes" response above indicates a SWTR Treatment Technique violation (Tier 2).
I certify under penalties of law that I am the person authorized to fill out this form and the information contained herein is true, accurate and complete to the best extent of my knowledge. |  |  |  | PWS Authorized Signature: |  |  |  | 1st: Date:; Year: 5th: Title:
|  |  | Phone #: |  |  |  | Fax: | Year: 5th: Email:
In accordance with 310 CMR 22.15(2), if mailing paper reports, TWO copies of this report must be received by your MassDEP Regional Office no later than 10 days after the end of the month in which the results are received or no later than 10 days after the end of the monitoring period, whichever is sooner. Please note: Electronic reporting (eDEP) deadline is the same as above.
Yes
Yes
Yes
Yes
Yes
Yes
Yes
Yes
Yes
Yes
Yes
Yes
Yes
Yes
Yes
Yes
Yes
Yes
Yes
Yes
Yes
Yes
Yes
Yes
Yes
Yes
Yes
Yes
Yes
Yes
Yes