Create starter home zoning that would exempt starter homes from more stringent local ordinances/bylaws: - Legislation would provide communities the opportunity to establish “Starter Home” zoning districts. - Starter Home would be a single family home of not less than 3 bedrooms. - Allowed density would be 6-8 units per buildable acre, none less than 4 units per acre. - Starter Homes would be exempt for local Board of Health (BOH) or Conservation Commission regulation that exceeds Title 5 or Wetlands Regulations.

Create uniform state code & require DEP approval for local ordinances: - Individual towns are stricter than Title 5, adding costs and negative impacts. - Recommend a uniform code with DEP approval for local regulations based on submitted data.

Review/revise design flow rates for residential: - Daily flow rates are incomplete and outdated for current uses and plumbing devices. - Flows need to be reviewed and revised. - Resurrect committee from 5 years ago to complete their work. - Make revisions to 15.203 (sewage flow design criteria) and 15.416 (School variances) including multi-family and single family homes. - This will reduce the high cost of septic systems and the Infiltration and Inflow requirements on commercial and multi-family projects in the MWRA service area.

Allow reduced GW separation for new construction with use of Innovative/Alternative (I/A) systems: - There is underutilization of I/A technologies for new construction which provide for enhanced effluent treatment. - There is a significant fiscal and environmental cost to constructing mounded or filled systems. - Allowing a reduction in groundwater (GW) offsets for new construction (similar to repairs) when using alternative technologies (secondary treatment) will provide enhanced effluent secondary benefits.

Create a new category (“Large Reporting System”) that is between Title 5 and GW discharge permits: - Create a new category called Large Reporting Systems to remove financial barriers and allow for medium to high density development in un-sewered areas. - These systems would range from 7,500-30,000 gpd. - Systems would be required to use approved I/A technologies and incorporate Nitrogen Sensitive Zone requirements. - New standardized conditions would be imposed for: effluent limits, monitoring and reporting, restrictions, and financial assurance mechanisms. - Site monitoring to be performed by the local BOH. - Municipal and state oversight of Large Reporting Systems could be limited by modeling oversight after existing programs that utilize private, on-site professionals to highlight concerns noted in the reporting and to resolve them, similar to GW Discharge Permit program, and the 21E program that utilizes Licensed Site Professionals. - Municipalities and the MassDEP could levy annual fees to help defray the cost of the regulatory oversight.

Increase the groundwater discharge permit threshold above 10,000 gpd: - Increase design flow from 10,000 gpd (which currently triggers GW discharge permit). - The 10,000 gpd threshold limits developments to 90 bedrooms and is arbitrary. - GW discharge treatment plants are very costly: - Approximately $1M for design and construction (8 to 20 times more than septic); and - Approximately $100,000/year for O&M (100 times more than septic). - GW discharge treatment plant costs are too high for 30-35 unit residential projects. - Developments >10,000 gpd are economically infeasible until the unit density increases to 120-180 units or more. - This inhibits clustered and dense residential development.

Allow use of holding tanks for peak flows at GW discharge treatment facilities: - Requirement to design for peak flow should be changed to have peak flows covered by holding tanks. - GW discharge treatment plants (>10,000 gpd) are currently required to be designed to accommodate maximum peak flows (which rarely occur). - Plants are also currently required to have equalization or holding tanks to manage peak flows. - Rare peak flow conditions are redundantly designed. - Allow use of holding tanks to address rare peak flow conditions.

Allow additional tie-ins to existing GW discharge treatment systems to utilize "wasted capacity": - Allow additional tie-ins to currently permitted GW discharge facilities (314 CMR 5.00) to utilize additional un-used design capacity in the following situation: - Existing groundwater treatment facility has a permitted design flow. Property has reached the proposed buildout, but design flow has not been reached (according to actual flow data). As a result, the permittee requests an additional tie-in thereby adding additional flow to the treatment facility. - DEP regulations and policies prohibit additional housing from tying into and utilizing the wasted capacity at GW discharge treatment facilities.

Allow designation of Nitrogen Sensitive Areas (NSAs) without case-by-case regulation changes and add enhanced treatment requirements: - DEP is currently authorized under Title 5 to identify Nitrogen Sensitive Areas (NSAs), and requires adoption through a change to the Title 5 regulations and the Mass Surface Water Quality Standards [SWQS] (314 CMR 4.00). - Current regulations limit systems in NSAs to 440 gpd/acre. - Allow DEP to designate NSAs without the need for regulatory changes to Title 5 and SWQS. - For future designated NSAs, consider additional requirements for enhanced treatment to address nitrogen.

Review the current Title 5 design flows, requirements, associated impacts for seasonal camp operations: - Current regulations do not sufficiently account for the lower environmental impacts of septic systems that are used for less than 6 months of the year. - Positive role played by property size in lessening environmental impacts is not currently acknowledged. - Evaluate removal of camp property from the gallons per day system design thresholds, or seasonal use and property size to raise the cap for these systems prior to triggering the need for a GW discharge treatment facility.

Seeking approval for the use of moldering privies for backcountry, tent-only campsites: - Current Title 5 regulations do not include provisions for backcountry sanitation for campsites restricted to tent camping and backpackers. - Current regulations only include approvals for composting toilets for homes, commercial or public facilities and plumbing approvals.

Allow reuse of any compost leachate from composting toilets as nutrient resource for plants, trees, and vegetation: - Presently known as a liquid by-product [under 15.289 (1)(a)], leachate from composting toilets is currently required to be disposed of in one of two ways: in a septic tank; or at a sewage treatment plant. - Either disposal method creates water pollution. - The liquid by-product (compost leachate) from composting units is high in Soluble Inorganic Nitrogen which is a nutrient resource for plants, trees, and other land-based vegetation. - The ability to recycle and reuse this resource would be a great benefit as a natural fertilizer.