|  | Massachusetts Department of Environmental Protection Bureau of Resource Protection – Title 5 Program RSF System Operation and Maintenance Inspection Checklist |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | A. Installation & Service Information |  |  |  |  |  |  |
|  | Facility Street Address |  |  | Date of Service |  |  |  |
|  | City |  |  | Operator/O&M Firm |  |  |  |
| Inspect & note if pumping is required. Inspect & clean effluent tee filter. | B. Septic tank(s) |  |  |  |  |  |  |
|  | Sludge Pumping Required: Yes No |  |  | Sludge Depth: |  |  |  |
|  | Effluent Tee Filter: Yes No |  |  | If yes, inspect and clean at least yearly |  |  |  |
| Clean as necessary. Inspect for sludge. | C. Recirculation tank |  |  |  |  |  |  |
|  | Check if sludge accumulating |  |  | Pumping required: Yes No |  |  |  |
|  | Odor problems: Yes No |  |  | If yes, description |  |  |  |
| Inspect for sludge. | D. Equalization tank (if installed) |  |  |  |  |  |  |
|  | Check if sludge accumulating |  |  | Pumping required: Yes No |  |  |  |
| Inspect pumps & electrical switches, test as necessary. Run pumps in manual mode. Record readings from meters & counters. | E. Pumps, switches, floats, alarm system |  |  |  |  |  |  |
|  | Pump Inspections (all units) |  |  | If problems, describe |  |  |  |
|  | Test pump alternator, or record hours |  |  | Hours of operation |  |  |  |
|  | Float switches |  |  | Check all switches for operation |  |  |  |
|  | Test alarm |  |  | If non-functioning, corrective action(s) |  |  |  |
| Note if weeds & debris are present on bed. Clean/maintain bed surface to allow proper operation of the system. | F. Recirculating Sand Filter |  |  |  |  |  |  |
|  | Inspect for ponding |  |  | Ponding present: Yes No |  |  |  |
|  | Clean bed: Yes No |  |  |  |  |  |  |
|  | Distribution pipes Flush: Yes No Brush: Yes No |  |  |  |  |  |  |
|  | Check head loss in pipes |  |  | Headloss and comments |  |  |  |
|  | G. Sample Collection |  |  |  |  |  |  |
|  | Yes No |  |  |  |  |  |  |
|  | If yes: | BOD | TSS | pH | TN |  |  |
|  | Other: |  |  |  |  |  |  |