## Instructions
TSS Removal Calculation Sheet Instructions
Either a completed automated form or non-automated form must be submitted as part of the Stormwater Report accompanying the Wetlands NOI
Automated Version Instructions
The automated version may be used EXCEPT when a Proprietary BMP is proposed. This is because Proprietary BMPs have variable removal rates.
The only exceptions are for Proprietary BMPs reviewed through the TARP Tier II Field Protocol for which MassDEP has granted written reciprocity.
BMPs must be designed in accordance with the Design Specifications contained in Mass. Stormwater Handbook Volume II to receive the TSS Removal Rating.
Separate Excel spreadsheets must be completed for each stormwater outlet or BMP train.
E.g. if there are two separate BMP trains discharging to two separate stormwater outlets, two separate sheets must be submitted.
Separate sheets must be submitted for Pretreatment (e.g. for 44% TSS removal prior to recharge) and Treatment (e.g. 80% TSS removal for new development).
To use automated sheet:
Click on Worksheet Tab labeled Automated Sheet
Click on Cell B11 (Shaded Blue)
Carrot Appears in lower right side of Cell B11
Click on Carrot
Drop Down Menu of BMPs will open. The BMPs are those listed in Volume I. No proprietary BMPs are listed in Drop Down Menu.
BMPs are listed alphabetically
Select One BMP per block. Start with most upgradient practices.
After BMP is selected in Cell B11, Cell C11 will automatically be populated with the DEP assigned TSS Removal Rate.
If there are multiple BMPs, go to Cell B12, select BMP, and so on (i.e. select BMPs in Cell B13, B14, and B15).
Final result is returned in Cell E16
All cells are locked except for Column B (to select BMPs) and Location, Project, Prepared By, and Date blocks.
Complete Location, Project, Prepared by, and Date Blocks.
Non-automated Sheet
The non-automated version must be completed if any Proprietary BMPs or traditional non-listed BMPs are proposed.
The non-automated version is locked to prevent it from being manipulated.
The non-automated version must be printed and completed by hand or typewriter.
Write name of BMP in Column B.
Write annual TSS removal rate in Column C (written documentation must be submitted to issuing authority substantiating TSS removal claim)
Multiply Column C by Starting Load in Column D and enter Result in Column E (e.g. Deep Sump CB 0.25 x 1 = 0.25, Enter 0.25 in Column E).
Subtract Column E from D, Enter Result in Column F (e.g. 1.00 - 0.25 = 0.75, Enter 0.75 in Column F).
Enter new BMP in Column B, next row down. Enter TSS Removal Rate in that same row.
In Column D, enter Starting Load from prior Row (e.g. 0.75).
Multiply Column C TSS Removal Rate by new starting load, and enter result into Column E, and so on.
Add up all the values listed in Column E.
Enter final result in Cell E16, block that is labeled Total TSS Removal.
Complete Location, Project, Prepared by, and Date Blocks.
Documentation
VERSION 1, March 4, 2008
Automated Sheet
Drop Down Menu in Column B created using "Data Validation"
Column C populated using data array from hidden table using "Vertical Lookup"
Column D values from Column F
Column E values producrs of Column C x Column D values
Column F values Column D - Column E

## Automated Sheet
INSTRUCTIONS: |  |  |  |  | Version 1, Automated: Mar. 4, 2008
1. In BMP Column, click on Blue Cell to Activate Drop Down Menu
2. Select BMP from Drop Down Menu
3. After BMP is selected, TSS Removal and other Columns are automatically completed.
Location:
| B | C | D | E | F
|  | TSS Removal | Starting TSS | Amount | Remaining
| BMP1 | Rate1 | Load* | Removed (C*D) | Load (D-E)
TSS Removal Calculation Worksheet |  | 0 | 1 | 0 | 1
|  | 0 | 1 | 0 | 1
|  | 0 | 1 | 0 | 1
|  | 0 | 1 | 0 | 1
|  | 0 | 1 | 0 | 1
|  |  | Total TSS Removal = | 0% | Separate Form Needs to be Completed for Each Outlet or BMP Train
Project:
| Prepared By: |  |  | *Equals remaining load from previous BMP (E)
| Date: |  |  | which enters the BMP
|  | BMP List | Design Rate
|  | Bioretention Area | 90%
|  | Cistern | 0%
|  | Constructed Stormwater Wetland | 80%
|  | Deep Sump and Hooded Catch Basin | 25%
|  | Drainage Channel | 0%
|  | Dry Detention Basin | 0%
|  | Dry Well | 80%
|  | Extended Dry Detention Basin | 50%
|  | Grass Channel | 50%
|  | Gravel Wetland | 80%
|  | Green Roof | 0%
|  | Infiltration Basin | 80%
|  | Infiltration Trench | 80%
|  | Leaching Catch Basin | 80%
|  | Oil Grit Separator | 25%
|  | Organic Filter | 80%
|  | Porous Pavement | 80%
Proprietary Treatment Practice
|  | Rain Barrel | 0%
|  | Rain Garden | 90%
|  | Sand Filter | 80%
|  | Sediment Forebay | 25%
|  | Street Sweeping - 0% | 0%
|  | Street Sweeping - 1% | 1%
|  | Street Sweeping - 10% | 10%
|  | Street Sweeping - 2% | 2%
|  | Street Sweeping - 3% | 3%
|  | Street Sweeping - 4% | 4%
|  | Street Sweeping - 5% | 5%
|  | Street Sweeping - 6% | 6%
|  | Street Sweeping - 7% | 7%
|  | Street Sweeping - 8% | 8%
|  | Street Sweeping - 9% | 9%
|  | Subsurface Infiltration Structure | 80%
|  | Treebox Filter | 80%
|  | Vegetated Filter Strip >25 feet | 10%
|  | Vegetated Filter Strip >50 feet | 45%
|  | Water Quality Swale - Dry | 70%
|  | Water Quality Swale - Wet | 70%
|  | Wet Basin | 80%

## Nonautomated Sheet
INSTRUCTIONS: |  |  |  |  | Non-automated: Mar. 4, 2008
1. Sheet is nonautomated. Print sheet and complete using hand calculations. Column A and B: See MassDEP Structural BMP Table
2. The calculations must be completed using the Column Headings specified in Chart and Not the Excel Column Headings
3. To complete Chart Column D, multiple Column B value within Row x Column C value within Row
4. To complete Chart Column E value, subtract Column D value within Row from Column C within Row
5. Total TSS Removal = Sum All Values in Column D
Location:
| A | B | C | D | E
|  | TSS Removal | Starting TSS | Amount | Remaining
| BMP1 | Rate1 | Load* | Removed (B*C) | Load (C-D)
TSS Removal Calculation Worksheet |  |  | 1
|  |  | Total TSS Removal = |  | Separate Form Needs to be Completed for Each Outlet or BMP Train
Project:
| Prepared By: |  |  | *Equals remaining load from previous BMP (E)
| Date: |  |  | which enters the BMP

## TSS Removal Table
TSS Removal Efficiencies for Best Management Practices |  | From MassDEP Stormwater Handbook Vol. 1
Best Management Practice (BMP) | TSS Removal Efficiency
Non-Structural Pretreatment BMPs
Street Sweeping | 0-10%, See Volume 2, Chapter 1.
Structural Pretreatment BMPs
Deep Sump Catch Basins | 25% only if used for pretreatment and only if off-line
Oil Grit Separator | 25% only if used for pretreatment and only if off-line
Proprietary Separators | Varies – see Volume 2, Chapter 4.
Sediment Forebays | 25% if used for pretreatment
Vegetated filter strips | 10% if at least 25 feet wide, 45% if at least 50 feet wide
Treatment BMPs
Bioretention Areas including rain gardens | 90% provided it is combined with adequate pretreatment
Constructed Stormwater Wetlands | 80% provided it is combined with a sediment forebay
Extended Dry Detention Basins | 50% provided it is combined with a sediment forebay
Gravel Wetlands | 80% provided it is combined with a sediment forebay
Proprietary Media Filters | Varies – see Volume 2, Chapter 4
Sand/Organic Filters | 80% provided it is combined with sediment forebay
Treebox filter | 80% provided it is combined with adequate pretreatment
Wet Basins | 80% provided it is combined with sediment forebay
Conveyance
Drainage Channels | For conveyance only. No TSS Removal credit.
Grass Channels (formerly biofilter swales) | 50% if combined with sediment forebay or equivalent
Water Quality Swale – | 70% provided it is combined with sediment forebay or equivalent
wet & dry
Infiltration BMPs
Dry Wells | 80% for runoff from non-metal roofs; may also be used for runoff from metal roofs but only if metal roof is not located within a Zone II, or IWPA or at an industrial site
Infiltration Basins & Infiltration Trenches | 80% provided it is combined with adequate pretreatment (sediment forebay or vegetated filter strip, grass channel, water quality swale) prior to infiltration
Leaching Catch Basins | 80% provided a deep sump catch basin is used for pretreatment
Subsurface Structure | 80% provided they are combined with one or more pretreatment BMPs prior to infiltration.
Other BMPs
Dry Detention Basins | For peak rate attenuation only. No TSS Removal credit.
Green Roofs | See Volume 2. Chapter 2. May reduce required water quality volume. No TSS Removal Credit.
Porous Pavement | 80% if designed to prevent runon and with adequate storage capacity. Limited to uses identified in Volume 2, Chapter 2.
Rain Barrels and Cisterns | May reduce required water quality volume. No TSS Removal Credit.