|  | Massachusetts Department of Environmental Protection COD-8 Bureau of Resource Protection – drinking water program Typical Duties & Responsibilities of a Certified Operator PWS Type: Small Community Treatment: Disinfection Operator Grade Required: VSS |  |  |  |
| --- | --- | --- | --- | --- |
|  |  | Operator | Owner | Shared |
| Important: When filling out forms on the computer, use only the tab key to move your cursor - do not use the return key. | 1. Be responsible for the day-to-day operation and management of the system. |  |  |  |
|  | 2. Ensure the delivery of safe drinking water at all times by complying with Massachusetts Drinking Water Regulations. |  |  |  |
|  | 3. Inspect the source, storage, treatment process, and distribution system daily. |  |  |  |
|  | 4. Inspect system daily during the period that the system is operating. |  |  |  |
|  | 5. Measure and record the chlorine dosage daily making dosage adjustments as necessary. |  |  |  |
|  | 6. Add chemicals when necessary and rotate stand-by pumps monthly. |  |  |  |
|  | 7. Test, flush, clean and disinfect the water distribution system and storage tanks when necessary. |  |  |  |
|  | 8. Develop, and maintain for accuracy, a site plan showing the water source, a map of the water distribution system and sample location, disinfection process, and all other appropriate appurtenances. |  |  |  |
| PWS must complete the COCM and the appropriate “COD” Duty Form for the system. See Instructions. | 9. Collect /oversee collection of water samples as specified by MassDEP. |  |  |  |
|  | 10. Ensure that all samples are delivered to and analyzed by a Massachusetts certified laboratory. |  |  |  |
|  | 11. Report all results to MassDEP within the time frames specified. |  |  |  |
|  | 12. Conduct a sanitary survey of the system as specified by MassDEP. |  |  |  |
|  | 13. Complete and submit to MassDEP the Annual Water Supply Statistical Report and all other required forms in a timely manner. |  |  |  |
|  | 14. Complete and deliver the annual Consumer Confidence Report. |  |  |  |
|  | 15. Notify MassDEP of violations and issue public notices as necessary. |  |  |  |
|  | 16. Review the sample monitoring schedule and locations annually. |  |  |  |
|  | 17. Protect the water distribution system and storage facilities from corrosion effects. |  |  |  |
|  | 18. Observe pump motors routinely to detect unusual noises, vibrations, or excessive heat. |  |  |  |
|  | 19. Inspect, adjust, and clean pump seals, packing glands, and any mechanical seals when necessary. |  |  |  |
|  | 20. Be present during water system repairs and maintenance and/or oversee the maintenance of the public water system conducted by other individuals such as staff or contractors. |  |  |  |
|  | 21. Be present within 24 hours of fecal or second Total Coliform positive or other water system failures. |  |  |  |
|  | 22. Record quantity of water pumped from source monthly. |  |  |  |
|  |  | Operator | Owner | Shared |
|  | 23. Develop, implement, and keep up to date a cross connection control program, a preventive maintenance schedule, an operation and maintenance budget plan, an emergency response plan, a safety program plan, and a wellhead protection program plan. |  |  |  |
|  | 24. Ensure the accuracy of water meters and other flow measuring devices annually or as necessary. |  |  |  |
|  | 25. Delineate the wellhead protection zone. |  |  |  |
|  | 26. Identify all potential sources of contamination within the wellhead protection zone. |  |  |  |
|  | 27. Troubleshoot mechanical equipment, water quality/quantity problems, and take corrective actions as necessary. |  |  |  |
|  | 28. Keep abreast of changes in the drinking water regulations. |  |  |  |
|  | 29. Attend training programs and workshops for certification renewal when appropriate. |  |  |  |
|  | 30. Accompany regulatory agencies during on-site inspections. |  |  |  |
|  | 31. Troubleshoot to locate the causes of water quality complaints and respond to consumer complaints in a timely fashion. |  |  |  |
|  | 32. Discuss with consumers their concerns of water quality and quantity. |  |  |  |
|  | 33. Develop and maintain a complaint log book. |  |  |  |
|  | 34. Keep accurate records and maintain a filing system for correspondence. |  |  |  |
|  | 35. Develop, maintain, and keep up to date a public water system standard operational and maintenance manual which contains at a minimum: a) the most recent version of 310 CMR 22.00, Drinking Water Regulations; b) the Department’s Guidelines and Policies for Public Water Systems; c) the Standard Monitoring Framework; and d) other pertinent correspondence or documents. |  |  |  |
|  | 36. Report emergencies to MassDEP and Board of Health (BOH) within specified time frames. |  |  |  |
|  | 37. Conduct or ensure the annual Emergency Response Program (ERP) training is completed. |  |  |  |
|  | Estimated Time: The annual estimated time required to perform all the duties and responsibilities listed above is approximately 180 to 360 hours. Exceptions to the staffing requirements may be allowed by the Department. Contact your regional office for further information. |  |  |  |
|  | Contract Services: A public water system may contract for the services of a certified operator to perform all or some of the duties listed above with written approval from MassDEP. A contract certified operator should spend approximately one hour per on-site visit to perform the various duties listed above. This time may vary from system to system as will the frequency of visits depending on the specific needs of each system as identified by the Department. In some cases, the certified operator can supervise the operation without being present on a daily basis provided the certified operator has a person working with the system on a daily basis under his or her supervision. |  |  |  |