| UST Sump Periodic Inspection Log **Complete this log every 90 days for sumps not continuously monitored, and annually for sumps that are continuously monitored. |  |  |
| --- | --- | --- |
| Inspector Name: | Operator ID#: | Inspection Date/Time: |
| Inspector Type: Class A Operator Class B Operator Class A/B Operator Inspector under direction of Owner, Operator, or Class A, B or A/B Operator Name of that Owner, Operator, or Class A, B, or A/B Operator: |  |  |

| Inspection Item | Result | If “No,” explain why/describe corrective actions taken | Date resolved |
| --- | --- | --- | --- |
| - Are sumps, sump covers, and manhole covers free of damage, corrosion, and breakage and wear? | Yes No |  |  |
| - Are sumps free of leaks to the containment areas and releases to the environment? | Yes No |  |  |
| - Are sumps clean and free of solid and liquid material? | Yes No |  |  |
| - For double-walled sumps, is the interstitial area free of liquid? | Yes No NA |  |  |
| - Are all sump sensors operating in accordance with the manufacturer’s specifications? | Yes No NA |  |  |
| - If no manufacturer’s specifications exist, are the sump sensors placed at the lowest possible location in the sumps? | Yes No NA |  |  |
| - If sump sensors have been or are in alarm, have the alarms been addressed? | Yes No NA |  |  |

Refer to 310 CMR 80.35 for a detailed description of the periodic inspection requirements.