|  | Massachusetts Department of Environmental Protection Bureau of Air & Waste Underground Storage Tank (UST) Program UST4 – Tank, Piping & Component Registration |  |  |  |  |  |  | UST Facility Name UST Facility ID # |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Important: When filling out forms on the computer, use only the tab key to move your cursor - do not use the return key. Notes:  Make additional copies, if needed.  Tank IDs are numbers (e.g. 1, 2, 3). For split tanks, each compartment must have a unique Tank ID (e.g. 2a, 2b). Complete the information for each tank or compartment by placing the respective Tank/ Compartment ID at top of the column.  For split tanks, provide the capacity of each compartment separately, not the total capacity of the tank. | Check the appropriate category. Complete this form and submit it with UST1-Cover Sheet/Certification Form. |  |  |  |  |  |  |  |  |  |  |  |
|  | New Tank/Piping/Component Registration |  | Update Existing Tank/Piping/Component Information |  |  |  |  |  |  |  |  |  |
|  | A. Tank & Piping System Registration - Complete this section for each tank or tank compartment at this location. |  |  |  |  |  |  |  |  |  |  |  |
|  | 1. Tank Basic Description | Tank ID |  |  |  | Tank ID |  |  | Tank ID |  | Tank ID |  |
|  | - Owner’s designation (e.g. Middle Tank, Location #, “Regular,” etc.) |  |  |  |  |  |  |  |  |  |  |  |
|  | - Where is this tank located? | Longitude Latitude |  |  |  | Longitude Latitude |  |  | Longitude Latitude |  | Longitude Latitude |  |
|  | - Is this a split (compartment) tank? | Yes No |  |  |  | Yes No |  |  | Yes No |  | Yes No |  |
|  | - Capacity of tank/compartment: | Gallons |  |  |  | Gallons |  |  | Gallons |  | Gallons |  |
|  | - Contents/regulated substance (check one): Gasoline Diesel/Biodiesel E 85 Heating Oil Kerosene Jet Fuel Aviation Gasoline Virgin Motor Oil Waste Oil Hazardous Material(s)* Unregulated Contents |  |  |  |  |  |  |  |  |  |  |  |
|  | - If storing gasoline or diesel, what is its use? (check all that apply): Motor Vehicle Marine Aircraft Manufacturing/Material Storage Emergency Engine-Driven Pump Emergency Power Generation Unregulated Use |  |  |  |  |  |  |  |  |  |  |  |
|  | *Complete the applicable fields below only if Hazardous Material(s) or Unregulated Contents is checked above. |  |  |  |  |  |  |  |  |  |  |  |
|  | - Hazardous material(s): | CAS #(s) |  |  |  | CAS #(s) |  |  | CAS #(s) |  | CAS #(s) |  |
|  | - Mixture of substances: product name(s)/ CAS Number(s) |  |  |  |  |  |  |  |  |  |  |  |
|  | - Other unregulated contents: | Describe |  |  |  | Describe |  |  | Describe |  | Describe |  |
|  | Continue to Next Page ► |  |  |  |  |  |  |  |  |  |  |  |
|  | A. Tank & Piping Registration (continued) |  |  |  |  |  |  |  |  |  |  |  |
|  | 2. Tank Construction | Tank ID |  |  |  | Tank ID |  |  | Tank ID |  | Tank ID |  |
| Notes:  Make additional copies, if needed.  USTs installed after 1988 must be double-walled. | - Material (Cathodic Protection Required – Even on Metal Parts) |  |  |  |  |  |  |  |  |  |  |  |
|  | Double-wall metal Single-wall metal |  |  |  |  |  |  |  |  |  |  |  |
|  | - Material (Cathodic Protection Not Required – No Metal Parts) |  |  |  |  |  |  |  |  |  |  |  |
|  | Double-wall non-corrodible Single-wall non-corrodible Concrete |  |  |  |  |  |  |  |  |  |  |  |
|  | - Date of installation: (If unknown, enter 05/08/1986) | MM/DD/YYYY |  |  |  | MM/DD/YYYY |  |  | MM/DD/YYYY |  | MM/DD/YYYY |  |
|  | 3. Piping Construction | Tank ID |  |  |  | Tank ID |  |  | Tank ID |  | Tank ID |  |
|  | - Piping installation date: | MM/DD/YYYY |  |  |  | MM/DD/YYYY |  |  | MM/DD/YYYY |  | MM/DD/YYYY |  |
|  | - Piping & fittings construction same as tank? If No, complete fields below. If Yes, skip to 4. | Yes No |  |  |  | Yes No |  |  | Yes No |  | Yes No |  |
|  | c1. Material (Cathodic Protection Required – Even on Metal Parts) |  |  |  |  |  |  |  |  |  |  |  |
|  | Double-wall metal Single-wall metal |  |  |  |  |  |  |  |  |  |  |  |
|  | c2. Material (Cathodic Protection Not Required – No Metal Parts) |  |  |  |  |  |  |  |  |  |  |  |
|  | Double-wall non-corrodible Single-wall non-corrodible Single-wall metal in trench with impervious liner |  |  |  |  |  |  |  |  |  |  |  |
|  | d. Piping type (check only one): Pressurized with mechanical ALLD Pressurized with electronic ALLD European suction system Non-European suction system |  |  |  |  |  |  |  |  |  |  |  |
|  | 4. Tank & Piping Leak Detection | Tank ID |  |  |  | Tank ID |  |  | Tank ID |  | Tank ID |  |
| Note: All USTs installed after 1988 must have interstitial monitoring. | - Tank leak detection type: Continuous interstitial monitoring Static in-tank monitoring system Continuous in-tank monitoring system In-tank w/statistical inventory reconciliation (SIR) Soil vapor monitoring Manual tank gauging – 1,000 gallons or less* Manual tank gauging – more than 1,000 gallons* |  |  |  |  |  |  |  |  |  |  |  |
|  | *NOTE: These categories apply only to emergency generator tanks. Continue to Next Page ► |  |  |  |  |  |  |  |  |  |  |  |
| Notes:  Make additional copies, if needed. All pressurized piping must have an ALLD and one other method of leak detection by 1/2/2016. All pressurized and Non-European Suction piping installed after 5/28/1999 must have interstitial space monitoring. ▪ European Suction does not require line leak detection. | A. Tank & Piping Registration (continued) |  |  |  |  |  |  |  |  |  |  |  |
|  | 4. Tank & Piping Leak Detection (continued) | Tank ID |  |  |  | Tank ID |  |  | Tank ID |  | Tank ID |  |
|  | - Pipe leak detection type (check all that apply): Continuous interstitial monitoring Quarterly monitoring of secondary containment ports & annual tightness test (installed before 5/28/1999) In-tank w/statistical inventory reconciliation (SIR) Tri-annual tightness test (only for non-European suction installed before 1/1/1989 without secondary containment) Annual tightness test (only for single-wall pressurized piping installed before 1/1/1989) |  |  |  |  |  |  |  |  |  |  |  |
|  | 5. Overfill/Spill Containment/Prevention | Tank ID |  |  |  | Tank ID |  |  | Tank ID |  | Tank ID |  |
| Note:  After 1/1/2015, new or replacement ball float valves cannot function as the primary overfill protection device. | Overfill Prevention Devices & Spill Buckets |  |  |  |  |  |  |  |  |  |  |  |
|  | - Primary overfill prevention device type (check only one): Automatic shut-off valve (AS) Ball float valve (BFV) High-level alarm (HLA) |  |  |  |  |  |  |  |  |  |  |  |
|  | - Is the spill bucket equipped with sensors? | Yes No |  |  |  | Yes No |  |  | Yes No |  | Yes No |  |
|  | Turbine & Intermediate Sumps |  |  |  |  |  |  |  |  |  |  |  |
|  | - Is the tank equipped with a submersible pump? | Yes No |  |  |  | Yes No |  |  | Yes No |  | Yes No |  |
|  | - Is the tank equipped with a turbine sump? | Yes No |  |  |  | Yes No |  |  | Yes No |  | Yes No |  |
|  | - If Yes, is the turbine sump equipped with a sump sensor that is continuously monitored for liquids? | Yes No |  |  |  | Yes No |  |  | Yes No |  | Yes No |  |
|  | - Is the UST system equipped with an intermediate sump? | Yes No |  |  |  | Yes No |  |  | Yes No |  | Yes No |  |
|  | - If Yes, is the intermediate sump equipped with a sump sensor that is continuously monitored for liquids? | Yes No |  |  |  | Yes No |  |  | Yes No |  | Yes No |  |
|  | Dispenser Sumps | Dispenser 1 |  |  |  | Dispenser 2 |  |  | Dispenser 3 |  | Dispenser 4 |  |
|  | - Is the dispenser equipped with a sump? | Yes No |  |  |  | Yes No |  |  | Yes No |  | Yes No |  |
|  | - If Yes, is the dispenser sump equipped with a sump sensor that is continuously monitored for liquids? | Yes No |  |  |  | Yes No |  |  | Yes No |  | Yes No |  |
|  |  |  |  |  | Continue to Next Page ► |  |  |  |  |  |  |  |
|  | A. Tank & Piping Registration (continued) |  |  |  |  |  |  |  |  |  |  |  |
|  | 6. UST System Corrosion Prevention | Tank ID |  | Pipe |  | Tank ID | Pipe |  | Tank ID | Pipe | Tank ID | Pipe |
|  | - Corrosion protection type: Field constructed impressed current Field constructed sacrificial anode/Galvanic Manufactured sacrificial anode/Galvanic |  |  |  |  |  |  |  |  |  |  |  |