|  | Massachusetts Department of Environmental Protection Bureau of Air & Waste Underground Storage Tank (UST) Program UST5 - Change of Tank Status/Product |  |  |  |  |  | UST Facility Name UST Facility ID # |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Important: When filling out forms on the computer, use only the tab key to move your cursor - do not use the return key. Notes: • Make additional copies as needed. • A UST may be taken temporarily out of service (TOS) for no more than five (5) years. • A tank being TOS does not exempt the owner financial responsibility, compliance certification or third-party inspection requirements, or from the 8/7/2017 deadline for removal/closure of single-walled steel USTs. | Check the appropriate action(s) below. Complete ONLY the appropriate section(s) and submit with the UST1-Cover Sheet/Certification Form. |  |  |  |  |  |  |  |
|  | Tank Temporarily Out of Service (TOS) – Section A.1. |  | TOS Returning To “In Use” – Section A.2. |  |  |  |  |  |
|  | Change of a Regulated Product to a Non-Regulated Product – Section B. |  |  |  |  |  |  |  |
|  | A. USTs Requiring Change in Status |  |  |  |  |  |  |  |
|  | 1.Temporarily Out of Service (TOS) |  |  |  |  |  |  |  |
|  |  | Tank ID |  |  | Tank ID | Tank ID |  | Tank ID |
|  | - Date taken out of service: | MM/DD/YYYY |  |  | MM/DD/YYYY | MM/DD/YYYY |  | MM/DD/YYYY |
|  | - Is corrosion protection operational? (Check N/A for non-metallic tanks) | Yes No N/A |  |  | Yes No N/A | Yes No N/A |  | Yes No N/A |
|  | - Were all regulated substances removed from the tank? | Yes No |  |  | Yes No | Yes No |  | Yes No |
|  | - Was the tank rendered inert per 310 CMR 80.47? | Yes No |  |  | Yes No | Yes No |  | Yes No |
|  | - Were all regulated substances removed from the tank managed per applicable requirements? | Yes No |  |  | Yes No | Yes No |  | Yes No |
|  | - Was the fill pipe locked/secured to prevent tampering? | Yes No |  |  | Yes No | Yes No |  | Yes No |
|  | - Are all tank vent lines open and operable? | Yes No |  |  | Yes No | Yes No |  | Yes No |
|  | - Have you maintained the required financial responsibility per 310 CMR 80.51-80.63? | Yes No |  |  | Yes No | Yes No |  | Yes No |
|  | - Have you maintained records demonstrating compliance with TOS requirements per 310 CMR 80.36(3)? | Yes No |  |  | Yes No | Yes No |  | Yes No |
|  | 2.Temporarily Out of Service (TOS) Returning to “In Use” |  |  |  |  |  |  |  |
|  |  | Tank ID |  |  | Tank ID | Tank ID |  | Tank ID |
|  | - Date of return to “In Use” status: | MM/DD/YYYY |  |  | MM/DD/YYYY | MM/DD/YYYY |  | MM/DD/YYYY |
|  | - Before being returned to service, was the UST system calibrated and operating in accordance with the manufacturer’s specifications? | Yes No |  |  | Yes No | Yes No |  | Yes No |
|  | - Within 30 days of being returned to service, was a tightness test on the UST and piping performed and passed per 310 CMR 80.42(5)? | Yes No |  |  | Yes No | Yes No |  | Yes No |
|  | B. Change from a Regulated Product to a Non-Regulated Product |  |  |  |  |  |  |  |
| Notes: • Make additional copies as needed. |  | Tank ID |  |  | Tank ID | Tank ID |  | Tank ID |
|  | 1. Was all liquid and solid material removed from the tank per 310 CMR 80.47 before the change in product was made? | Yes No |  |  | Yes No | Yes No |  | Yes No |
|  | 2. Were all regulated substances removed from the tank managed per applicable requirements? | Yes No |  |  | Yes No | Yes No |  | Yes No |
|  | 3. Product changed: | From: To: |  |  | From: To: | From: To: |  | From: To: |
|  | 4. Date of change in product: | MM/DD/YYYY |  |  | MM/DD/YYYY | MM/DD/YYYY |  | MM/DD/YYYY |
|  | 5. Was an assessment conducted in accordance with 310 CMR 80.43(4) before the change in product? | Yes No |  |  | Yes No | Yes No |  | Yes No |