| ##### I. PWS INFORMATION: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| PWSID#: |  |  |  |  |  |  | PWS Name: |  |  |  |  |  |  |  |  |  |  |  |  |  |  | PWS Town: |  |  |  |  |  |
| Reporting Period: |  |  |  |  |  |  |  |  |  | WTP Name: WTP ID: |  |  |  |  |  |  |  | Total # of reactor at WTP: |  |  |  |  |  |  | Date reactor first went online: |  |  |
| II. UV REACTOR INFORMATION: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Type of reactor pressure: |  |  |  |  |  |  |  |  | Medium Low |  |  |  |  |  |  |  | Max. validated flow rate: |  |  |  |  |  |  | MGD or gpm |  |  |  |
| Reactor manufacturer: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Min. validated UVT: |  |  |  |  |  |  | % |  |  |  |
| Number of lamps/reactor: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Min. required UV Dose: |  |  |  |  |  |  | RED mJ/cm2 |  |  |  |
| Number of sensors/reactor: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Min required UV intensity: |  |  |  |  |  |  | mJ/cm2 |  |  |  |
| Target log inactivation: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | MassDEP validation approval date: |  |  |  |  |  |  |  |  |  |  |
| III. DAILY REPORTING FOR REACTOR ID # |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Day | Run Time (Hrs.) |  |  |  | Total Production (gal or MGD) |  |  | Max. Flow (2) (gpm or MGD) |  |  |  | Min. UV Dose(2) (mJ/cm2) |  | Min. UVT(2) (%) |  | Off-Spec. Events? (Y/N)?(3) |  |  | Instrument Calibration(4) (“S”,”T” “Q”) |  |  |  | Operational Notes (Attach additional sheets as needed) |  |  |  |  |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 15 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 16 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 17 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 18 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 19 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 21 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 22 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 23 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 24 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 25 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 26 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 27 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 28 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 29 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 30 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 31 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| TOTAL |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| (1)Use a separate form for each reactor. Reactors using the Calculated Dose Approach must submit form UV-CDA. (2)Flow rate, UV Dose (RED calculated using validation dose-monitoring equation) and UV Transmittance must be monitored and recorded continuously (at least every 5 minutes) The maximum and minimum values for this reporting form are for those recorded at least every five minutes. (3)Any Off-Specification events must be reported to MassDEP on Form UV-OFF SPEC. (4)Use the following letters to denote days when UV equipment has been calibrated: “S” = Intensity Sensors, “T” = UV Transmittance Analyzers, “Q” = Reactor Flow Meters. Equipment Calibration Records must be reported to MassDEP on Form UV-CAL. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| I certify under penalties of law that I am the person authorized to fill out this form and the information contained herein is true, accurate and complete to the best extent of my knowledge. |  |  |  |  |  |  |  |  |  |  |  |  |  | PWS Authorized Signature: |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | Date: |  |  |  |  |  | Title: Email: |  |  |  |  |  |  |  |
| Phone: |  |  |  |  |  |  |  |  |  |  |  |  |  | Fax: |  |  |  |  |  |  |  |  |  |  |  |  |  |