This form is to certify that the following elevator State ID No:         Location:        is in

compliance and ready for inspection.

Gates/Doors

Current Certificate Posted

Code Data Tag

Variance Posted (if required)

Signage

Proper Lighting

Stop Switches

Pits/Machine Room Clean

Fire Extinguisher

Training Log

To be Completed by Authorized Representative of Elevator Company Signature: Date: Contractor Registration Number: By typing name above you agree that it is valid as your signature.

This Pre-Inspection Checklist certifies that the elevator has been pre-tested prior to periodic inspection.  Pre-inspection checklist must be available on site in the machine room at the time of the inspection per 524 CMR 5.03 (8) (11)