The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Climate and Environmental Health

Community Sanitation Program

128 East Mountain Road

Westfield, MA 01085-1889

Phone: 617-448-3373

KATHLEEN E. WALSH

Secretary

ROBERT GOLDSTEIN, MD, PhD Commissioner

Tel: 617-624-6000

www.mass.gov/dph

MAURA T. HEALEY

Governor

KIMBERLEY DRISCOLL

Lieutenant Governor

April 24, 2024

Nicholas Cocchi, Sheriff

Western Massachusetts Women’s Correctional Center

701 Center Street

Chicopee, MA 01013		(electronic copy)

Re: Facility Inspection - Western Massachusetts Women’s Correctional Center, Chicopee

Dear Sheriff Cocchi:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Minimum Requirements for the Management of Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of the Western Massachusetts Women’s Correctional Center on April 19, 2024, accompanied by Lieutenant Faith Menard, Environmental Health and Safety Officer (EHSO)/Standards and Training Coordinator. Violations noted during the inspection are listed below including 1 repeat violation:

Should you have any questions, please don’t hesitate to contact me.

Sincerely,

Scott Koczela

Environmental Analyst, CSP, BCEH

cc: 	Robert Goldstein, MD, PhD, Commissioner, DPH

Nalina Narain, Director, BCEH

Steven Hughes, Director, CSP, BCEH

Kathleen E. Walsh, Secretary, Executive Office of Health and Human Services 	(electronic copy)

Carol A. Mici, Commissioner, DOC   						(electronic copy)

Terrence Reidy, Secretary, EOPSS						(electronic copy)

Brianna Arruda, Director, Policy Development and Compliance Unit 		(electronic copy)

Coleen Stocks, Superintendent							(electronic copy)

Lieutenant Faith Menard, EHSO/Standards and Training Coordinator		(electronic copy)

Lisa Sanders, RS, CHO, Health Director, Chicopee Health Department		(electronic copy)

Clerk, Massachusetts House of Representatives					(electronic copy)

Clerk, Massachusetts Senate							(electronic copy)

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

LOBBY

Male Bathroom # AA-112

No Violations Noted

Female Bathroom # AA-113

No Violations Noted

Janitor’s Closet # AA-114

No Violations Noted

Female Locker Room # AA-119

No Violations Noted

Male Locker Room # AA-118

No Violations Noted

ADMINISTRATION AREA

Break Room # AA-147

No Violations Noted

Female Staff Bathroom

No Violations Noted

Male Staff Bathroom

No Violations Noted

Officer’s Cubicles

No Violations Noted

CENTRAL CONTROL

No Violations Noted

Storage Room

No Violations Noted

Bathroom

No Violations Noted

Janitor’s Closet # AA-215

No Violations Noted

Training/Muster Room # AA-214

No Violations Noted

VISITING AREA

No Violations Noted

Bathroom # AA-267

No Violations Noted

Janitor’s Closet # AA-252

No Violations Noted

Inmate Bathroom # AA-255

No Violations Noted

Storage # AA-258

No Violations Noted

Kitchenette # AA-261

No Violations Noted

INTAKE

No Violations Noted

Search Room # AA-250

No Violations Noted

Parole Office # AA-232

No Violations Noted

Inmate Property # AA-248

No Violations Noted

Urinalysis Room # AA-234

No Violations Noted

Janitor’s Closet # AA-235

No Violations Noted

Staff Bathroom # AA-238

No Violations Noted

Cells # 1-3

No Violations Noted

Inmate Bathroom # AA-239

No Violations Noted

Break Room # AA-273

No Violations Noted

Inmate Waiting

No Violations Noted

LAUNDRY

No Violations Noted

SUPPPORT SERVICES

Central Storage

No Violations Noted

Inmate Bathroom # AA-127

No Violations Noted

Janitor’s Closet # AA-128

No Violations Noted

Staff Bathroom # AA-129

No Violations Noted

Break Room # AA-131

No Violations Noted

Maintenance Shop

No Violations Noted

Security Management

No Violations Noted

Staff Bathroom # AA-227

No Violations Noted

Janitor’s Closet # AA-218

No Violations Noted

Contraband Room

No Violations Noted

KITCHEN

The following Food Code violations listed in BOLD were observed to be corrected on-site.

Supervisor’s Office

No Violations Noted

Staff Bathroom # AB-224

No Violations Noted

Inmate Bathroom # AB-223

No Violations Noted

Secured Storage

No Violations Noted

Handwash Sink # 1

No Violations Noted

Dry Storage

No Violations Noted

Janitor’s Closet # AB-220

No Violations Noted

Freezer

No Violations Noted

Meat Refrigerator

No Violations Noted

Dairy/Produce Refrigerator

No Violations Noted

3-Compartment Sink

FC 3-304.14(B)(1) 	Protection from Contamination After Receiving; Preventing Contamination from Equipment, Utensils, and Linens: Wet cloth not stored in sanitizer solution

Handwash Sink # 2

No Violations Noted

Ice Machine

No Violations Noted

Dishwashing Machine

No Violations Noted

Handwash Sink # 3 (near Serving Line)

No Violations Noted

Traulsen Cooler

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained is a state of good repair refrigerator gaskets damaged

Ventilation Hoods

No Violations Noted

Food Preparation Area (near Hoods)

No Violations Noted

Inmate Dining Area

No Violations Noted

Spice Cage

No Violations Noted

Receiving Dock # AB-212

No Violations Noted

Waste Hold Room # AB-211

No Violations Noted

Dumpster Area

No Violations Noted

Staff Bathroom # AB-209 (in Hallway)

No Violations Noted

Staff Bathroom # AB-210 (in Hallway)

No Violations Noted

Culinary Kitchen

No Violations Noted

Serving Line

No Violations Noted

Dishwashing Machine

No Violations Noted

Handwash Sink

No Violations Noted

Staff Dining Area

No Violations Noted

MEDICAL

Medical Storage # AA-321

No Violations Noted

Dental Operations # AA-325

No Violations Noted

Dental Office # AA-326

No Violations Noted

Office # AA-329

No Violations Noted

Inmate Bathroom # AA-332

No Violations Noted

Lab # AA-333

No Violations Noted

Optometry Office # AA-334

No Violations Noted

Tub/Pumping Room # AA-335

No Violations Noted

OB/GYN Office # AA-336

No Violations Noted

Janitor’s Closet # AA-337

No Violations Noted

Vaccine Room # AA-338

No Violations Noted

Clinical Treatment Room # AA-339

No Violations Noted

Linen Room # AA-340

No Violations Noted

Staff Bathroom # AA-348

No Violations Noted

Medical Break Room # AA-349

No Violations Noted

Staff Bathroom # AA-350

No Violations Noted

Exam Rooms # 342/343

No Violations Noted

Medical Waste Room # AA-341

No Violations Noted

Dental Room # AA-345

No Violations Noted

VOCATIONAL AREA

Prison Industries # AB-356

No Violations Noted

Inmate Bathroom # AB-349

No Violations Noted

Staff Bathroom # AB-350

No Violations Noted

Computer Lab # AB-351

No Violations Noted

Beauty Salon # AB-353

No Violations Noted

Storage Room # AB-354

No Violations Noted

PROGRAMS

Storage Room # AB-306

No Violations Noted

Multi-Purpose Room # AA-308

No Violations Noted

Inmate Bathroom # AA-309 (located within Multi-Purpose Room # AA-308)

No Violations Noted

Storage Room # AA-311

No Violations Noted

Inmate Bathroom # AA-320

No Violations Noted

Janitor’s Closet # AA-321

No Violations Noted

Library # AA-323

No Violations Noted

Storage Room # AB-325 (located in Hallway)

No Violations Noted

Multi-Purpose Room # AB-330

No Violations Noted

Storage Room # AB-331(located within Multi-Purpose Room # AB-330)

No Violations Noted

Program Administration Area

Storage Room # AB-339

No Violations Noted

Classrooms

No Violations Noted

Staff Bathroom # AA-340

No Violations Noted

Break Room # AA-341

No Violations Noted

Storage Room # AA-342

No Violations Noted

Fitness Room # AA-316

No Violations Noted

Inmate Bathroom # AA-317

No Violations Noted

Storage Closet # AA-318

No Violations Noted

HOUSING

Minimum A

Showers # HMA-116

No Violations Noted

Inmate Bathroom # HMA-117

No Violations Noted

Laundry Room # HMA-119

No Violations Noted

Staff Bathroom # HMA-120

No Violations Noted

Janitor’s Closet # HMA-124

No Violations Noted

Inmate Handicapped Bathroom # HMA-125

No Violations Noted

Cells

No Violations Noted

Minimum B

Recreation Deck

No Violations Noted

Day Room

No Violations Noted

Showers # HMA-216

No Violations Noted

Inmate Bathroom # HMA-217

No Violations Noted

Laundry # HMA-219

No Violations Noted

Staff Bathroom # HMA-220

No Violations Noted

Office # HMA-222

No Violations Noted

Storage Room # HMA-223

No Violations Noted

Janitor’s Closet # HMA-224

No Violations Noted

Inmate Handicapped Bathroom # HMA-225

No Violations Noted

Cells

No Violations Noted

Unit 1 Administration

Inmate Bathroom # HO-104

No Violations Noted

Janitor’s Closet # HO-105

No Violations Noted

Pre-Trial Office # HO-107

No Violations Noted

Storage Room # HO-108

No Violations Noted

Triage # HO-111

No Violations Noted

Staff Bathroom # HO-113

No Violations Noted

Unit 1A

Janitor’s Closet # HOA-118

No Violations Noted

Staff Bathroom # HOA-117

No Violations Noted

Storage Room # HOA-116

No Violations Noted

Multi-Purpose Room # HOA-119

No Violations Noted

Day Room

No Violations Noted

Lower Showers # HOA-122

No Violations Noted

Cells

No Violations Noted

Recreation Deck

No Violations Noted

Sub-Day Room # HOA-113A

No Violations Noted

Upper Showers # HOA-216

No Violations Noted

Upper Storage Room # HOA-215

No Violations Noted

Unit 1B

Sub-Day Room # HOB-113A (Cells # 1-4)

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 1 and 2

Sub-Day Room # HOB-113B (Cells # 5 and 6)

No Violations Noted

Janitor’s Closet # HOB-119

No Violations Noted

Staff Bathroom # HOB-120

No Violations Noted

Storage # HOB-121

No Violations Noted

Recreation Deck

No Violations Noted

Lower Showers

No Violations Noted

Upper Showers

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 2 and 3

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 940F in shower # 1

Upper Storage # HOB-216

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 108

Unit 2 Administration

Janitor’s Closet # HP-103

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handle missing on

hot water spigot

Inmate Bathroom # HP-104

No Violations Noted

Triage # HP-105

No Violations Noted

Staff Bathroom # HP-107

No Violations Noted

Conference Room # HP-108

No Violations Noted

Storage # HP-118

No Violations Noted

Storage # HP-122

No Violations Noted

Offices

No Violations Noted

Unit 2A

Storage # HPA-113

No Violations Noted

Sub-Day Room # HPA-113A

No Violations Noted

Sub-Day Room # HPA-113B

No Violations Noted

Laundry

No Violations Noted

Janitor’s Closet # HPA-115

No Violations Noted

Day Area

No Violations Noted

Staff Bathroom # HPA-116

No Violations Noted

Lower Showers

No Violations Noted

Upper Showers

No Violations Noted

Cells

No Violations Noted

Recreation Deck

No Violations Noted

Unit 2B

Storage Room # HP-125 (located in Hallway outside Housing Unit # 2B)

No Violations Noted

Sub-Day Room # HPB-113A

No Violations Noted

Laundry

No Violations Noted

Staff Bathroom # HPB-118

No Violations Noted

Recreation Deck

No Violations Noted

Janitor’s Closet # HPB-119

No Violations Noted

Day Area

No Violations Noted

Lower Showers

No Violations Noted

Upper Showers

105 CMR 451.130	Hot Water: Shower water temperature recorded at 860F in shower # 2

Cells

No Violations Noted

Unit 3 Administration

Inmate Bathroom # HS-103

No Violations Noted

Office # HS-104

No Violations Noted

Janitor’s Closet # HS-107

No Violations Noted

Triage # HS-109

No Violations Noted

Staff Bathroom # HS-110

No Violations Noted

Break Room # HS-119

No Violations Noted

Unit 3A

Multi-Purpose Room # HSA-101C

No Violations Noted

Janitor’s Closet # HSA-103

No Violations Noted

Sub-Day Room # HSA-105

No Violations Noted

Staff Bathroom # HSA-113

No Violations Noted

Laundry # HSA-104

No Violations Noted

Day Area

No Violations Noted

Lower Showers

No Violations Noted

Upper Showers

No Violations Noted

Upper Storage # HSA-202

No Violations Noted

Cells

No Violations Noted

Recreation Deck

No Violations Noted

Unit 3B

Janitor’s Closet # HSB-103

No Violations Noted

Sub-Day Room # HSB-105

No Violations Noted

Staff Bathroom # HSB-113

No Violations Noted

Laundry # HSB-104

No Violations Noted

Day Area

No Violations Noted

Lower Showers

No Violations Noted

Upper Showers

Unable to Inspect – Under Construction

Upper Storage # HSB-202

105 CMR 451.360	Protective Measures: Building not protected against infestation,

Excessive number of dead bugs observed on floor

Cells

105 CMR 451.353               	Interior Maintenance: Wall vent blocked

Recreation Deck

No Violations Noted

Observations and Recommendations

- The inmate population was 153 at the time of inspection.

- At the time of the inspection Minimum A and B were unoccupied.

- Hot water temperature range for showers is 100℉-112℉.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Scott Koczela

Environmental Analyst, CSP, BCEH