The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

180 Beaman Street

West Boylston, MA 01583

Telephone: 508-792-7880, ext. 2322

Facsimile: 508-792-7706

TTY: 508-835-9796

Amy.M.Riordan@state.ma.us

DEVAL L. PATRICK GOVERNOR TIMOTHY P. MURRAY LIEUTENANT GOVERNOR JUDYANN BIGBY, MD SECRETARY JOHN AUERBACH COMMISSIONER

April 27, 2012

Lewis Evangelidis, Sheriff

Worcester County House of Corrections and Jail

5 Paul X. Tivnan Drive

West Boylston, MA 01583

Re: Facility Inspection

Dear Sheriff Evangelidis:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, and Department of Public Health Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the Worcester County House of Corrections and Jail on April 10, 11 and 12, 2012 accompanied by Dennis Doyle, FSO, Michael O’Connor, FSO and Gene Desrosiers, Chemical Officer. Violations noted are listed below (* indicates conditions documented on previous inspection reports).

ENTRANCE

Hallway

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

Male Locker Room

105 CMR 451.350	Structural Maintenance: Ceiling tile water stained

Fisher Conference Room

No Violations Noted

Control Room

FC 4-602.12(B)*		Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-601.11(c)*	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, gaskets

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty in bathroom

105 CMR 451.123	Maintenance: Paint peeling behind toilet in bathroom

Waiting Area

No Violations Noted

HERMAN BUILDING

105 CMR 451.320*	Cell Size: Inadequate floor space in cells

105 CMR 451.343*	Electric Fixtures in Cell: No electrical outlet in cells

A2 Block

Booth

No Violations Noted

Cells

No Violations Noted

Showers - Upstairs

105 CMR 451.123*	Maintenance: Tiles damaged

105 CMR 451.123*	Maintenance: Shower walls peeling paint

105 CMR 451.123*	Maintenance: Floor damaged

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

105 CMR 451.123*	Maintenance: Baseboard damaged

105 CMR 451.123	Maintenance: Missing floor drain

105 CMR 451.123	Maintenance: Vent dusty

Utility Closet - Upstairs

105 CMR 451.123	Maintenance: Missing sink drain cover

Showers - Downstairs

105 CMR 451.123*	Maintenance: Tiles damaged

105 CMR 451.123	Maintenance: Shower floors peeling paint

105 CMR 451.123*	Maintenance: Floor damaged

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

105 CMR 451.123*	Maintenance: Baseboard damaged

105 CMR 451.123	Maintenance: Vents dusty in all showers

Slop Sink – Downstairs

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking

105 CMR 451.123	Maintenance: Missing sink drain cover

Office

FC 4-602.12(B)*	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-102.11(B)(2)*		Materials for Construction and Repair; Multiuse: Unused single-service article not 				protected against contamination

FC 3-305.11(A)(3)	Preventing Contamination from Premises: Food product stored in an inappropriate location, food product stored less than 6 inches from the floor

Chemical Storage

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Paper Good Storage

No Violations Noted

A1 Block

Booth

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty in bathroom

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator, thermometer broken

Cells (Up)

105 CMR 451.103*	Mattresses: No mattress in cells

Shower Upstairs

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, showers leaking

105 CMR 451.123	Maintenance: Face plate missing on both showers

Slop Sink - Upstairs

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking

Cells (Down)

105 CMR 451.103	Mattresses: Mattress damage in cell #23

105 CMR 451.350	Structural Maintenance: Missing electrical plate in cell #21, 22 and 25-28

Shower - Downstairs

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

Slop Sink Downstairs

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Sink drain cover missing

Storage #4

No Violations Noted

Storage #5

No Violations Noted

MAXI B

105 CMR 451.320*	Cell Size: Inadequate floor space in cells

Booth

FC 4-602.12(B)	*		Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-903.11(A)(2)* 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 				from contamination

105 CMR 451.110(B)	Hygiene Supplies at Toilet and Handwash Sink: No waste receptacle at handwash sink

Lower Right Tier

Day Room

No Violations Noted

Slop Sink

No Violations Noted

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

105 CMR 451.123*	Maintenance: Tiles cracked

105 CMR 451.123	Maintenance: Missing dial plates in showers

Cells

No Violations Noted

Lower Left Tier

Day Room

No Violations Noted

Cells

No Violations Noted

Lower Disciplinary Unit

Not In Use

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

Upper Left Tier

Day Room

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Cells

No Violations Noted

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

105 CMR 451.123	Maintenance: Missing dial plate in showers

Upper Disciplinary Unit

No Violations Noted

Upper Right Tier

Day Room

No Violations Noted

Cells

No Violations Noted

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

105 CMR 451.123	Maintenance: Tile damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, 1 shower leaking

CHAPEL

No Violations Noted

HEALTH SERVICES

Infirmary Ward

Not Occupied

Staff Bathroom

105 CMR 451.123	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Ceiling tile damaged

Inmate Bathroom

105 CMR 451.123	Maintenance: Ceiling vent dusty

Supply Closet

No Violations Noted

Property

No Violations Noted

Mental Health Offices

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Storage Room with Sink

No Violations Noted

Storage Room w/o Sink

No Violations Noted

Nurse’s Room

No Violations Noted

Segregation Cells

No Violations Noted

Biohazard Storage

No Violations Noted

Pharmacy

105 CMR 451.350	Structural Maintenance: Green cabinet damaged

105 CMR 451.350*	Structural Maintenance: Ceiling tiles water stained

CENTRAL CONTROL

105 CMR 451.350	Structural Maintenance: Wall damaged in control area above electrical panel

105 CMR 451.350*	Structural Maintenance: Wall damaged in bathroom

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty in bathroom

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, refrigerator gaskets are dirty

FC 4-903.11(A)(2)* 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 				from contamination

VISITING ROOM

105 CMR 451.350*	Structural Maintenance: Ceiling damaged at skylights on both inmate and visitor sides

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, bubbler not working

Female Handicapped Bathroom

105 CMR 451.123	Maintenance: Ceiling vent dusty

Female Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water not working

105 CMR 451.123	Maintenance: Ceiling tiles damaged

Male Handicapped Bathroom

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

Male Bathroom

105 CMR 451.123*	Maintenance: Ceiling tiles water stained

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, cold water not working

GYMNASIUM

105 CMR 451.350*	Structural Maintenance: Floor is bubbling, creating a tripping hazard

105 CMR 451.350	Structural Maintenance: Door not rodent and weathertight

Mini Side Bathroom

105 CMR 451.123	Maintenance: Generally dirty

105 CMR 451.123	Maintenance: Wall damaged

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Maxi Side Bathroom

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Booth

105 CMR 451.123	Maintenance: Ceiling vent dusty in bathroom

105 CMR 451.123	Maintenance: Missing sink drain cover

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

MAXI C

105 CMR 451.320*	Cell Size: Inadequate floor space in cells

Booth

FC 4-903.11(A)(2)* 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 				from contamination

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty in bathroom

Upper Tier

Day Room

No Violations Noted

Cells

105 CMR 451.102	Pillows and Linens: Linens damaged in cell #422

105 CMR 451.350	Structural Maintenance: Missing face plate on electrical outlets in all cells

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet leaks in cell #425

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

105 CMR 451.123	Maintenance: Tile damage in showers

105 CMR 451.123	Maintenance: Missing face plate on shower #3

Old Segregation

Not In Use

Slop Sink

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Lower Tier

105 CMR 451.350*	Structural Maintenance: Door in rear hall not rodent and weathertight

Cells

105 CMR 451.350	Structural Maintenance: Missing face plate on electrical outlets in all cells

105 CMR 451.350	Structural Maintenance: Wall damage in cell #247

Showers

105 CMR 451.123*	Maintenance: Missing face plate on dial in shower

105 CMR 451.123	Maintenance: Soap scum on walls in showers

Segregation

Not In Use

Chemical Area

No Violations Noted

Day Room

No Violations Noted

DEIGNAN BUILDING

105 CMR 451.320*	Cell Size: Inadequate floor space in cells

Officer’s Booth

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, gaskets damaged on refrigerator

Upper West

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

Slop Sink Room

No Violations Noted

Bathroom

Unable to Inspect – In Use

Lower West

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123*	Maintenance: Appearance of mold like substance on floors and walls

105 CMR 451.123	Maintenance: Missing wall tiles under bench in showers

Bathroom

105 CMR 451.123	Maintenance: Floor damaged

105 CMR 451.123	Maintenance: Radiator rusty

Cells

No Violations Noted

Common Area

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Lower East

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

105 CMR 451.123*	Maintenance: Mold in showers

Slop Sink Room

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking

105 CMR 451.350	Structural Maintenance: Electrical outlet damaged

105 CMR 451.350	Structural Maintenance: Radiator rusty

Bathroom

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, toilet leaking

105 CMR 451.123	Maintenance: Radiator rusty

105 CMR 451.123*	Maintenance: Baseboard damaged

Upper East

Slop Sink

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, sink leaking

Cells

105 CMR 451.101	Blankets: Blanket damaged in cell #18

Showers

105 CMR 451.353*	Interior Maintenance: Tile damaged

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

105 CMR 451.123*	Maintenance: Missing face plate on 1 shower dial

105 CMR 451.123	Maintenance: Door frame damaged

Bathroom

105 CMR 451.123	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Missing sprayer cap cover on sink

Interview Room

No Violations Noted

Uniform Supply

No Violations Noted

Chemical Closet

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

MINI 5 BUILDING

105 CMR 451.320*	Cell Size: Inadequate floor space in cells

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

Booth

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, refrigerator gaskets damaged/dirty

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Corridor 2

Showers

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.123	Maintenance: Soap scum on walls in showers

105 CMR 451.123	Maintenance: Tile damaged in showers

105 CMR 451.123	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Missing face plate in shower #1

105 CMR 451.123	Maintenance: Lose face plate in shower #2

Cells

105 CMR 451.350	Structural Maintenance: Wall damaged in cell #10

105 CMR 451.353	Interior Maintenance: Paper in light in cell #11

School Area

No Violations Noted

Office

No Violations Noted

Weight Room

No Violations Noted

Chemical Closet

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

105 CMR 451.353	Interior Maintenance: Standing water left in bucket

T.V Room

105 CMR 451.350	Structural Maintenance: Paint peeling near vent

FC 4-602.12(B)*		Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Corridor 1

Showers

105 CMR 451.123	Maintenance: Paint peeling

105 CMR 451.123	Maintenance: Walls cracked

105 CMR 451.123	Maintenance: Soap scum on walls in showers

105 CMR 451.123	Maintenance: Wall tiles cracked in showers

105 CMR 451.123	Maintenance: Missing face plate on both showers

Cells

105 CMR 451.350	Structural Maintenance: Window cracked in cell #14

FOOD SERVICE

Staff Dining

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, filter for ice machine dirty

Staff Line

FC 4-903.11(B)(1)	Protection of Clean Items, Storing: Plates not stored in the inverted position

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, utensils left uncovered

FC 4-601.11(A)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, warming trays dirty

Bakery Storage

FC 6-404.11	Location and Placement; Distressed Merchandise: Dented cans not properly 	segregated

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, handwash sink leaking

Dishwasher Area

FC 6-201.11*	Design, Construction and Installation: Floor not easily cleanable, damaged floor

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, floors slippery, a lot of standing water

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, dishwasher leaking

FC 4-501.112(A)(2)	Maintenance and Operation, Equipment: Inadequate water temperature in the Hobart mechanical warewashing machine

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, walls dirty behind 3 bay sink

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Ceiling covering not easily cleanable, paint peeling in skylight

Tray Room

FC 6-201.16(A)*	Design, Construction, and Installation; Cleanability: Ceiling covering not easily 	cleanable, paint peeling in skylight

Inmate Bathroom

105 CMR 451.123	Maintenance: Baseboard damaged

Bakery Area

No Violations Noted

Cooler 1

FC 3-305.11(A)(2)*	Preventing Contamination from Premises: Food exposed to dust, fans in cooler dusty

FC 4-903.12 (A)(6)	Protection of Clean Items, Storing: Food product stored in an inappropriate location, food stored under condenser lines

Cooler 2

FC 3-305.11(A)(2)*	Preventing Contamination from Premises: Food exposed to dust, fans in cooler dusty

Cooler 3

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, refrigerator gaskets damaged

Freezer

No Violations Noted

Receiving

FC 6-202.15(A)(2)*	Design, Construction, and Installation; Functionality: Outer door not weather and 	vermin tight

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, wall damaged

Chemical Closet

No Violations Noted

Dry Storage

No Violations Noted

Supply Room

FC 6-202.15(A)(2)*	Design, Construction, and Installation; Functionality: Outer door not weather and 	vermin tight

Can Room

No Violations Noted

Control

105 CMR 451.123	Maintenance: Ceiling vent dusty in bathroom

SCHOOL

Kitchen Area in Hall

No Violations Noted

Men’s Staff Bathroom

105 CMR 451.123	Maintenance: Ceiling tiles damaged

105 CMR 451.123	Maintenance: Ceiling vent dusty

Parole Office

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, ceiling vent blocked

Substance Abuse Office

105 CMR 451.350	Structural Maintenance: Ceiling tiles water stained

Women’s Room

105 CMR 451.123	Maintenance: Ceiling vent dusty

Slop Sink

105 CMR 451.123	Maintenance: Ceiling vent dusty

RECEIVING

County Lock Up

Not in use at this time

ID Room

No Violations Noted

Mop Closet

105 CMR 451.353*	Interior Maintenance: Mop stored in wet bucket

105 CMR 451.353	Interior Maintenance: Missing light shields

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Bathroom, in Records

No Violations Noted

Interview Room

No Violations Noted

Records

No Violations Noted

Property Room

105 CMR 451.350	Structural Maintenance: Wall damaged behind desk

Intake Showers

105 CMR 451.350*	Structural Maintenance: Holes in the ceiling

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, 1 shower not working

Holding Cell #1

No Violations Noted

Holding Cell #2

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, cold water not working

MAINTENANCE CORRIDOR

Staff Bathroom

105 CMR 451.353	Interior Maintenance: Missing ceiling vent

Inmate Bathroom

No Violations Noted

Laundry Area

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, refrigerator gaskets damaged

FC 4-601.11(A)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, coffee maker dirty

Repair Shop

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

Welding Area

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

105 CMR 451.350	Structural Maintenance: Walls damaged near windows

Tool Cage

105 CMR 451.350	Structural Maintenance: Door not rodent and weathertight

MODULAR ADMINISTRATION BUILDING

Lobby

Waiting Area

No Violations Noted

Men’s Bathroom

Unable to Inspect – In Use

Female Bathroom

No Violations Noted

Control 3

105 CMR 451.350*	Structural Maintenance: Floor damaged

105 CMR 451.350*	Structural Maintenance: Baseboard damaged

FC 4-602.12(B)*	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket in bathroom

Bathroom

No Violations Noted

Pedestrian Trap

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

Visiting Area

105 CMR 451.350	Structural Maintenance: Floor tile damaged

105 CMR 451.350	Structural Maintenance: Door not rodent and weathertight

Special Services Corridor

Slop Sink

105 CMR 451.350	Structural Maintenance: Floor tiles damaged

105 CMR 451.360	Protective Measures: Drain files observed

Female Locker Room

105 CMR 451.350*	Structural Maintenance: Ceiling tiles missing

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, cold water not working

Male Locker Room

No Violations Noted

Male Bathroom

105 CMR 451.123	Maintenance: Generally dirty

Female Bathroom

105 CMR 451.123*	Maintenance: Baseboard damaged

Operations/Investigation

Unable to access

Mail Room

FC 4-602.12(B)*		Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Investigations Office

FC 3-501.16(B)			Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator 				temperature recorded at 470F

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-903.11(A)(2) 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 				from contamination, utensils left uncovered

D-Board

No Violations Noted

Phone Room

No Violations Noted

Bubbler

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, bubbler not working

Hallway

105 CMR 451.350	Structural Maintenance: Floor tiles damaged in hall of special services corridor

Dispatch

No Violations Noted

Vacant Office

105 CMR 451.350*	Structural Maintenance: Baseboard damaged

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Slop Sink Room

105 CMR 451.353	Interior Maintenance: Generally dirty

2nd Floor

South Male Bathroom

105 CMR 451.123	Maintenance: Ceiling vent dusty

South Female Bathroom

No Violations Noted

North Male Bathroom

No Violations Noted

North Male Bathroom

No Violations Noted

Storage Room

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Slop Sink Room

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

105 CMR 451.353	Interior Maintenance: Water left in bucket

Computer Lab

No Violations Noted

Computer Server Room

105 CMR 451.350	Structural Maintenance: Floor tiles damaged

MODULAR INFIRMARY

105 CMR 451.350*	Structural Maintenance: Hole in concrete at entrance

2nd Floor

Inmate Bathroom #244

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

105 CMR 451.123	Maintenance: Ceiling vent dusty

Nurse’s Station #233

No Violations Noted

Officers Station

No Violations Noted

Optometrist’s Office

No Violations Noted

Mop Sink Room

105 CMR 451.350*	Structural Maintenance: Floor damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking

Dentist’s Room #253

No Violations Noted

Room #241

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Room #248

105 CMR 451.350	Structural Maintenance: Missing ceiling tiles

Room #250

No Violations Noted

Room #238

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Room #242

105 CMR 451.350*	Structural Maintenance: Floor tile damaged

Room #236

No Violations Noted

Room #230

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

Women’s Bathroom #258

No Violations Noted

Men’s Bathroom #243

No Violations Noted

Holding Cell

105 CMR 451.350*	Structural Maintenance: Ceiling unfinished

Room 254

105 CMR 451.350*	Structural Maintenance: Floor damaged

Inmate Bathroom 244

No Violations Noted

Medical Records

105 CMR 451.350*	Structural Maintenance: Paint peeling

105 CMR 451.350*	Structural Maintenance: Ceiling leaking

105 CMR 451.123*	Maintenance: Mold like substance on walls

Mop Closet

No Violations Noted

Shower Area

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Ceiling damaged

Captains Office

No Violations Noted

Storage Room (near Captain’s Office)

105 CMR 451.353	Interior Maintenance: Missing vent cover

Ward 206

No Violations Noted

Ward 207

No Violations Noted

X-Ray Room

105 CMR 451.350*	Structural Maintenance: Floor damaged

1st Floor

Mod Med Line

105 CMR 451.350*	Structural Maintenance: Floor damaged

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

105 CMR 451.350*	Structural Maintenance: Baseboard damaged

105 CMR 451.350*	Structural Maintenance: Wall damaged

Officer’s Office

FC 4-903.11(A)(2) 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 				from contamination

105 CMR 451.350	Structural Maintenance: Floor tiles missing

Classrooms

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

105 CMR 451.350*	Structural Maintenance: Baseboard damaged

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

105 CMR 451.350*	Structural Maintenance: Ceiling tiles missing

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.350	Structural Maintenance: Door rotted

Role Call Room

105 CMR 451.350*	Structural Maintenance: Floor damaged

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

105 CMR 451.350*	Structural Maintenance: Ceiling water damaged

105 CMR 451.350*	Structural Maintenance: Door rotted (outside)

Old Kitchen

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.350*	Structural Maintenance: Floor damaged

105 CMR 451.350*	Structural Maintenance: Floor tiles missing and damaged

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

105 CMR 451.353*	Interior Maintenance: Walls dirty

105 CMR 451.353*	Interior Maintenance: Debris everywhere

GYM BUILDING

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

105 CMR 451.350*	Structural Maintenance: Wall paint peeling

105 CMR 451.353*	Interior Maintenance: Bubbler not working

Staff Bathroom

Unable to Access

Inmate’s Bathroom

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Control Booth

No Violations Noted

Room #106

105 CMR 451.350	Structural Maintenance: Wall paint peeling

Room #107

No Violations Noted

Room #108

No Violations Noted

Room #105

Unable to Access

TOWER

1st Floor

105 CMR 451.353*	Interior Maintenance: Area dirty with trash and litter on the floor

105 CMR 451.353*	Interior Maintenance: Loose wires and uncovered junction box

2nd Floor

105 CMR 451.123*	Maintenance: Floor dirty

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1060F

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

3rd Floor

FC 4-602.12(B)*		Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-204.112(A)*	Design and Construction, Functionality: No functioning thermometer in refrigerator

105 CMR 451.350	Structural Maintenance: Holes in glass

105 CMR 451.350	Structural Maintenance: Wall paint peeling

105 CMR 451.350	Structural Maintenance: Wall damaged

105 CMR 451.353	Interior Maintenance: Missing light shields

105 CMR 451.350	Structural Maintenance: Exposed phone wires

FC 4-903.11(A)(2) 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 				from contamination

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, refrigerator gaskets damaged

FC 4-204.112(A)		Design and Construction, Functionality: No functioning thermometer in refrigerator

MODULAR VISITING AREA

Visiting

105 CMR 451.350*	Structural Maintenance: Floor damaged

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight, door threshold rotted

105 CMR 451.350*	Structural Maintenance: Wall damaged near back door

105 CMR 451.350	Structural Maintenance: Missing ceiling tiles in social worker area for inmates

Bathroom

Unable to Access

Slop Sink

105 CMR 451.350*	Structural Maintenance: Floor tiles missing

IP Break Room

105 CMR 451.350*	Structural Maintenance: Floor damaged

FC 4-602.12(B)*		Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-903.11(A)(2) 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 				from contamination

Officer’s Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, cold water not working

105 CMR 451.123	Maintenance: Ceiling vent dusty

Receiving

105 CMR 451.360	Protective Measures: Rodent dropping observed

Waiting Area

105 CMR 451.130*		Plumbing: Plumbing not maintained in good repair, bubbler not working

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, bubbler not working

105 CMR 451.350	Structural Maintenance: Baseboard damaged at rear entrance

105 CMR 451.350	Structural Maintenance: Wall damaged

Clothing Room

105 CMR 451.350*	Structural Maintenance: Ceiling leaking

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.350*	Structural Maintenance: Wall peeling

105 CMR 451.350*	Structural Maintenance: Floor tiles missing

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.353*	Interior Maintenance: Appearance of a mold like substance

Personal Property

No Violations Noted

Uniform Storage

No Violations Noted

Chemical Room

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Small Clothing Room

105 CMR 451.350	Structural Maintenance: Wall damaged

105 CMR 451.350	Structural Maintenance: Ceiling tiles damaged

105 CMR 451.350	Structural Maintenance: Floor tiles damaged

Urinalysis Storage

No Violations Noted

Slop Sink Room

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking

Holding Cells

105 CMR 451.353	Interior Maintenance: Cell #107 generally dirty

Staff Bathroom

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Inmate Bathroom

105 CMR 451.353*	Interior Maintenance: Ceiling vent not secure to the ceiling

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

Break Area

No Violations Noted

VOC LAUNDRY

105 CMR 451.350	Structural Maintenance: Baseboard damaged at entry

1st Floor

Laundry

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, 1 washer leaking

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, 1 washer broken

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.353	Interior Maintenance: Mold like substance build-up behind washers

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, the washers are draining into trough, when they drain the water sprays everywhere

Chemical Storage

Unable to access

Inmate Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking

Staff Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, missing cap on hot water faucet

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Janitor’s Room

No Violations Noted

Library

Unable to Access

IT Break Area

FC 4-903.11(A)(2) 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 				from contamination

FC 4-204.112(A)		Design and Construction, Functionality: No functioning thermometer in refrigerator

Hallway

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

2nd Floor

Room 203

105 CMR 451.350*	Structural Maintenance: Ceiling tiles damaged and water stained

H BUILDING

105 CMR 451.321*	Cell Size: Inadequate floor space in cells

105 CMR 451.343*	Electric Fixtures in Cell: No electrical outlet in cell

Control Booth

105 CMR 451.350*	Structural Maintenance: Floor tiles missing in bathroom

FC 4-602.12(B)*		Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, refrigerator gaskets dirty

Cells

105 CMR 451.141	Screens: Screen damaged in cell #111

105 CMR 451.353	Interior Maintenance: Vents blocked in cell #102, 104, 107-119, 123-139, 142-144, 147-150, 152, 154 & 156-160

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

105 CMR 451.350*	Structural Maintenance: Baseboard damaged

105 CMR 451.123*	Maintenance: Mold in showers

105 CMR 451.123*	Maintenance: Paint peeling

I & J BUILDING

105 CMR 451.321*	Cell Size: Inadequate floor space in cells

105 CMR 451.343*	Electric Fixtures in Cell: No electrical outlet in cell

Control Booth

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, refrigerator gaskets dirty

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

FC 3-501.16(B)			Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator 				temperature recorded at 46 0F

I Side

Cells

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink doesn’t shut off in cell #201

105 CMR 451.353	Interior Maintenance: Vents blocked in cell #163, 171, 173, 174, 177, 179-187,190-193, 195, 196, 198-202 & 207-220

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

105 CMR 451.123*	Maintenance: Damaged baseboards

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.123*	Maintenance: Missing dial in shower #5

105 CMR 451.360	Protective Measures: Drain flies observed

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handicapped shower broken

Chemical Room

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Interview Room

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

J Side

Cells

105 CMR 451.141	Screens: Screen damaged in cell #241 and 253

105 CMR 451.353	Interior Maintenance: Ceiling vents blocked in cell #221-226, 229-231, 236, 242, 245, 252, 253 & 256-280

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

105 CMR 451.123*	Maintenance: Missing face plate on shower

105 CMR 451.123*	Maintenance: Mold like substance on walls

105 CMR 451.123*	Maintenance: Floor not sealed, cracked

105 CMR 451.123	Maintenance: Tile damaged

Chemical Area

105 CMR 451.353	Interior Maintenance: Drain cover loose

105 CMR 451.353	Interior Maintenance: Water left in bucket

Interview Room

Unable to access

K & L BUILDING

105 CMR 451.321*	Cell Size: Inadequate floor space in cells

105 CMR 451.343*	Electric Fixtures in Cell: No electrical outlet in cell

Control Booth

FC 4-602.12(B)*		Cleaning of Equipment and Utensils; Frequency: Interior of microwave ovens dirty

FC 4-501.11(A)			Maintenance and Operation, Equipment: Equipment not maintained in a state of good 				repair, microwave damaged

FC 3-501.16(B)			Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator 				temperature recorded at 460F

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator, thermometer broken

FC 4-601.11(A)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, refrigerator

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

K Side

Cells

105 CMR 451.350	Structural Maintenance: Uncovered/missing electrical cover in cell #313-320, 323 & 332

105 CMR 451.103	Mattresses: Mattress damaged in cell #281

105 CMR 451.101	Blankets: Blanket damaged in cell #285

105 CMR 451.353	Interior Maintenance: Vents blocked in cell #281, 286, 287, 294, 299, 303-306, 308, 310-320, 324-328, 331, 333-335, 339 & 340

Showers

105 CMR 451.123*	Maintenance: Baseboard damaged

105 CMR 451.123*	Maintenance: Tiles damaged

105 CMR 451.123	Maintenance: Shower curtains damaged

105 CMR 451.123	Maintenance: Soap scum on walls in showers

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, 6 showers have no hot water

Chemical Room

105 CMR 451.353*	Interior Maintenance: Standing water left in bucket

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking

Interview Room

No Violations Noted

L Side

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

Cells

105 CMR 451.353	Interior Maintenance: Vents blocked in cell #341, 342, 348, 354, 355, 362, 365, 371, 374-377, 379, 383, 385, 386, 389, 390, 392, 395, 396 & 399

105 CMR 451.350	Structural Maintenance: Uncovered electrical outlet in cell #375, 380 & 381

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

105 CMR 451.123*	Maintenance: Baseboards damaged

105 CMR 451.123*	Maintenance: Missing face plate in shower #4 & 9

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, handicapped shower leaks

105 CMR 451.123*	Maintenance: Appearance of mold in showers

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, 6 showers have no hot water

Chemical Room

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Interview Room

No Violations Noted

WORK RELEASE

Control Booth

FC 4-602.12(B)*		Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, refrigerator gaskets damaged

Main Hallway

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

105 CMR 451.350*	Structural Maintenance: Windows cracked

Rec. Area (left)

105 CMR 451.350	Structural Maintenance: Baseboard damaged

105 CMR 451.353	Interior Maintenance: Mop stored in bucket in closet

105 CMR 451.353	Interior Maintenance: Missing light shield

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Bathroom (left)

Unable to Inspect – Occupied

Slop Sink Room (left)

No Violations Noted

Showers (left)

105 CMR 451.123*	Maintenance: 1 showers leaking

105 CMR 451.123	Maintenance: Soap scum on walls in showers

105 CMR 451.123	Maintenance: Ceiling tile damage

105 CMR 451.121(A)*	Privacy: No privacy partition between showers

Showers (right)

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, showers leaking

105 CMR 451.121(A)*	Privacy: No privacy partition between showers

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, 2 showers not working

105 CMR 451.123	Maintenance: Tile damage

105 CMR 451.123	Maintenance: Ceiling tile damaged

Staff Bathroom

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.123	Maintenance: Ceiling damaged

Laundry

105 CMR 451.353*	Interior Maintenance: Lint and debris behind dryer

Chow

No Violations Noted

Day Room (right)

105 CMR 451.350*	Structural Maintenance: Baseboards damaged

Inmate Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water not working at last sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at 3rd sink

105 CMR 451.123	Maintenance: Wall damaged behind urinal

WAREHOUSE BUILDING

105 CMR 451.350	Structural Maintenance: Door not rodent and weathertight

Staff Gym

No Violations Noted

Female Bathroom

105 CMR 451.123	Maintenance: Ceiling vent dusty

Men’s Bathroom

In Use – Unable to Access

Warehouse

105 CMR 451.350*	Structural Maintenance: Wall damaged on the exterior

Break Area

No Violations Noted

Inmate Bathroom

105 CMR 451.123	Maintenance: Sink drain cover missing

Staff Bathroom

No Violations Noted

Chemical Room

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

Walk in Freezer

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, interior door frame damaged

Exterior Cooler 2

105 CMR 451.350*	Structural Maintenance: Damaged baseboards

105 CMR 451.350	Structural Maintenance: Door frame damaged

Exterior Cooler 1

FC 3-305.11(A)(2)*		Preventing Contamination from Premises: Food exposed to dust, fans in cooler dusty

GARAGE

Transportation Office

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight

Kitchen Area

FC 4-602.12(B)*		Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Inmate Bathroom

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.123	Maintenance: Ceiling tiles water damaged

Staff Bathroom

105 CMR 451.123*	Maintenance: Wall damaged behind toilet

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Walls dirty

105 CMR 451.123	Maintenance: Generally dirty

Bays

No Violations Noted

Key Control

No Violations Noted

MSF

Vacant

ANNEX

105 CMR 451.320*	Cell Size: Inadequate floor space

Control Booth

FC 4-602.12(B)*		Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

105 CMR 451.350*	Structural Maintenance: Ceiling tiles water stained

FC 4-903.11(A)(2) 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 				from contamination

Female Staff Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1000F

Male Staff Bathroom

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Chemical Cage

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Male Visiting

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Food Area

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, refrigerator gaskets damaged

105 CMR 451.353*	Interior Maintenance: Floor drain damaged, trip hazard

105 CMR 451.110(B)*	Hygiene Supplies at Toilet and Handwash Sink: No waste receptacle at handwash sink

105 CMR 451.350*	Structural Maintenance: Ceiling tiles water damaged

FC 3-304.12(A)			Preventing Contamination from Utensils: Service utensils handle stored below the 				food and container line

Shower Area

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation damaged ceiling tiles

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

105 CMR 451.353*	Interior Maintenance: Paint peeling

Medical

No Violations Noted

Classroom

No Violations Noted

Toilet Area

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Sink Area

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, 3 sinks not working

Laundry Room

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, washer leaking

105 CMR 451.353	Interior Maintenance: Debris build-up behind dryer

105 CMR 451.353	Interior Maintenance: Dryer not vented to the exterior

Observations and Recommendations

- The inmate population was 1255 at the time of inspection

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within ten working days of receiving this report and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Community Sanitation Regulations" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Amy Riordan

Environmental Health Inspector, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

JudyAnn Bigby, MD, Secretary, Executive Office of Health and Human Services

Luis S. Spencer, Commissioner, DOC

Dennis Dolye, FSO

West Boylston Board of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Mary Elizabeth Heffernan, EOPS