MARYLOU SUDDERS

Secretary

MARGRET R. COOKE                        Acting Commissioner

Tel: 617-624-6000

www.mass.gov/dph

The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

67 Forest Street, Suite # 100

Marlborough, MA 01752

Phone: 617-695-7447

CHARLES D. BAKER Governor KARYN E. POLITO Lieutenant Governor

July 9, 2021

David H. Tuttle, Superintendent

Worcester County House of Corrections and Jail

5 Paul X. Tivnan Drive

West Boylston, MA 01583		(electronic copy)

Re: Facility Inspection - Worcester County House of Corrections and Jail, West Boylston

Dear Superintendent Tuttle:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 2013 Food Code; 105 CMR 500.000 Good Manufacturing Practices for Food; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; the Department’s Community Sanitation Program (CSP) conducted an inspection of the Worcester County House of Corrections and Jail on June 16 and 17, 2021 accompanied by Terrance Ward, Fire Safety Officer; Officer Devon Walker and Captain Eric Locke. Violations noted during the inspection are listed below including 83 repeat violations:

Should you have any questions, please don’t hesitate to contact me.

Sincerely,

Amy Medeiros

Environmental Health Inspector, CSP, BEH

cc: 	Margaret R. Cooke, Acting Commissioner, DPH

Jan Sullivan, Acting Director, BEH

Steven Hughes, Director, CSP, BEH

Marylou Sudders, Secretary, Executive Office of Health and Human Services 			(electronic copy)

Carol A. Mici, Commissioner, DOC   							(electronic copy)

Thomas Turco, Secretary, EOPSS								(electronic copy)

Timothy Gotovich, Acting Director, Policy Development and Compliance Unit 			(electronic copy)

Noe Bard III, EHSO									(electronic copy)

Terrance Ward, FSO  									(electronic copy)

Diane M. Cook, WSCO Policy, Accreditation & Program Development Coordinator 		(electronic copy)

Margaret Lee, Administrative Assistant, West Boylston Board of Health			(electronic copy)

Clerk, Massachusetts House of Representatives						(electronic copy)

Clerk, Massachusetts Senate								(electronic copy)

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

Entrance

Superintendent’s Office

Unable to Inspect – Locked

Waiting Area

No Violations Noted

Fisher Conference Room

No Violations Noted

Hallway

No Violations Noted

Assistant Deputy Superintendent’s Office

No Violations Noted

Deputy’s Office

No Violations Noted

Staff Locker Room

No Violations Noted

Staff Bathroom

No Violations Noted

Control Room

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, gaskets damaged on refrigerator

Control Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Key Room

No Violations Noted

Herman Building

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.343*	Electric Fixtures in Cell: No electrical outlet in all cells

A2 Block

Control Booth

105 CMR 451.353	Interior Maintenance: Ceiling tiles damaged

Control Bathroom

105 CMR 451.123	Maintenance: Ceiling vent dusty

Day Room

No Violations Noted

Chemical Storage Room

No Violations Noted

Paper Goods Storage

No Violations Noted

Staff Room

No Violations Noted

Slop Sink Room (Upstairs)

No Violations Noted

Cells (Upstairs)

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 45

Showers (Upstairs)

No Violations Noted

Slop Sink (Downstairs)

No Violations Noted

Cells (Downstairs)

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 49

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 51, 60, and 63

Showers (Downstairs)

No Violations Noted

Hallway

Storage Closets

No Violations Noted

A1 Block

Control Booth

105 CMR 451.353	Interior Maintenance: Ceiling vent not secured to ceiling

Control Bathroom

No Violations Noted

Day Room

No Violations Noted

Room # 1

No Violations Noted

Room # 2

No Violations Noted

Room # 3

No Violations Noted

Storage # 4

No Violations Noted

Storage # 5

105 CMR 451.344	Illumination in Habitable Areas: Light not functioning properly, light out

Strip Search Room

No Violations Noted

Slop Sink (Upstairs)

No Violations Noted

Cells (Upstairs)

Unable to Inspect – In Use

Showers (Upstairs)

No Violations Noted

Slop Sink (Downstairs)

105 CMR 451.344	Illumination in Habitable Areas: Light not functioning properly, light out

Cells (Downstairs)

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 17, 18, and 26

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 19 and 28

105 CMR 451.103	Mattresses: Mattress damaged in cell # 26 and 27

Showers (Downstairs)

No Violations Noted

Rec Area

No Violations Noted

MAXI B

105 CMR 451.320*			Cell Size: Inadequate floor space in all cells

Control

105 CMR 451.353	Interior Maintenance: Ceiling water damaged in hallway outside Control

Control Bathroom

105 CMR 451.123*	Maintenance: Wall damaged

105 CMR 451.123	Maintenance: Floor dirty

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1380F

Lower Right Tier

Day Room

105 CMR 451.344	Illumination in Habitable Areas: Light not functioning properly, light out

Slop Sink

105 CMR 451.353	Interior Maintenance: Caulking damaged around slop sink

Showers

No Violations Noted

Cells				(Unable to Inspect Cell # 144 – Under Construction)

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 128, 130, 134, and 136

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 138

Lower Left Tier

Day Room

No Violations Noted

Cells

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 125, 129, and 145

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 111, 127, 131, and 137

Showers

105 CMR 451.123	Maintenance: Floor dirty in shower # 1 and 2

Slop Sink

105 CMR 451.353	Interior Maintenance: Caulking damaged around slop sink

Chemical Closet

No Violations Noted

Lower Disciplinary Unit

Unable to Inspect – Not Used

Upper Left Tier

Day Room

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Cells

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 307, 311, 313, and 317

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 311

105 CMR 451.353	Interior Maintenance: Floor dirty in cell # 331

Slop Sink

No Violations Noted

Showers

No Violations Noted

Upper Disciplinary Unit

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 1

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 1, 3, and 4

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 4

Upper Right Tier

Day Room

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 320 and 336

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 342 and 348

Showers

105 CMR 451.123	Maintenance: Wall epoxy damaged in shower # 1

Slop Sink

105 CMR 451.353	Interior Maintenance: Caulking damaged around slop sink

Chapel

No Violations Noted

Office (Right of Altar)

Unable to Inspect – Not Used

Health Services

Unable to Inspect – Under Construction

Central Control

No Violations Noted

Control Bathroom

Unable to Inspect – In Use

Property

No Violations Noted

Gymnasium

Slop Sink Closet (Hallway)

No Violations Noted

Basketball Court

105 CMR 451.350*	Structural Maintenance: Floor damaged

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

105 CMR 451.344*	Illumination in Habitable Areas: Light not functioning properly, lights out

Inmate Toilets & Showers 	(Unable to Inspect Showers – Not Used)

105 CMR 451.123	Maintenance: Light out above toilets

Booth

105 CMR 451.200*	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, refrigerator gaskets damaged

Staff Bathroom

No Violations Noted

Bathroom without Showers

No Violations Noted

VISITING ROOM

Inmate Visiting Side

105 CMR 451.353*	Interior Maintenance: Counter top damaged in booth # 10, 12, and 14

105 CMR 451.353*	Interior Maintenance: Wall damaged near phone in booth # 19 and 20

Non-Inmate Visiting Side

105 CMR 451.353*	Interior Maintenance: Floor paint damaged throughout area

Female Handicapped Bathroom

Unable to Inspect – Locked

Male Handicapped Bathroom

Unable to Inspect – Locked

Female Bathroom

No Violations Noted

Male Bathroom

No Violations Noted

MAXI C

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

Control Booth

No Violations Noted

Booth Bathroom

105 CMR 451.123	Maintenance: Ceiling vent dusty

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink slow to drain

Upper Tier

Left-Side Day Room

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Right-Side Day Room

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 401 and 447

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 411, 415, 419, 426, 427, 439, and 443

105 CMR 451.353	Interior Maintenance: Wall damaged in cell # 412, 430, and 436

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 413, 418, 433, and 435

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 440

105 CMR 451.353	Interior Maintenance: Faceplate missing in cell # 405

Showers

105 CMR 451.123*	Maintenance: Wall epoxy damaged in shower # 1

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 1 leaking

105 CMR 451.123	Maintenance: Wall epoxy damaged in shower # 2 and 3

Slop Sink

No Violations Noted

Old Segregation

Unable to Inspect – Not Used

Lower Tier

Left-Side Day Room

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Right-Side Day Room

No Violations Noted

Cells	(Unable to Inspect Cell # 209, 211, 212, 217, 218, 222, 231, 237, 239, 241, and 244 – Under Construction)

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 208, 248, 251, and 252

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 201, 245, and 247

105 CMR 451.353*	Interior Maintenance: Wall damaged in cell # 227

105 CMR 451.353	Interior Maintenance: Wall damaged in cell # 230

105 CMR 451.353                      Interior Maintenance: Wall vent blocked in cell # 242

Slop Sink

No Violations Noted

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1, 2, and 3

105 CMR 451.123	Maintenance: Wall epoxy damaged in shower # 1, 2, and 3

105 CMR 451.123	Maintenance: Possible mold on walls in shower # 1, 2, and 3

105 CMR 451.123	Maintenance: Floor dirty in shower # 1

105 CMR 451.123	Maintenance: Drain flies observed in shower # 2 and 3

Segregation

Unable to Inspect – Not Used

Chemical Area

No Violations Noted

Deignan Building

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

Control Booth

105 CMR 451.353	Interior Maintenance: Floor damaged

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Control Booth Bathroom

No Violations Noted

Upper West

Unable to Inspect – Under Construction

Showers

Unable to Inspect – Under Construction

Cells

Unable to Inspect – Under Construction

Slop Sink Room

Unable to Inspect – Under Construction

Bathroom

Unable to Inspect – Under Construction

Lower West

Showers

Unable to Inspect – Under Construction

Bathroom

Unable to Inspect – Under Construction

Cells

Unable to Inspect – Under Construction

Common Area

No Violations Noted

Interview Room

No Violations Noted

Dry Storage

No Violations Noted

Chemical Closet

No Violations Noted

Lower East

Showers

105 CMR 451.123	Maintenance: Soap scum on curtain in shower # 1

Bathroom

105 CMR 451.123	Maintenance: Wall tile damaged in stall # 1

105 CMR 451.123*	Maintenance: Paint damaged on partition in stall # 2

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet loose at handwash sink # 2

105 CMR 451.123	Maintenance: Floor paint damaged

105 CMR 451.123	Maintenance: Light not secured to ceiling

Cells

105 CMR 451.353	Interior Maintenance: Wall fan dusty in hallway

Slop Sink Room

No Violations Noted

Upper East

Slop Sink Room

No Violations Noted

Cells

No Violations Noted

Showers

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Floor paint damaged

Mini 5 Building

Unable to Inspect – Closed

Food Service

The following Food Code violations listed in BOLD were observed to be corrected on-site.

Staff Dining Room

105 CMR 451.353	Interior Maintenance: Ceiling leaking outside Staff Dining Room in hallway

Staff Serving Line & Prep Area

FC 4-602.11(E)(4)(b)	Cleaning of Equipment and Utensils, Frequency: Accumulation of soil/mold observed on interior surfaces of ice machine

Pots & Pans Closet

FC 6-501.111	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Premises not maintained free of insects and rodents, dead mouse and insects observed in trap

Ovens

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, food debris on floor behind ovens

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, standing water on floor

Food Prep Area & Kettles

No Violations Noted

Milk Cooler

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained is a state of good repair, refrigerator gaskets damaged

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained is a state of good repair, refrigerator gaskets dirty

Produce Cooler

No Violations Noted

Prep Cooler

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor tiles damaged

Tool Storage Closet

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, floor dirty

Control

No Violations Noted

Control Bathroom

No Violations Noted

Freezer

No Violations Noted

Dry Goods

FC 6-501.12(A)	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Facility not cleaned as often as necessary, debris on floor under shelving

Entry 5 Area (Near Dry Goods)

No Violations Noted

Receiving Area

No Violations Noted

Chemical Closet

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, backflow preventor leaking on slop sink

Dishwasher Area

FC 5-205.15(B)	Plumbing System; Operation and Maintenance: Plumbing system not maintained in good repair, pipe leaking on ceiling

FC 6-501.111	Maintenance and Operation; Premises, Structure, Attachments, and Fixtures - Methods: Premises not maintained free of rodents, mouse observed in trap

FC 4-501.15(A)	Maintenance and Operation; Equipment: Warewashing machine not operating in accordance with manufacturer's instructions, rinse temperature gauge not reaching proper temperature

FC 4-703.11(B) 	Sanitization of Equipment and Utensils; Methods: Mechanical warewash machine does not achieve a utensil surface temperature of 160°F as measured by an irreversible registering temperature indicatorP

3-Compartment Sink # 1 and 2

FC 5-202.13	Plumbing System; Design, Construction, and Installation: Air gap missing between water supply inlet and the flood level rim of the sinkP, sink sprayer was laying in the sink at sink # 2

Pasta Room

FC 3-305.11(A)(3)	Preventing Contamination from the Premises; Food Storage: Food not stored at least 6" off the ground, soda stored on ground

Exterior Door

FC 6-202.15(A)(3)	Design, Construction, and Installation; Functionality: Outer openings not protected against the entry of insects and rodents, exterior metal grated door not tight-fitting at bottom

FC 6-202.15(D)(1)	Design, Construction, and Installation; Functionality: Screen missing from exterior metal grated door

Can Room

No Violations Noted

Inmate Serving Area

No Violations Noted

Inmate Bathroom

No Violations Noted

Programs

Offices

No Violations Noted

Break Area in Hall

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Teacher’s Office

No Violations Noted

Male Staff Bathroom

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink # 2

105 CMR 451.123	Maintenance: Ceiling vent dusty

Classroom # 5

No Violations Noted

Manager of Re-Entry/Intake Office

No Violations Noted

Classroom # 4

No Violations Noted

Classroom # 3

No Violations Noted

Classroom # 2

No Violations Noted

Social Worker’s Office

No Violations Noted

Female Staff Bathroom

105 CMR 451.124	Water Supply: Discolored water observed at handwash sink

Slop Sink Room

No Violations Noted

Library

No Violations Noted

Parole Office

No Violations Noted

Inmate Services

No Violations Noted

Receiving

Unable to Inspect – Closed

Maintenance Corridor

Staff Bathroom

105 CMR 451.123	Maintenance: Ceiling tiles water stained

Inmate Bathroom

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

Staff Bathroom inside Office

No Violations Noted

Laundry Area

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, refrigerator gaskets dirty

Tool Crib

105 CMR 451.200	Food Storage, Preparation and Service: Food storage not in compliance with                105 CMR 590.000, refrigerator gaskets damaged

Electrical Shop

No Violations Noted

Maintenance Break Room

No Violations Noted

Welding Area

No Violations Noted

EHSO Office (Waste Log)

No Violations Noted

Modular Administration Building

Lobby

Waiting Area

No Violations Noted

Male Bathroom

No Violations Noted

Female Bathroom

105 CMR 451.123*	Maintenance: Wall tiles damaged

Mail Room

No Violations Noted

Control 3

105 CMR 451.353*	Interior Maintenance: Floor damaged throughout break area

Control Bathroom

105 CMR 451.123*	Maintenance: Floor tiles missing and damaged

105 CMR 451.123	Maintenance: Wall tile damaged behind toilet

Special Services Corridor

Armorer’s Office

Unable to Inspect – Locked

Female Bathroom

No Violations Noted

Slop Sink Room

Unable to Inspect – Locked

Male Bathroom

No Violations Noted

D-Board Office

No Violations Noted

Dispatch

No Violations Noted

Evidence Closet

Unable to Inspect – Locked

3 Offices

No Violations Noted

Female Locker Room

105 CMR 451.123*	Maintenance: Wall cracked in handicapped shower

105 CMR 451.124	Water Supply: Insufficient cold water supply in quantity and pressure at handwash sink   # 2

Male Locker Room

Unable to Inspect – In Use

Staff Training Room A & B 	(Unable to Inspect Staff Training Room B – Locked)

No Violations Noted

Special Services Office

Unable to Inspect – Locked

2nd Floor

Personnel Offices

No Violations Noted

Break Room

No Violations Noted

Copy Room

Unable to Inspect – Locked

Deputy’s Office/Legal

Unable to Inspect – Locked

Facility Director’s Office

Unable to Inspect – Locked

North Male Bathroom (near slop sink)

Unable to Inspect – In Use

Slop Sink Room

Unable to Inspect – Locked

North Female Bathroom (near slop sink)

No Violations Noted

South Male Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, cold water stopper not working at handwash sink

South Female Bathroom

No Violations Noted

Internal Affairs

No Violations Noted

Trap

105 CMR 451.350	Structural Maintenance: Exterior wall of building damaged by outside stairs

Pedestrian Trap

No Violations Noted

Bathroom in Pedestrian Trap

No Violations Noted

Visits Waiting Area

No Violations Noted

Modular Gym

Inmate Bathroom # 104

105 CMR 451.124*	Water Supply: No hot water supplied to handwash sink

105 CMR 451.123	Maintenance: Floor tile missing

105 CMR 451.123	Maintenance: Ceiling vent cover missing

Staff Bathroom # 105

No Violations Noted

Mop Closet

No Violations Noted

Storage Room # 108

No Violations Noted

Gym

105 CMR 451.141*	Screens: Several screens damaged

Control # 102

No Violations Noted

Modular Infirmary

Unable to Inspect – Closed

Modular Visiting Area

Visiting Sections

Section A (Non-Inmate Side)

No Violations Noted

Offices

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Section B (Non-Inmate Side)

No Violations Noted

Section C (Non-Inmate Side)

No Violations Noted

Social Workers Office

No Violations Noted

Section A-C (Inmate Side)

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged and missing

Back Area

Bathroom near Slop Sink

105 CMR 451.123*	Maintenance: Floor dirty

105 CMR 451.353*	Interior Maintenance: Floor tiles missing outside bathroom

Slop Sink

105 CMR 451.353*	Interior Maintenance: Floor tiles missing

105 CMR 451.353	Interior Maintenance: Wet mop stored upside down

Social Worker Interview Area

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

IP Break Room

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Inmate Interview Room

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

Side Door Exit to Yard

105 CMR 451.353*	Interior Maintenance: Floor tiles missing

105 CMR 451.353	Interior Maintenance: Wall damaged

Receiving

Unable to Inspect – Not Used

Back Area

Unable to Inspect – Not Used

VOC Laundry

1st Floor

Inmate Bathroom

105 CMR 451.126*	Hot Water for Bathing and Hygiene: No hot water supplied to handwash sink # 2

105 CMR 451.126	Hot Water for Bathing and Hygiene: No cold water supplied to handwash sink # 2

Laundry

No Violations Noted

Chemical Storage

No Violations Noted

Clothing Storage Room

No Violations Noted

IT Office

Unable to Inspect – Locked

Slop Sink Closet

No Violations Noted

Staff Bathroom

No Violations Noted

Classrooms A-D

No Violations Noted

IT Break Area

No Violations Noted

Hallway

No Violations Noted

2nd Floor

Room # 203

No Violations Noted

Room # 210

No Violations Noted

Room # 202

No Violations Noted

H Building

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.343*	Electric Fixtures in Cell: No electrical outlet in all cells

Control Booth

105 CMR 451.353*	Interior Maintenance: Floor tiles missing and damaged

Control Bathroom

105 CMR 451.123*	Maintenance: Floor tiles missing in bathroom

105 CMR 451.123	Maintenance: Light out

Cells

105 CMR 451.350*	Structural Maintenance: Unable to open or close cell windows

Day Room

No Violations Noted

Chemical Room

105 CMR 451.360	Protective Measures: Drain flies observed in slop sink

Office

No Violations Noted

Showers

105 CMR 451.123	Maintenance: Debris on floor in shower # 1, 3, 5, 7, 9, and 10

105 CMR 451.123	Maintenance: Soap scum on curtains in shower # 1, 2, 3, 4, 5, and 6

105 CMR 451.123	Maintenance: Drain flies observed in shower # 1, 9, and 10

I Building

Control Booth

105 CMR 451.350*	Structural Maintenance: Ceiling tiles damaged

Control Bathroom

105 CMR 451.344*	Illumination in Habitable Areas: Light not functioning properly, light out

105 CMR 451.126	Hot Water: Hot water temperature recorded at 800F

Cells

105 CMR 451.353	Interior Maintenance: Seat cover missing on desk in cell # 217

105 CMR 451.344	Illumination in Habitable Areas: Light not functioning properly, light out above sink in cell # 170

105 CMR 451.353	Interior Maintenance: Vent blocked in cell # 100

Interview Room

105 CMR 451.353	Interior Maintenance: Debris on floor and in slop sink

Slop Sink

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

Day Room

No Violations Noted

Showers

105 CMR 451.123	Maintenance: Column outside shower damaged at shower # 3 and 7

105 CMR 451.123	Maintenance: Soap scum on curtains in shower # 1, 2, and 3

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 2, 3, 4, 5, 6, 7, 8, 9, and 10

105 CMR 451.123	Maintenance: Floor dirty in shower # 2, 3, and 8

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 4 leaking

105 CMR 451.123	Maintenance: Drain flies observed in shower # 5, 6, 7, 8, and 10

J Building

Cells

105 CMR 451.353	Interior Maintenance: Trash on floor in cell # 221

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # 221

105 CMR 451.353	Interior Maintenance: Condensation leaking from ceiling between cell # 224 and 225

Day Room

No Violations Noted

Slop Sink Room

No Violations Noted

Interview Room

No Violations Noted

Showers

105 CMR 451.123*	Maintenance: Column outside shower damaged at shower # 3 and 7

105 CMR 451.123*	Maintenance: Floor dirty in shower # 1

105 CMR 451.123	Maintenance: Floor dirty in shower # 5, 9, and 10

105 CMR 451.123	Maintenance: Shower curtain missing in shower # 2

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 5

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 3, 6, 7, 8, 9, and 10

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 4 leaking

105 CMR 451.123	Maintenance: Drain flies in shower # 3 and 7

K Building

Unable to Inspect – Quarantine Building

L Building

Unable to Inspect – Quarantine Building

MIU

Receiving

Holding Cells

105 CMR 451.123	Maintenance: Toilet dirty in Holding Cell # 2

Staff Bathroom

No Violations Noted

Receiving Trap

105 CMR 451.353	Interior Maintenance: Exposed wood on floor near interior door

Showers and X-Ray Area

105 CMR 451.346	Safe Wiring: Inappropriate use of temporary wiring, internet cable strung through window from Property into shower area of shower # 104A

105 CMR 451.122	Shower Floors: Shower floor not slopped towards floor drain in handicapped shower       # 104B

Medical Offices

No Violations Noted

Booking Station

No Violations Noted

Records

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Break Room

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Psychology & Health Services Offices

No Violations Noted

Bathrooms # 126 and 127

No Violations Noted

Classification Offices

No Violations Noted

Janitors Closet

No Violations Noted

Medical Entrance

No Violations Noted

Bathroom # 169

105 CMR 451.126	Hot Water: Hot water temperature recorded at 800F at handwash sink

Medical Waste Closet # 170

No Violations Noted

Storage # 171

No Violations Noted

Janitor Closet # 164

Unable to Inspect – Locked

Dentist Office # 165

Unable to Inspect – In Use

2nd Floor

Showers

105 CMR 451.130	Hot Water: Shower water temperature recorded at 950F in shower # 2

Med Watch

105 CMR 451.123	Maintenance: Toilet rusted in cell # 204

Work Release

Control Booth

No Violations Noted

Strip Search Room

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water damaged

Chemical Closet

No Violations Noted

Office

Unable to Inspect – Locked

Day Room

No Violations Noted

Storage Room

No Violations Noted

Laundry

No Violations Noted

Right Corridor

Cells

105 CMR 451.350	Structural Maintenance: Window cracked in cell # 7

105 CMR 451.103	Mattresses: Mattress damaged in cell # 8

Showers

105 CMR 451.123*	Maintenance: Wall tile damaged in shower # 1

105 CMR 451.123	Maintenance: Floor tile missing in shower # 1

105 CMR 451.123*	Maintenance: Floor tile missing in shower # 2, 3, and 4

Staff Bathroom

No Violations Noted

Inmate Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink faucet loose at handwash        sink # 2

105 CMR 451.123	Maintenance: Wall damaged in toilet stall # 1, 2, and 3

Left Corridor

Cells

105 CMR 451.350	Structural Maintenance: Window cracked in cell # 3

Slop Sink Room

No Violations Noted

Showers

105 CMR 451.123*	Maintenance: Floor tiles missing in shower # 3

105 CMR 451.123	Maintenance: Floor tiles missing in shower # 5

105 CMR 451.123	Maintenance: Ceiling dirty throughout shower room

Inmate Bathroom

105 CMR 451.126*	Water Supply: No cold water supplied to handwash sink # 2

Chow Hall and Gym Room

No Violations Noted

Storage Room

No Violations Noted

Tower

1st Floor

105 CMR 451.353*	Interior Maintenance: Floor dirty

2nd Floor

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.123*	Maintenance: Floor dirty

105 CMR 451.123*	Maintenance: Toilet dirty

105 CMR 451.126	Hot Water: Hot water temperature recorded at 660F

105 CMR 451.123	Maintenance: Insulation in fan vent

105 CMR 451.123	Maintenance: Paper towels covering windows

3rd Floor

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.353*	Interior Maintenance: Wall board missing

105 CMR 451.344*	Illumination in Habitable Areas: Light not functioning properly, missing light bulbs in light fixture

105 CMR 451.350*	Structural Maintenance: Window broken

105 CMR 451.353	Interior Maintenance: Wall outlet not secured to wall

105 CMR 451.141	Screens: Screen missing

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Warehouse Building (outside)

Staff Gym

Weight Area

105 CMR 451.353*	Interior Maintenance: Equipment padding damaged

Female Bathroom/Locker Room

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1050F at handwash sink

Male Bathroom /Locker Room

105 CMR 451.123	Maintenance: Caulking damaged in shower

Chemical Room

Unable to Inspect – Locked

Office

Unable to Inspect – Locked

Warehouse

Office

No Violations Noted

Break Area

No Violations Noted

Inmate Bathroom

105 CMR 451.123	Maintenance: Wall paint damaged

105 CMR 451.123	Maintenance: Floor tile damaged

Staff Bathroom

No Violations Noted

Chemical Room

No Violations Noted

Walk-In Freezer

No Violations Noted

Dry Storage Closet

No Violations Noted

Exterior Cooler # 1

No Violations Noted

Exterior Cooler # 2

No Violations Noted

Garage/Transport

Transportation Office

No Violations Noted

Kitchen Area

No Violations Noted

Bathroom

No Violations Noted

Staff Bathroom

105 CMR 451.123	Maintenance: Wall damaged

105 CMR 451.126	Hot Water: Hot water temperature recorded at 800F

Tool Room

105 CMR 451.200	Food Storage, Preparation and Service: Food preparation not in compliance with          105 CMR 590.000, interior of microwave oven dirty

Wash Room

No Violations Noted

Garage Room

No Violations Noted

Key Control

No Violations Noted

Annex

Unable to Inspect – Closed

Observations and Recommendations

- The inmate population was 559 at the time of inspection.

- At the time of inspection the Modular Infirmary, Mini 5 Building and Annex were closed and not in use.

- K and L Buildings were the COVID-19 quarantine units. There were 45 inmates being housed K Building and 83 inmates being housed in L Building.

- At the time of inspection the warewash machine was not reaching the proper temperature to sanitize dishes and food prep items. The Kitchen staff stated that all dishes and food prep items would be sanitized manually.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment Regulations or download a copy, please visit the Food Protection website at www.mass.gov/dph/fpp and click on "Retail food". Then under DPH Regulations and FDA Code click "Merged Food Code" or "105 CMR 590.000 - State Sanitary Code Chapter X - Minimum Sanitation Standards for Food Establishments".

To review the Labeling regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Program regulations”. Then under Food Processing click “105 CMR 500.000: Good Manufacturing Practices for Food”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Amy Medeiros														Environmental Health Inspector, CSP, BEH