The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

180 Beaman Street

West Boylston, MA 01583

Telephone: 508-792-7880, ext. 2322

Facsimile: 508-792-7706

TTY: 508-835-9796

Amy.M.Riordan@state.ma.us

DEVAL L. PATRICK GOVERNOR TIMOTHY P. MURRAY LIEUTENANT GOVERNOR JUDYANN BIGBY, MD SECRETARY JOHN AUERBACH COMMISSIONER

March 23, 2011

Lewis Evangelidis, Sheriff

Worcester County House of Corrections and Jail

5 Paul X. Tivnan Drive

West Boylston, MA 01583

Re: Facility Inspection

Dear Sheriff Evangelidis:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, and Department of Public Health Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the Worcester County House of Corrections and Jail on March 14 and 15, 2011 accompanied by Dennis Doyle, FHSO and Michael O’Connor, FHSO. Violations noted are listed below (* indicates conditions documented on previous inspection reports).

ENTRANCE

Hallway

105 CMR 451.350	Structural Maintenance: Door not rodent and weathertight

Male Locker Room

No Violations Noted

Fisher Conference Room

No Violations Noted

Control Room

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

FC 4-602.12(B)*		Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-601.11(c)*	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, gaskets

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty in bathroom

Waiting Area

No Violations Noted

HERMAN BUILDING

105 CMR 451.320*	Cell Size: Inadequate floor space in cells

105 CMR 451.343*	Electric Fixtures in Cell: No electrical outlet in cells

A2 Block

Booth

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty in bathroom

Cells

105 CMR 451.103	Mattresses: Mattress damage in cell #36 & 40

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink in cell #59 leaking

Showers - Upstairs

105 CMR 451.123*	Maintenance: Tiles damaged

105 CMR 451.123*	Maintenance: Shower walls peeling paint

105 CMR 451.123*	Maintenance: Floor damaged

105 CMR 451.123	Maintenance: Soap scum on walls in showers

105 CMR 451.123	Maintenance: Baseboard damage

Utility Closet - Upstairs

105 CMR 451.353	Interior Maintenance: Mop stored on floor

Showers - Downstairs

105 CMR 451.123*	Maintenance: Tiles damaged

105 CMR 451.123*	Maintenance: Shower walls peeling paint

105 CMR 451.123*	Maintenance: Floor damaged

105 CMR 451.123	Maintenance: Soap scum on walls in showers

105 CMR 451.123	Maintenance: Baseboard damage

Slop Sink – Downstairs

105 CMR 451.353	Interior Maintenance: Missing vent cover

105 CMR 451.350	Structural Maintenance: Wall damage

Office

FC 4-602.12(B)*	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-102.11(B)(2)		Materials for Construction and Repair; Multiuse: Unused single-service article not 				protected against contamination

A1 Block

Booth

FC 4-602.12(B)	*		Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-601.11(c)*	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, refrigerator

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty in bathroom

Cells

105 CMR 451.103*	Mattresses: No mattress in cells

105 CMR 451.102	Pillows and Linens: Pillow damaged in cell #12

Shower Upstairs

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

Slop Sink - Upstairs

No Violations Noted

Shower - Downstairs

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

105 CMR 451.123*	Maintenance: Missing tiles in showers

105 CMR 451.123	Maintenance: Baseboard damage

105 CMR 451.123	Maintenance: Floor damaged

Slop Sink Downstairs

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Storage Closet

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

MAXI B

105 CMR 451.320*	Cell Size: Inadequate floor space in cells

Booth

FC 4-602.12(B)	*		Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-903.11(A)(2)* 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 				from contamination

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, ice build-up in freezer

Lower Right Tier

Day Room, Downstairs

105 CMR 451.350*	Structural Maintenance: Wall damage

Slop Sink

No Violations Noted

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

105 CMR 451.123	Maintenance: Tiles cracked

Cells

105 CMR 451.103	Mattresses: Mattress damage in cell #112

Lower Left Tier

Cells

105 CMR 451.103	Mattresses: Mattress damage in cell #129

Lower Disciplinary Unit

Not In Use

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

Upper Left Tier

Cells

No Violations Noted

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

Upper Disciplinary Unit

No Violations Noted

Upper Right Tier

Cells

No Violations Noted

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

CHAPEL

No Violations Noted

HEALTH SERVICES

Infirmary Ward

Not Occupied

Staff Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink drains slowly

Inmate Bathroom

105 CMR 451.353	Interior Maintenance: Light not functioning properly

Supply Closet

No Violations Noted

Mental Health Offices

FC 3-501.16(B)*		Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator 				temperature recorded at 480F

Storage Room with Sink

No Violations Noted

Storage Room w/o Sink

No Violations Noted

Nurse’s Room

105 CMR 205.103(A)                Examinations to be Conducted in Privacy: No hands-free controls for handwash sink

Segregation Cells

No Violations Noted

Biohazard Storage

No Violations Noted

Pharmacy

105 CMR 451.350*	Structural Maintenance: Ceiling tiles water stained

CENTRAL CONTROL

105 CMR 451.350	Structural Maintenance: Wall damage in control are

105 CMR 451.350*	Structural Maintenance: Wall damage in bathroom

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, refrigerator gaskets are dirty

105 CMR 451.353	Interior Maintenance: Outlet not a GFI

FC 4-903.11(A)(2) 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 				from contamination

VISITING ROOM

105 CMR 451.350	Structural Maintenance: Ceiling damaged at skylights on both inmate and visitor sides

105 CMR 451.353	Interior Maintenance:  Uncovered junction box in computer area

Female Handicapped Bathroom

105 CMR 451.123*	Maintenance: Debris on floor

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

Female Bathroom

No Violations Noted

Male Handicapped Bathroom

No Violations Noted

Male Bathroom

105 CMR 451.123	Maintenance: Ceiling tiles water stained

GYMNASIUM

105 CMR 451.350	Structural Maintenance: Floor is bubbling, creating a tripping hazard

Mini Side Bathroom

105 CMR 451.123	Maintenance: Generally dirty

Maxi Side Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower leaking

105 CMR 451.123	Maintenance: Generally dirty

Booth

FC 4-602.12(B)*		Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

MAXI C

105 CMR 451.320	Cell Size: Inadequate floor space in cells

Booth

105 CMR 451.350	Structural Maintenance: Wall damage

FC 4-903.11(A)(2) 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 				from contamination

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Upper Tier

Cells

105 CMR 451.103	Mattresses: Mattress damage in cell #411, 421, 438 & 441

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

Old Segregation

Not In Use

Slop Sink

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

105 CMR 451.350	Structural Maintenance: Wall damage

Day Room

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

105 CMR 451.350	Structural Maintenance: Wall damage

Lower Tier

105 CMR 451.350	Structural Maintenance: Door in rear hall not rodent and weathertight

Cells

105 CMR 451.103	Mattresses: Mattress damage in cell #229

105 CMR 451.350	Structural Maintenance: Wall damage in cell #244 & 246

Showers

105 CMR 451.123*	Maintenance: Missing face plate on dial in shower

Segregation

Not In Use

Chemical Area

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Day Room

105 CMR 451.350	Structural Maintenance: Wall damage near window and outlet

DEIGNAN BUILDING

105 CMR 451.320	Cell Size: Inadequate floor space in cells

Officer’s Booth

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-903.11(A)(2) 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 				from contamination

Upper West

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

Slop Sink Room

105 CMR 451.353	Interior Maintenance: Missing sink drain cover

Bathroom

Unable to Inspect – In Use

Lower West

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Appearance of mold like substance on floors

105 CMR 451.123	Maintenance: Missing face plate on shower dial

Bathroom

No Violations Noted

Cells

105 CMR 451.103	Mattresses: Mattress damage in cell #35

Common Area

105 CMR 451.353*	Interior Maintenance: Food debris between the 2 microwaves

Lower East

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

105 CMR 451.123*	Maintenance: Mold in showers

105 CMR 451.123	Maintenance: 1 shower broken

105 CMR 451.123	Maintenance: Floor damage

Slop Sink Room

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, cold water doesn’t work

105 CMR 451.353	Interior Maintenance: Missing sink drain cover

Bathroom

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, 1 sink doesn’t drain

105 CMR 451.123*	Maintenance: Baseboard damage

Upper East

Slop Sink

105 CMR 451.350	Structural Maintenance: Wall damage

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking

105 CMR 451.353	Interior Maintenance: Missing sink drain cover

Showers

105 CMR 451.353	Interior Maintenance: Tile damage

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

105 CMR 451.123	Maintenance: Missing face plate on 1 shower dial

Bathroom

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, hot water doesn’t work at #3 sink

Interview Room

No Violations Noted

Uniform Supply

No Violations Noted

Chemical Closet

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

MINI 5 BUILDING

105 CMR 451.320	Cell Size: Inadequate floor space in cells

105 CMR 451.350	Structural Maintenance: Door not rodent and weathertight

Left Side

Booth

105 CMR 451.350	Structural Maintenance: Wall damage

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, refrigerator gaskets damaged/dirty

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Showers

105 CMR 451.350*	Structural Maintenance: Wall damage

School Area

FC 4-602.12(B)	*		Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Office

No Violations Noted

Weight Room

105 CMR 451.350*	Structural Maintenance: Wall damage

Chemical Closet

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

T.V Room

105 CMR 451.353	Interior Maintenance: Missing drain cover

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Right Side

Showers

105 CMR 451.123	Maintenance: Paint peeling

105 CMR 451.123	Maintenance: Walls cracked

Cells

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking in cell #18

FOOD SERVICE

Staff Dining

FC 4-602.11(E)(4)(b)*	Cleaning of Equipment and Utensils, Frequency: Mold growth observed on interior	surfaces of ice machine

FC 3-304.12(A)	Preventing Contamination from Utensils: Ice scoop not stored properly

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, filter for ice machine dirty

Staff Line

FC 4-501.18	Maintenance and Operation, Equipment: Sanitizing solution dirty

FC 6-501.114(A)	Maintenance and Operations; Maintaining Premises: Nonfunctional equipment not 	repaired or removed from premises, dishwasher not working

Bakery Storage

FC 6-404.11	Location and Placement; Distressed Merchandise: Dented cans not properly 	segregated

Dishwasher Area

FC 6-201.11*	Design, Construction and Installation: Floor not easily cleanable, damaged floor

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, floors slippery, a lot of standing water

FC 3-305.11(A)(2)*	Preventing Contamination from Premises: Food exposed to dust, fan is dusty

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, dishwasher not functioning properly

FC 3-304.14(B)(2)	Preventing Contamination from Linens: Wet cloth not stored in sanitizer bucket

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, garbage disposal not working

Tray Room

FC 6-201.16(A)*	Design, Construction, and Installation; Cleanability: Ceiling covering not easily 	cleanable, paint peeling in skylight

FC 4-601.11(A)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, milk cooler dirty

Inmate Bathroom

No Violations Noted

Bakery Area

FC 6-403.11(B)*	Location and Placement; Employee Accommodations: No locker room area 	designated for employees, inmate belongings stored in kitchen

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, food on walls

FC 3-304.14(B)(2)	Preventing Contamination from Linens: Wet cloth not stored in sanitizer bucket

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, food on floor behind stove

Cooler 1

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

FC 3-305.11(A)(2)	Preventing Contamination from Premises: Food exposed to dust, fans in cooler dusty

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, missing junction box cover

Cooler 2

FC 3-305.11(A)(2)*	Preventing Contamination from Premises: Food exposed to dust, fans in cooler dusty

FC 3-302.11(A)(4)*	Preventing Food and Ingredient Contamination: Preventing cross contamination, food 	not appropriately covered

Cooler 3

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, refrigerator gaskets damaged

Freezer

FC 3-501.11	Limitation of Growth of Organisms, Temperature and Time Control: Stored frozen 	food not maintained frozen, freezer not working as a freezer

FC 3-302.11(A)(1)(b)	Preventing Food and Ingredient Contamination: Preventing cross contamination, ready-to-eat foods not appropriately separated from raw foods, meat stored above ready to eat foods

Receiving

FC 6-202.15(A)(2)	Design, Construction, and Installation; Functionality: Outer door not weather and 	vermin tight

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, wall damage

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Wall covering not easily 	cleanable, wall damaged

Chemical Closet

No Violations Noted

Dry Storage

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, floors dirty

FC 4-903.12 (A)(4)	Protection of Clean Items, Storing: Food product stored in an inappropriate location, food stored in mechanical room

Supply Room

FC 6-501.16	Maintenance and Operation; Cleaning: Wet mop stored in bucket

FC 6-202.15(A)(2)	Design, Construction, and Installation; Functionality: Outer door not weather and 	vermin tight

Can Room

No Violations Noted

Control

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, ice build-up in freezer

SCHOOL

Kitchen Area in Hall

No Violations Noted

Men’s Staff Bathroom

No Violations Noted

Parole Office

No Violations Noted

Women’s Room

No Violations Noted

Slop Sink

No Violations Noted

RECEIVING

County Lock Up

Not in use at this time

ID Room

No Violations Noted

Mop Closet

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

105 CMR 451.353	Interior Maintenance: Mop stored in wet bucket

Bathroom, in Records

No Violations Noted

Property Room

FC 4-602.12(B)*		Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Intake Showers

105 CMR 451.350*	Structural Maintenance: Holes in the ceiling

Holding Cell 1

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water not working

Holding Cell 2

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking

MAINTENANCE CORRIDOR

Staff Bathroom

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Inmate Bathroom

No Violations Noted

Laundry Area

105 CMR 451.353	Interior Maintenance: No GFI at outlet

Repair Shop

105 CMR 451.350	Structural Maintenance: Door not rodent and weathertight

Welding Area

105 CMR 451.350	Structural Maintenance: Door not rodent and weathertight

Tool Cage

No Violations Noted

MODULAR ADMINISTRATION BUILDING

Lobby

Waiting Area

105 CMR 451.350	Structural Maintenance: Floor tile damage

Men’s Bathroom

105 CMR 451.123	Maintenance: Baseboard damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Female Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet loose

105 CMR 451.123	Maintenance: Baseboard damaged

Control 3

105 CMR 451.350	Structural Maintenance: Floor damage

105 CMR 451.350	Structural Maintenance: Baseboard damage

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-903.11(A)(2) 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 				from contamination

105 CMR 451.353	Interior Maintenance: Mop stored in bucket in bathroom

Bathroom

No Violations Noted

Metal Detector Area

105 CMR 451.110(B)*	Hygiene Supplies at Toilet and Handwash Sink: No waste receptacle at handwash sink

Special Services Corridor

Female Locker Room

105 CMR 451.350	Structural Maintenance: Ceiling tiles damaged and missing

Male Locker Room

105 CMR 451.123	Maintenance: Floor damaged

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No toilet paper available

Male Bathroom

No Violations Noted

Female Bathroom

105 CMR 451.123	Maintenance: Baseboard damaged

Operations/Investigation

Unable to access

Mail Room

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Investigations Office

No Violations Noted

D-Board

No Violations Noted

Phone Room

No Violations Noted

Dispatch

No Violations Noted

Vacant Office

105 CMR 451.350	Structural Maintenance: Ceiling damaged

105 CMR 451.350	Structural Maintenance: Baseboard damaged

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Slop Sink Room

105 CMR 451.353	Interior Maintenance: Generally dirty

2nd Floor

South Male Bathroom

No Violations Noted

South Female Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water dial missing

North Male Bathroom

No Violations Noted

South Male Bathroom

No Violations Noted

Storage Room

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Slop Sink Room

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking

Computer Lab

105 CMR 451.350*	Structural Maintenance: Floor tiles missing

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.350	Structural Maintenance: Roof leaking

105 CMR 451.350	Structural Maintenance: Baseboard damaged

Computer Server Room

105 CMR 451.350*	Structural Maintenance: Ceiling tiles pushed up and some missing

105 CMR 451.350	Structural Maintenance: Floor tiles missing

MODULAR INFIRMARY

105 CMR 451.350	Structural Maintenance: Hole in concrete at entrance

2nd Floor

Bathroom

No Violations Noted

Nurse’s Station

No Violations Noted

Officers Station

No Violations Noted

Optometrist’s Office

105 CMR 451.350	Structural Maintenance: Ceiling leaking

Mop Sink Room

105 CMR 451.350	Structural Maintenance: Floor damaged

Room 241

105 CMR 451.350	Structural Maintenance: Floor damaged

Room 237

105 CMR 451.350	Structural Maintenance: Tile damaged

Room 200

105 CMR 451.350	Structural Maintenance: Room unfinished

Women’s Bathroom 258

No Violations Noted

Men’s Bathroom 243

No Violations Noted

Holding Cell

105 CMR 451.350*	Structural Maintenance: Ceiling unfinished

Room 254

105 CMR 451.350	Structural Maintenance: Floor damage

Inmate Bathroom 244

No Violations Noted

Medical Records

105 CMR 451.350	Structural Maintenance: Floor unfinished

105 CMR 451.350	Structural Maintenance: Paint peeling

105 CMR 451.350	Structural Maintenance: Ceiling leaking

105 CMR 451.123	Maintenance: Mold like substance on walls

Room 230

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Room 229

105 CMR 451.350	Structural Maintenance: Ceiling damaged

105 CMR 451.350	Structural Maintenance: Floor damaged

Mop Closet

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, drain clogged

105 CMR 451.350	Structural Maintenance: Floor damaged

Shower Area

105 CMR 451.123	Maintenance: Soap scum on walls in shower

105 CMR 451.123	Maintenance: Ceiling damaged

Room 222

No Violations Noted

Captains Office

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Storage Room

105 CMR 480.100(B)	Storage: Biohazard waste stored in an inappropriate location

105 CMR 451.350	Structural Maintenance: Wall damage

Ward 206

No Violations Noted

Ward 207

105 CMR 451.353	Interior Maintenance: Missing face plate on outlet

X-Ray Room

105 CMR 451.350*	Structural Maintenance: Floor damage

1st Floor

Mod Med Line

105 CMR 451.350*	Structural Maintenance: Floor damaged

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

105 CMR 451.350	Structural Maintenance: Baseboard damaged

105 CMR 451.350	Structural Maintenance: Wall damaged

Officer’s Office

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Classrooms

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

105 CMR 451.350*	Structural Maintenance: Baseboard damage

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

105 CMR 451.350	Structural Maintenance: Ceiling tiles missing

105 CMR 451.350	Structural Maintenance: Wall damage

Role Call Room

105 CMR 451.350*	Structural Maintenance: Floor damaged

FC 4-602.12(B)	*		Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

105 CMR 451.350	Structural Maintenance: Ceiling water damaged

105 CMR 451.350	Structural Maintenance: Door rotted (outside)

Old Kitchen

105 CMR 451.350	Structural Maintenance: Wall damage

105 CMR 451.350	Structural Maintenance: Floor damage

105 CMR 451.350	Structural Maintenance: Floor tiles missing and damaged

105 CMR 451.350	Structural Maintenance: Ceiling damaged

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight

105 CMR 451.353	Interior Maintenance: Walls dirty

105 CMR 451.353	Interior Maintenance: Debris everywhere

GYM BUILDING

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight

105 CMR 451.350	Structural Maintenance: Wall paint peeling

105 CMR 451.353	Interior Maintenance: Bubbler not working

Staff Bathroom

No Violations Noted

Inmate’s Bathroom

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Control Booth

No Violations Noted

Mop Room

Unable to Inspect

TOWER

1st Floor

105 CMR 451.353*	Interior Maintenance: Area dirty with trash and litter on the floor

105 CMR 451.353*	Interior Maintenance: Loose wires and uncovered junction box

2nd Floor

105 CMR 451.123*	Maintenance: Floor dirty

105 CMR 451.126	Hot Water: Hot water temperature recorded at 490F

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

3rd Floor

FC 4-602.12(B)*		Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-204.112(A)*	Design and Construction, Functionality: No functioning thermometer in refrigerator

MODULAR VISITING AREA

Visiting

105 CMR 451.350*	Structural Maintenance: Floor damaged

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight, door threshold rotted

105 CMR 451.350	Structural Maintenance: Wall damage near back door

105 CMR 451.350	Structural Maintenance: Missing tiles in section B & C

Bathroom

No Violations Noted

Slop Sink

105 CMR 451.350	Structural Maintenance: Floor tiles missing

IP Break Room

105 CMR 451.350	Structural Maintenance: Floor damaged

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Officer’s Bathroom

No Violations Noted

Receiving

Waiting Area

105 CMR 451.130		Plumbing: Plumbing not maintained in good repair, bubbler not working

105 CMR 451.350	Structural Maintenance: Door not rodent and weathertight

Clothing Room

105 CMR 451.350*	Structural Maintenance: Ceiling leaking

105 CMR 451.350*	Structural Maintenance: Wall damage

105 CMR 451.350*	Structural Maintenance: Wall peeling

105 CMR 451.350*	Structural Maintenance: Floor tiles missing

105 CMR 451.350	Structural Maintenance: Ceiling damaged

105 CMR 451.353	Interior Maintenance: Appearance of a mold like substance

Personal Property

105 CMR 451.350	Structural Maintenance: Ceiling tile damaged

105 CMR 451.350	Structural Maintenance: Wall damaged

105 CMR 451.350	Structural Maintenance: Ceiling leaks when it rains

Uniform Storage

No Violations Noted

Chemical Room

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Urinalysis Storage

FC 4-903.11(A)(2) 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 				from contamination

FC 3-305.11(A)(1)	Preventing Contamination from Premises: Food stored in an inappropriate location, food stored with urine in the refrigerator

Slop Sink Room

105 CMR 451.353	Interior Maintenance: Drain cover loose

Holding Cells

105 CMR 451.353	Interior Maintenance: Cell #106 generally dirty

Staff Bathroom

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Inmate Bathroom

105 CMR 451.353*	Interior Maintenance: Ceiling vent not secure to the ceiling

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

Break Area

No Violations Noted

VOC LAUNDRY

1st Floor

Laundry

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, 1 washer leaking

105 CMR 451.353	Interior Maintenance: Loose wires behind dryer

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Inmate Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water doesn’t work on 1 sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, cold water doesn’t work on 1 sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, drain backing up in bathroom

Staff Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 880F

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Janitor’s Room

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Library

105 CMR 451.350	Structural Maintenance: Missing ceiling tiles

Print Shop

FC 4-602.12(B)*		Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Paper Storage

No Violations Noted

Hallway

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight

2nd Floor

Room 203

105 CMR 451.350*	Structural Maintenance: Ceiling tiles damaged

H BUILDING

105 CMR 451.321*	Cell Size: Inadequate floor space in cells

105 CMR 451.343*	Electric Fixtures in Cell: No electrical outlet in cell

FC 4-602.12(B)*		Cleaning of Equipment and Utensils; Frequency: Interior of microwave ovens dirty

Control Booth

105 CMR 451.350*	Structural Maintenance: Floor tiles missing in bathroom

FC 4-602.12(B)*		Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, refrigerator gaskets damaged

Cells

105 CMR 451.350	Structural Maintenance: Wall damage in cell #31 & 32

105 CMR 451.103	Mattresses: Mattress damage in cell #55

105 CMR 451.353	Interior Maintenance: Vents blocked in cell #32-41 & 44-60

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

105 CMR 451.350*	Structural Maintenance: Baseboard damage

105 CMR 451.123*	Maintenance: Mold in some showers

105 CMR 451.123	Maintenance: Paint peeling

I & J BUILDING
105 CMR 451.321*	Cell Size: Inadequate floor space in cells

105 CMR 451.343*	Electric Fixtures in Cell: No electrical outlet in cell

Control Booth

No Violations Noted

I Side

Cells

105 CMR 451.141	Screens: Screen damaged in cell #191 & 209

105 CMR 451.353	Interior Maintenance: Vents blocked in cell #164, 166, 168, 169, 173, 192-196, 199, 201-208, 215, 216 & 219

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

105 CMR 451.123*	Maintenance: Damaged baseboards

105 CMR 451.123	Maintenance: Paint peeling

105 CMR 451.123	Maintenance: Missing dial in shower #5

Chemical Room

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

105 CMR 451.353*	Interior Maintenance: Water left in bucket

Interview Room

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

J Side

Cells

105 CMR 451.141	Screens: Screen damaged in cell #240, 241 & 273

105 CMR 451.353	Interior Maintenance: Ceiling vents blocked in cell #221, 224, 226, 227, 230, 231, 236, 237, 241, 245, 248, 252-262, 265, 267, 268, 272 & 278

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

105 CMR 451.123	Maintenance: 2 showers not working

105 CMR 451.123*	Maintenance: Missing face plate on shower

105 CMR 451.123*	Maintenance: Missing handle on 2 dials

105 CMR 451.123	Maintenance: Handicapped shower broken

105 CMR 451.123	Maintenance: Mold like substance on walls

105 CMR 451.123	Maintenance: Floor not sealed, cracked

Chemical Area

105 CMR 451.353	Interior Maintenance: Mop stored on floor

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Interview Room

Unable to access

K & L BUILDING

105 CMR 451.321*	Cell Size: Inadequate floor space in cells

105 CMR 451.343*	Electric Fixtures in Cell: No electrical outlet in cell

Control Booth

FC 4-602.12(B)*		Cleaning of Equipment and Utensils; Frequency: Interior of microwave ovens dirty

FC 3-501.16(B)			Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator 				temperature recorded at 500F

K Side

105 CMR 451.350	Structural Maintenance: Unfinished ceiling

Cells

105 CMR 451.141	Screens: Screen damaged in cell #330

105 CMR 451.350	Structural Maintenance: Uncovered/missing electrical cover in cell #294, 295, 296, 300, 303, 318, 327, 329, 330 & 331

105 CMR 451.350	Structural Maintenance: Wall damage in cell #281, 283, 283, 284, 289, 290 & 297

105 CMR 451.353	Interior Maintenance: Vents blocked in cell #302, 303, 309, 316, 318, 319, 324, 325, 327, 333, 335, 337 & 339

Showers

105 CMR 451.123*	Maintenance: Baseboard damage

105 CMR 451.123*	Maintenance: Tiles damaged

105 CMR 451.123	Maintenance: Shower #6, missing face plate

105 CMR 451.123	Maintenance: Handicapped shower broken

105 CMR 451.123	Maintenance: Shower curtains damaged

Chemical Room

105 CMR 451.353	Interior Maintenance: Standing water left in bucket

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

105 CMR 451.353	Interior Maintenance: Loose drain cover

Interview Room

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet loose

L Side

105 CMR 451.350*	Structural Maintenance: Ceiling damage

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

105 CMR 451.350	Structural Maintenance: Hole in wall near phone

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, bubbler leaking

Cells

105 CMR 451.353	Interior Maintenance: Vents blocked in cell #341, 345, 346, 347, 365, 368, 374, 375, 380, 384, 391, 392, & 396

105 CMR 451.350	Structural Maintenance: Uncovered junction box in cell #360, 361, 365, 377, 378, 379, 382, 383, 384, 385, 387 & 388

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

105 CMR 451.123*	Maintenance: Baseboards damaged

105 CMR 451.123*	Maintenance: Missing face plate in shower

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handicapped shower leaks

105 CMR 451.123	Maintenance: Appearance of mold in showers

Chemical Room

No Violations Noted

Interview Room

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

WORK RELEASE

105 CMR 451.350	Structural Maintenance: Exterior of building damaged

Control Booth

FC 4-602.12(B)*		Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Main Hallway

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged

105 CMR 451.350*	Structural Maintenance: Windows cracked

Rec. Area (left)

105 CMR 451.350*	Structural Maintenance: Missing ceiling tiles in chemical closet

Bathroom (left)

Unable to Inspect – Occupied

Slop Sink Room (left)

105 CMR 451.353	Interior Maintenance: Drain cover loose

Showers (left)

105 CMR 451.123	Maintenance: 1 showers leaking

105 CMR 451.123*	Maintenance: Ceiling tile damage

105 CMR 451.121(A)	Privacy: No privacy partition between showers

Room 6

105 CMR 451.350	Structural Maintenance: Baseboard damage

Showers (right)

105 CMR 451.123	Maintenance: Soap scum on walls in showers

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, showers leaking

105 CMR 451.121(A)	Privacy: No privacy partition between showers

Staff Bathroom

105 CMR 451.350*	Structural Maintenance: Wall paint flaking

Laundry

105 CMR 451.353*	Interior Maintenance: Lint and debris behind dryer

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, washer leaking

105 CMR 451.353	Interior Maintenance: Dryer not vented to the exterior

Food Area

105 CMR 451.350	Structural Maintenance: Baseboard damaged

T.V. Room (right)

105 CMR 451.350*	Structural Maintenance: Ceiling tiles missing

105 CMR 451.350*	Structural Maintenance: Baseboards damaged

105 CMR 451.350	Structural Maintenance: Ceiling tiles water stained

WAREHOUSE BUILDING

Staff Gym

No Violations Noted

Female Bathroom

No Violations Noted

Men’s Bathroom

No Violations Noted

Warehouse

105 CMR 451.350	Structural Maintenance: Wall damage on the exterior

FC 3-305.11(A)(3)		Preventing Contamination from Premises: Food stored in an inappropriate location, 				food stored less than 6 inches from the floor

Break Area

FC 4-601.11(A)*	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, interior top surface of coffee maker

Inmate Bathroom

105 CMR 451.123	Maintenance: Paper towel holder broken

Staff Bathroom

No Violations Noted

Chemical Room

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

Walk in Freezer

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, interior door frame damaged

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, missing fan

Exterior Cooler 2

105 CMR 451.350*	Structural Maintenance: Damaged baseboards

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, door rusted and scrapes against ground when opened

Exterior Cooler 1

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, base damaged inside and outside

FC 3-305.11(A)(2)		Preventing Contamination from Premises: Food exposed to dust, fans in cooler dusty

GARAGE

Transportation Office

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight

105 CMR 451.350	Structural Maintenance: Wall damage

Kitchen Area

FC 4-602.12(B)*		Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-903.11(A)(2)* 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 				from contamination

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, refrigerator damaged on the interior

Inmate Bathroom

105 CMR 451.350*	Structural Maintenance: Wall damage

105 CMR 451.350*	Structural Maintenance: Ceiling tiles damaged/missing

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Staff Bathroom

105 CMR 451.123	Maintenance: Wall damage behind toilet

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

105 CMR 451.126	Hot Water: Hot water temperature recorded at 760F

Bays

105 CMR 451.350	Structural Maintenance: Roof leaking

Key Control

No Violations Noted

MSF

Vacant – Water turned off

ANNEX

105 CMR 451.320*	Cell Size: Inadequate floor space

Control Booth

FC 4-602.12(B)*		Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

105 CMR 451.350	Structural Maintenance: Ceiling tiles water stained

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty in bathroom

Female Staff Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1000F

Male Staff Bathroom

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Chemical Cage

No Violations Noted

Male Visiting

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

Food Area

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, refrigerator gaskets damaged

105 CMR 451.353*	Interior Maintenance: Floor drain damaged, trip hazard

105 CMR 451.110(B)	Hygiene Supplies at Toilet and Handwash Sink: No waste receptacle at handwash sink

105 CMR 451.350	Structural Maintenance: Ceiling tiles water damaged

Shower Area

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation damaged ceiling tiles

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

105 CMR 451.353	Interior Maintenance: Paint peeling

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower #3, 4 & 7 leaking

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, 1 missing shower valve

Toilet Area

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Sink Area

No Violations Noted

Laundry Room

No Violations Noted

Observations and Recommendations

- The inmate population was 1,110 at the time of inspection

- Radiation certificate has expired

- Elevator certificate has expired

- The Department recommends purchasing dishwasher test strips to use whenever the machine is turned on to ensure accuracy of its temperature

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within ten working days of receiving this report and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Community Sanitation Regulations" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Amy Riordan

Environmental Health Inspector, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

JudyAnn Bigby, MD, Secretary, Executive Office of Health and Human Services

Luis S. Spencer, Acting Commissioner, DOC

Dennis Doyle, EHSO

West Boylston Board of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Mary Elizabeth Heffernan, EOPS