The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

23 Service Center

Northampton, MA  01060

Telephone: 413-586-7525, ext. 5863196

Fax: 413-784-1037 TTY: (800)-769-9991

peter.wheeler@state.ma.us

DEVAL L. PATRICK GOVERNOR TIMOTHY P. MURRAY LIEUTENANT GOVERNOR JUDYANN BIGBY, M.D. SECRETARY JOHN AUERBACH COMMISSIONER

May 20, 2011

Michael J. Ashe, Jr., Sheriff

Hampden County Sheriff’s Department

626 Randall Road

Ludlow, MA 01056

Re: Facility Inspection

Dear Sheriff Ashe:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, and Department of Public Health Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the Hampden County Correctional Center on May 10, 11 and 12, 2011 accompanied by Captain Frank Barbaro, Environmental Health and Safety Officer. Violations noted are listed below (* indicates conditions documented on previous inspection reports).

LOBBY

Men’s Room

No Violations Noted

Women’s Room

No Violations Noted

INTAKE

FC 602.12(B)*	Cooking and Baking Equipment: Dirty coffee maker

MULTI PURPOSE ROOM

No Violations Noted

Delta 4

No Violations Noted

Delta 5

No Violations Noted

Juvenile Cells

No Violations Noted

Davis 1

Cells

105 CMR 451.353*	Interior Maintenance: Blocked air vent in cell # 3, 6, 7, 9, 10, 13, 14, 40, 41, 45, 46 and 50

105 CMR 451.353*	Interior Maintenance: Debris on light in cell # 49

105 CMR 451.109(B)	Toilet and Handwash Facilities: No waste receptacle provided in cell # 51

105 CMR 451.123	Maintenance: Trash on floor in cell # 51

105 CMR 451.123	Maintenance: Food on floor in cell # 51

105 CMR 451.123	Maintenance: Dirty food bowl in cell # 51

Day Room

105 CMR 451.353*	Interior Maintenance: Black substance on ceiling by air supply line

105 CMR 451.353	Interior Maintenance: Two torn ottomans

105 CMR 451.353	Interior Maintenance: Mop stored in bucket in room # 123

Showers

No Violations Noted

Davis 2

Cells

105 CMR 451.353*	Interior Maintenance: Rusted air vent in cell # 1, 4, 5, 9, 10, 11, 14, 15, 16, 17, 18, 19, 20, 21, 22, 23, 24, 25, 26, 27, 28, 29, 30, 31, 32, 33, 34, 35, 36, 37, 40, 41, 42, 43, 44, 45, 46, 47, 48, 49, 50, 51, 52, 53 and 54

105 CMR 451.353*	Interior Maintenance: Clogged floor drain in staff bathroom

105 CMR 451.353*	Interior Maintenance: Blocked air vent in cell # 7, 18, 23, 28, 30, 37, 39, 44, 45 and 54

105 CMR 451.353	Interior Maintenance: Blocked window in cell # 25, 30 and 54

105 CMR 451.353*	Interior Maintenance: Ripped seats on checker table by 6/7

105 CMR 451.353*	Interior Maintenance: Black substance on ceiling by air supply line

105 CMR 451.353*	Interior Maintenance: Black substance on floor drain by 8/9

Showers

105 CMR 451.123		Maintenance: Floor paint flaking in shower # 1, 2, 3, 4 and 5

Davis 3

Cells

105 CMR 451.353	Interior Maintenance: Rusted air vent in cell # 1, 2, 3, 6, 7, 8, 9, 10, 11, 12, 13, 14, 16, 17, 18, 19, 21, 22, 23, 25, 26, 28, 29, 30, 31, 34, 35, 36, 37, 39, 40, 41, 42, 44, 45, 46, 49, 52, 54 and 55

105 CMR 451.353*	Interior Maintenance: Blocked air vent in cell # 44 and 53

105 CMR 451.123	Maintenance: Sink drains slow in cell # 35

105 CMR 451.103	Mattresses: Mattress damage in cell # 3

Showers

No Violations Noted

Davis 4

Cells

105 CMR 451.353*	Interior Maintenance: Rusted air vent in cell # 2, 4, 5, 6, 9, 10, 11, 13, 14, 15, 16, 17, 18, 19, 20, 21, 22, 23, 25, 26, 29,30, 32, 33, 34, 35, 37, 38, 40, 41, 42, 43, 44, 46, 48, 49, 50 , 53, 54 and 56

105 CMR 451.353*	Interior Maintenance: Blocked air vent in cell # 31 and 43

Day Room

105 CMR 451.353*	Interior Maintenance: Black substance on ceiling by air supply line

105 CMR 451.353*	Interior Maintenance: Water stain on ceiling by door # 318B

105 CMR 451.353*	Interior Maintenance: Dirty floor tile around drain by cell 8/9

105 CMR 451.353	Interior Maintenance: Wall damaged by sink in cell # 18

105 CMR 451.353	Interior Maintenance: Wall damaged by wall in cell # 18

Showers

105 CMR 451.123*	Maintenance: Wall paint damaged in shower # 1

105 CMR 451.123*		Maintenance: Drain flies located in shower # 3, 4, 6, 7 and 8

Davis 5

Cells

105 CMR 451.353*	  	Interior Maintenance: Blocked air vent in cell # 4, 10, 19, 25, 28 and 29

105 CMR 451.353*		Interior Maintenance: Rusted air vent in cell # 5, 6, 7, 10, 11, 12, 13, 20 and 27

Day Room

105 CMR 451.353*	Interior Maintenance: Black substance on ceiling by air supply line

105 CMR 451.353*	Interior Maintenance: Water stain on ceiling by door # 516A

Showers

105 CMR 451.123		Maintenance: Drain flies located in shower # 3 and 4

Davis 6

Cells

105 CMR 451.353*		Interior Maintenance: Rusted air vent in cell # 4 and 23

105 CMR 451.353		Interior Maintenance: Wall damaged in cell # 7 and 8

Day Room

105 CMR 451.353*		Interior Maintenance: Water stain on ceiling by door # 505 and 513

Showers

105 CMR 451.123*		Maintenance: Floor damaged in shower # 5

Bravo 1

Cells

105 CMR 451.353*		Interior Maintenance: Sharp edge on door jamb on room # 123

105 CMR 451.353*		Interior Maintenance: Debris on air vent in cell # 13, 19, 36, 41 and 43

105 CMR 451.353*	Interior Maintenance: Black substance on ceiling by air supply line

105 CMR 451.353*		Interior Maintenance: Stain on ceiling by door # 117

105 CMR 451.353		Interior Maintenance: Debris on wall in cell # 2

105 CMR 451.103	Mattresses: Mattress damage in cell # 42

105 CMR 451.353*	Interior Maintenance: Rusted air vent in cell # 14, 36 and 37

Showers

105 CMR 451.123*		Maintenance: Floor damaged in shower # 7

Bravo 2

Cells

105 CMR 451.353*	Interior Maintenance: Rusted air vent in cell # 6, 7, 8, 13, 23, 25, 31, 32, 36, 37, 40 and 47

105 CMR 451.353*		Interior Maintenance: Blocked air vent in cell # 28, 33, 39, 44, 52, 53 and 54

105 CMR 451.353*		Interior Maintenance: Debris on air vent in cell # 4, 23 and 26

105 CMR 451.353	Interior Maintenance: Missing floor tile by door # 132 B

105 CMR 451.353*	Interior Maintenance: Stain on ceiling by door # 132B

Showers

105 CMR 451.123*		Maintenance: Drain flies located in shower # 7, 8, 9 and 10

105 CMR 451.123		Maintenance: Floor paint flaking in shower # 7, 8, 9 and 10

Bravo 3

Cells

105 CMR 451.353*	Interior Maintenance: Rusted air vent in cell # 14 and 45

105 CMR 451.353	Interior Maintenance: Missing floor tile by cell # 8

105 CMR 451.353*	Interior Maintenance: Blocked air vent in cell # 7, 11, 21, 23, 26, 27, 32, 37, 39, 42, 46 and 49

Day Room

105 CMR 451.353*	Interior Maintenance: Black substance on ceiling by air supply line

105 CMR 451.353	Interior Maintenance: Ripped seat on weight bench

105 CMR 451.353*	Interior Maintenance: Ripped seat on table by water fountain

Showers

105 CMR 451.123		Maintenance: Floor paint flaking in shower # 1, 2, 3, 4 and 5

Bravo 4

Cells

105 CMR 451.353*	Interior Maintenance: Blocked air vent in cell # 5, 8, 9, 10, 15, 16, 21, 24, 29, 32, 37, 39, 40, 44, 45, 49, 52 and 54

105 CMR 451.353*		Interior Maintenance: Rusted air vent in cell # 6

FC-3-501.16(B)		Potentially Hazardous Food Holding: Milk in cell # 3

Day Room

105 CMR 451.353*	Interior Maintenance: Black substance on ceiling by air supply line

105 CMR 451.353	Interior Maintenance: Ripped seat on weight bench

Showers

105 CMR 451.123*		Maintenance: Drain flies located in shower # 4 and 7

Bravo 5

Cells

105 CMR 451.353*	Interior Maintenance: Rusted air vent in cell # 20

105 CMR 451.353	Interior Maintenance: Pink substance on air vent in cell # 20

105 CMR 451.353		Interior Maintenance:	Missing floor tile by cell # 14

Day Room

105 CMR 451.353*	Interior Maintenance: Black substance on ceiling by air supply line

105 CMR 451.353		Interior Maintenance: Ripped seat on weight bench

105 CMR 451.353*		Interior Maintenance: Ripped seat on table

Showers

105 CMR 451.123*		Maintenance: Drain flies located in shower # 1, 2, 5, 8 and 10

105 CMR 451.123		Maintenance: Floor paint flaking in shower # 7, 9 and 10

Bravo 6

Cells

105 CMR 451.353	Interior Maintenance: Rusted air vent in cell # 5, 12, 15 and 30

105 CMR 451.353		Interior Maintenance: Blocked air vent in cell # 17, 25, 26 and 31

105 CMR 451.353		Interior Maintenance: Broken waste receptacle in staff bathroom

Showers

105 CMR 451.123*	Maintenance: Drain flies located in shower # 1 and 2

105 CMR 451.123*	Maintenance: Flaking floor paint in shower # 6

Day Room

105 CMR 451.353*	Interior Maintenance: Black substance on ceiling by air supply line

Charlie 1

Cells

105 CMR 451.353*	Interior Maintenance: Debris on light in cell # 24

105 CMR 451.353*	Interior Maintenance: Blocked window in cell # 3, 4, 14, 15, 19, 30 and 31

105 CMR 451.353*		Maintenance: Air supply vent damaged in cell # 1

Showers

No Violations Noted

Kitchenette

FC-4-602.12(B)*	Cooking and Baking Equipment: Dirty microwave oven

Charlie 2

Cells

105 CMR 451.353		Interior Maintenance: Rusted air vent in cell # 11

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 3, 4, 5, 6, 20, 21, 27, 28, 29 and 32

105 CMR 451.353		Interior Maintenance: Debris on air vent in cell # 6, 17 and 24

105 CMR 451.353		Interior Maintenance: Debris on wall in cell # 2

105 CMR 451.353		Interior Maintenance: Blocked window in cell # 2, 19, 24, 25 and 31

Showers

No Violations Noted

Day Room

105 CMR 451.353*	Interior Maintenance: Black substance on ceiling by air supply line

Charlie 3

Cells

105 CMR 451.353*		Interior Maintenance: Blocked air vent in cell # 3, 8, 9, 21, 22 and 25

105 CMR 451.353*		Interior Maintenance: Rusted air vent in cell # 20, 28, 29 and 30

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 6, 20 and 26

105 CMR 451.353		Interior Maintenance: Mop stored on floor in room # 128

Charlie 4

Cells

105 CMR 451.353*		Interior Maintenance: Rusted air vent in cell # 12, 13 and 30

105 CMR 451.353		Interior Maintenance: Debris on air vent in cell # 20

Day Room

105 CMR 451.353*	Interior Maintenance: Black substance on ceiling by air supply line

Kitchenette

No Violations Noted

Charlie 5

Cells

105 CMR 451.353*	Interior Maintenance: Rusted air vent in cell # 4, 5, 8, 7, 9, 10, 11, 12, 13, 14, 15, 19, 20, 22, 24, 25, 26, 30, 31 and 32

105 CMR 451.353*		Interior Maintenance: Blocked air vent in cell # 12, 24 and 34

105 CMR 451.353*	Interior Maintenance: Clogged floor drain by cell # 24/25

105 CMR 451.353*	Interior Maintenance: Burnt outlet by cell # 26/27

Day Room

105 CMR 451.353*	Interior Maintenance: Black substance on ceiling by air supply line

Showers

105 CMR 451.123*		Maintenance: Drain flies located in shower # 2, 3, 4, 5 and 6

105 CMR 451.123*		Maintenance: Flaking floor paint in shower #  8, 9, 10, 11 and 12

Charlie 6

Cells

105 CMR 451.353	Interior Maintenance: Rusted air vent in cell # 1, 3, 5, 6, 11, 17, 18, 19, 21, 22, 24, 26, 27, 29, 32, 34 and 35

105 CMR 451.353		Interior Maintenance: Blocked air vent in cell # 7, 13, 15, 30 and 36

105 CMR 451.353		Interior Maintenance: Clogged floor drain by cell # 23/24 and 27/28

105 CMR 451.353		Interior Maintenance: Debris on wall cell # 28

Showers

105 CMR 451.123		Maintenance: Flaking floor paint in shower #  1, 2, 4, 5, 7 and 10

Charlie 7

Cells

105 CMR 451.353	Interior Maintenance: Debris on air vent in cell # 2, 6, 7, 8, 9, 12, 13, 14, 15, 16, 17, 18, 19, 21, 22, 23, 24, 25, 26, 27, 28, 29, 30, 31, 32, 33, 34, 35, 36, 37 and 38

105 CMR 451.353	Interior Maintenance: Blocked window in cell # 22

Day Room

105 CMR 451.353*	Interior Maintenance: Black substance on ceiling by air supply line

105 CMR 451.353	Interior Maintenance: Ripped seat on weight bench

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged by door # 606 and 608

Staff Kitchenette

FC-4-602.12(B)	Cooking and Baking Equipment: Dirty microwave oven in room # 529

Showers

No Violations Noted

Charlie 8

Cells

105 CMR 451.353*		Interior Maintenance: Debris on air vent in cell # 2 and 3

105 CMR 451.103	Mattresses: Mattress damage in cell # 8, 9 and 10

Charlie 9

Cells

105 CMR 451.103	Mattresses: Mattress damage in cell # 2, 3, 4, 6, 8, 9 and 10

Charlie 10

Cells

105 CMR 451.353	Interior Maintenance: Debris on air vent in cell # 1, 3, 5, 8, 10, 12, 14, 15, 16, 17, 18, 34, 35, 37, 40, 41, and 42

105 CMR 451.353	Interior Maintenance: Blocked window in cell # 29 and 38

105 CMR 451.353	Interior Maintenance: Rusted air vent in cell # 19

105 CMR 451.103	Mattresses: Mattress damage in cell # 2, 9, 12, 16, 17, 24 and 31

Showers

No Violations Noted

Kitchenette

FC-4-602.13	Non Food Contact Surface: Dirty counter

Pre-Release

Kitchen

No Violations Noted

Medical

No Violations Noted

Multi Purpose

105 CMR 451.353		Interior Maintenance: Ripped seat on Roman chair foot pad

EAST UNIT

Cells

105 CMR 451.353	Interior Maintenance: Cracked seat cushion in cell # 58, 79 and 79

105 CMR 451.353	Interior Maintenance: Broken ground plug on Buffer # 10D07319 in room # 205

Showers

No Violations Noted

Day Room

No Violations Noted

WEST UNIT

Cells

105 CMR 451.353		Interior Maintenance: Cracked seat cushion in cell # 46

105 CMR 451.353	Interior Maintenance: Broken ground plug on Buffer # M10D01318 in room # 217

Day Room

No Violations Noted

Showers

105 CMR 451.123	Maintenance: Dirty air vents

NORTH UNIT

Cells

No Violations Noted

Day Room

FC-4-602.12(B)		Cooking and Baking Equipment: Dirty microwave oven

Showers

105 CMR 451.123		Maintenance: Ceiling paint flaking in room # 159

SOUTH UNIT

Cells

105 CMR 451.353		Interior Maintenance: Cracked seat cushion in cell # 25

Day Room

No Violations Noted

Showers

105 CMR 451.123		Maintenance: Dirty air vents in room # 168

LAUNDRY

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

HEALTH SERVICE

FC 602.12(B)*			Cooking and Baking Equipment: Dirty microwave oven

MAIN KITCHEN

Kitchen and food prep areas

FC-4-501.11*			Good Repair: Ripped gasket on reach-in cooler # 1217

FC-4-501.11*			Good Repair: Sharp edges on cooler door # 125B

FC-4-501.11*			Good Repair: Broken cove molding on cooler # 125B

FC-4-501.11*			Good Repair: Floor paint peeling in dry storage

FC-4-501.11			Good Repair: Floor paint peeling in tray pit

FC-4-501.11			Good Repair: Damaged floor in freezer # 125D

FC-4-501.11			Good Repair: Sharp edges on Alto Shaam # D401

FC-3-602.11  			Food Labels: Food not labeled in dry storage

FC-3-602.11  			Food Labels: Food not labeled in cooler # 125C

FC-6-501.12			Cleaning: Debris on floor in freezer # 9482

Staff Dinning

No Violations Noted

Culinary

FC-5-202.12*			Handwashing: Water temperature at hand sink is 1010F

Bakery

No Violations Noted

Observations and Recommendations

- The inmate population was 1113 at the time of inspection

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within 10 days of receipt of this letter and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Community Sanitation Regulations" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Peter Wheeler

Environmental Health Inspector, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

JudyAnn Bigby, MD, Secretary, Executive Office of Health and Human Services

Luis S. Spencer, Acting Commissioner, DOC

James Kelleher, Assistant Superintendent

Captain Frank Barbaro, EHSO

Ludlow Board of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Mary Elizabeth Heffernan, EOPS