The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

5 Randolph Street

Canton, MA 02021

Telephone:  (781) 828-8046

Facsimile:  (781) 828-7703

Nicholas.Gale@massmail.state.ma.us

DEVAL L. PATRICK GOVERNOR TIMOTHY P. MURRAY LIEUTENANT GOVERNOR JUDYANN BIGBY, MD SECRETARY LAUREN A. SMITH, MD, MPH INTERIM COMMISSIONER

December 20, 2012

Robert Murphy, Superintendant

Bridgewater State Hospital

20 Administration Road

Bridgewater, MA 02324

Re: Facility Inspection

Dear Superintendant Murphy:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, and Department of Public Health Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the Bridgewater State Hospital on November 20 and 21, 2012 accompanied by Sgt. Norberto Melo, Environmental Health and Safety Officer, Daniel Calis, Deputy Superintendent of Operations, Christopher Lanoue, Director of Engineering, and Amy Riordan, Environmental Health Inspector of the Community Sanitation Program. Violations noted are listed below

(* indicates conditions documented on previous inspection reports).

Power Plant

Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1350F

105 CMR 451.123	Maintenance: Vent dusty

Main Area

105 CMR 451.350*	Structural Maintenance: Ceiling damaged outside bathroom

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Air vent damaged

105 CMR 451.350	Structural Maintenance: Floor damaged

105 CMR 451.353	Interior Maintenance: Slop sink drain cover unattached

Staff Gym

105 CMR 451.350	Structural Maintenance: Ceiling tiles missing at entrance

Male Bathroom

105 CMR 451.123	Maintenance: Floor tiles damaged

Female Bathroom

No Violations Noted

Main Entrance

Waiting Room

No Violations Noted

Janitor’s Closet

No Violations Noted

Male Bathroom

105 CMR 451.123	Maintenance: Vent dirty

Female Bathroom

105 CMR 451.123	Maintenance: Vent dirty

105 CMR 451.123	Maintenance: Wall tiles damaged near toilet

105 CMR 451.123	Maintenance: Floor damaged

Administration Building

Roll Call Room

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

Toxic/Caustic Closet

No Violations Noted

Male Bathroom

105 CMR 451.123*	Maintenance: Vent dirty

105 CMR 451.123*	Maintenance: Window frame rusty

Female Bathroom

105 CMR 451.123*	Maintenance: Vent dirty

105 CMR 451.123*	Maintenance: Window frame rusty

105 CMR 451.353	Interior Maintenance: Chairs in lounge ripped

Administration Module

Basement

Male Bathroom

No Violations Noted

Male Locker Room

105 CMR 451.123	Maintenance: Wall paint peeling

Female Locker Room

No Violations Noted

First Floor

Entrance

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

Male Bathroom

No Violations Noted

Female Bathroom

No Violations Noted

Deputy’s Office

No Violations Noted

Superintendent’s Office

No Violations Noted

IPS Office

No Violations Noted

Second Floor

Break Room

No Violations Noted

Bathroom

No Violations Noted

Janitor’s Closet

105 CMR 451.350	Structural Maintenance: Floor damaged

105 CMR 451.350	Structural Maintenance: Ceiling tiles damaged

105 CMR 451.353	Interior Maintenance: Uncovered chemical bottles

Rear Trap

Main Area

No Violations Noted

Patient Bathroom

105 CMR 451.123*	Maintenance: Vent dirty

Hallway

No Violations Noted

Records

No Violations Noted

DOS Office

No Violations Noted

Control Center

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

FC 4-601.11(A)*	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, toaster oven dirty

Medical Building

Clinic Officer’s Office

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Bathroom

No Violations Noted

First Floor

Doctor’s Office

105 CMR 451.353	Interior Maintenance: Exam table padding damaged

Nursing Supervisor’s Office

No Violations Noted

Eye Doctor’s Office

No Violations Noted

Infection Control Office

No Violations Noted

Dental Office

No Violations Noted

X-Ray Room

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Center Corridor

Book Trap

No Violations Noted

Property

No Violations Noted

Male Bathroom

105 CMR 451.123	Maintenance: Floor damaged

105 CMR 451.123	Maintenance: Vent dusty

Female Bathroom

105 CMR 451.123*	Maintenance: Wall tiles damaged

Toxic/Caustic Closet

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Slop Sink Room

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

105 CMR 451.350	Structural Maintenance: Floor damaged

105 CMR 451.350	Structural Maintenance: Ceiling damaged

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Medical Waste Storage Room

105 CMR 451.350*	Structural Maintenance: Floor damaged

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Pharmacy

Unable to Inspect – Could Not Access

Control

No Violations Noted

Infirmary

Trauma Room

No Violations Noted

Dorms

105 CMR 451.353*	Interior Maintenance: Vents dirty

Laundry

105 CMR 451.350	Structural Maintenance: Wall paint peeling

Supply Room

No Violations Noted

Treatment Room

No Violations Noted

Shower Room

105 CMR 451.350	Structural Maintenance: Wall damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower leaking

TV Room

105 CMR 451.353*	Interior Maintenance: Ceiling vent rusty

105 CMR 451.353*	Interior Maintenance: Ceiling vent damaged

Medical West Unit

Control

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, air vent blocked

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Vent dusty

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

105 CMR 451.350	Structural Maintenance: Floor damaged

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Cells

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leak in cell # 7

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 7

105 CMR 451.350	Structural Maintenance: Floor damaged in cell # 7 and 10

Dorms

No Violations Noted

Shower Room

105 CMR 451.123*	Maintenance: Tiles damaged

105 CMR 451.123	Maintenance: Floor damaged

105 CMR 451.123	Maintenance: Vent dusty

105 CMR 451.123	Maintenance: Soap scum on walls

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower heads leaking

Toxic/Caustic Closet

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Quiet Room

No Violations Noted

I.T. Unit

Hallway

No Violations Noted

Shower Room

105 CMR 451.123	Maintenance: Vent dusty

105 CMR 451.123	Maintenance: Soap scum on walls

105 CMR 451.350*	Structural Maintenance: Safety door on shower damaged

Toxic/Caustic Closet

No Violations Noted

Kitchen Area

FC 4-204.112(A)*	Design and Construction, Functionality: No functioning thermometer in refrigerator

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty,	interior of freezer dirty

Security Trap

Bathroom

105 CMR 451.123	Maintenance: Vent dusty

105 CMR 451.123	Maintenance: Wall tiles damaged

Cells

105 CMR 451.350	Structural Maintenance: Ceiling damaged in cell # 10, 12, and 16

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 12 and 16

105 CMR 451.353	Interior Maintenance: Wall dirty in cell # 11

Nurse’s Office

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

105 CMR 451.350*	Structural Maintenance: Wall paint peeling

Bathroom

105 CMR 451.123	Maintenance: Floor tiles damaged

Strip Cell

No Violations Noted

Interview Room

105 CMR 451.350*	Structural Maintenance: Wall paint peeling in room # 16

Max Mod

Hallway

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

Inmates Bathroom

No Violations Noted

Male Bathroom

No Violations Noted

Female Bathroom

No Violations Noted

Security Trap

Front Office

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-903.11(A)(2)		Protection of Clean Items, Storing: Single-service items not protected from 					contamination, utensils left uncovered

Vending Machines

No Violations Noted

Janitor’s Closet

105 CMR 451.130	Plumbing: No backflow preventer on hot water tank

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, slop sink faucet leaking

Break Room

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Hallway

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

Maximum 1 Unit

Staff Lounge

No Violations Noted

TV Room

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

105 CMR 451.353	Interior Maintenance: Vents dirty

Mop Closet

105 CMR 451.353	Interior Maintenance: Vent dirty

105 CMR 451.350	Structural Maintenance: Floor paint peeling

Slop Sink Closet

105 CMR 451.350	Structural Maintenance: Wall damaged

105 CMR 451.350	Structural Maintenance: Floor damaged

105 CMR 451.353	Interior Maintenance: Vent dirty

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

Toxic/Caustic Closet

No Violations Noted

Bathroom

105 CMR 451.123	Maintenance: Wall damaged behind toilet

105 CMR 451.123	Maintenance: Vent dirty

105 CMR 451.123	Maintenance: Heater rusty

105 CMR 451.123	Maintenance: Floor dirty, food and trash around sink

Shower Room

105 CMR 451.123	Maintenance: Wall tiles damaged

105 CMR 451.123*	Maintenance: Walls dirty

105 CMR 451.123	Maintenance: Vent dirty

105 CMR 451.123	Maintenance: Soap scum on walls in showers

105 CMR 451.123	Maintenance: Bench paint peeling

A Corridor

105 CMR 451.350	Structural Maintenance: Wall paint peeling in cell # 104, 108, 110, 112, 113, 115, and 116

105 CMR 451.350	Structural Maintenance: Floor damaged in cell # 104, 112, and 115

B Corridor

105 CMR 451.350	Structural Maintenance: Wall paint peeling in cell # 122, 123, 124, 125, 126, 128, 131, and 132

105 CMR 451.350	Structural Maintenance: Floor damaged in cell # 104, 112, and 115

Treatment Room

No Violations Noted

Maximum 2 Unit

Staff Break Room

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-903.11(A)(2)		Protection of Clean Items, Storing: Single-service items not protected from 					contamination, utensils left uncovered

TV Room

105 CMR 451.350	Structural Maintenance: Floor tiles damaged

Mop Closet

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353	Interior Maintenance: Vent dirty

105 CMR 451.344	Illumination in Habitable Areas: Light fixture not functioning properly

Slop Sink

105 CMR 451.350	Structural Maintenance: Floor damaged

105 CMR 451.353	Interior Maintenance: Vent dirty

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.123	Maintenance: Sink damaged

Toxic/Caustic Closet

105 CMR 451.350	Structural Maintenance: Floor damaged, hole in floor

Bathroom

105 CMR 451.123	Maintenance: Wall damaged

105 CMR 451.123	Maintenance: Floor dirty

Shower Room

Unable to Inspect – In Use

A Corridor

105 CMR 451.350	Structural Maintenance: Wall paint peeling in cell # 113 and 115

105 CMR 451.350	Structural Maintenance: Floor damaged in cell # 109, 110, 112, and 114

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 101, 103, 106, and 112

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, air vent blocked in cell # 104

105 CMR 451.103	Mattresses: Mattress damaged in cell # 110

105 CMR 451.360	Protective Measures: Ants observed in cell # 114

B Corridor

105 CMR 451.350	Structural Maintenance: Floor damaged in cell # 119, 120, 121, 122, 125, 127, 131, and 132

105 CMR 451.350	Structural Maintenance: Wall paint peeling in cell # 120, 121, and 131

105 CMR 451.103	Mattresses: Mattress damaged in cell # 126, 128, and 131

105 CMR 451.353	Interior Maintenance: Door damaged in cell # 126

105 CMR 451.350	Structural Maintenance: Ceiling damaged in cell # 132

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 129

C Corridor

Cells Not Used - Storage

Treatment Room

No Violations Noted

Commons Building

Inmate Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, left faucet leaking

105 CMR 451.123	Maintenance: Floor damaged

105 CMR 451.123	Maintenance: Vent dirty

Female Bathroom

105 CMR 451.123	Maintenance: Vent dirty

Barbershop

No Violations Noted

Gym

105 CMR 451.353	Interior Maintenance: Weight lifting padding damaged

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Trap Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1370F

105 CMR 451.123	Maintenance: Vent dirty

Programs

No Violations Noted

Chapel

No Violations Noted

Library

No Violations Noted

School Office

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-903.11(A)(2)		Protection of Clean Items, Storing: Single-service items not protected from 					contamination, utensils left uncovered

Toxic/Caustic Closet

No Violations Noted

Staff Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1340F

105 CMR 451.123	Maintenance: Vent dirty

Laundry

No Violations Noted

Commons Basement

Break Room

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

Bathroom/Slop Sink

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

105 CMR 451.123	Maintenance: Wall tiles damaged

Maintenance Area

No Violations Noted

Tool Crib

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Office Space

No Violations Noted

Carpentry

No Violations Noted

Kitchen

FC 6-501.12(A)			Maintenance and Operation; Cleaning: Facility not cleaned properly, vents dirty

FC 4-501.11(A)			Maintenance and Operation, Equipment: Equipment not maintained in a state of good 				repair, heaters out-of-service

FC 4-903.11(B)(1)	Protection of Clean Items, Storing: Trays not stored in the inverted/self-draining position

Cleaning Closet

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

Serving Line

FC 3-304.14(B)(2)	Preventing Contamination from Linens: Wet cloth not stored in sanitizer bucket

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, utensils not stored with handles up

FC 6-201.11	Design, Construction and Installation: Floor not easily cleanable, tiles damaged under refrigerator unit

FC 6-403.11(B)	Location and Placement; Employee Accommodations: No locker room area designated for employees, personal belongings not stored away from food

3-Bay Sink

FC 6-201.11	Design, Construction and Installation: Floor not easily cleanable, floor rusty under sink

Prep Sink

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, faucet leaking

Freezer #1

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, ice build up on floor and ceiling

Freezer #2

Unable to Inspect – Out-of-service

Handwash Sink

FC 5-202.12(A)			Plumbing System, Design: Handwashing sinks water temperature recorded at 1380F

Handwash Sink (outside locker room)

FC 5-205.15(B)			Plumbing System, Operations and Maintenance: Plumbing system not maintained in 				good repair, faucet leaking

Ice Machine

FC 4-602.11(E)(4)(b)	Cleaning of Equipment and Utensils, Frequency: Interior	 surfaces of ice machine dirty

Janitor’s Closet

FC 6-101.11(A)(1)	Materials for Construction and Repairs: Surface not easily cleanable, door frame paint peeling

FC 6-201.11	Design, Construction and Installation: Floor not easily cleanable, floor damaged

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Walls not easily cleanable

FC 6-501.111(B)	Maintenance and Operations; Pest Control: Insects observed in closet

FC 6-501.16	Maintenance and Operation; Cleaning: Wet mop stored in bucket

Dishwashing Machine Area

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded at 1400F

FC 6-201.11	Design, Construction and Installation: Floor not easily cleanable, floor damaged around drains

FC 5-203.14	Plumbing System, Design: No backflow prevention device on rinse sink

FC 3-304.14(B)(2)*	Preventing Contamination from Linens: Wet cloth not stored in sanitizer bucket

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, sink damaged near dishwasher

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, fans dirty

Dry Storage

No Violations Noted

Inmate Bathroom

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Ceiling covering not easily cleanable, ceiling damaged

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, faucet leaking

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, vent dirty

Staff Locker Room

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Walls not easily cleanable, wall damaged

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Ceiling covering not easily cleanable, ceiling damaged

Loading Dock

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, door not    weather-tight

Transfer Area

FC 6-201.16(A)*	Design, Construction, and Installation; Cleanability: Ceiling covering not easily cleanable, ceiling damaged

FC 6-201.11	Design, Construction and Installation: Floor not easily cleanable, floor damaged

Toxic/Caustic Closet

FC 7-101.11	Poisonous or Toxic Materials; Original Containers: Cleaning chemicals not labeled properly, original manufactures label missing

Dining Area

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, vents dirty

Minimum Mod

Hallway

105 CMR 451.350*	Structural Maintenance: Floor damaged

Staff Break Room

105 CMR 451.353	Interior Maintenance: Vent rusty

105 CMR 451.353	Interior Maintenance: Refrigerator vent broken

FC 4-101.16	Materials for Construction and Repair; Multiuse: Sponges used in kitchen

Inmate Bathroom

105 CMR 451.123*	Maintenance: Floor dirty

105 CMR 451.123	Maintenance: Wood behind sink not easily cleanable

Male Bathroom

No Violations Noted

Female Bathroom

No Violations Noted

Janitor’s Closet

105 CMR 451.350	Structural Maintenance: Floor damaged

Chemical Room

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottles

A Unit

A1

Dorm Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking at sink # 1 and 4

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, urinal leaking at urinal # 2

105 CMR 451.123	Maintenance: Vent dirty

105 CMR 451.123	Maintenance: Light not working properly, light out

105 CMR 451.123	Maintenance: Ceiling damaged, paint peeling

Dorm Showers

105 CMR 451.121(A)	Privacy: No privacy partition between showers

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1200F

105 CMR 451.123	Maintenance: Wall damaged

105 CMR 451.123	Maintenance: Wall rusty

105 CMR 451.123	Maintenance: Soap scum on walls in shower

105 CMR 451.123	Maintenance: Door frame rusty

Dorms

105 CMR 451.350	Structural Maintenance: Wall damaged, paint peeling in dorm # 1-6

105 CMR 451.350	Structural Maintenance: Floor damaged, paint peeling in dorm # 3, 4, and 6

105 CMR 451.350	Structural Maintenance: Door damaged in dorm # 5

105 CMR 451.103	Mattresses: Mattress damaged in dorm # 4

Common Area

105 CMR 451.353	Interior Maintenance: Heat vents paint peeling

105 CMR 451.350	Structural Maintenance: Wall damaged, paint peeling

105 CMR 451.353	Interior Maintenance: Vents dirty

Lounge

105 CMR 451.350	Structural Maintenance: Wall damaged, paint peeling

105 CMR 451.353	Interior Maintenance: Vents dirty

Treatment Office

No Violations Noted

Janitor’s Closet

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Slop Sink

105 CMR 451.350	Structural Maintenance: Wall damaged behind sink

105 CMR 451.350	Structural Maintenance: Floor damaged

105 CMR 451.353	Interior Maintenance: Vent dirty

Officer Break Room

No Violations Noted

Health Worker’s Office

No Violations Noted

Toxic/Caustic Closet

105 CMR 451.353	Interior Maintenance: Vent dirty

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Nurse’s Treatment Room

No Violations Noted

Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 120

105 CMR 451.350	Structural Maintenance: Floor damaged in cell # 103-114, 117, 119-121, 123, and 125

105 CMR 451.350	Structural Maintenance: Wall damaged, paint peeling in cell # 103, 105, 107-109, 111-114, 116, 119, 121, and 123

105 CMR 451.350	Structural Maintenance: Ceiling damaged in cell # 114

Hallway

105 CMR 451.350	Structural Maintenance: Wall damaged, paint peeling

A2

Dorm Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leak at slop sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leak at sink # 3 and 5

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water not working at sink # 1 and 5

105 CMR 451.123	Maintenance: Wall tiles damaged

105 CMR 451.123	Maintenance: Ceiling damaged

105 CMR 451.123	Maintenance: Floor drain blocked

Dorm Showers

105 CMR 451.121(A)	Privacy: No privacy partition between showers

105 CMR 451.123	Maintenance: Rusty walls

105 CMR 451.123	Maintenance: Soap scum on walls in shower

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, leak at shower # 1

105 CMR 451.123	Maintenance: Floor dirty, trash in shower

105 CMR 451.123	Maintenance: Bench paint peeling

105 CMR 451.123	Maintenance: Door frame rusty

105 CMR 451.123	Maintenance: Wall damaged, paint peeling

Dorms

105 CMR 451.350*	Structural Maintenance: Floor damaged in dorm # 7, 8, and 10-12

105 CMR 451.350	Structural Maintenance: Wall damaged in dorm # 7 and 8

105 CMR 451.103	Mattresses: Mattress damaged in dorm # 11 and 12

Common Area

105 CMR 451.350	Structural Maintenance: Ceiling damaged

105 CMR 451.350	Structural Maintenance: Wall paint peeling

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

Treatment Office

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, interior of refrigerator dirty

Toxic/Caustic Closet

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Slop Sink

105 CMR 451.350	Structural Maintenance: Floor damaged

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

105 CMR 451.353	Interior Maintenance: Interior of sink damaged, not easily cleanable

Nurse’s Treatment Room

105 CMR 451.350	Structural Maintenance: Wall paint peeling

Bathroom

105 CMR 451.353	Interior Maintenance: Vent dusty

105 CMR 451.350	Structural Maintenance: Floor damaged

Cells

105 CMR 451.350	Structural Maintenance: Floor damaged in cell # 202, 205, 207, 209, 211, 213, 218, and 220

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 201-203, 206, 209, 211, 213, 215, 217, 219, 223, and 225

B Unit

B1

Common Area

105 CMR 451.353	Interior Maintenance: Heater vent paint peeling

105 CMR 451.353	Interior Maintenance: Bench legs damaged

Bathroom

105 CMR 451.123*	Maintenance: Vents dirty

105 CMR 451.123*	Maintenance: Floor dirty

105 CMR 451.126	Hot Water: Hot water temperature recorded at 950F

105 CMR 451.123	Maintenance: Partition paint peeling

105 CMR 451.123	Maintenance: Wall tiles damaged

105 CMR 451.123	Maintenance: Ceiling paint peeling

105 CMR 451.123	Maintenance: Floor drain blocked

Shower Room

105 CMR 451.123*	Maintenance: Floor dirty

105 CMR 451.123*	Maintenance: Walls dirty

105 CMR 451.123	Maintenance: Vents rusty

105 CMR 451.123	Maintenance: Floor damaged

105 CMR 451.123	Maintenance: Wall tiles damaged

105 CMR 451.123	Maintenance: Bench paint peeling

Staff Break Room

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

Transfer Room

No Violations Noted

Toxic/Caustic Closet

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Slop sink drain clogged

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

105 CMR 451.350	Structural Maintenance: Wall damaged under sink

105 CMR 451.353	Interior Maintenance: Vent dusty

Nurses Office

Unable to Inspect – Could Not Access

Treatment Room

No Violations Noted

Dorms

105 CMR 451.350*	Structural Maintenance: Floor damaged in all dorms

105 CMR 451.350	Structural Maintenance: Ceiling damaged in interview room # 1

105 CMR 451.353	Interior Maintenance: Wall dirty in interview room # 1

105 CMR 451.350	Structural Maintenance: Wall paint peeling in main dorm

Cells

105 CMR 451.350	Structural Maintenance: Floor damaged in cell # 114, 116, 118, 120, and 121

105 CMR 451.353	Interior Maintenance: Ceiling dirty in cell # 113

105 CMR 451.350	Structural Maintenance: Wall paint peeling in cell # 123 and 125

B2

Common Area

105 CMR 451.353	Interior Maintenance: Heater vent, paint peeling

105 CMR 451.353	Interior Maintenance: Ceiling dirty

Bathroom

105 CMR 451.123	Maintenance: Partition paint peeling

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, leak at sink # 1 and 2

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet loose at sink # 5

105 CMR 451.123	Maintenance: Vents dusty

Shower Room

105 CMR 451.123*	Maintenance: Floor dirty

105 CMR 451.123*	Maintenance: Walls dirty

105 CMR 451.123	Maintenance: Vents rusty

105 CMR 451.123	Maintenance: Floor damaged

105 CMR 451.123	Maintenance: Wall damaged

105 CMR 451.123	Maintenance: Bench paint peeling

Staff Break Room

No Violations Noted

Toxic/Caustic Closet

No Violations Noted

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Vent dusty

Nurses Office

No Violations Noted

Treatment Room

No Violations Noted

Dorms

105 CMR 451.103	Mattresses: Mattress damaged in cell # 10

Cells

105 CMR 451.350	Structural Maintenance: Floor damaged in cell # 204-206, 210, 211, and 223

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 219

105 CMR 451.103	Mattresses: Mattress damaged in cell # 213

C Unit

C1

Common Area

105 CMR 451.353	Interior Maintenance: Heater vent, paint peeling

105 CMR 451.353	Interior Maintenance: Door paint peeling

Bathroom

105 CMR 451.123*	Maintenance: Vents dirty

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, leak at sink # 1 and 2

105 CMR 451.123	Maintenance: Wall damaged behind toilet # 3

105 CMR 451.350	Structural Maintenance: Ceiling damaged

105 CMR 451.123	Maintenance: Poor drainage, standing water on floor

Shower Room

105 CMR 451.123*	Maintenance: Door damaged

105 CMR 451.123*	Maintenance: Floor dirty

105 CMR 451.123*	Maintenance: Walls dirty

105 CMR 451.123	Maintenance: Vents rusty

105 CMR 451.123	Maintenance: Soap scum on walls in showers

105 CMR 451.123	Maintenance: Bench paint peeling

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, leak at shower on left

Staff Break Room

No Violations Noted

Toxic/Caustic Closet

No Violations Noted

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Vent dusty

Treatment Room

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

Dorms

105 CMR 451.350*	Structural Maintenance: Floor damaged in all dorms

105 CMR 451.350	Structural Maintenance: Wall damaged in dorm # 2

Cells

105 CMR 451.350	Structural Maintenance: Floor damaged in cell # 107, 112, 113, 115, 119, and 123

105 CMR 451.350	Structural Maintenance: Wall paint peeling in cell # 108, 112, 117, 118, and 121

105 CMR 451.353	Interior Maintenance: Floor dirty in cell # 114

105 CMR 451.353	Interior Maintenance: Wall dirty in cell # 114

C2

Bathroom

Unable to Inspect – In Use

Shower Room

Unable to Inspect – In Use

Inmate Refrigerator Room

No Violations Noted

Staff Break Room

FC 4-501.11(A)	Maintenance and Operation, Equipment: Microwave oven not functioning properly

Toxic/Caustic Closet

No Violations Noted

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Vent dusty

Dorms

105 CMR 451.350	Structural Maintenance: Wall paint peeling in dorm # 10

Laundry

No Violations Noted

Cells

105 CMR 451.350	Structural Maintenance: Floor damaged in cell # 204 and 220

105 CMR 451.350	Structural Maintenance: Wall paint peeling in cell # 202 and 217

Observations and Recommendations

- The inmate population was 334 at the time of inspection

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within ten working days of receiving this report and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Community Sanitation Regulations" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Nicholas Gale

Environmental Health Inspector, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

JudyAnn Bigby, MD, Secretary, Executive Office of Health and Human Services

Luis S. Spencer, Commissioner, DOC

Sgt. Norberto Melo, EHSO

Bridgewater Board of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Mary Elizabeth Heffernan, EOPS