The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

5 Randolph Street

Canton, MA 02021

Telephone: 781-828-7910

Facsimile: 781-828-7703

marian.robertson@state.ma.us

DEVAL L. PATRICK GOVERNOR TIMOTHY P. MURRAY LIEUTENANT GOVERNOR JOHN W. POLANOWICZ SECRETARY LAUREN A. SMITH, MD, MPH INTERIM COMMISSIONER

February 15, 2013

Lynn M. Bissonette, Superintendent

MCI Framingham

P.O. Box 9007

99 Loring Drive

Framingham, MA 01704

Re: MCI Framingham Facility Inspection

Dear Superintendent Bissonette:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, and Department of Public Health Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the MCI Framingham on February 4 and 5, 2013 accompanied by Brian Carroll, Director of Engineering, Pamela Mullins, Fire Safety and Environmental Health Officer, Paul Halfmann and Amy Riordan of the Community Sanitation Program. Violations noted are listed below (* indicates conditions documented on previous inspection reports).

Smith Building

Lobby Area

No Violations Noted

Women’s Bathroom C133A

105 CMR 451.123	Maintenance: Wall paint damaged behind sink

105 CMR 451.123	Maintenance: Ceiling vent dusty

Men’s Bathroom C141A

105 CMR 451.123	Maintenance: Wall paint damaged behind sink

105 CMR 451.123	Maintenance: Ceiling vent dusty

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Drain cover not secure

105 CMR 451.353	Interior Maintenance: Light shield missing

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Officer’s Area

Break Room

No Violations Noted

Men’s Locker Room

No Violations Noted

Women’s Locker Room

105 CMR 451.344	Illumination in Habitable Areas: One light fixture not functioning properly

Weigh Room

105 CMR 451.353	Interior Maintenance: Weight bench covering damaged

Inside Control

P Trap

No Violations Noted

Inmate Bathroom 103A

No Violations Noted

Admissions

No Violations Noted

Storage Room C104A

No Violations Noted

Inmate Break Room 105A

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

105 CMR 451.353	Interior Maintenance: Chair covering damaged

Office C106A

No Violations Noted

Staff Bathroom 106A

105 CMR 451.123	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Sink faucet not secure

Storage Room 107A

Unable to Inspect – Locked at Time of Inspection

Transportation Office 108A

105 CMR 451.353	Interior Maintenance: Ceiling vent dirty

105 CMR 451.353	Interior Maintenance: Ceiling tiles water stained

Officer’s Room C108A

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, gaskets dirty on refrigerator unit

Medical Room 109A

105 CMR 451.353	Interior Maintenance: Water stained ceiling tiles

Inmate Shower 110A

105 CMR 451.123*	Maintenance: Floor finish damaged

105 CMR 451.123*	Maintenance: Wall paint damaged

105 CMR 451.123	Maintenance: Light fixture rusted

Inmate Shower 111A

105 CMR 451.123*	Maintenance: Wall paint damaged

105 CMR 451.123*	Maintenance: Baseboard not sealed properly

Control Room 112A

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water stained

Mechanical and Laundry Room 136A

No Violations Noted

Search Room 115A & 116A

No Violations Noted

Holding Cells 117A-120A

No Violations Noted

Visiting Area

Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling vents dirty

105 CMR 451.345*	Illumination in Common Passage Ways and Areas: Inadequate lighting, several light 	fixtures not functioning properly

Inmate Bathroom C138A

105 CMR 451.117	Toilet Fixtures: Toilet fixtures dirty; remains of feminine pad on toilet seat

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353	Interior Maintenance: Hand sanitizer unit broken off wall

105 CMR 451.353	Interior Maintenance: Light shield missing

Women’s Bathroom

No Violations Noted

Men’s Bathroom

No Violations Noted

Visitation Play Area

105 CMR 451.353*	Interior Maintenance: Ceiling vent dirty

Smith Food Service

Kitchen

FC 4-501.15(A)	Warewashing Machines, Manufacturers' Operating Instructions: Warewash machine was not operating in accordance with manufacturer’s guidelines at the time of inspection, quaternary ammonium solution appeared greater than the manufacturers recommended concentration

FC 4-501.15(A)	Warewashing Machines, Manufacturers' Operating Instructions: Warewash machine was not operating in accordance with manufacturer’s guidelines at the time of inspection, rinse cycle temperature was noted as higher than manufacturers recommended temperature

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded at 430F

FC 3-304.14(B)(2)	Preventing Contamination from Linens: Wet cloth not stored in sanitizer bucket

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, ceiling paint damaged above doorway

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, one light fixture not functioning properly

FC 6-501.111(B)	Maintenance and Operations; Pest Control: Drain flies observed near handwash sink

Dinning Room 172

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, several tables damaged throughout dinning room

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, several light fixtures not functioning properly

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, baseboard damaged

Smith Hallway

Smith Clinic

No Violations Noted

Janitor’s Closet C102

105 CMR 451.353*	Interior Maintenance: Wet mop left in bucket

105 CMR 451.353*	Interior Maintenance: Vent dirty

Staff Bathroom C131

No Violations Noted

Staff Bathroom C154

No Violations Noted

Multi-Purpose Room

105 CMR 451.353	Interior Maintenance: Ceiling vents dusty

Smith Galleries

Unable to Inspect – Under Renovation at Time of Inspection

ATU East

Common Area

No Violations Noted

Storage Room C128/129

No Violations Noted

Day Room C130

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Unit Sergeant 123

No Violations Noted

Break Room C124

No Violations Noted

Office C136

No Violations Noted

Lower Level Janitor’s Closet

No Violations Noted

Lower Level Showers

105 CMR 451.123	Maintenance: Wall and floor paint damaged in shower unit # C116

105 CMR 451.123	Maintenance: Ceiling vent rusted in shower unit # C116

Upper Level Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Wet mop left in bucket

105 CMR 451.353*	Interior Maintenance: Duct tape not secured properly to pipe insulation

Upper Levels Showers

105 CMR 451.123*	Maintenance: Floor paint damaged in shower unit # C212

105 CMR 451.123	Maintenance: Floor paint damaged in shower unit # C210 and 211

105 CMR 451.123	Maintenance: Ceiling paint damaged in shower unit # C212

105 CMR 451.123	Maintenance: Ceiling vent rusted in shower unit # C210

Cells

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged and chipping in cell # 118, 119, 120, 125, and 128

ATU West

Common Area

105 CMR 451.353	Interior Maintenance: Floor damaged near floor drain under hot water dispenser

Storage Room

No Violations Noted

Day Room

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

CPO Office

No Violations Noted

Office C141

No Violations Noted

Storage C143

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Staff Bathroom C131

No Violations Noted

Lower Level Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Wet mop left in bucket

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Lower Level Showers

105 CMR 451.123*	Maintenance: Wall paint damaged in shower unit # C145

105 CMR 451.123	Maintenance: Wall paint damaged in shower unit # C144

105 CMR 451.123	Maintenance: Floor paint damaged in shower unit # C143, C144, and C145

105 CMR 451.123	Maintenance: Door rusted in shower unit # C144

Upper Level Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Wet mop left in bucket

105 CMR 451.353	Interior Maintenance: Standing water left in bucket

Upper Level Showers

105 CMR 451.123*	Maintenance: Vent cover rusted and damaged in shower unit # C224

105 CMR 451.123	Maintenance: Vent cover rusted and damaged in shower unit # C225 and C228

105 CMR 451.123*	Maintenance: Wall paint damaged in shower unit # C225

105 CMR 451.123	Maintenance: Floor paint damaged in shower unit # C224, C225, and C228

Cells

No Violations Noted

New Line

Common Area

105 CMR 451.350	Structural Maintenance: Lower level outside door not rodent and weathertight

Storage Room C155

No Violations Noted

Day Room C153

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Office C161

No Violations Noted

Lower Level Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Wet mop left in bucket

105 CMR 451.353*	Interior Maintenance: Duct tape not secured properly to pipe insulation

105 CMR 451.353	Interior Maintenance: Sink drain cover missing

105 CMR 451.344	Illumination in Habitable Areas: One light fixture not functioning properly

Lower Level Showers

105 CMR 451.130	Hot Water: Shower water temperature recorded at 970F

105 CMR 451.123	Maintenance: Floor paint damaged in shower unit # C149 and C151

105 CMR 451.123	Maintenance: Ceiling vent rusted in shower unit # C149

Upper Level Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Wet mop left in slop sink

Storage 265

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Upper Level Showers

105 CMR 451.130	Hot Water: Shower water temperature recorded at 970F

105 CMR 451.123	Maintenance: Floor paint damaged in shower unit # C228 and C229

Cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint loose in cell # 149

105 CMR 451.353	Interior Maintenance: Ceiling paint loose in cell # 158

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 159

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vent covered in cell # 159

CCU

Common Area

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged around skylight

Storage Room C109

105 CMR 451.353	Interior Maintenance: Ceiling tiles water stained

Inmate Break Room and Storage Room

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, gaskets damaged on refrigerator unit

Office

No Violations Noted

Medical Room

No Violations Noted

Lower Level Janitor’s Closet

No Violations Noted

Lower Level Showers

105 CMR 451.123	Maintenance: Floor finish damaged in all shower units

105 CMR 451.123	Maintenance: Wall paint damaged in shower unit # 112

105 CMR 451.123	Maintenance: Floor paint damaged in shower unit # 114

105 CMR 451.130	Hot Water: Shower water temperature recorded at 850F

Upper Level Janitor’s Closet

No Violations Noted

Storage 226

No Violations Noted

Upper Level Showers

105 CMR 451.123*	Maintenance: Floor finish damaged in all shower stalls

105 CMR 451.130	Hot Water: Shower water temperature recorded at 850F

Cells

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 103 and 115

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking in cell # 106

Second Floor Office Area

Bathroom C210A

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet loose on handwash sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink leaking

Bathroom C211A

No Violations Noted

Deputy of Programs & Treatment Office

No Violations Noted

Janitor’s Closet C237A

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

105 CMR 451.353	Interior Maintenance: Light shield missing

Break Room C218A

No Violations Noted

HSU Building

Second Floor

Medical Room (2)

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Ob-Gyn Exam Room (3)

No Violations Noted

Optometry Room (5)

No Violations Noted

Residential Treatment Unit

No Violations Noted

Project Catch the Hope (7)

No Violations Noted

CPOs Office

No Violations Noted

Barton Housing Unit

Hallway

No Violations Noted

Janitor’s Closet

No Violations Noted

Library

No Violations Noted

Day Room

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, refrigerator gasket damaged

Resident Treatment Unit # 4

105 CMR 451.344	Illumination in Habitable Areas: One light fixture not functioning properly

Officer’s Room

No Violations Noted

Activity Room

No Violations Noted

Shower Room

105 CMR 451.123	Maintenance: One light fixture not functioning properly

105 CMR 451.123	Maintenance: Floor tiles damaged in shower stall # 1, 2, and 3

105 CMR 451.123	Maintenance: Ceiling tiles rusted in shower stall # 1, 2, and 3

105 CMR 451.123	Maintenance: Soap scum on walls throughout shower room

Kitchenette

FC 4-501.114(C)(2)	Maintenance and Operation; Equipment: Quaternary ammonium solution greater than 	the manufacturers recommended concentration

Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 203

First Room

Pharmacy

No Violations Noted

Pharmacy Bathroom

No Violations Noted

Medical Records Room

No Violations Noted

Medical Records Break Room

No Violations Noted

HSU Unit

Office

No Violations Noted

Office Bathroom

No Violations Noted

Nurses’ Station

No Violations Noted

Detox Room 114

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

Medical Cells

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm rooms

105 CMR 451.350	Structural Maintenance: Windows not weather tight and structurally sound, window 	covered with plastic wrap in all cells

Doctor’s Office 110

No Violations Noted

Interview Room

105 CMR 451.350*	Structural Maintenance: Windows not weather tight and structurally sound, window 	covered with plastic wrap

Shower Room

105 CMR 451.123*	Maintenance: Soap scum on walls in shower units

105 CMR 451.130	Hot Water: Shower water temperature recorded at 1330F

Biohazard Room

No Violations Noted

Laundry Room

No Violations Noted

Clinical Area

Waiting Area

No Violations Noted

Nurses’ Bathroom

No Violations Noted

Inmate Bathroom

No Violations Noted

X-Ray Room # 1

No Violations Noted

Dental Room # 2

No Violations Noted

Nurses’ Break Room

No Violations Noted

Trauma Room # 4

No Violations Noted

Trauma Room # 6

No Violations Noted

Lab #7

No Violations Noted

Treatment Room # 8

No Violations Noted

Treatment Room # 9

No Violations Noted

Treatment Room # 10

No Violations Noted

RN Clinic # 11

No Violations Noted

Cottages

Laurel Building

105 CMR 451.350*	Structural Maintenance: Windows not weather tight and structurally sound throughout 	the cottage

Common Area

No Violations Noted

Officer’s Room

No Violations Noted

Kitchenette

FC 4-501.114(C)(2)	Maintenance and Operation; Equipment: Quaternary ammonium solution greater than 	the manufacturers recommended concentration

Refrigerator Room

No Violations Noted

Slop Sink Room (A)

No Violations Noted

Storage Room (A)

No Violations Noted

Dog Supply Storage Room (A)

No Violations Noted

Interview Room (A)

No Violations Noted

Caustic Room (C)

No Violations Noted

Shower Room A & B

105 CMR 451.123*	Maintenance: Floor finish damaged in shower stalls

105 CMR 451.123*	Maintenance: Ceiling panels rusted and paint loose

105 CMR 451.123	Maintenance: Ceiling panel loose

105 CMR 451.123*	Maintenance: Room temperature 800F

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 1350F

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, shower room poorly ventilated

Shower Room B & C

105 CMR 451.123*	Maintenance: Floor finish damaged in shower stalls

105 CMR 451.123*	Maintenance: Room temperature 800F

105 CMR 451.123*	Maintenance: Ceiling panels rusted and paint loose

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 1350F

Hallway A Cells

105 CMR 451.350	Structural Maintenance: Windows not weather tight and structurally sound, windows covered with plastic in cell # A13 and A21

Hallway B Cells

No Violations Noted

Hallway C Cells

105 CMR 451.350	Structural Maintenance: Windows not weather tight and structurally sound, windows covered with plastic in cell # C8

Algon Building

105 CMR 451.350*	Structural Maintenance: Windows not weather tight and structurally sound throughout 	the cottage

Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling panels not installed properly in several areas

105 CMR 451.350	Structural Maintenance: One window broken

Officer’s Room

No Violations Noted

Kitchenette

FC 4-501.114(C)(2)*	Maintenance and Operation; Equipment: Quaternary ammonium solution greater than 	the manufacturers recommended concentration

Refrigerator Room

No Violations Noted

Slop Sink Room (A)

105 CMR 451.353*	Interior Maintenance: Floor finish damaged

Kaivac Machine Storage Room (A)

No Violations Noted

Storage Room (A)

No Violations Noted

Interview Room (A)

No Violations Noted

Caustic Room (C)

No Violations Noted

Shower Room A & B

105 CMR 451.123	Maintenance: Floor finish damaged in shower stall # 2, and 3

105 CMR 451.123	Maintenance: Soap scum on walls in shower stall # 2 and 3

105 CMR 451.123	Maintenance: Light shield damaged

105 CMR 451.130	Hot Water: Shower water temperature recorded at 820F

Shower Room B & C

105 CMR 451.123*	Maintenance: Soap scum on walls in shower stall # 2

105 CMR 451.123	Maintenance: Soap scum on walls in shower stall # 1 and 3

105 CMR 451.123*	Maintenance: Floor finish damaged in shower stall # 1, 2, and 3

105 CMR 451.130	Hot Water: Shower water temperature recorded at 820F

Hallway A Cells

105 CMR 451.350	Structural Maintenance: Windows not weather tight and structurally sound, windows covered with plastic in cell # A10

105 CMR 451.350	Structural Maintenance: Ceiling tile damaged in cell # A6

Hallway B Cells

105 CMR 451.350	Structural Maintenance: Windows not weather tight and structurally sound, windows covered with plastic in cell # # B17 and B22

105 CMR 451.353	Interior Maintenance: Plastic covering ceiling above bed in cell # B11, B13, and B15

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # B13

Hallway C Cells

No Violations Noted

Town Line Building

105 CMR 451.350*	Structural Maintenance: Windows not weather tight and structurally sound throughout 	the cottage

Common Area

No Violations Noted

Officer’s Room

No Violations Noted

Officer Bathroom

105 CMR 451.123	Maintenance: Ceiling vent dusty

Kitchenette

FC 4-501.114(C)(2)*	Maintenance and Operation; Equipment: Quaternary ammonium solution greater than 	the manufacturers recommended concentration

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1550F

Refrigerator Room

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

Slop Sink Room (A)

No Violations Noted

Storage Room (A)

No Violations Noted

Office (A)

No Violations Noted

Correctional Recovery Academy (A)

No Violations Noted

Caustic Room (C)

No Violations Noted

Shower Room A & B

105 CMR 451.123*	Maintenance: Baseboard and floor finish damaged in shower stall # 1, 2, and 3

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 2 and 3

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1520F

105 CMR 451.123	Maintenance: Door frame, leading into B Hallway, rusted and damaged

105 CMR 451.123	Maintenance: Ceiling tiles rusted

Shower Room B & C

105 CMR 451.123*	Maintenance: Baseboard and floor finish damaged in shower stall # 1, 2, and 3

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 2

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1520F

105 CMR 451.123	Maintenance: Shower wall damaged in shower stall # 1

105 CMR 451.123	Maintenance: Ceiling tiles rusted

Hallway A Cells

105 CMR 451.353	Interior Maintenance: Plastic covering ceiling above bed in cell # A4 and a6

105 CMR 451.353	Interior Maintenance: Ceiling tiles not installed properly in cell # A5 and A9

Hallway B Cells

105 CMR 451.350	Structural Maintenance: Ceiling tiles damaged in cell # B13, B17, and B22

105 CMR 451.350*	Structural Maintenance: Windows not weather tight and structurally sound, windows covered with plastic in cell # B18

105 CMR 451.350	Structural Maintenance: Windows not weather tight and structurally sound, windows covered with plastic in cell # B16 and B23

105 CMR 451.353	Interior Maintenance: Plastic covering ceiling above bed in cell # B17 and B21

Hallway C Cells

105 CMR 451.350	Structural Maintenance: Windows not weather tight and structurally sound, windows covered with plastic in cell # C33

105 CMR 451.353	Interior Maintenance: Plastic covering ceiling above bed in cell # C26, C29, and C33

105 CMR 451.350	Structural Maintenance: Ceiling tiles damaged in cell # C27 and C31

Pioneer Building

105 CMR 451.350*	Structural Maintenance: Windows not weather tight and structurally sound throughout 	the cottage

Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling panels not installed properly in several areas

105 CMR 451.350	Structural Maintenance: Windows not weather tight and structurally sound, windows covered with plastic

105 CMR 451.353	Interior Maintenance: Ceiling panel paint damaged

Officer’s Room

No Violations Noted

Kitchenette

FC 4-501.114(C)(2)*	Maintenance and Operation; Equipment: Quaternary ammonium solution greater than 	the manufacturers recommended concentration

Refrigerator Room

No Violations Noted

Slop Sink Room (A)

105 CMR 451.353	Interior Maintenance: Floor finish damaged

Storage Room (A)

No Violations Noted

Interview Room (A)

No Violations Noted

Caustic Room (C)

No Violations Noted

Shower Room A & B

105 CMR 451.123*	Maintenance: Ceiling paint damaged in shower room

105 CMR 451.123	Maintenance: Ceiling tiles damaged

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 3

105 CMR 451.123*	Maintenance: Floor finish damaged in shower stalls

105 CMR 451.123	Maintenance: Light shield missing

105 CMR 451.130	Hot Water: Shower water temperature recorded at 1290F

Shower Room B & C

105 CMR 451.123*	Maintenance: Ceiling paint damaged in shower rooms

105 CMR 451.123*	Maintenance: Floor finish damaged in shower stalls

105 CMR 451.123	Maintenance: Soap scum on walls in shower stall # 2

105 CMR 451.130	Hot Water: Shower water temperature recorded at 1290F

Hallway A Cells

105 CMR 451.350*	Structural Maintenance: Windows not weather tight and structurally sound, windows covered with plastic in cell # # A2

105 CMR 451.350	Structural Maintenance: Windows not weather tight and structurally sound, windows covered with plastic in cell # A1

105 CMR 451.353	Interior Maintenance: Plastic covering ceiling above bed in cell # A4, A6, A7, A8, and A9

Hallway B Cells

105 CMR 451.350	Structural Maintenance: Windows not weather tight and structurally sound, windows covered with plastic in cell # B24

105 CMR 451.353	Interior Maintenance: Plastic covering ceiling above bed in cell # B16, B18, B20,
and B24

Hallway C Cells

105 CMR 451.350	Structural Maintenance: Windows not weather tight and structurally sound, windows covered with plastic in cell # C33

105 CMR 451.353	Interior Maintenance: Plastic covering ceiling above bed in cell # C30

Modular Building – Overflow Unit

Officer’s Room

No Violations Noted

Officer’s Bathroom

105 CMR 451.123*	Maintenance: Wall panel under sink not secured properly

105 CMR 451.123*	Maintenance: Door knob not secured properly

105 CMR 451.123	Maintenance: Ceiling vent rusted

Common

No Violations Noted

Dorm Area

105 CMR 451.101	Blankets: Blanket damaged on bed # 9

FC 3-304.14(B)(2)	Preventing Contamination from Linens: Wet cloth not stored in sanitizer bucket in kitchen area

Shower Room

105 CMR 451.123*	Maintenance: Ceiling rusted on metal supports

105 CMR 451.123*	Maintenance: Standing water observed on floor

105 CMR 451.123	Maintenance: Ceiling vent rusted

105 CMR 451.123	Maintenance: Drain cover not secure in shower stall # 4

Janitor’s Closet Area

No Violations Noted

Bathroom

No Violations Noted

Brewster Building

Brewster 1

Common Area

105 CMR 451.353	Interior Maintenance: Light fixture missing

Control Room

No Violations Noted

Control Bathroom

No Violations Noted

Storage Room

No Violations Noted

Fire System Room

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Ceiling paint damaged above bathroom stalls

Shower Room

105 CMR 451.123*	Maintenance: Standing water observed on floor outside shower stalls

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 1160F

Kitchenette Area

FC 4-501.114(C)(2)*	Maintenance and Operation; Equipment: Quaternary ammonium solution greater than 	the manufacturers recommended concentration

Slop Sink Room

No Violations Noted

Room # 1

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

Room # 2

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

Room # 3

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

Room # 4

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

Room # 5

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

Room # 6

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

Room # 7

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

Room # 8

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

Room # 9

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

Room # 10

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

Brewster 2

Common Area

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty near room # 6

Control Room

No Violations Noted

Control Bathroom

No Violations Noted

Razor Storage Room

No Violations Noted

Storage Room

No Violations Noted

Fire System Room

No Violations Noted

Slop Sink Room

105 CMR 451.350	Structural Maintenance: Floor damaged

105 CMR 451.353	Interior Maintenance: Wet mop head not stored properly

Bathroom

105 CMR 451.123	Maintenance: Wall and wall outlet damaged near soap dispenser # 1 and 3

105 CMR 451.126	Water Supply: No hot water supplied to handwash sink # 2

Shower Room

105 CMR 451.123	Maintenance: Soap scum on floors outside shower stalls

Kitchenette Area

No Violations Noted

Room # 1

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

Room # 2

105 CMR 451.141*	Screens: Screen damaged

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

Room # 3

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, ceiling vent blocked

Room # 4

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353	Interior Maintenance: Ceiling vent not secure

Room # 5

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

105 CMR 451.353*	Interior Maintenance: Ceiling vent dirty

Room # 6

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

105 CMR 451.353*	Interior Maintenance: Vent dirty

Room # 7

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.353*	Interior Maintenance: Vent dirty

Room # 8

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

105 CMR 451.344	Illumination in Habitable Areas: One light fixture not functioning properly

Room # 9

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

Room # 10

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

105 CMR 451.353	Interior Maintenance: Ceiling vent dirty

Old Administration Building

A Corridor

Inmate Bathroom # 117

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 560F

Pre-Release Office

No Violations Noted

Inmate Weight Room # 118

No Violations Noted

Fire Equipment Room and Bathroom # 119

105 CMR 451.350	Structural Maintenance: Window panel broken

Back Storage Closets

Hallway

105 CMR 451.350*	Structural Maintenance: Exterior door not weather tight

105 CMR 451.350	Structural Maintenance: Baseboard damaged

Officer’s Room # 121

No Violations Noted

Closet # 122 - 1 & 2

No Violations Noted

Closet # 122 - 3 & 4

No Violations Noted

Janitor’s Closet 122-5 & 122-6

105 CMR 451.353*	Interior Maintenance: Ceiling damage repaired not finished in a workman like manner

105 CMR 451.344	Illumination in Habitable Areas: One light fixture not functioning properly

Closet 122-7

No Violations Noted

Closet 122-8

Unable to Inspect – Locked at Time of Inspection

Office 120

No Violations Noted

CO Office 121

105 CMR 451.353	Interior Maintenance: Ceiling tile missing

B Corridor

No Violations Noted

Tool Control Office 107

No Violations Noted

Old Office 109

105 CMR 451.350	Structural Maintenance: Window panel broken

Classroom 110

No Violations Noted

Classroom 111

No Violations Noted

Gym 112

No Violations Noted

NEADS Program Room

No Violations Noted

Operations 102 (near the Gym)

No Violations Noted

Operations Bathroom

No Violations Noted

Disciplinary Office 113

Unable to Inspect – Locked at Time of Inspection

Staff Bathroom

105 CMR 451.123	Maintenance: Light vent dirty

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 710F

Water Fountain

No Violations Noted

Slop Sink outside Staff Bathroom 114

No Violations Noted

Work Assignment 114

105 CMR 451.353	Interior Maintenance: Ceiling tiles missing

Activity Room 115

105 CMR 451.344	Illumination in Habitable Areas: One light fixture not functioning properly in weight room

Classroom 116

No Violations Noted

C Corridor

Classroom

No Violations Noted

D Corridor

Cosmetology 130	Not in use – Closed at time of inspection

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 750F in hair wash and bathroom sinks

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, fridge damaged on inside

Classroom 131

No Violations Noted

Protestant Chaplain’s Office 137

No Violations Noted

Office 138

No Violations Noted

Catholic Chaplain’s Office 139

No Violations Noted

Needs Office 141

No Violations Noted

Office 142

No Violations Noted

Office 143

No Violations Noted

Family Service Office 146

No Violations Noted

Staff Bathroom 147

No Violations Noted

Waiting Room 148

No Violations Noted

Second Floor

Intensive Treatment Unit

Staff Bathroom

No Violations Noted

Program Rooms

No Violations Noted

Multi-Purpose Room

105 CMR 451.126	Water Supply: Cold water not functioning properly at handwash sink

Shower Room 1

No Violations Noted

Cells

105 CMR 451.350	Structural Maintenance: Ceiling damaged near window in cell # 6

Nurse’s Station 203

No Violations Noted

Shower Room 2

105 CMR 451.123	Maintenance: Soap scum on plastic covering bars

Psychology Corridor

Offices

No Violations Noted

Kitchenette

No Violations Noted

Bathroom

105 CMR 451.123	Maintenance: Floor tile damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink leaking

105 CMR 451.123	Maintenance: Ceiling paint damaged

B Corridor

Staff Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 850F

105 CMR 451.123*	Maintenance: Floor tiles unfinished and left in a work-person like fashion

Classroom 201

No Violations Noted

Classroom 204

105 CMR 451.350	Structural Maintenance: Floor damaged

105 CMR 451.350	Structural Maintenance: Window broken

Office 206

No Violations Noted

Office 208

No Violations Noted

Library 209-210

No Violations Noted

Law Library 211

No Violations Noted

Third Floor

Chapel

105 CMR 451.353	Interior Maintenance: Ceiling paint peeling and chipping

Education Area 212

Bathroom

No Violations Noted

Classrooms

No Violations Noted

Offices/Breakroom

No Violations Noted

Industries 213

105 CMR 451.350	Structural Maintenance: Floor tiles damaged

105 CMR 451.353	Interior Maintenance: Floor paint damaged in back storage area

Industries Bathrooms

105 CMR 451.353	Interior Maintenance: Ceiling tile missing

Building and Trades 214

Program closed - Locked at the time of inspection

Classroom 215-2

105 CMR 451.350*	Structural Maintenance: Windows not weather tight and structurally sound

Classroom 215-4

105 CMR 451.344*	Illumination in Habitable Areas: Inadequate lighting, several light fixtures not functioning properly

Classroom 215-5

105 CMR 451.344	Illumination in Habitable Areas: One light fixture not functioning properly

105 CMR 451.353	Interior Maintenance: Ceiling tiles missing

Classroom 215-7

105 CMR 451.353	Interior Maintenance: Ceiling tiles missing

Computer Room 215-8

No Violations Noted

Bathroom 215-9

105 CMR 451.123*	Maintenance: Light shield missing

105 CMR 451.123*	Maintenance: Vent and light area dirty

Janitor’s Closet 216

No Violations Noted

Parole Hallway 218

No Violations Noted

Parole Bathroom

No Violations Noted

Inner Perimeter Security (IPS)

No Violations Noted

Interview Room

No Violations Noted

First Floor

Store Room

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, utensils left uncovered

Store Room Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 850F

Food Service Area

Hallway

No Violations Noted

Inmate Dining Room

FC 4-501.114(C)(2)	Maintenance and Operation; Equipment: Quaternary ammonium solution less than the manufacturers recommended concentration

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, baseboard not 	secured properly

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, wall damaged

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, vent fan dirty

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, window sill paint

damaged

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, floor finish damaged

FC 6-501.114(A)	Maintenance and Operations; Maintaining Premises: Nonfunctional equipment not repaired or removed from premises, milk dispenser out-of-service at the time of inspection

Serving Line

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor tiles 	damaged

FC 4-501.114(C)(2)	Maintenance and Operation; Equipment: Quaternary ammonium solution less than the manufacturers recommended concentration

FC 4-901.11(A)	Protection of Clean Items, Drying: Clean and sanitized cups and trays not allowed to air dry fully before being used

FC 6-305.11(B)	Numbers and Capacities; Dressing Area and Lockers: No suitable locker room provided, coat stored under serving line

Mechanical Warewashing Room

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, floor damaged at the entrance of warewash room

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, wall under construction, openings with wires hanging out

FC 6-201.11	Design, Construction, and Installation; Cleanability: Walls not easily cleanable, unfinished wood near warewash machine

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, floor dirty throughout warewash machine room

FC6-201.17(A)	Design, Construction, and Installation; Cleanability: Wall mounted fan dirty

FC 6-305.11(B)	Numbers and Capacities; Dressing Area and Lockers: No suitable locker room provided, clothing observed hanging near heating unit

FC 6-501.16	Maintenance and Operation; Cleaning: Wet mop stored on floor

Culinary Arts

Kitchen

FC 6-501.114(A)	Maintenance and Operations; Maintaining Premises: Nonfunctional equipment not repaired or removed from premises, ice machine not functioning at time of inspection

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded at 1050F

FC 6-501.114(A)	Maintenance and Operations; Maintaining Premises: Nonfunctional equipment not repaired or removed from premises, dishwasher out-of-order at time of inspection

Staff Dining Room

No Violations Noted

Dry Storage Room

FC 6-305.11(B)	Numbers and Capacities; Dressing Area and Lockers: No suitable locker room	provided, clothing observed hanging in dry storage area

FC 4-102.11(B)(2)	Materials for Construction and Repair; Multiuse: Unused single-service article not 	protected against contamination, utensils not covered

FC 6-202.11(A)	Design, Construction, and Installation; Functionality: Light bulbs not shatter-resistant 	or protected by light shields

Basement

Laundry Area

105 CMR 451.353	Interior Maintenance: Lent and debris located behind dryer on vent

Inmate Bathroom

105 CMR 451.123*	Maintenance: Vent fan dirty

105 CMR 451.126	Hot Water: Hot water temperature recorded at 950F

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink not draining properly

Main Kitchen

Hallway

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, windows not 	weather tight

Paper Goods Storage Room

No Violations Noted

Dry Storage Room

FC 6-201.11	Design, Construction and Installation: Floor not easily cleanable, floor paint damaged

Freezer and Refrigerator Hallway

No Violations Noted

Freezer Unit

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, ice buildup observed on ceiling

Refrigerator Unit

FC 5-502.11	Refuse, Recyclables, and Returnables; Removal: Objectionable fish-like odor present at the time of inspection

Back Pots and Pans Storage Area

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor paint 	damaged

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, gaskets damaged on refrigerator unit

Prep Area

FC 6-202.15(A)(2)	Design, Construction, and Installation; Functionality: Vent fan not functioning 	properly

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, vent fan dirty

Refrigerator Unit # 5

FC 3-305.11(A)(2)*	Preventing Contamination from Premises: Food exposed to dust, fans in cooler dusty

Freezer Unit # 6

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, ice build up observed in freezer unit

Inmate Dinning Area

No Violations Noted

Dry Goods Storage Room

FC 3-304.12(A)	Preventing Contamination from Utensils: Service utensils handle stored below the 	food and container line, scoop left in farina

Broom Storage Area

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, door frame into broom storage area rusted

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, floor damaged

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, ceiling paint damaged

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, walls and floors dirty

Slop Bucket Refrigerator

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, walk-in refrigerator door dragging on floor

Prep-Counter Handwash Sink near 3-Compartment Sink

FC 5-202.12(A)*	Plumbing System, Design: Handwashing sinks water temperature recorded at 1050F

Prep Tables

FC 6-501.111(B)*	Maintenance and Operations; Pest Control: Excessive build up of rodent droppings 	observed under tables

3-Compartment Sink

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, floor tile near 3 bay sink damaged

Warmers

No Violations Noted

Back Area – Officer’s Area

FC 6-202.15(A)(2)*	Design, Construction, and Installation; Functionality: Outer door not weather and 	vermin tight

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, utensil cabinet 	dirty

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator 	temperature recorded at 650F

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, gaskets dirty on refrigerator unit

Inmate Bathroom

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, wall paint damaged

Staff Bathroom

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, handwash sink 	water worn and no longer easily cleanable

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, wall damaged in toilet stall

Power Plant Building # 3

Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink leaking

Office

105 CMR 451.350	Structural Maintenance: Windows not weather tight and structurally sound, windows covered with plastic

105 CMR 451.353	Interior Maintenance: Wet mop left in bucket

Break Room

105 CMR 451.344*	Illumination in Habitable Areas: Inadequate lighting, one light fixture not functioning 	properly

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, toaster over appeared to be in bad condition

Maintenance Building # 4

Tool Crib

No Violations Noted

Paint Room

No Violations Noted

Bathroom in Office

Unable to Inspect - Locked at the Time of Inspection

Inmate Break Room

No Violations Noted

Inmate Bathroom

No Violations Noted

Staff Bathroom

No Violations Noted

Break Room

No Violations Noted

Vehicle Trap

Bathroom

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, hot water dropped from 1230F to 650F at the time of inspection

105 CMR 451.123*	Maintenance: Vent cover detached

Observations and Recommendations

- Inmate count was 604 at the time of inspection

- Warewash machine in Smith Food Service was not functioning properly in accordance with manufacturer’s guidelines at the time of inspection.  The Department recommended using 3-compartment sink until problem is corrected.

- The West Wing of the Old Administration Building was noted as being shut-off and no longer used

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within ten working days of receiving this report and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Community Sanitation Regulations" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Marian Robertson

Environmental Health Inspector, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

John W. Polanowicz, Secretary, Executive Office of Health and Human Services

Luis S. Spencer, Commissioner, DOC

Pamela Mullins, FS/EHSO

Brian Carroll, Director of Engineering

Framingham Board of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Andrea J. Cabral, EOPS