The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

5 Randolph Street

Canton, MA 02021

Telephone:  (781) 828-8046

Facsimile:  (781) 828-7703

Nicholas.Gale@massmail.state.ma.us

DEVAL L. PATRICK GOVERNOR TIMOTHY P. MURRAY LIEUTENANT GOVERNOR JOHN W. POLANOWICZ SECRETARY LAUREN A. SMITH, MD, MPH INTERIM COMMISSIONER

April 9, 2013

Thomas M. Hodgson, Sheriff

Bristol County Sheriff’s Office

Dartmouth I.C.E. Facility

400 Faunce Corner Road

North Dartmouth, MA 02747

Re: Dartmouth I.C.E. Facility Inspection

Dear Sheriff Hodgson:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, and Department of Public Health Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the Bristol County Sheriff’s Office Dartmouth I.C.E. Facility on March 27, 2013 accompanied by Lieutenant Andrew Mitzan, Environmental Health and Safety Officer and Paul Halfmann, Assistant Director of the Community Sanitation Program. Violations noted are listed below (* indicates conditions documented on previous inspection reports).

Common Area

Lobby

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

Control

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Garage Bathroom

No Violations Noted

Units

Unit A

Sleeping Area

No Violations Noted

Bathroom

105 CMR 451.123	Maintenance: Urinal out-of-order

Showers

105 CMR 451.123	Maintenance: Soap scum on walls in showers

Laundry

No Violations Noted

Classroom

105 CMR 451.353*	Interior Maintenance: Walls not easily cleanable, paint peeling

Medical Room

No Violations Noted

Janitor’s Closet

No Violations Noted

B Unit

Sleeping Area

105 CMR 451.353*	Interior Maintenance: Walls not easily cleanable, paint peeling

Bathroom

No Violations Noted

Shower

105 CMR 451.123	Maintenance: Soap scum on walls in showers

105 CMR 451.123	Maintenance: Shower curtains dirty

Laundry

No Violations Noted

Medical Room

No Violations Noted

Janitor’s Closet

No Violations Noted

Observations and Recommendations

- The inmate population was 108 at the time of inspection

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within ten working days of receiving this report and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Community Sanitation Regulations" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Nicholas Gale

Environmental Health Inspector, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

John W. Polanowicz, Secretary, Executive Office of Health and Human Services

Luis S. Spencer, Commissioner, DOC

Steven Sousa, Superintendent

Andrew Mitzan, EHSO

Dartmouth Board of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Andrea J. Cabral, Secretary, EOPS