The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

5 Randolph Street

Canton, MA 02021

Telephone:  (781) 828-8046

Facsimile:  (781) 828-7703

Nicholas.Gale@massmail.state.ma.us

DEVAL L. PATRICK GOVERNOR TIMOTHY P. MURRAY LIEUTENANT GOVERNOR JOHN W. POLANOWICZ SECRETARY LAUREN A. SMITH, MD, MPH INTERIM COMMISSIONER

May 16, 2013

James J. Saba, Superintendant

M.C.I. Cedar Junction

P.O. Box 100

South Walpole, MA 02071

Re: Facility Inspection – M.C.I. Cedar Junction

Dear Superintendant Saba:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, and Department of Public Health Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the M.C.I. Cedar Junction on April 22, 23, and 24, 2013 accompanied by Richard Souther, Environmental Health and Safety Officer. Violations noted are listed below (* indicates conditions documented on previous inspection reports).

PERIMETER TOWERS

P Tower

105 CMR 451.350*	Structural Maintenance: Window broken near stairs

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

105 CMR 451.353*	Interior Maintenance: Light shield missing

FC 4-602.12(B)*	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, refrigerator gaskets damaged

Tower 1

105 CMR 451.350*	Structural Maintenance: Ceiling damaged, leaks at spotlight

FC 4-204.112(A)*		Design and Construction, Functionality: No functioning thermometer in refrigerator

105 CMR 451.350*	Structural Maintenance: Wall damaged behind toilet

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1570F

105 CMR 451.350*	Structural Maintenance: Leak at the top of windows

105 CMR 451.350*	Structural Maintenance: Window damaged, propped open near refrigerator

105 CMR 451.350*	Structural Maintenance: Window damaged in front of refrigerator, taped shut

105 CMR 451.353*	Interior Maintenance: Window-sill paint peeling

105 CMR 451.350	Structural Maintenance: Door damaged at top of stairs

Tower 2

105 CMR 451.350*	Structural Maintenance: Wall damaged under window at entrance

105 CMR 451.350*	Structural Maintenance: Window broken

105 CMR 451.353*	Interior Maintenance: Heater dirty

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged at entrance

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

FC 4-601.11(c)*	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, refrigerator gaskets dirty

FC 4-602.12(B)*	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

105 CMR 451.350	Structural Maintenance: Window-sill damaged, paint peeling

105 CMR 451.350	Structural Maintenance: Window damaged, moisture between panes

Tower 3

105 CMR 451.350*	Structural Maintenance: Wall damaged near window-sill

105 CMR 451.350*	Structural Maintenance: Wall damaged, corner behind door

105 CMR 451.350*	Structural Maintenance: Window broken

105 CMR 451.350	Structural Maintenance: Window-sill damaged, paint peeling

105 CMR 451.350	Structural Maintenance: Door damaged at top of stairs

Tower 4

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

105 CMR 451.353*	Interior Maintenance: Heater dirty

105 CMR 451.350*	Structural Maintenance: Wall damaged, behind door

FC 4-602.12(B)*	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

105 CMR 451.353	Interior Maintenance: Chair damaged, not easily cleanable

Tower 5

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1550F

105 CMR 451.353*	Interior Maintenance: Wall paint peeling

FC 4-602.12(B)*	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

105 CMR 451.353*	Interior Maintenance: Heater dirty

105 CMR 451.350	Structural Maintenance: Floor tiles damaged

Tower 6

105 CMR 451.350*	Structural Maintenance: Exterior stairs damaged

105 CMR 451.350*	Structural Maintenance: Wall damaged under windows

105 CMR 451.350*	Structural Maintenance: Wall damaged, corner above toilet

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

105 CMR 451.350*	Structural Maintenance: Window broken

105 CMR 451.350*	Structural Maintenance: Ceiling damaged above stairs

105 CMR 451.353	Interior Maintenance: Window damaged, moisture between panes

FC 4-602.12(B)*	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

105 CMR 451.353	Interior Maintenance: Chair damaged, not easily cleanable

105 CMR 451.350	Structural Maintenance: Window-sill damaged, paint peeling

Tower 7

105 CMR 451.350*	Structural Maintenance: Ceiling damaged near spotlight

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

FC 4-204.112(A)*	Design and Construction, Functionality: No functioning thermometer in refrigerator

Tower 8

105 CMR 451.126	Hot Water: Hot water temperature recorded at 940F

105 CMR 451.141*	Screens: Screen doesn’t fit window near heater

FC 4-602.12(B)*		Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

105 CMR 451.350*	Structural Maintenance: Window broken

105 CMR 451.350	Structural Maintenance: Window damaged, leaking

105 CMR 451.350*	Structural Maintenance: Baseboard damaged

105 CMR 451.350*	Structural Maintenance: Wall damaged in staircase

105 CMR 451.350*	Structural Maintenance: Blue molding damaged near switches at entrance

105 CMR 451.353*	Interior Maintenance: Cabinet under sink doesn’t close properly

105 CMR 451.353*	Interior Maintenance: Chair damaged, not easily cleanable

GARAGE

105 CMR 451.353*	Interior Maintenance: Chair damaged, not easily cleanable

Break Room

FC 4-601.11(c)*	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, refrigerator dirty

FC 4-602.12(B)*	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-903.11(A)(2)*	Protection of Clean Items, Storing: Single-service items not protected from contamination, utensils left uncovered

VEHICLE TRAP

105 CMR 451.353	Interior Maintenance: Floor dirty

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, refrigerator gaskets dirty

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, refrigerator handle damaged

TRAINING BUILDING

Bathroom

105 CMR 451.350	Structural Maintenance: Floor tiles damaged

OUTER CONTROL

FC 4-602.12(B)	*		Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-601.11(c)*	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, refrigerator gaskets dirty

FC 4-601.11(A)*	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, toaster dirty

Bathroom (inside control)

No Violations Noted

Vending Area

No Violations Noted

Female Visitor Bathroom

105 CMR 451.123*	Maintenance: Lock does not properly secure the door on the stall

Male Visitor Bathroom

105 CMR 451.123	Maintenance: Lock missing on stall door

Handicapped Bathroom

No Violations Noted

Utility Closet

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

105 CMR 451.353	Interior Maintenance: Air vent dirty

Female Staff Bathroom

Unable to Inspect – Under Construction

Superintendent’s Investigators Office/Paralegal

No Violations Noted

Parole Office

No Violations Noted

Treasurer’s Office

No Violations Noted

Male Locker Room

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1

105 CMR 451.123	Maintenance: Shower curtain dirty

105 CMR 451.123	Maintenance: Air vents dirty

105 CMR 451.123	Maintenance: Light shield missing

105 CMR 451.123	Maintenance: Ceiling damaged, paint peeling

Lower Locker Room

105 CMR 451.350	Structural Maintenance: Floor tiles damaged under lockers

Female Locker Room

105 CMR 451.350*	Structural Maintenance: Wall unfinished near sink in corner

105 CMR 451.123	Maintenance: Shower curtains dirty

Female Staff Bathroom

No Violations Noted

VISITING ROOM

Non-Contact Visits

No Violations Noted

Male Bathroom

No Violations Noted

Female Bathroom

No Violations Noted

Contact Visits

No Violations Noted

INNER CONTROL

Control Room

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Bathroom

FC 4-903.12 (A)*	Protection of Clean Items, Storing: Paper goods stored in bathroom

105 CMR 451.350	Structural Maintenance: Floor molding damaged

FOOD SERVICE

Dining Area

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.353*	Interior Maintenance: Ceiling paint peeling

105 CMR 451.353*	Interior Maintenance: Fans dirty

105 CMR 451.353*	Interior Maintenance: Air vents dirty

105 CMR 451.353*	Interior Maintenance: Electrical outlet broken in serving line

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged around floor drain

105 CMR 451.350*	Structural Maintenance: Wall tiles damaged in serving line

Inmate Bathroom

No Violations Noted

Serving Area

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, leak in pipe under serving area

Oven and Kettle Area

No Violations Noted

Prep Area

FC 4-501.114(A)	Maintenance and Operation; Equipment: Chlorine Sanitizer solution tested greater 	than recommended concentration

FC 6-201.16(A)*	Design, Construction, and Installation; Cleanability: Walls not easily cleanable, hole in wall at handwash sink

Cooler # 4

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, two lights out

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, uneven floor

FC 3-305.11(A)(2)*	Preventing Contamination from Premises: Food exposed to dust, fans in cooler dusty

FC 3-302.11(A)(4)	Preventing Food and Ingredient Contamination: Preventing cross contamination, food 	not appropriately covered

Dishwashing Area

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, fan dirty

FC 5-205.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, middle bay faucet leaking

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, ceiling dirty

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, floor dirty

Dishwasher Machine Area

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, debris on floor under dishwasher

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, floor drain clogged under dishwasher

Bakery

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from contamination, utensils left uncovered

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, floor dirty

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, broken handle on warmer unit

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, gaskets damaged on warmer unit

Diet Cooler

No Violations Noted

Diet Freezer

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, gaskets damaged on freezer door

Staff Office

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, ceiling tiles stained and damaged

Paper Room

No Violations Noted

Dry Storage

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, debris on floor

FC 6-501.111(B)*	Maintenance and Operations; Pest Control: Insects observed inside food product

Tool Crib

FC 3-304.12(A)*	Preventing Contamination from Utensils: Scoop stored in sugar bucket

Back Room

Box 1

FC 3-305.11(A)(2)*	Preventing Contamination from Premises: Food exposed to dust, fans in cooler dusty

Box 2

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, ice build-up

Box 3

No Violations Noted

Chemical Room

105 CMR 451.350*	Structural Maintenance: Window broken outside coolers

Loading Dock

FC 6-202.15(A)(2)*	Design, Construction, and Installation; Functionality: Outer door not weather and 	vermin tight

Exterior

No Violations Noted

Office

FC 4-903.11(A)(2)*	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, items left uncovered

Fire Hose Room

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, screen damaged

Staff Bathroom

No Violations Noted

Store House

Freezer

No Violations Noted

Refrigerator

FC 3-305.11(A)(2)*	Preventing Contamination from Premises: Food exposed to dust, fans in cooler dusty

FC 3-302.11(A)(4)*	Preventing Food and Ingredient Contamination: Preventing cross contamination, food 	not appropriately covered, uncovered chicken

Office # 1

No Violations Noted

Office # 2

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, utensils left uncovered

Staff Kitchen

FC 4-903.11(A)(2)*	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, utensils left uncovered

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty,	microwave # 1 dirty

CHEMICAL ROOM

No Violations Noted

RECORDS

Breakroom

No Violations Noted

Female Bathroom

105 CMR 451.353	Interior Maintenance: Air vent dirty

HSU

Inmate Bathroom

FC 4-903.12 (A)(2)	Protection of Clean Items, Storing: Food product stored in an inappropriate location, food carts stored in bathroom when not in use

Triage #3

No Violations Noted

Med Room

No Violations Noted

Administration Area

No Violations Noted

Janitor’s Closet

No Violations Noted

Dentist #2

No Violations Noted

Medical Office # 4

No Violations Noted

Chemical Lab Office # 5

No Violations Noted

Mental Health Office # 7

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, air vent covered

Supply Closet

No Violations Noted

Dark Room

No Violations Noted

Break Room

FC 4-602.12(B)*	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Bathroom

105 CMR 451.353*	Interior Maintenance: Wall vent dusty

Office # 8

No Violations Noted

Cell Block

105 CMR 451.353	Interior Maintenance: Chair damaged at entrance way, not easily cleanable

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

Cells

No Violations Noted

NEW MAN SECTION

Cells

105 CMR 451.353*	Interior Maintenance: Floor dirty in cells A-F

105 CMR 451.350*	Structural Maintenance: Ceiling damaged in cell F

Supply Closet

No Violations Noted

Medical Room

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, hot water not working

Handwash Sink

105 CMR 451.353	Interior Maintenance: Floor drain cover damaged

Clothing/Break Room

105 CMR 451.353*	Interior Maintenance: Dryer not vented to the exterior

FC 4-602.12(B)*	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-903.11(A)(2)*	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, utensils left uncovered and not inverted

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, gaskets damaged on white refrigerator

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, freezer door damaged on white refrigerator

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator in small grey refrigerator

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Small grey refrigerator temperature recorded at 480F

Shower Area

Not In Use

PROPERTY

105 CMR 451.350*	Structural Maintenance: Ceiling leaks when it rains

105 CMR 451.350	Structural Maintenance: Floor damaged outside bathrooms

105 CMR 451.350	Structural Maintenance: Wall damaged outside bathrooms

Male Bathroom

105 CMR 451.123*	Maintenance: Floor paint peeling

105 CMR 451.123	Maintenance: Wall damaged under sink

Female Bathroom

105 CMR 451.123	Maintenance: Floor damaged, paint peeling

Office

FC 4-903.11(A)(2)*		Protection of Clean Items, Storing: Single-service items uncovered and not protected 				from contamination, utensils left uncovered and not inverted

FC 4-602.12(B)*	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Bed Roll Room

105 CMR 451.350	Structural Maintenance: Floor damaged, paint peeling

Supply Closet

No Violations Noted

Property Storage

No Violations Noted

UNIT MANAGEMENT

Unit Team Offices

No Violations Noted

Supply Closet

No Violations Noted

Programs

Administrative Assistant Office

FC 4-602.12(B)*	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Break Room

No Violations Noted

Male Bathroom

105 CMR 451.123	Maintenance: Floor dirty, debris on floor

Female Bathroom

No Violations Noted

Operations Office

Break Room

FC 4-903.11(A)(2)*	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, utensils left uncovered

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Bathroom

No Violations Noted

DOS OFFICE

FC 4-102.11(B)(2)*	Materials for Construction and Repair; Multiuse: Unused single-service article not protected against contamination

Bathroom

No Violations Noted

AUDITORIUM

105 CMR 451.350*	Structural Maintenance: Damaged and missing ceiling tiles

105 CMR 451.350*	Structural Maintenance: Some ceiling tiles water stained

105 CMR 451.350*	Structural Maintenance: Ceiling damaged above stage

105 CMR 451.350*	Structural Maintenance: Stage floor damaged

Backroom # 1

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.350*	Structural Maintenance: Floor damaged

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Backroom # 2

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.350*	Structural Maintenance: Floor damaged, floor paint peeling

105 CMR 451.350*	Structural Maintenance: Ceiling damaged, ceiling paint peeling

Bathroom

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.353*	Interior Maintenance: Uncovered junction box

105 CMR 451.344*	Illumination in Habitable Areas: Light not functioning properly

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

GYM

105 CMR 451.350*	Structural Maintenance: Wall paint peeling

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353*	Interior Maintenance: Padding on weight-lifting equipment damaged

105 CMR 451.350	Structural Maintenance: Window cracked

Bathroom

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.123*	Maintenance: Handwash sink dirty

Chemical Storage

No Violations Noted

Lower Gym

105 CMR 451.350*	Structural Maintenance: Wall paint peeling

105 CMR 451.350	Structural Maintenance: Floor damaged

BARBER SHOP

Handwash Sink

105 CMR 451.110(B)*	Hygiene Supplies at Toilet and Handwash Sink: No waste receptacle at handwash sink

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

CENTRAL CORRIDOR

Slop Sink Room

105 CMR 451.353*	Interior Maintenance: Wall vent dusty

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

Male Bathroom

105 CMR 451.353*	Interior Maintenance: Wall vent dusty

Female Bathroom

105 CMR 451.353*	Interior Maintenance: Wall vent dusty

EAST WING

Chemical Storage

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

Deboard

Break Room

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, utensils left uncovered

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, toaster oven dirty

EHSO Office

No Violations Noted

Grievance Office

No Violations Noted

Unit Team

No Violations Noted

CHAPEL

105 CMR 451.353*	Interior Maintenance: AC units not installed properly, fumes and heat not vented to outside

LIBRARY

Librarian’s Office

105 CMR 451.350	Structural Maintenance: Floor damaged, paint peeling

105 CMR 451.353	Interior Maintenance: Missing light shields

Office # 2

105 CMR 451.350	Structural Maintenance: Floor damaged, paint peeling

Bathroom

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, cold water doesn’t work

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.350*	Structural Maintenance: Wall paint peeling

Mop Closet

105 CMR 451.130	Plumbing: No backflow preventer on slop sink

MAINTENANCE

Male Bathroom

105 CMR 451.353	Interior Maintenance: Missing light shield

105 CMR 451.350	Structural Maintenance: Floor tiles damaged

Female Bathroom

No Violations Noted

Break Room

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, refrigerator handle damaged

105 CMR 451.350	Structural Maintenance: Floor tiles damaged

Office Break Room

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, refrigerator gaskets damaged

1 BLOCK

105 CMR 451.350*	Structural Maintenance: Ceiling missing interior glass sections

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

3rd Floor

Shower

Unable to Inspect – In Use

Slop Sink

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Cells

105 CMR 451.103*	Mattresses: Mattress damaged in cell # 43

105 CMR 451.103	Mattresses: Mattress damaged in cell # 36 and 42

105 CMR 451.350*	Structural Maintenance: Paint peeling in cell # 34

105 CMR 451.350	Structural Maintenance: Paint peeling in cell # 31 and 37

2nd Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Wall damaged

105 CMR 451.123	Maintenance: Shower curtain dirty

Slop Sink

No Violations Noted

Cells

105 CMR 451.350*	Structural Maintenance: Wall damaged, paint peeling in cell # 22

105 CMR 451.353	Interior Maintenance: Floor dirty in all cells

1st Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Floor damaged, paint peeling

105 CMR 451.123*	Maintenance: Floor damaged

Storage Area

No Violations Noted

Slop Sink

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Cells

No Violations Noted

2 BLOCK

105 CMR 451.350*	Structural Maintenance: Ceiling missing interior glass sections

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

3rd Floor

Shower

105 CMR 451.123*	Maintenance: Floor damaged, paint peeling

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Slop Sink

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Cells

105 CMR 451.350*	Structural Maintenance: Wall damaged by light in cell # 43

105 CMR 451.103	Mattresses: Mattress damaged in cell # 42

2nd Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Floor damaged, paint peeling

105 CMR 451.123	Maintenance: Shower curtain dirty

Slop Sink

No Violations Noted

Cells

No Violations Noted

1st Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Floor damaged, paint peeling

105 CMR 451.123*	Maintenance: Floor damaged

Storage Area

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

105 CMR 451.350*	Structural Maintenance: Ceiling paint peeling

Slop Sink

No Violations Noted

Cells

105 CMR 451.350	Structural Maintenance: Paint peeling in cell # 5-7 and 10

3 BLOCK

105 CMR 451.350*	Structural Maintenance: Ceiling missing interior glass sections

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

3rd Floor

Shower

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Walls dirty

105 CMR 451.123	Maintenance: Wall damaged

105 CMR 451.123	Maintenance: Shower faucet handle leaking

Slop Sink

No Violations Noted

Cells

105 CMR 451.350*	Structural Maintenance: Wall damaged in cell # 36

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 37

105 CMR 451.103	Mattresses: Mattress damaged in cell # 41 and 42

2nd Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Floor damaged, paint peeling

105 CMR 451.123	Maintenance: Shower curtain dirty

Slop Sink

105 CMR 451.350*	Structural Maintenance: Floor paint peeling

Cells

105 CMR 451.350*	Structural Maintenance: Wall damaged in cell # 21

105 CMR 451.350	Structural Maintenance: Wall damaged, paint peeling in cell # 16 and 29

Storage

105 CMR 451.350*	Structural Maintenance: Wall damaged

1st Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Floor damaged, paint peeling

105 CMR 451.123	Maintenance: Ceiling dirty

Storage Area

No Violations Noted

Slop Sink

105 CMR 451.350*	Structural Maintenance: Floor damaged, paint peeling

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Cells

105 CMR 451.350	Structural Maintenance: Wall damaged, paint peeling in cell # 10 and 15

105 CMR 451.350	Structural Maintenance: Ceiling damaged, paint peeling in cell # 15

4 BLOCK

105 CMR 451.350*	Structural Maintenance: Ceiling missing interior glass sections

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

3rd Floor

Shower

105 CMR 451.123*	Maintenance: Floor damaged, paint peeling

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower leaks

105 CMR 451.123*	Maintenance: Tile damaged

105 CMR 451.123	Maintenance: Floor dirty, mold-like substance

Slop Sink

105 CMR 451.350*	Structural Maintenance: Floor paint peeling

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking

Cells

105 CMR 451.350	Structural Maintenance: Wall damaged, paint peeling in cell # 32 and 34

2nd Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Floor damaged, paint peeling

105 CMR 451.123	Maintenance: Shower curtain dirty

Slop Sink

105 CMR 451.350*	Structural Maintenance: Floor damaged, paint peeling

105 CMR 451.353	Interior Maintenance: Ceiling dirty, mold-like substance

Cells

105 CMR 451.350	Structural Maintenance: Wall damaged, paint peeling in cell # 18

Storage

No Violations Noted

1st Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Floor damaged, paint peeling

105 CMR 451.123	Maintenance: Shower curtain dirty

Storage Area

105 CMR 451.350*	Structural Maintenance: Ceiling paint peeling

Slop Sink

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, sink leaking

105 CMR 451.350*	Structural Maintenance: Floor paint peeling

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Cells

105 CMR 451.350	Structural Maintenance: Wall damaged, paint peeling in cell # 2, 4, and 7

105 CMR 451.350*	Structural Maintenance: Ceiling damaged, paint peeling in cell # 1

5 BLOCK

105 CMR 451.350*	Structural Maintenance: Ceiling missing interior glass sections

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

3rd Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Floor damaged, paint peeling

105 CMR 451.123*	Maintenance: Vent dusty

105 CMR 451.123*	Maintenance: Floor paint peeling

Slop Sink

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Cells

105 CMR 451.350	Structural Maintenance: Wall paint peeling in cell # 38

2nd Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Floor damaged, paint peeling

105 CMR 451.123*	Maintenance: Walls dirty

105 CMR 451.353*	Interior Maintenance: Ceiling dirty

105 CMR 451.123	Maintenance: Shower curtain dirty

Slop Sink

105 CMR 451.350*	Structural Maintenance: Floor damaged, paint peeling

Cells

105 CMR 451.350*	Structural Maintenance: Wall paint peeling in cell # 18

Storage

No Violations Noted

1st Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Floor damaged, paint peeling

105 CMR 451.123*	Maintenance: Walls dirty

105 CMR 451.123	Maintenance: Shower curtain dirty

Storage Area

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

105 CMR 451.350	Structural Maintenance: Ceiling damaged, paint peeling

Slop Sink

No Violations Noted

Cells

No Violations Noted

6 BLOCK

105 CMR 451.350*	Structural Maintenance: Ceiling missing interior glass sections

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

3rd Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Floor damaged, paint peeling

105 CMR 451.123*	Maintenance: Vent dusty

105 CMR 451.123	Maintenance: Shower curtain dirty

Slop Sink

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Cells

105 CMR 451.350	Structural Maintenance: Wall damaged, paint peeling in cell # 40

2nd Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Floor damaged, paint peeling

105 CMR 451.123*	Maintenance: Floor damaged

Slop Sink

105 CMR 451.350	Structural Maintenance: Ceiling damaged, paint peeling

Storage

No Violations Noted

Cells

105 CMR 451.350*	Structural Maintenance: Wall damaged in cell # 22

1st Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Floor damaged, paint peeling

105 CMR 451.123*	Maintenance: Vent dusty

105 CMR 451.123	Maintenance: Shower curtain dirty

Storage Area

No Violations Noted

Slop Sink

105 CMR 451.350*	Structural Maintenance: Floor paint peeling

105 CMR 451.353	Interior Maintenance: Air vent dusty

Cells

105 CMR 451.350	Structural Maintenance: Wall paint peeling in cell # 3

7 BLOCK

105 CMR 451.350*	Structural Maintenance: Ceiling missing interior glass sections

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

3rd Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Floor damaged, paint peeling

105 CMR 451.123*	Maintenance: Vent dusty

105 CMR 451.123*	Maintenance: Walls dirty

105 CMR 451.123	Maintenance: Shower curtain dirty

Slop Sink

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Cells

105 CMR 451.103*	Mattresses: Mattress damaged in cell # 36

105 CMR 451.103	Mattresses: Mattress damaged in cell # 33, 34, 37, 38, and 44

2nd Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Floor damaged, paint peeling

105 CMR 451.123	Maintenance: Shower curtain dirty

105 CMR 451.123	Maintenance: Ceiling dirty

Slop Sink

105 CMR 451.353	Interior Maintenance: Ceiling dirty

Cells

105 CMR 451.353*	Interior Maintenance: Electrical outlet not secured to the wall in cell # 24 and 30

105 CMR 451.353	Interior Maintenance: Electrical outlet not secured to the wall in cell # 30

Storage

No Violations Noted

1st Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.123*	Maintenance: Mold on walls

105 CMR 451.123	Maintenance: Shower curtain dirty

Storage Area

No Violations Noted

Slop Sink

105 CMR 451.350	Structural Maintenance: Wall damaged, paint peeling

Cells

105 CMR 451.350*	Structural Maintenance: Wall paint peeling in cell # 2

105 CMR 451.103	Mattresses: Mattress damaged in cell # 1

BLOCK 8

105 CMR 451.350*	Structural Maintenance: Ceiling missing interior glass sections

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

3rd Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Floor damaged, paint peeling

105 CMR 451.123*	Maintenance: Walls dirty

Slop Sink

105 CMR 451.350*	Structural Maintenance: Ceiling paint peeling

Cells

No Violations Noted

2nd Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Floor damaged, paint peeling

105 CMR 451.123*	Maintenance: Floor damaged

Slop Sink

105 CMR 451.350*	Structural Maintenance: Floor paint peeling

Cells

No Violations Noted

1st Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Floor damaged, paint peeling

105 CMR 451.123*	Maintenance: Floor damaged

105 CMR 451.123	Maintenance: Shower head leaking

105 CMR 451.123	Maintenance: Shower curtain dirty

Storage Area

105 CMR 451.350*	Structural Maintenance: Ceiling paint peeling

Slop Sink

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaks

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

Cells

105 CMR 451.350	Structural Maintenance: Wall paint peeling in cell # 8 and 11

105 CMR 451.350	Structural Maintenance: Ceiling damaged, paint peeling in cell # 1

9 BLOCK – BMU

Staff Area

FC 4-602.12(B)*	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-601.11(A)*	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, toaster oven dirty

FC 4-903.11(A)(2)*	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, utensils left uncovered

Bathroom

No Violations Noted

Office Area

No Violations Noted

Right Side

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Floor damaged

105 CMR 451.123	Maintenance: Ceiling dirty

Slop Sink Room

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Storage

105 CMR 451.350*	Structural Maintenance: Ceiling damaged, paint peeling

Cells

No Violations Noted

Group Room

No Violations Noted

Game Room

No Violations Noted

Modular Room

105 CMR 451.350	Structural Maintenance: Floor damaged, paint peeling

Library Room

105 CMR 451.350*	Structural Maintenance: Ceiling damaged, paint peeling

105 CMR 451.350*	Structural Maintenance: Floor damaged, paint peeling

Bathroom (back)

105 CMR 451.126	Hot Water: Hot water temperature recorded at 700F

Exit Door

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

Office

No Violations Noted

Bathroom (in office)

No Violations Noted

One on One Room

No Violations Noted

Left Side

Cells

105 CMR 451.350	Structural Maintenance: Floor damaged in cell # 107

Storage

105 CMR 451.353*	Interior Maintenance: Uncovered junction box

Mop Closet

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Floor damaged

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Shower head leaking

105 CMR 451.123	Maintenance: Shower curtain dirty

2nd Floor

Right Side – Not in Use

Left Side

Shower

No Violations Noted

Storage

105 CMR 451.344	Illumination in Habitable Areas: Light fixture not functioning properly, light bulb out

Slop Sink

No Violations Noted

Cells

105 CMR 451.350	Structural Maintenance: Wall damaged, paint peeling in cell # 201

105 CMR 451.350	Structural Maintenance: Floor damaged in cell # 201-204

Visits

No Violations Noted

10 BLOCK

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

Hallway

No Violations Noted

2nd Floor

Bathroom

No Violations Noted

Left Side

Hallway

105 CMR 451.350	Structural Maintenance: Window broken

Shower

Unable to Inspect – In Use

Slop Sink

105 CMR 451.353*	Interior Maintenance: Wet mop stored on the floor

Cells

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, air vent blocked in cell # 39, 41, and 43

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet leaking in cell # 44

Medical Room

105 CMR 451.350*	Structural Maintenance: Ceiling tile damaged near window

Visiting Area - Visitors

No Violations Noted

Visiting Area – Inmates

105 CMR 451.350*	Structural Maintenance: Tile damaged

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Law Library

No Violations Noted

Storage

No Violations Noted

Mop Room

105 CMR 451.353*	Interior Maintenance: Mop stored on floor

105 CMR 451.344	Illumination in Habitable Areas: Light fixture not functioning properly, light bulb out

Right Side

105 CMR 451.350*	Structural Maintenance: Windows broken in middle of hallway

Shower

Unable to Inspect – In Use

Mop Closet

105 CMR 451.353	Interior Maintenance: Light shield missing

Storage

105 CMR 451.350*	Structural Maintenance: Ceiling damaged, paint peeling

Cells

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, air vent covered in cell # 51

1st Floor

Bathroom

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaks

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

Break Room

FC 4-602.12(B)*	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Office

No Violations Noted

Visitor’s Room

No Violations Noted

Left Side

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Peeling paint

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.123	Maintenance: Shower head leaking

105 CMR 451.123	Maintenance: Shower curtain dirty

Officers Office

No Violations Noted

Storage

No Violations Noted

Mop Sink

105 CMR 451.353	Interior Maintenance: Mop stored in sink

Cells

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 14

105 CMR 451.350	Structural Maintenance: Floor tiles missing in cell # 14

105 CMR 451.344	Illumination in Habitable Areas: Inadequate lighting, light fixture blocked in cell # 6, 7, and 10

Right Side

Shower

105 CMR 451.123	Maintenance: Shower head leaking

105 CMR 451.123	Maintenance: Wall dirty

105 CMR 451.123	Maintenance: Soap scum on walls in shower

Mop Sink

No Violations Noted

Storage

No Violations Noted

Cells

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, air vent blocked in cell # 18, 22, 25, and 29

105 CMR 451.344	Illumination in Habitable Areas: Inadequate lighting, light fixture blocked in cell # 18

105 CMR 451.350	Structural Maintenance: Wall damaged, paint peeling in cell # 27

A1 BLOCK

3rd Floor

Slop Sink

105 CMR 451.350*	Structural Maintenance: Floor damaged

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Cells

105 CMR 451.350*	Structural Maintenance: Wall damaged, paint peeling in cell # 56, 62, 65, 66, and 67

105 CMR 451.350*	Structural Maintenance: Ceiling damaged, paint peeling in cell # 54

105 CMR 451.350	Structural Maintenance: Ceiling damaged, paint peeling in cell # 61

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, air vent blocked in cell # 61

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Floor damaged, paint peeling

105 CMR 451.123*	Maintenance: Wall damaged

105 CMR 451.123	Maintenance: Wall dirty

105 CMR 451.123	Maintenance: Shower curtain missing

2nd Floor

Slop Sink

No Violations Noted

Cells

No Violations Noted

Showers

Unable to Inspect – In Use

1st Floor

Day Room

105 CMR 451.353*	Interior Maintenance: Wall outlets missing

Cells

105 CMR 451.350*	Structural Maintenance: Wall damaged in cell # 18

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 19

105 CMR 451.350*	Structural Maintenance: Wall damaged, paint peeling in cell # 6

105 CMR 451.350	Structural Maintenance: Ceiling damaged, paint peeling in cell # 21

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Floor damaged, paint peeling

105 CMR 451.123*	Maintenance: Floor damaged

Mop Closet

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

105 CMR 451.350	Structural Maintenance: Ceiling damaged, paint peeling

A2 BLOCK

3rd Floor

Cells

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, air vent blocked in cell # 65

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, air vent blocked in cell # 67-69 and 71

105 CMR 451.350*	Structural Maintenance: Wall damaged, paint peeling in cell # 54

105 CMR 451.350	Structural Maintenance: Wall damaged, paint peeling in cell # 52, 58, and 59

105 CMR 451.350*	Structural Maintenance: Wall damaged in cell # 72

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 67

105 CMR 451.350*	Structural Maintenance: Ceiling damaged in cell # 70

105 CMR 451.350	Structural Maintenance: Ceiling damaged in cell # 61 and 62

Showers

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.123*	Maintenance: Floor damaged

105 CMR 451.123*	Maintenance: Unfinished wall

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123	Maintenance: Floor dirty

105 CMR 451.123	Maintenance: Shower curtain dirty

Slop Sink

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

2nd Floor

Cells

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, air vent blocked in cell # 38, 39, and 43

105 CMR 451.350*	Structural Maintenance: Wall damaged, paint peeling in cell # 38

105 CMR 451.350	Structural Maintenance: Wall damaged, paint peeling in cell # 48

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Floor damaged, paint peeling

105 CMR 451.123*	Maintenance: Unfinished wall

105 CMR 451.123	Maintenance: Air vent dusty

Slop Sink

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

1st Floor

Day Room

No Violations Noted

Cells

105 CMR 451.350*	Structural Maintenance: Wall damaged, paint peeling in cell # 2, 3, 6, and 16

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, air vent blocked in cell # 6

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Floor damaged, paint peeling

105 CMR 451.123	Maintenance: Air vent dusty

105 CMR 451.126	Hot Water: Hot water temperature recorded at 900F

Mop Closet

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Slop Sink

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.350	Structural Maintenance: Wall damaged, paint peeling

A3 BLOCK

3rd Floor

Cells

105 CMR 451.350*	Structural Maintenance: Ceiling paint peeling in cell # 62

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, air vent blocked in cell # 49, 51, 56, 62, 64, 65, 68, 69, and 71

105 CMR 451.350	Structural Maintenance: Wall damaged, paint peeling in cell # 52

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in all showers

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123*	Maintenance: Unfinished wall

105 CMR 451.123	Maintenance: Floor dirty

105 CMR 451.123	Maintenance: Shower curtain dirty

Slop Sink

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

2nd Floor

Cells

105 CMR 451.350*	Structural Maintenance: Wall damaged, paint peeling in cell # 25, 28, and 37

105 CMR 451.350	Structural Maintenance: Wall damaged, paint peeling in cell # 35, 39, 42, and 46

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, air vent blocked in cell # 35, 38, 39, 46, and 47

105 CMR 451.353	Interior Maintenance: Wall dirty in cell # 48

Showers

105 CMR 451.123	Maintenance: Soap scum on walls in shower

105 CMR 451.123	Maintenance: Floor dirty

105 CMR 451.123	Maintenance: Wall dirty

105 CMR 451.123	Maintenance: Air vent dusty

105 CMR 451.123	Maintenance: Shower curtain dirty

105 CMR 451.123	Maintenance: Floor damaged, paint peeling

Slop Sink

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

1st Floor

Day Room

No Violations Noted

Cells

105 CMR 451.350*	Structural Maintenance: Wall damaged, paint peeling in cell # 2 and 24

105 CMR 451.350	Structural Maintenance: Wall damaged, paint peeling in cell # 6 and 12

105 CMR 451.103	Mattresses: Mattress damaged in cell # 4

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, air vent blocked in cell # 14-16

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Floor damaged, paint peeling

105 CMR 451.123*	Maintenance: Vent dusty

Mop Closet

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

105 CMR 451.350	Structural Maintenance: Ceiling paint peeling

Slop Sink

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

105 CMR 451.350	Structural Maintenance: Wall damaged, paint peeling

ORIENTATION

Control

FC 4-903.11(A)(2)* 	Protection of Clean Items, Storing: Single-service items not protected from contamination, utensils left uncovered

Bathroom

105 CMR 451.123	Maintenance: Floor molding damaged

1st Floor

Mop Room

105 CMR 451.350*	Structural Maintenance: Window damaged

105 CMR 451.350*	Structural Maintenance: Floor damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at slop sink

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in all showers

105 CMR 451.123	Maintenance: Shower # 2 out-of-order

Cells

105 CMR 451.350*	Structural Maintenance: Wall damaged, paint peeling in cell # 128

105 CMR 451.350	Structural Maintenance: Wall damaged, paint peeling in cell # 109

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # 111, 113, 117, and 126

105 CMR 451.350	Structural Maintenance: Window cracked in cell # 103, 120, and 121

105 CMR 451.350*	Structural Maintenance: Ceiling damaged in cell # 109

2nd Floor

Mop Room

No Violations Noted

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123	Maintenance: Ceiling damaged, paint peeling

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, water build-up on ceiling causing leaks and ceiling damage

Cells

105 CMR 451.350*	Structural Maintenance: Wall damaged, paint peeling in cell # 230

105 CMR 451.350	Structural Maintenance: Wall damaged, paint peeling in cell # 209

105 CMR 451.353	Interior Maintenance: Wall dirty in cell # 230

105 CMR 451.350*	Structural Maintenance: Ceiling damaged, paint peeling in cell # 209 and 221

105 CMR 451.350	Structural Maintenance: Ceiling damaged, paint peeling in cell # 202, 203, 208, and 214

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # 203, 204, 212, 218, 219, and 223

105 CMR 451.350	Structural Maintenance: Window cracked in cell # 210 and 230

105 CMR 451.350*	Structural Maintenance: Ceiling damaged, paint peeling in cell # 202

105 CMR 451.350	Structural Maintenance: Ceiling damaged, paint peeling in cell # 203, 208, 209, 214, and 221

105 CMR 451.350	Structural Maintenance: Ceiling leaking in cell # 202 and 203

105 CMR 451.103	Mattresses: Mattress damaged in cell # 219

INDUSTRIES

Office

No Violations Noted

Laundry

No Violations Noted

Staff Bathroom

No Violations Noted

Inmate Bathroom

No Violations Noted

Sewing Shop

No Violations Noted

Store House

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

105 CMR 451.353	Interior Maintenance: Mop stored on floor

Bathroom

No Violations Noted

Office

FC 4-903.11(A)(2)*	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, utensils left uncovered

Plate Shop

Break Room

FC 4-602.12(B)*		Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-102.11(B)(2)*		Materials for Construction and Repair; Multiuse: Unused single-service article not 				protected against contamination, uncovered plastic utensils

FC 3-305.11(A)(3)*		Preventing Contamination from Premises: Food stored in an inappropriate location, 				food product stored less than 6 inches from the floor, cups stored on the floor

Inmate Bathroom

No Violations Noted

Staff Bathroom

No Violations Noted

School

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

105 CMR 451.350*	Structural Maintenance: Baseboard damaged

105 CMR 451.350	Structural Maintenance: Wall damaged at entrance

Inmate Bathroom

No Violations Noted

Staff Bathroom

No Violations Noted

Hallway

105 CMR 451.350*	Structural Maintenance: Window leaks

105 CMR 451.353	Interior Maintenance: Ceiling tiles damaged

Office

No Violations Noted

Copy Room

105 CMR 451.350*	Structural Maintenance: Window leaks

DDU

Outer Control

105 CMR 451.350	Structural Maintenance: Floor damaged under desk

Bathroom (inside control room)

105 CMR 451.353*	Interior Maintenance: Vent dusty

Tool Closet (inside control room)

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Loading Dock Area

FC 5-501.110*	Refuse, Recyclables, and Returnables; Operations and Maintenance: Refuse storage not inaccessible to insects and rodents, litter and debris scattered around dumpster area

Laundry Room

No Violations Noted

Chemical Closet

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Storage Closet

No Violations Noted

Tool Closet

No Violations Noted

Visits

Female Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Male Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Staff Corridor

Male Staff Bathroom

No Violations Noted

Female Staff Bathroom

No Violations Noted

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Emergency Response Room

No Violations Noted

Inmate Hallway

Strip Cell

105 CMR 451.350*	Structural Maintenance: Missing floor tiles

Barbershop

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.350*	Structural Maintenance: Missing floor tiles

Break Room

FC 4-903.11(A)(2)* 		Protection of Clean Items, Storing: Single-service items not protected 						from contamination, utensils left uncovered

FC 6-201.11*			Floors, Walls and Ceilings: Floor not easily cleanable, floor damaged by sink

FC 6-501.11*	Maintenance and Operation; Repairing: Equipment not in good repair, lights not working properly

Administration Area

Female Bathroom

No Violations Noted

Male Bathroom

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Conference Room

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, refrigerator dirty

Operations Office

FC 4-903.11(A)(2)		Protection of Clean Items, Storing: Single-service items not protected from 					contamination, utensils not stored with handles up

Medical Storage Room (1st Floor)

No Violations Noted

Mattress Storage

No Violations Noted

Property Storage

105 CMR 451.353	Interior Maintenance: Ceiling tiles missing

Male Locker Room

No Violations Noted

Female Locker Room

No Violations Noted

Inner Control

Bathroom

105 CMR 451.123*	Maintenance: Wall tiles missing

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Faucet leaking

C2

Cells

No Violations Noted

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Showers

105 CMR 451.123*	Maintenance: Vents dusty

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Wall damaged

C1

Cells

No Violations Noted

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Showers

105 CMR 451.123	Maintenance: Soap scum on floors in shower

B2

Cells

No Violations Noted

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Showers

105 CMR 451.123	Maintenance: Soap scum on floors in shower

105 CMR 451.123*	Maintenance: Wall damaged

B1

Cells

No Violations Noted

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Showers

105 CMR 451.123	Maintenance: Soap scum on floor in shower

105 CMR 451.123*	Maintenance: Vent dusty

105 CMR 451.123	Maintenance: Floor damaged

105 CMR 451.360	Protective Measures: Insects observed

A2

Cells

No Violations Noted

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Showers

105 CMR 451.123*	Maintenance: Floor damaged, paint peeling

105 CMR 451.123*	Maintenance: Vents dusty

105 CMR 451.123*	Maintenance: Wall damaged

A1

Cells

No Violations Noted

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Showers

105 CMR 451.123	Maintenance: Soap scum on floor in shower

105 CMR 451.123*	Maintenance: Ceiling damaged

C4

Cells

No Violations Noted

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353*	Interior Maintenance: Rusty door

Showers

105 CMR 451.123	Maintenance: Soap scum on floor in shower

C3

Cells

No Violations Noted

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Showers

105 CMR 451.123	Maintenance: Soap scum on floor in shower

105 CMR 451.123*	Maintenance: Vents dusty

B4

Cells

No Violations Noted

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Showers

105 CMR 451.123*	Maintenance: Soap scum on floor in shower

105 CMR 451.123*	Maintenance: Vents dusty

B3

Cells

No Violations Noted

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Showers

105 CMR 451.123*	Maintenance: Soap scum on floor in shower

105 CMR 451.123*	Maintenance: Wall damaged

105 CMR 451.123*	Maintenance: Vents dusty

105 CMR 451.123*	Maintenance: Floor damaged, paint peeling

A4

Cells

No Violations Noted

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Showers

105 CMR 451.123*	Maintenance: Soap scum on floor in shower

105 CMR 451.123*	Maintenance: Vents dusty

105 CMR 451.123	Maintenance: Wall dirty

105 CMR 451.123	Maintenance: Inadequate drainage, standing water outside of showers

A3

Cells

No Violations Noted

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Rusty door

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Showers

105 CMR 451.123	Maintenance: Soap scum on floor in shower

105 CMR 451.360	Protective Measures: Insects observed

105 CMR 451.123	Maintenance: Ceiling dirty

Triage

No Violations Noted

Nurses Station

No Violations Noted

Dentist

105 CMR 451.350*	Structural Maintenance: Wall damaged above compressor switch

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, hands-free sink out-of-order

Library

No Violations Noted

D-Wing

Cells

105 CMR 451.341	Natural Light in Cell: No natural light source in cells

Showers

105 CMR 451.123*	Maintenance: Vents blocked

105 CMR 451.123	Maintenance: Soap scum on floor in showers

Observations and Recommendations

- The inmate population was 792 at the time of inspection

- Parking lot is badly damaged, the Department recommends this be repaved

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within ten working days of receiving this report and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Community Sanitation Regulations" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Nicholas Gale

Environmental Health Inspector, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

John W. Polanowicz, Secretary, Executive Office of Health and Human Services

Luis S. Spencer, Commissioner, DOC

Richard Souther, EHSO

Walpole Board of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Andrea J. Cabral, Secretary, EOPS