The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

23 Service Center

Northampton, MA 01060

Telephone 413 586-7525, ext. 3167

Facsimile 413 784-1037

TTY 800 769-9991

charlie.kaniecki@state.ma.us

DEVAL L. PATRICK GOVERNOR JOHN W. POLANOWICZ SECRETARY CHERYL BARTLETT, RN COMMISSIONER

May 27, 2014

Kelly Ryan, Superintendent

MCI Shirley

P.O. Box 1218                                                                                                                                                               Shirley, MA 01464

Re: Facility Inspection – MCI Shirley

Dear Superintendent Ryan:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities. I conducted an inspection of MCI Shirley on May 12, 13 & 14, 2014 accompanied by Corey Hopkins, Environmental Health and Safety Officer. Violations noted during the inspection are listed below including 278 repeat violations:

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

ADMINISTRATION BUILDING

(* indicates conditions documented on previous inspection reports)

Main Entry

105 CMR 451.350	Structural Maintenance: Main door not rodent and weathertight

105 CMR 451.350	Structural Maintenance: Floor tiles damaged

Hallway

No Violations Noted

Male Bathroom

105 CMR 451.123	Maintenance: Privacy barriers rusted

Female Bathroom

105 CMR 451.110(A)*		Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.123	Maintenance: Wall heater damaged

Female Staff Locker Room

No Violations Noted

Male Staff Bathroom

105 CMR 451.123*	Maintenance: Lockers support rusted at floor

Female Staff Bathroom

No Violations Noted

Male Staff Bathroom

No Violations Noted

Mail Room

105 CMR 451.350	Structural Maintenance: Floor missing 25 tiles

Male Bathroom 31

105 CMR 451.123	Maintenance: Privacy barrier door removed

Shift Commander

FC 4-204.112(A)		Design and Construction, Functionality: No functioning thermometer in refrigerator

Role Call Room

No Violations Noted

Female Bathroom 48

No Violations Noted

Male Bathroom 47

No Violations Noted

Break Room 38

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

105 CMR 451.350		Structural Maintenance: Floor damaged

Janitor’s Closet 46

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Vending Area 3

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water damaged

PROGRAMS BUILDING

Female Bathroom

No Violations Noted

Male Bathroom

No Violations Noted

Archive File Room

No Violations Noted

Break Room

No Violations Noted

Room 106

Unable to Inspect – Locked

Mental Health Conference Room

No Violations Noted

Inmate Bathroom

Unable to Inspect – In Use

Utility Room (C126)

No Violations Noted

Utility Closet

No Violations Noted

EDUCATION BUILDING

Supply Room

105 CMR 451.383(B)	Fire Safety System: Facility not in compliance with State Building Code provisions on, boxes stored within 18 inches of ceiling

Staff Break Room

No Violations Noted

Inmate Bathroom

No Violations Noted

Mop Closet

No Violations Noted

Side Exit

No Violations Noted

Library

No Violations Noted

Staff Bathroom

Unable to Inspect – In Use

Classroom 104

105 CMR 451.350	Structural Maintenance: Floor tiles damaged

VOCATIONAL EDUCATION

Main Door

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

Canteen Storage

105 CMR 451.350*	Structural Maintenance: Ceiling tiles water stained

105 CMR 451.350*	Structural Maintenance: Ceiling leaking

FC 6-201.11*	Design, Construction and Installation: Floor not easily cleanable, joints needed to be

sealed

Classroom

No Violations Noted

Barber Shop

No Violations Noted

CRA Room

No Violations Noted

Chapel

105 CMR 451.350*	Structural Maintenance: Double doors, not rodent and weathertight

105 CMR 451.350	Structural Maintenance: Ceiling water stained

Classrooms

No Violations Noted

Inmate Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Sewing Shop

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.350	Structural Maintenance: Not rodent and weathertight, double doors

105 CMR 451.383(B)	Fire Safety System: Facility not in compliance with State Building Code provisions on, boxes stored within 18 inches of ceiling

Bathroom (sewing shop)

No Violations Noted

Canteen Processing Room

Unable to Inspect – Locked

Exterior Door

105 CMR 451.350*	Structural Maintenance: Double doors, not rodent and weathertight

105 CMR 451.350	Structural Maintenance: Floor tiles damaged, some missing

Sewing Shop Storage Door

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.383(B)*	Fire Safety System: Facility not in compliance with State Building Code provisions on, boxes stored within 18 inches of ceiling

Classroom 2

No Violations Noted

Staff Bathroom

No Violations Noted

OPERATIONS/VISITING ROOM

Visiting Area

No Violations Noted

Inmate Bathroom

No Violations Noted

Male Bathroom

105 CMR 451.110(A)		Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

Female Bathroom

No Violations Noted

Janitor’s Closet

No Violations Noted

Operations

Female Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1000F

Male Bathroom

No Violations Noted

Janitor’s Closet

105 CMR 451.383(B)	Fire Safety System: Facility not in compliance with State Building Code provisions on, boxes stored within 18 inches of ceiling

GYM

105 CMR 451.350*	Structural Maintenance: Insulation falling from ceiling

105 CMR 451.350*	Structural Maintenance: All doors, not rodent and weathertight

Weight Room

105 CMR 451.353	Interior Maintenance: Back floor pad ripped

105 CMR 451.353	Interior Maintenance: Padding on lift-incline ripped

Office

No Violations Noted

Utility Room

No Violations Noted

Janitor’s Closet

No Violations Noted

Staff Bathroom

105 CMR 451.123	Maintenance: Wall damaged behind door

Inmate Bathroom

105 CMR 451.123*	Maintenance: Wall damaged

Storage Room

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.383(B)*	Fire Safety System: Facility not in compliance with State Building Code provisions on, boxes stored within 18 inches of ceiling

OUTSIDE RECREATIONAL AREA

No Violations Noted

FOOD SERVICE

FC 6-201.11*	Design, Construction and Installation: Floor not easily cleanable, floor has pulled away from the walls throughout the building

105 CMR 451.350*	Structural Maintenance: Floor not secured to the walls

105 CMR 451.350	Structural Maintenance: The outside wall near the inmate entrance ramp is protruding out away from the building

105 CMR 451.350	Structural Maintenance: The concrete inmate entrance ramp is damaged

Inmate Dining Area

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

105 CMR 451.350*	Structural Maintenance: Floor damaged

Serving Area

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, gasket damaged in warmer # 890 & 891

Dish Room

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, dish washer was tested and could not bring temperature to sanitize

Grill Area

No Violations Noted

Mop Sink Area

No Violations Noted

Inmate Bathroom

No Violations Noted

FSDS Storage

No Violations Noted

Mop/Barrel Room

No Violations Noted

Pig Cooler

No Violations Noted

Tool Crib

105 CMR 451.123	Maintenance: Floor buffer missing ground wire connection

Diet Area

No Violations Noted

Walk In Freezer 2

No Violations Noted

Cooler

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, damaged door gasket

Kettle Area

FC 6-201.11*	Design, Construction and Installation: Floor not easily cleanable, floor damaged

Dry Storage

No Violations Noted

Rear Loading Dock

105 CMR 451.350*	Structural Maintenance: Floor damaged

Staff Bathroom – Left

105 CMR 451.123	Maintenance: Cracked sink

Staff Bathroom – Right

No Violations Noted

Janitor’s Closet

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaks

Dumpster

No Violations Noted

CULINARY ARTS

Kitchen

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, 1 light not working in range hood

Dry Storage

Unable to Inspect – Locked

Dining Area

No Violations Noted

PROPERTY

No Violations Noted

Bathroom

No Violations Noted

Laundry Area

No Violations Noted

SMU BUILDING

Visiting Room

No Violations Noted

Triage Room

105 CMR 480.400(D)               Packaging, Labeling, and Shipping: Missing log book for biohazard waste

Captain’s Office

Unable to Inspect – Locked

Office

No Violations Noted

Staff Bathroom

No Violations Noted

Kitchen Area

No Violations Noted

Sergeant’s Office

No Violations Noted

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Control

105 CMR 451.350*	Structural Maintenance: Ceiling tiles water stained

105 CMR 451.353*	Interior Maintenance: Missing light covers

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, refrigerator damaged

105 CMR 451.350	Structural Maintenance: Window in area # 2 cracked

Bathroom

105 CMR 451.123*	Maintenance: Ceiling tiles water stained

105 CMR 451.123*	Maintenance: Wall paint damaged

SMU 1

105 CMR 451.353	Interior Maintenance: Ceiling tiles water stained in block

Cells

105 CMR 451.350	Structural Maintenance: Window damaged in cell # 28

Showers Lower Level

105 CMR 451.123*	Maintenance: Paint peeling in shower A, B, & C

105 CMR 451.123*	Maintenance: Floor paint peeling in shower A, B, & C

Showers Upper Level

105 CMR 451.123*	Maintenance: Shower dirty in shower D & E

105 CMR 451.123*	Maintenance: Floor paint peeling shower D & E

SMU 2

Law Library

No Violations Noted

Cells

105 CMR 451.123	Maintenance: Walls paint peeling in cell # 7, 16, 23, 24, 27, & 30

Showers

105 CMR 451.353*	Interior Maintenance: Ceilings dirty in shower A, B, & C

105 CMR 451.353*	Interior Maintenance: Walls dirty in shower A, B, & C

105 CMR 451.123*	Maintenance: Soap scum on walls in shower A, B, & C

105 CMR 451.123*	Maintenance: Paint peeling in shower A, C, D, & E

105 CMR 451.350	Structural Maintenance: Window damaged in shower B

HSU BUILDING

Booking

Cell 2

105 CMR 451.350*	Structural Maintenance: Baseboard damaged

Cell 3

No Violations Noted

Holding Cell

No Violations Noted

Strip Room

No Violations Noted

Assisted Daily Living (ADL)

Trauma Room

No Violations Noted

Medical Room

105 CMR 451.353	Interior Maintenance: Damaged chair, ripped

Main Ward

105 CMR 451.101	Blankets: Blanket damaged in bed # 11

Day Room

105 CMR 451.353*	Interior Maintenance: Damaged chair

105 CMR 451.350	Structural Maintenance: Baseboard damaged

Room 1

No Violations Noted

Room 2

No Violations Noted

Hallway

105 CMR 451.350	Structural Maintenance: Floor damaged

Staff Bathroom

No Violations Noted

Janitor’s Closet

No Violations Noted

Cell 7

No Violations Noted

Med Line

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

105 CMR 451.353	Interior Maintenance: Wall by AC unit needs painting

Male Staff Bathroom 124

No Violations Noted

Female Staff Bathroom

No Violations Noted

Office 136

No Violations Noted

Treatment 1

105 CMR 451.350*	Structural Maintenance: Wall damaged

Optical Room C 127

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No access to sink, blocked by

equipment

105 CMR 451.353	Interior Maintenance: Wall needs painting

Staff Break Room

No Violations Noted

Inmate Bathroom 123

No Violations Noted

Hallway

No Violations Noted

Medical Records - Front

No Violations Noted

Medical Records - Back

No Violations Noted

Staff Room 103

No Violations Noted

Janitor’s Closet C114

No Violations Noted

Dental Office

No Violations Noted

Medical Storage C118

No Violations Noted

Dorm 128

No Violations Noted

Dorm 127

105 CMR 451.123*	Maintenance: Shower, soap scum on walls

Janitor’s Closet C111

No Violations Noted

Dorm 129

No Violations Noted

Dorm 126

No Violations Noted

Dorm 125

No Violations Noted

Dialysis Unit (124)

No Violations Noted

PT Room

No Violations Noted

Staff Bathroom

No Violations Noted

Showers

105 CMR 451.123*	Maintenance: Holes in the wall in shower A

105 CMR 451.123*	Maintenance: Wall damaged in shower A

105 CMR 451.123*	Maintenance: Floor tile damaged in shower C

105 CMR 451.123*	Maintenance: Paint peeling in A, B, & C

Kitchen (113)

No Violations Noted

Biohazard Storage

105 CMR 480.400(D)               Packaging, Labeling, and Shipping: Missing log book for biohazard waste

MAINTENANCE/INDUSTRIES/LAUNDRY

Laundry

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight, exterior door damaged at

bottom

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.353	Interior Maintenance: Fan missing center shield

Toxic/Caustic Room 128

No Violations Noted

Office

No Violations Noted

Hazardous Storage

No Violations Noted

Hallway to Maintenance

105 CMR 451.353	Interior Maintenance: Floor peeling painting

Staff Bathroom

No Violations Noted

Inmate Bathroom

No Violations Noted

Utility Room

105 CMR 451.350	Structural Maintenance: Ceiling damaged

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, ceiling vent blocked

Loading Dock

No Violations Noted

Supply Crib (125)

105 CMR 451.350	Structural Maintenance: Ceiling damaged

105 CMR 451.353	Interior Maintenance: Light shield missing

Janitor’s Closet

No Violations Noted

Chemical Supply Crib

105 CMR 451.383(B)*	Fire Safety System: Facility not in compliance with State Building Code provisions on, boxes stored within 18 inches of ceiling

Office 132

No Violations Noted

Maintenance Shop

105 CMR 451.353*	Interior Maintenance: Ceiling, paint peeling

105 CMR 451.353*	Interior Maintenance: Wall paint peeling

HVAC Area

105 CMR 451.383(B)*	Fire Safety System: Facility not in compliance with State Building Code provisions on, boxes stored within 18 inches of ceiling

Tool Crib

105 CMR 451.353*	Interior Maintenance: Wall paint peeling

105 CMR 451.353*	Interior Maintenance: Ceiling damaged

105 CMR 451.353*	Interior Maintenance: Wall damaged

105 CMR 451.353*	Interior Maintenance: Appearance of a mold like substance

105 CMR 451.350	Structural Maintenance: Roof leaks

Industries (not in use)

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.353*	Interior Maintenance: Appearance of mold growth in the corners of the building

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink, sewer drain line open

Room 111

No Violations Noted

Storage Warehouse

No Violations Noted

Janitor’s Closet

No Violations Noted

Male Staff Bathroom

Unable to Inspect– Locked

Female Staff Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 80oF

Inmate Bathroom

No Violations Noted

TOWERS

Tower 1

Lower Level, Vehicle Trap

105 CMR 451.353	Interior Maintenance: Window damaged

105 CMR 451.353	Interior Maintenance: Light damaged in supply closet

Upper Area

105 CMR 451.141	Screens: Screen missing

FC 4-204.112(A)		Design and Construction, Functionality: No functioning thermometer in refrigerator

Tower 2

105 CMR 451.141*	Screens: Screen missing

105 CMR 451.350*	Structural Maintenance: Door frame damaged

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.353*	Interior Maintenance: Chair damaged, back support

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 100oF

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

105 CMR 451.350	Structural Maintenance: Wall supports cracked on all four support corners

Tower 3

105 CMR 451.141*	Screens: Screen missing

105 CMR 451.353	Interior Maintenance: Ceiling tile damaged

105 CMR 451.350*	Structural Maintenance: Wall damaged next to toilet

105 CMR 451.350*	Structural Maintenance: Baseboards damaged

105 CMR 451.350*	Structural Maintenance: Roof leaking

105 CMR 451.350	Structural Maintenance: Paint peeling, lower level

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaks

WAREHOUSE

105 CMR 451.344*                     Illumination in Habitable Areas: The side storage area lacks lighting

Medium Freezer

FC 6-501.11*	Maintenance and Operation; Repairing: Equipment not in good repair, ceiling damaged

105 CMR 451.353*	Interior Maintenance: Light shield missing

Medium Walk-In Cooler

No Violations Noted

Hot Water Heating Room

No Violations Noted

Medium Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 100oF

A-1 HOUSING

105 CMR 451.350*	Structural Maintenance: Exterior of building damaged, near cell # 37

105 CMR 451.350*	Structural Maintenance: Roof leaks

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Control Area

105 CMR 451.353	Interior Maintenance: Chair damaged

Cells

105 CMR 451.350*	Structural Maintenance: Wall damaged in cell # 33

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged in cell # 1 & 2

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 36

105 CMR 451.350	Structural Maintenance: Floor tiles damaged in cell # 25 & 41

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation ceiling vent blocked in cell # 6

Janitor’s Closet (up)

No Violations Noted

Showers Upper Level

105 CMR 451.123*	Maintenance: Paint peeling in shower A, B, & C

105 CMR 451.123*	Maintenance: Soap scum on walls in showers A, B, & C

105 CMR 451.123*	Maintenance: Wall damaged in shower A & B

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower A, B, & C

Showers Lower Level

105 CMR 451.123*	Maintenance: Paint peeling in shower D, E, & F

105 CMR 451.123*	Maintenance: Soap scum on walls in shower D, E, & F

105 CMR 451.123*	Maintenance: Door damaged in shower E

105 CMR 451.123*	Maintenance: Ceiling vent dusty in shower F, H, I, & J

Staff Bathroom

No Violations Noted

Staff Office

FC 4-204.112(A)		Design and Construction, Functionality: No functioning thermometer in refrigerator

Janitor’s Closet (down)

No Violations Noted

A-2 HOUSING

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

Control Area

105 CMR 451.353	Interior Maintenance: Chair damaged

Cells

105 CMR 451.350*	Structural Maintenance: Floor damaged in cell # 2, 23, & 58

105 CMR 451.350	Structural Maintenance: Ceiling damaged in cell # 42

105 CMR 451.353	Interior Maintenance: Walls paint peeling in cell # 3, 31, 38, 39, 41, 53, 54, 56, & 57

Janitor’s Closet (up)

105 CMR 451.353*	Interior Maintenance: Wall paint peeling

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Showers Lower Level

105 CMR 451.123*	Maintenance: Paint peeling in shower F & G

105 CMR 451.123*	Maintenance: Wall damaged in shower F & G

Showers Upper Level

105 CMR 451.123*	Maintenance: Paint peeling in shower H, I, & J

105 CMR 451.123*	Maintenance: Wall damaged in shower H

105 CMR 451.123*	Maintenance: Ceiling damaged in shower H

105 CMR 451.123*	Maintenance: Light shield damaged in shower H

Staff Bathroom

No Violations Noted

Staff Office

No Violations Noted

Bubbler

No Violations Noted

Janitor’s Closet (down)

No Violations Noted

B-1 HOUSING

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Exterior of building damaged

105 CMR 451.126	Hot Water: Hot water temperature recorded at 800F at hand sink

Control Area

105 CMR 451.353	Interior Maintenance: Chair damaged

Cells

105 CMR 451.350*	Structural Maintenance: Floor damaged in cell # 11

105 CMR 451.350	Structural Maintenance: Floor damaged in cell # 10, 16, & 30

Janitor’s Closet (up)

No Violations Noted

Showers Upper Level

105 CMR 451.123*	Maintenance: Paint peeling in A, B, & C

105 CMR 451.123*	Maintenance: Paint peeling in D & E

Showers Lower Level

105 CMR 451.123*	Maintenance: Paint peeling in F, G, & H

Staff Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 800F at hand sink

Staff Office

No Violations Noted

Janitor’s Closet (down)

105 CMR 451.353	Interior Maintenance: Floor buffer missing ground wire connection

B-2 HOUSING

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350	Structural Maintenance: Exterior of building damaged

105 CMR 451.353	Interior Maintenance: Ceiling tiles water stained in block

105 CMR 451.126	Hot Water: Hot water temperature recorded at 800F at hand sink

105 CMR 451.111	Inmate Toilet Supplies: Inmate not supplied with sufficient supply of soap

Control Area

105 CMR 451.353	Interior Maintenance: Chair damaged

105 CMR 451.350*	Structural Maintenance: Floor damaged

Common Area

105 CMR 451.350*	Structural Maintenance: Floor seams not sealed

Cells

105 CMR 451.350*	Structural Maintenance: Wall damaged in cell # 27

105 CMR 451.350*	Structural Maintenance: Emergency exit door in stairway area not rodent and

weathertight

105 CMR 451.350	Structural Maintenance: Floor damaged in cell # 4 & 33

Janitor’s Closet (up)

No Violations Noted

Showers Upper Level

105 CMR 451.123*	Maintenance: Paint peeling in shower A, B, C, & E

Showers Lower Level

105 CMR 451.123*	Maintenance: Paint peeling in shower F, G, H, I, & J

Staff Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 800F at hand sink

Staff Office

No Violations Noted

Janitor’s Closet (down)

No Violations Noted

C-1 HOUSING

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353	Interior Maintenance: Ceiling tiles water stained in block

105 CMR 451.350*	Structural Maintenance: Exterior of building damaged

Common Area

No Violations Noted

Control Area

105 CMR 451.350	Structural Maintenance: Floor damaged

105 CMR 451.353	Interior Maintenance: Damaged chair

Cells

105 CMR 451.350*	Structural Maintenance: Floor damaged in cell # 24

Janitor’s Closet (up)

No Violations Noted

Showers Upper Level

105 CMR 451.123*	Maintenance: Paint peeling in shower A, B, C, & D

105 CMR 451.123*	Maintenance: Soap scum on walls in shower A, B, C, & D

105 CMR 451.123*	Maintenance: Wall damaged in shower A, D, & E

Showers Lower Level

105 CMR 451.123*	Maintenance: Wall damaged in shower F, G, H, & I

105 CMR 451.123	Maintenance: Wall damaged in shower E

105 CMR 451.123	Maintenance: Paint peeling in shower E, F, G, H, & I

Staff Bathroom

105 CMR 451.123	Maintenance: Toilet seat damaged

Staff Office

No Violations Noted

Janitor’s Closet (down)

No Violations Noted

C-2 HOUSING

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water stained

105 CMR 451.350*	Structural Maintenance: Exterior of building damaged near cell # 36

105 CMR 451.350*	Structural Maintenance: Floor damaged in entry area

Control Area

No Violations Noted

Cells

105 CMR 451.350*	Structural Maintenance: Floor damaged in cell # 4 & 6

105 CMR 451.141*	Screens: Screen damaged in cell # 26

105 CMR 451.350	Structural Maintenance: Floor damaged in cell # 10 & 26

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 26

Janitor’s Closet (up)

No Violations Noted

Showers Upper Level

105 CMR 451.123	Maintenance: Paint peeling on walls and floors of shower A, B, C, & D

Showers Lower Level

105 CMR 451.123*	Maintenance: Paint peeling in shower H, I, & J

105 CMR 451.123*	Maintenance: Soap scum on walls in shower G

Staff Bathroom

No Violations Noted

Staff Office

No Violations Noted

Janitor’s Closet (down)

105 CMR 451.353*	Interior Maintenance: Ceiling paint peeling

D-1 HOUSING

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Rear side of D exterior wall peeling

105 CMR 451.350*	Structural Maintenance: Rear side of D exterior wall, not weathertight

Control Area

No Violations Noted

Cells

105 CMR 451.350*	Structural Maintenance: Floor damaged in cell # 20

Janitor’s Closet (up)

105 CMR 451.353	Interior Maintenance: Wall paint peeling

105 CMR 451.350*	Structural Maintenance: Ceiling concrete block loose

105 CMR 451.350*	Structural Maintenance: Floor holes open around electrical piping

Showers Lower Level

105 CMR 451.123*	Maintenance: Soap scum on walls in shower A, B, & C

105 CMR 451.123*	Maintenance: Paint peeling in shower D

105 CMR 451.123*	Maintenance: Paint peeling in shower A, B, & C

105 CMR 451.123*	Maintenance: Wall damaged in shower C

Showers Upper Level

105 CMR 451.123*	Maintenance: Wall damaged in shower F & H

105 CMR 451.123*	Maintenance: Paint peeling in shower F & H

Staff Bathroom

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Staff Office

FC 4-501.11(A)	 		Maintenance and Operation, Equipment: Equipment not maintained in a state

of good repair, refrigerator needs defrosting

Janitor’s Closet (down)

No Violations Noted

D-2 HOUSING

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Roof leaks

105 CMR 451.350*	Structural Maintenance: Floor damaged in entry area

Control Area

105 CMR 451.353	Interior Maintenance: Damaged chair

Cells

105 CMR 451.350*	Structural Maintenance: Floor damaged in cell # 4, 22, & 23

105 CMR 451.350	Structural Maintenance: Floor damaged in cell # 36

Janitor’s Closet (up)

105 CMR 451.353*	Interior Maintenance: Ceiling paint peeling

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

Showers Lower Level

105 CMR 451.123*	Maintenance: Floor not sealed in shower B

Showers Upper Level

105 CMR 451.123*	Maintenance: Floor not sealed in shower H, I, & J

105 CMR 451.123	Maintenance: Floor not sealed in shower F & G

Staff Bathroom

105 CMR 451.123		Maintenance: Baseboard by toilet damaged

Staff Office

No Violations Noted

Janitor’s Closet (down)

105 CMR 451.353	Interior Maintenance: Light damaged

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

E-1 HOUSING

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353*	Interior Maintenance: Window damaged in entry area

105 CMR 451.353	Interior Maintenance Paint peeling on exterior wall

Cells

105 CMR 451.350*	Structural Maintenance: Floor damaged in cell # 22 & 23

105 CMR 451.350	Structural Maintenance: Floor damaged in cell # 29

Janitor’s Closet (up)

No Violations Noted

Showers Upper Level

105 CMR 451.123*	Maintenance: Floor not sealed in shower A, B, C, & D

Showers Lower Level

105 CMR 451.123*	Maintenance: Wall damaged in J, G, & I

105 CMR 451.123*	Maintenance: Wall paint peeling in shower F, G, & H

Staff Bathroom

No Violations Noted

Staff Office

No Violations Noted

Janitor’s Closet (down)

No Violations Noted

E-2 HOUSING

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

Control Area

No Violations Noted

Cells

105 CMR 451.350*	Structural Maintenance: Floor damaged in cell # 9, 10, 14, & 15

105 CMR 451.350	Structural Maintenance: Floor damaged in cell # 1, 13, & 54

Janitor’s Closet (up)

105 CMR 451.353*	Interior Maintenance: Vent dusty

105 CMR 451.353*	Interior Maintenance: Ceiling paint peeling

Showers Upper Level

105 CMR 451.123*	Maintenance: Paint peeling in shower A

105 CMR 451.123	Maintenance: Paint peeling in showers B, C, & E

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handicap shower spray handle

damaged

Showers Lower Level

105 CMR 451.123*	Maintenance: Paint peeling in D, E, H, I, & J

105 CMR 451.123*	Maintenance: Wall damaged in shower J

Staff Bathroom

No Violations Noted

Staff Office

FC 4-501.11(A)*	 	Maintenance and Operation, Equipment: Equipment not maintained in a state

of good repair, refrigerator needs defrosting

Janitor’s Closet (down)

No Violations Noted

F-1 HOUSING

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350	Structural Maintenance: Floor damaged, in entry area

Control Area

No Violations Noted

Cells

105 CMR 451.350*	Structural Maintenance: Floor damaged in cell # 19 & 28

Janitor’s Closet (up)

No Violations Noted

Showers Upper Level

105 CMR 451.123*	Maintenance: Paint peeling in shower A, B, & C

105 CMR 451.123*	Maintenance: Paint peeling in shower D & E

Showers Lower Level

105 CMR 451.123*	Maintenance: Paint peeling on floor in shower F, G, H, I & J

Staff Bathroom

No Violations Noted

Staff Office

No Violations Noted

Janitor’s Closet (down)

No Violations Noted

F-2 HOUSING

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty in block

Control Area

No Violations Noted

Cells

105 CMR 451.350*	Structural Maintenance: Wall leaking rain water in cell # 57

Janitor’s Closet (up)

No Violations Noted

Showers Upper Level

105 CMR 451.123*	Maintenance: Paint peeling in shower F & G

105 CMR 451.123*	Maintenance: Paint peeling in shower H & J

Showers Lower Level

105 CMR 451.123*	Maintenance: Paint peeling in shower D

105 CMR 451.123*	Maintenance: Paint peeling in shower C, D, & E

Staff Bathroom

No Violations Noted

Staff Office

FC 4-501.11(A)	 	             Maintenance and Operation, Equipment: Equipment not maintained in a state

of good repair, refrigerator needs defrosting

Janitor’s Closet (down)

No Violations Noted

MODULAR A

Entry Area

105 CMR 451.350*	Structural Maintenance: Side walk damaged

Central Area

No Violations Noted

Toxic/Caustic Room

No Violations Noted

Common Day Room

105 CMR 451.353	Interior Maintenance: Fan center cover missing

Telephone Room

105 CMR 451.344	Illumination in Habitable Areas: Light fixture not working properly

105 CMR 451.353	Interior Maintenance: Electric outlet cover missing

Staff Bathroom

105 CMR 451.123*	Maintenance: Missing vent cover

Offices A-E

No Violations Noted

Landry Area

No Violations Noted

Library

No Violations Noted

Rooms

Room 1

No Violations Noted

Room 2 Weight Room

No Violations Noted

Room 3

No Violations Noted

Room 4

105 CMR 451.141*	Screens: Screen damaged

Room 5

No Violations Noted

Room 6

No Violations Noted

Room 7

No Violations Noted

Room 8

No Violations Noted

Room 9

No Violations Noted

Room 10

No Violations Noted

MODULAR B

C.O.’s Office

No Violations Noted

Common/Day Room

105 CMR 451.350	Structural Maintenance: Eight floor tiles damaged

Bathroom Area

105 CMR 451.123	Maintenance: Toilet seat damaged

Shower Area

No Violations Noted

Shower Chase

No Violations Noted

Telephone Room

No Violations Noted

Library

105 CMR 451.383(B)*	Fire Safety System: Facility not in compliance with State Building Code provisions on, boxes stored within 18 inches of ceiling

Room 2 Barber

105 CMR 451.353	Interior Maintenance: Damaged chair

105 CMR 451.346                      Safe Wiring: Use of extension cord as temporary wiring for damaged radio

Room 3

No Violations Noted

Room 4 Parole Hearing

105 CMR 451.350	Structural Maintenance: Floor damaged

Room 5

No Violations Noted

Room 6

No Violations Noted

Room 7 Chapel

No Violations Noted

Room 8 Storage

105 CMR 451.350	Structural Maintenance: Window damaged

Room 9

No Violations Noted

Room 10

No Violations Noted

COTTAGE 6

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

2nd Floor

Bathroom

No Violations Noted

Storage

No Violations Noted

Room 9

No Violations Noted

Room 10

No Violations Noted

Room 11

No Violations Noted

1st Floor

Room 8

No Violations Noted

Room 7

No Violations Noted

Room 5

No Violations Noted

Room 6

No Violations Noted

Bathroom

No Violations Noted

Room 3

No Violations Noted

Room 4

No Violations Noted

Room 1

No Violations Noted

Room 2

No Violations Noted

Recreation Room

No Violations Noted

Bathroom

No Violations Noted

Tool Crib

No Violations Noted

Room 14

105 CMR 451.350	Structural Maintenance: Floor damaged

Kitchen Area

No Violations Noted

C.O./C.P.O. Office

No Violations Noted

Toxic/Caustic Closet

No Violations Noted

Basement

No Violations Noted

Laundry

No Violations Noted

Recreation Area

No Violations Noted

Gym

No Violations Noted

Showers

105 CMR 451.123	Maintenance: Floor paint peeling

Supply

No Violations Noted

Bathroom

No Violations Noted

Hallway

No Violations Noted

Property

Unable to Inspect - Locked

COTTAGE 7

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

3rd Floor

Storage

No Violations Noted

Room 12

No Violations Noted

Bathroom

No Violations Noted

2nd Floor

Room 4

No Violations Noted

Room 5

No Violations Noted

Room 6

105 CMR 451.353*	Interior Maintenance: Missing light cover

Room 7

105 CMR 451.353*	Interior Maintenance: Missing light cover

Room 8

No Violations Noted

Room 9

No Violations Noted

Room 10

No Violations Noted

Bathroom (near room 10)

Unable to Inspect – Locked

1st Floor

Room 11

No Violations Noted

Tool Crib

No Violations Noted

Telephone Area

No Violations Noted

Bathroom (near room 4)

No Violations Noted

Entry

No Violations Noted

Recreation Room

No Violations Noted

Office

No Violations Noted

Room 1

No Violations Noted

Room 2

105 CMR 451.353*	Interior Maintenance

Room 3

No Violations Noted

Basement

No Violations Noted

Laundry

No Violations Noted

Storage Room

No Violations Noted

Recreation Area

No Violations Noted

Toxic/Caustic Room

No Violations Noted

Bathroom

No Violations Noted

Rear Foyer Exit

No Violations Noted

COTTAGE 8

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

3rd Floor

Room 14

105 CMR 451.353*	Interior Maintenance: Light shield damaged

Room 13

No Violations Noted

Bathroom

No Violations Noted

2nd Floor

Bathroom (near room 12)

No Violations Noted

Tool Crib

No Violations Noted

Toxic/Caustic Room

No Violations Noted

Hall Closet

105 CMR 451.353*	Interior Maintenance Door knob pushed through door

Room 10

105 CMR 451.350	Structural Maintenance: Ceiling damaged, no support to ceiling, hanging loose

Room 11

105 CMR 451.350	Structural Maintenance: Ceiling damaged, no support to ceiling, hanging loose

Room 12

105 CMR 451.350	Structural Maintenance: Ceiling damaged, no support to ceiling, hanging loose

Hallway

No Violations Noted

Room 8

No Violations Noted

Bathroom (near room 6)

105 CMR 451.141	Screens: Screen doesn’t fit window

Room 9

No Violations Noted

Room 7

No Violations Noted

Room 6

105 CMR 451.141	Screens: Screen doesn’t fit window

1st Floor

Dining Room

No Violations Noted

Room 5

No Violations Noted

Room 3

No Violations Noted

Room 4

105 CMR 451.350	Structural Maintenance: Hole in floor

Hallway

No Violations Noted

Officer’s Bathroom

No Violations Noted

Basement

No Violations Noted

Gym

105 CMR 451.353	Interior Maintenance: Bench press missing safety pin

Storage

No Violations Noted

Laundry

No Violations Noted

Bathroom

No Violations Noted

Rear Foyer Exit

No Violations Noted

COTTAGE 9

105 CMR 451.350*	Structural Maintenance: Front steps have cracks

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

3rd Floor

Room 13

No Violations Noted

Room 12

No Violations Noted

Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1400F

2nd Floor

Room 7

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

Room 4

No Violations Noted

Hallway (near room 5 & 6)

No Violations Noted

Room 6

No Violations Noted

Bathroom (near room 6)

No Violations Noted

Room 5

No Violations Noted

Room 8

No Violations Noted

Bathroom (near room 8)

No Violations Noted

Room 9

No Violations Noted

Room 10

No Violations Noted

Room 11

No Violations Noted

1st Floor

Staff Bathroom

No Violations Noted

C. O.’s Office

105 CMR 451.350*	Structural Maintenance: Window cracked

Counselor’s Office

105 CMR 451.353	Interior Maintenance: Window shade tattered

Day Room

105 CMR 451.353*	Interior Maintenance: Ceiling paint peeling

Toxic/Caustic Room

No Violations Noted

Kitchen Area

No Violations Noted

Room 1

No Violations Noted

Room 2

105 CMR 451.350	Structural Maintenance: Window does not stay open

Basement

Bathroom Area

No Violations Noted

Laundry Area

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, steam pipe leaking

Pool Room

No Violations Noted

Supply/Janitor’s Room

No Violations Noted

Weight Room

No Violations Noted

COTTAGE 10

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350	Structural Maintenance: Side walk damaged

3rd Floor

Hallway

No Violations Noted

Room 15

No Violations Noted

Room 16

No Violations Noted

Bathroom (room 16)

105 CMR 451.141	Screens: Screen doesn’t fit window

2nd Floor

Room 9

No Violations Noted

Bathroom (room 9)

No Violations Noted

Room 10

No Violations Noted

Bathroom (room 10)

No Violations Noted

Room 11

No Violations Noted

Room 12

No Violations Noted

Bathroom (room 12)

105 CMR 451.123	Maintenance: Sink damaged

Room 14

No Violations Noted

Bathroom (room 14)

No Violations Noted

Room 13

No Violations Noted

Bathroom (room 13)

No Violations Noted

1st Floor

Staff Bathroom

No Violations Noted

Slop Sink Room

105 CMR 451.353*	Interior Maintenance: Light damaged

Toxic/Caustic Room

No Violations Noted

Storage

No Violations Noted

Visiting/Eating Area

No Violations Noted

Visitor’s Bathroom

No Violations Noted

Kitchen

No Violations Noted

Health Services

Room 2

No Violations Noted

Room 3

No Violations Noted

Room 4

No Violations Noted

Room 5

No Violations Noted

Room 6

No Violations Noted

Room 7

105 CMR 480.400(D)               Packaging, Labeling, and Shipping: Missing log book for biohazard waste

Room 8

No Violations Noted

C. O.’s Office

No Violations Noted

Basement

Rear Foyer Exit

Unable to Inspect – Locked

Weight Room

No Violations Noted

Utility Room

No Violations Noted

Laundry Area

No Violations Noted

Storage Room

No Violations Noted

Utility Room (next to shower)

No Violations Noted

Hallway (next to shower)

No Violations Noted

Bathroom

No Violations Noted

COTTAGE 11

105 CMR 451.350*	Structural Maintenance: Entry way damaged

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

2nd Floor Stairway

No Violations Noted

Staff Office

No Violations Noted

Staff Bathroom

No Violations Noted

Laundry

No Violations Noted

Rooms 1 & 2

No Violations Noted

Bathroom 1 & 2

No Violations Noted

Rooms 3 & 4

No Violations Noted

Bathroom 3 & 4

No Violations Noted

Rooms 5 & 6

No Violations Noted

Bathroom 5 & 6

No Violations Noted

Rooms 7 & 8

No Violations Noted

Bathroom 7 & 8

No Violations Noted

Room 9 & 10

105 CMR 451.141*	Screens: Screen doesn’t fit window in room # 9

Bathroom 9 & 10

No Violations Noted

Rooms 11 & 12

No Violations Noted

Bathroom 11 & 12

105 CMR 451.353*	Interior Maintenance: Light switch damaged

Room 13 & 14

105 CMR 451.353*	Interior Maintenance: Uncovered electrical box

Bathroom 13 & 14

No Violations Noted

Janitor’s Closet

No Violations Noted

Day Room

No Violations Noted

KITCHEN/DINING AREA

Dishwasher Area

105 CMR 451.141	Screens: Screen damaged, screen don’t fit the windows

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, dish washer was tested and could not bring temperature to sanitize

Main Kitchen

No Violations Noted

Kettles

No Violations Noted

Cooler 1

No Violations Noted

1199 Walk-In – Cooler 2

No Violations Noted

1194 Walk-In – Cooler 3

No Violations Noted

Slop Sink/Electrical Room

No Violations Noted

Dry Storage

No Violations Noted

Tool Crib

No Violations Noted

Toxic Storage

No Violations Noted

Storage

No Violations Noted

Staff Bathroom

105 CMR 451.123	Maintenance: Ceiling paint peeling

105 CMR 451.123*	Maintenance: Wall damaged by toilet

Inmate Bathroom

No Violations Noted

Diet Area

No Violations Noted

Old Bakery

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Ceiling covering not easily 	cleanable, ceiling has been removed

Dining Area

No Violations Noted

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Inmate Bathroom

No Violations Noted

Staff Bathroom

No Violations Noted

Storage Area

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

FC 4-903.11(A)(2)*	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, items left uncovered

Female Bathroom

No Violations Noted

Strip Room

No Violations Noted

Basement

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight, exterior door damaged at

bottom

Freezer 1

No Violations Noted

Freezer 2

Unable to Inspect – Locked

Freezer 3

No Violations Noted

Garbage Cooler 5

105 CMR 451.353	Interior Maintenance Ceiling paint peeling

Dry Storage

No Violations Noted

Bathroom

No Violations Noted

MEAT PLANT

105 CMR 451.126*	Water Supply: No hot water supplied to building

105 CMR 451.350*	Structural Maintenance: Floor damaged in entry

Basement

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

105 CMR 451.350*	Structural Maintenance: Floor damaged

Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 710F

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, cracked sink

Office 2

105 CMR 451.353	Interior Maintenance Door knob missing

Staff Bathroom

105 CMR 451.126*	Water Supply: No hot water

Office 3 EHSO

No Violations Noted

Office 1

No Violations Noted

Office 4

No Violations Noted

Passage Area

No Violations Noted

Outside Cooler North

105 CMR 451.353*	Interior Maintenance: Some lights not working

Outside Cooler South

105 CMR 451.350	Structural Maintenance: Walk way damaged

Observations and Recommendations

- The inmate population was 1398 at the time of inspection.

- The Department recommends that all rooms have a number painted on the door frame for location purposes.

- The Department recommends that the two structures, buildings # 2 & 4 be closed and secured from entry of rodents. Their roofs are collapsing into the structures and as such are a public nuisance to the general public and a harborage for rodents and insects.

- The Department recommends that the EHSO Officer establish a monthly check of temperatures of the dishwashers in the facilities.

- The Department recommends that the hot water be restored to Housing B, immediately or the inmates be relocated to an area that provides them hot water.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Charles J. Kaniecki

District Health Officer, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

John W. Polanowicz, Secretary, Executive Office of Health and Human Services

Luis S. Spencer, Commissioner, DOC

Officer Corey Hopkins, EHSO

James Garreffi RS, CHO, Director, Nashoba Associated Boards of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Andrea Cabral, Secretary EOPS