(Add Agency Letterhead)

Body Art Establishment

Inspection Form

Name of Establishment:

Address of Establishment:

Tel.# ( ) -

Establishment Owner(s) Name(s):

Owner(s) Address:

Tel.# ( ) -

Inspector Name:

Inspection Date:

Time:

Begin:                   ( am     ( pm

End: ( am ( pm

Type of Establishment:

( Tattoo ( Piercing

Reason for Inspection:

(   Pre-Operative Inspection    (  Annual Inspection    (   Reinspection

( Complaint Investigation ( Injury Report Investigation

Key:

Viol column:   		“X” indicates a violation of the Body Art Regulations

Reinspection Info column:   Includes date(s)  reinspection was conducted and notation to indicate the violation was or was not in compliance with the Body Art Regulations upon reinspection.

Inspector signature:__________________________________   Date:_______________________

Operator signature:___________________________________ Date:_______________________

REGULATION                                          VIOL               COMMENTS                     REINSPECTION INFO

Posting:

Postings are prominently displayed

Disclosure statement

|  | Name, address and phone number of BOH |
| --- | --- |

Emergency plan:

-police, fire, EMS contacts

-working employee/client phone

Occupancy permit

Valid establishment permit

Valid practitioner(s) permit(s)

Recordkeeping:

Records accessible to BOH

Exposure Incident Report

(kept permanently)

Establishment Information:

(kept for 3 yr. minimum)

-name,address, hrs. of operation

-body art procedures

-inventory list (jewelry, instruments)

-MSDS

-waste hauler manifests

-commercial biological monitor tests

-Body Art Regulation

Employee Information:

(kept for 3 yr. minimum)

- legal name,address, tel #, DOB

- exact duties

- ID photograph

- dates of employment

- practitioner hepatitis B info

- training records

Client Information

-name, address

-valid photo ID with age

-date, type, location and practitioner of procedure

-health history and consent form

-copy of guardian ID

REGULATION                                          VIOL                   COMMENTS                 REINSPECTION INFO

Recordkeeping (cont’d)

Exposure Control Plan

Autoclave manufacturer’s instructions available

Monthly autoclave spore destruction tests available

Physical Facility- Overall:

Walls, floors and ceilings smooth, durable and clean

Establishment space

-separate from non-establishment space (e.g., habitable areas)

Client waiting area

-separate from body art activity areas

No animals except:

- service animals

-fish aquariums in non-procedural areas

Free of insect and/or rodent infestation

Adequate ventilation

Adequate lighting

–20 foot candles 3 feet off floor

Toilet room (1 at minimum unless in shopping center):

-toilet

-sink with hot/cold water under pressure

-toilet paper, liquid soap, paper     towels in fixed dispensers

-waste receptacle: covered, foot operated.

Public water supply protected with back flow preventor

Solid waste:

-stored in covered, leak-proof, rodent resistant containers

-removed weekly at minimum

Janitorial sink

-adequate size

-hot/cold water under pressure

REGULATION                                          VIOL             COMMENTS                      REINSPECTION INFO

Physical Facility- Overall (cont’d):

Instrument cleaning area present and:

-autoclave area at least 36 inches from ultrasonic cleaning unit

- sharps container present

adequate lighting: 20 foot candles 3  feet off floor

- GFCI protected outlets

Instrument storage area

-clean, dry, covered containers

-secure area; instruments only

Physical Facility- Procedure Area:

Procedure surfaces smooth, durable and easy to clean and sanitize

Client chairs/benches, easy to clean and sanitize

45 sq. feet per practitioner

Dividers between work stations

Adequate lighting

-100 foot-candles: procedure level, sharp and instrument assembly level

GFCI protected outlets

Hand sink at each station

-hot/cold water under pressure

-liquid soap in fixed dispenser

-disposable paper towels in fixed dispenser

Sharps container present

Waste receptacle:

-covered, foot operated

-emptied daily

No practitioner smoking, eating, or drinking

Fluids offered to clients are non-alcoholic

REGULATION                                          VIOL             COMMENTS                      REINSPECTION INFO

Single Use Items:

All products applied to skin are one client use and disposed of:

- hollow bore, needles with cannula

-stencils, gauze, razors, etc.

- ink, dye, pigment and individual containers

Sharps disposed into approved sharps container

Sanitation and Sterilization:

Ultrasonic cleaning unit present and working

-must be FDA approved

Autoclave present and working, if non-disposable instruments are used

- must be FDA approved

Autoclave is:

-clean

-located away from workstations and public areas

Non-disposable instruments are:

Cleaned, processed in ultrasonic unit

packed individually in sterilizer packs

sterilized by steam autoclave

Sterilizer packs have:

- temperature/sterilizer indicator

- expiration date- not exceed 6 months.

Sterilizer packs intact, no breach

Disposable medical gloves available

Practitioners wear gloves for handling instruments

Reusable cloth items, after each use:

-mechanically washed

-mechanically dried

Reusable cloth items with bodily fluids: -washed at 160°F or 120°F with chlorine

Standards of Practice:

(review with Practitioner(s))

Practitioners perform body art procedures according to CDC Universal Precautions.

REGULATION                                          VIOL             COMMENTS                      REINSPECTION INFO

Standards of Practice (cont’d):

(review with Practitioner(s))

Practitioners:

-maintain personal cleanliness,  wear clean clothes.

-are free of skin rash or infection

Practitioners refuse service:

- clients under the influence

- tattooing, branding, scarification of clients under 18 yrs.

Ear piercing systems used on ear lobe only.

Practitioners wash hands with hot water and soap prior to glove application/ procedure.

Practitioners wear single-use gloves during procedure:

-gloves changed when torn or contaminated

Instruments contaminated during procedure are replaced

Client skin preparation:

-free of visible infection

-cleaned

Practitioners use inks, dyes, pigments, needles, all other equipment :

-manufactured for body art procedures   only

-according to manufacturer’s instructions

Aftercare instructions provided to client

Other:

Additional comments: _______________________________________________________________________