The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

180 Beaman Street

West Boylston, MA 01583

Telephone: 508-792-7880, ext. 2322

Facsimile: 508-792-7706

TTY: 508-835-9796

Amy.M.Riordan@state.ma.us

DEVAL L. PATRICK GOVERNOR TIMOTHY P. MURRAY LIEUTENANT GOVERNOR JUDYANN BIGBY, MD SECRETARY JOHN AUERBACH COMMISSIONER

January 26, 2011

Michael G. Grant, Sr., Superintendent

Bay State Correctional Center

28 Clark Street

Norfolk, MA 02056

Re: Facility Inspection

Dear Superintendent Grant:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, and Department of Public Health Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of Bay State Correctional Center on January 24, 2011 accompanied by Jeff Gonsalves, EHSO. Violations noted are listed below (* indicates conditions documented on previous inspection reports).

CONTROL

Waiting Area

105 CMR 451.350	Structural Maintenance: Baseboard missing

Vending Area

105 CMR 451.350	Structural Maintenance: Wall damage near window

105 CMR 451.350	Structural Maintenance: Floor tile damaged behind vending machine

Women’s Room

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 900F

105 CMR 451.123	Maintenance: Stall doors don’t close and lock properly

Men’s Room

No Violations Noted

Locker Room/Role Call

No Violations Noted

Chemical Closet

105 CMR 451.353	Interior Maintenance: Standing water on floor

FC 3-305.12(I)	 		Preventing Contamination from Premises: Food stored under cleaning products and 				other chemicals, apples stored in closet

VISITOR’S BUILDING

Visiting Area

No Violations Noted

Women’s Room

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1370F

Men’s Room

No Violations Noted

Supply Room

No Violations Noted

Staff Bathroom

No Violations Noted

Strip Search Area

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, cold water has low pressure

MODULAR UNITS

105 CMR 451.320	Cell Size: Inadequate floor space in cells

2nd Floor

West Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

105 CMR 451.123*	Maintenance: Standing water on floor

105 CMR 451.130	Hot Water: Shower water temperature recorded at 940F

105 CMR 451.123	Maintenance: Hand dryer broken

West Rooms

No Violations Noted

Janitor’s Room

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, pipe leaking

Supplies

105 CMR 451.353	Interior Maintenance: Water left in bucket

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

105 CMR 451.353	Interior Maintenance: Mop stored on floor

Staff Bathroom

No Violations Noted

Day Room

105 CMR 451.353	Interior Maintenance: Water cooler broken

105 CMR 451.353	Interior Maintenance: Standing water left under the water cooler

105 CMR 451.353	Interior Maintenance: Water cooler broken and dirty

East Bathroom

105 CMR 451.123	Maintenance: Shower floors damaged

105 CMR 451.123	Maintenance: Soap scum on walls in showers

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water not working on sink #1 on shower side

East Rooms

No Violations Noted

Laundry

No Violations Noted

Staff Storage

No Violations Noted

Electrical Room

FC 3-501.16(B)			Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator 				temperature recorded at 550F

FC 4-204.112(A)		Design and Construction, Functionality: No functioning thermometer in refrigerator

1st Floor

Vending Area

105 CMR 451.350	Structural Maintenance: Floor damaged behind machines

West Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1060F

105 CMR 451.130	Hot Water: Shower water temperature recorded at 1050F

West Rooms

No Violations Noted

Slop Sink

105 CMR 451.350	Structural Maintenance: Baseboard damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking

Supply

No Violations Noted

Laundry

No Violations Noted

Common Area

FC 4-602.12(B)*		Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

105 CMR 451.353*	Interior Maintenance: Standing water in water cooler tray

105 CMR 451.350*	Structural Maintenance: Baseboard damaged

East Bathroom

105 CMR 451.130	Hot Water: Shower water temperature recorded at 940F

105 CMR 451.123	Maintenance: Soap scum on walls in showers

105 CMR 451.123	Maintenance: Generally dirty

East Rooms

105 CMR 451.350	Structural Maintenance: Ceiling damaged in cell #M119

Laundry

105 CMR 451.353	Interior Maintenance: Dryer not properly vented to the exterior

Storage

No Violations Noted

Barber Shop

No Violations Noted

MAIN HOUSING

3rd Floor

South Bathroom

Unable to Inspect – In Use

South Rooms

No Violations Noted

Janitor’s Closet

105 CMR 451.350	Structural Maintenance: Wall damaged

Common Area

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

North Bathroom

Unable to Inspect – In Use

North Rooms

No Violations Noted

Slop Sink Room

No Violations Noted

Central Rooms

No Violations Noted

Central Corridor

105 CMR 451.353	Interior Maintenance: Standing water under water cooler

2nd Floor

South Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

105 CMR 451.123	Maintenance: Floor drains in shower not secured

Janitor’s Closet

No Violations Noted

Common Area

105 CMR 451.353	Interior Maintenance: Table tops damaged

North Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

105 CMR 451.123	Maintenance: Floor drains in shower not secured

105 CMR 451.123	Maintenance: Ceiling vent rusty

105 CMR 451.123*	Maintenance: Possible mold growth in showers

Slop Sink Room

No Violations Noted

North Rooms

No Violations Noted

Central Rooms

No Violations Noted

Central Corridor

105 CMR 451.353	Interior Maintenance: Standing water under water cooler

105 CMR 451.353	Interior Maintenance: Water cooler generally dirty

Library

No Violations Noted

Supply Closet

No Violations Noted

1st Floor

Entrance

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

South Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

105 CMR 451.123	Maintenance: Floor drains not secure

Janitor’s Closet

No Violations Noted

Common Area

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

105 CMR 451.123	Maintenance: Mop stored in bucket

North Bathroom

Unable to Inspect – In Use

North Rooms

No Violations Noted

Slop Sink

No Violations Noted

Central Rooms

No Violations Noted

Central Corridor

105 CMR 451.353	Interior Maintenance: Standing water under water cooler

Gym

No Violations Noted

ADMINISTRATION BUILDING

Kitchen

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, items left uncovered

FC 4-904.13(A)	Protection of Clean Items, Handling: Tableware not protected from contamination, not 	stored in the inverted position

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 3-304.14(B)(2)	Preventing Contamination from Linens: Wet cloth not stored in sanitizer bucket

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, pipes leaking under food prep sinks

FC 5-203.14	Plumbing System, Design: No backflow prevention device on food prep sink

FC 4-903.11(A)	Protection of Clean Items, Storing: Clean items not stored in an appropriate location, clean plates stored under plates that are air drying

Dry Goods

FC 3-302.12	Preventing Food and Ingredient Contamination: Unlabeled food containers, spices in particular

FC 6-404.11	Location and Placement; Distressed Merchandise: Dented cans not properly segregated

FC 3-304.12(A)	Preventing Contamination from Utensils: Service utensils handle stored below the 	food and container line, scoop stored in product

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, items left uncovered

Dining Area

No Violations Noted

Inmate Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking

105 CMR 451.350	Structural Maintenance: Floor tile missing

Janitor’s Closet

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water doesn’t shut off

1st Floor

HSU

FC 4-903.11(A)(2) 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 				from contamination

Bathroom

No Violations Noted

Women’s Staff Bathroom

No Violations Noted

Men’s Staff Bathroom

No Violations Noted

Inmate Bathroom

No Violations Noted

Slop Sink

No Violations Noted

Med Room

105 CMR 451.350	Structural Maintenance: Window is very drafty due to air conditioner

Dental Office

No Violations Noted (see observations and recommendations)

Inner Control

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, no cold water in cell

Administrative Area

FC 4-903.11(A)(2) 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 				from contamination

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

Basement

Laundry

105 CMR 451.350	Structural Maintenance: Wall damage behind sink

Dry Goods

No Violations Noted

2nd Floor

Women’s Room

105 CMR 451.126	Hot Water: Hot water temperature recorded at 840F

Men’s Room

No Violations Noted

Room A209

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Staff Break Room

FC 4-903.11(A)(2)* 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 				from contamination

FC 4-904.13(A)			Protection of Clean Items, Handling: Tableware not protected from contamination, not 				stored in the inverted position

FC 4-204.112(A)		Design and Construction, Functionality: No functioning thermometer in refrigerator

Observations and Recommendations

- The inmate population was 309 at the time of inspection

- Radiation certificate has expired in the dental office

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within ten working days of receiving this report and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Community Sanitation Regulations" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Amy Riordan

Environmental Health Inspector, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

JudyAnn Bigby, MD, Secretary, Executive Office of Health and Human Services

Luis S. Spencer, Acting Commissioner, DOC

Jeff Gonsalves, EHSO

Norfolk Board of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Mary Elizabeth Heffernan, EOPS