The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

5 Randolph Street

Canton, MA 02021

Telephone: 781-828-7910

Facsimile: 781-828-7703

lauren.molotnikov@state.ma.us

DEVAL L. PATRICK GOVERNOR TIMOTHY P. MURRAY LIEUTENANT GOVERNOR JUDYANN BIGBY, MD SECRETARY JOHN AUERBACH COMMISSIONER

June 7, 2011

Bruce Gelb, Superintendent

MCI Concord

965 Elm Street

P.O. Box 9106

Concord, MA 01742

Re: Facility Inspection

Dear Superintendent Gelb:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, and Department of Public Health Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of MCI Concord on May 11 and 12, 2011 accompanied by Sergeant George Frascarelli, FS/EHSO and Maurice Campbell, FS/EHSO. Violations noted are listed below (* indicates conditions documented on previous inspection reports).

Building A

Lobby

No Violations Noted

Women’s Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded in excess of 1400F

Men’s Bathroom

105 CMR 451.123*	Maintenance: Wall and floor tiles damaged

105 CMR 451.123	Maintenance: Floor drain cover missing

105 CMR 451.126*	Hot Water: Hot water temperature recorded in excess of 1400F

Administration Area

Women’s Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded in excess of 1500F

Men’s Room	Occupied at the time of inspection

Janitor’s Closet

105 CMR 451.130	Plumbing: Backflow preventer cap missing on slop sink

Water Fountain

No Violations Noted

Coffee Station

No Violations Noted

Trap Break Room

No Violations Noted

Holding Tank

Cell A

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.344	Illumination in Habitable Areas: Inadequate lighting, light fixture not functioning 	properly

Cell B

No Violations Noted

Building B

Hallway

105 CMR 451.345	Illumination in Common Passage Ways and Areas: Inadequate lighting, one light 	fixture not functioning properly

Visitor’s Bathrooms

Front Visitor’s Bathroom

105 CMR 451.123*	Maintenance: Wall tiles damaged

105 CMR 451.123*	Maintenance: Ceiling vent dirty

105 CMR 451.123	Maintenance: Unfilled holes in wall tiles

105 CMR 451.126	Hot Water: Hot water temperature recorded in excess of 1350F

Back Visitor’s Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dirty

105 CMR 451.126	Hot Water: Hot water temperature recorded in excess of 1450F

Break Room

No Violations Noted

Weight Room

No Violations Noted

Visiting Room

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

105 CMR 451.353*	Interior Maintenance: Vent cover missing

Back Room

105 CMR 451.353*	Interior Maintenance: Window shades damaged

105 CMR 451.353*	Interior Maintenance: Baseboard missing and damaged

Treasurer’s Office Area

Inmate Bathroom (Urinalysis Bathroom)

105 CMR 451.126	Hot Water: Hot water temperature recorded in excess of 1800F

Treasurer’s Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded in excess of 1500F

Treasurer’s Kitchenette

No Violations Noted

B corridor

Inmate Bathroom

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

105 CMR 451.123*	Maintenance: Wall vent rusted

105 CMR 451.126	Hot Water: Hot water temperature recorded in excess of 1450F

Vending Machines

No Violations Noted

B Corridor Slop Sink Room

105 CMR 451.353	Interior Maintenance: Wet mop not allowed to dry properly

Male Staff Bathroom

105 CMR 451.123*	Maintenance: Vent rusted in toilet stall # 2

105 CMR 451.123*	Maintenance: Wall tiles missing in toilet stall # 2

105 CMR 451.126	Hot Water: Hot water temperature recorded in excess of 1400F

Female Staff Bathroom

105 CMR 451.123	Maintenance: Ceiling repair not finished in a work-person like fashion

105 CMR 451.123	Maintenance: Vent dirty

105 CMR 451.123	Maintenance: Wall tiles damaged

105 CMR 451.126	Hot Water: Hot water temperature recorded in excess of 1500F

B Building Control

No Violations Noted

B Control Bathroom

105 CMR 451.123*	Maintenance: Wall vent dirty

105 CMR 451.123*	Maintenance: Wall grout missing in corners

105 CMR 451.123	Maintenance: Wall tiles damaged

105 CMR 451.126	Hot Water: Hot water temperature recorded in excess of 1500F

B Control Kitchenette

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, light out in refrigerator unit

C Building

C Building Housing Unit-First Floor

Control

No Violations Noted

Staff Bathroom

105 CMR 451.123	Maintenance: Light shield missing

105 CMR 451.123	Maintenance: Ceiling damaged

105 CMR 451.123	Maintenance: Wall vent rusted

105 CMR 451.126	Hot Water: Hot water temperature recorded in excess of 1800F

Storage Room

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Housing Unit

Common Area

105 CMR 451.350	Structural Maintenance: Ceiling water damage near cell # 4 and 5

Slop Sink Room

No Violations Noted

Shower # 1	Occupied at the time of inspection

Shower # 2	Occupied at the time of inspection

Cells

105 CMR 451.102	Pillows and Linens: Pillow damaged in cell # 22

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 2, 4, and 24

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 2, 3, 4, 6, 9, 16, 17, 18, and 19

105 CMR 451.353	Interior Maintenance: Vent dirty in cell # 5 and 11

TV Room

105 CMR 451.350	Structural Maintenance: Floor tiles and baseboard damaged

105 CMR 451.350	Structural Maintenance: Window pane damaged

105 CMR 451.353	Interior Maintenance: Window sills filled with trash

C Building Housing Unit-Second Floor

Control

105 CMR 451.350*	Structural Maintenance: Window pane damaged

105 CMR 451.350*	Structural Maintenance: Ceiling repair not finished in a work-person like fashion

105 CMR 451.353	Interior Maintenance: Wet mop left in bucket

Staff Bathroom

105 CMR 451.123*	Maintenance: Light shield missing

105 CMR 451.123*	Maintenance: Wall tile grout missing in corners

105 CMR 451.123*	Maintenance: Ceiling vent dirty

105 CMR 451.126	Hot Water: Hot water temperature recorded in excess of 1800F

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet loose on handwash sink

Housing Unit

Common Area

105 CMR 451.350	Structural Maintenance: Window sill water damaged above cell # 34 and 35

Slop Sink Room

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water handle leaking

105 CMR 451.353	Interior Maintenance: No light shield provided in maintenance area

105 CMR 451.353	Interior Maintenance: Wet mop left in bucket

105 CMR 451.353	Interior Maintenance: Vent dirty

Shower # 1

105 CMR 451.123*	Maintenance: Floor tiles missing and damaged

105 CMR 451.123*	Maintenance: Wall tiles missing and damaged

105 CMR 451.123*	Maintenance: Shower walls need re-grouting

105 CMR 451.123	Maintenance: Rope used to secure shower curtain not easily cleanable

105 CMR 451.123	Maintenance: Shield on water control loose

105 CMR 451.123	Maintenance: Soap scum on walls and floor in shower room

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head # 1 leaking

Shower # 2

105 CMR 451.123*	Maintenance: Flying insects observed in shower area

105 CMR 451.123*	Maintenance: Soap scum on walls in shower and shower curtain

105 CMR 451.123*	Maintenance: Shower curtain damaged

105 CMR 451.123	Maintenance: Vent cover loose

105 CMR 451.123	Maintenance: Wall finish damaged

105 CMR 451.123	Maintenance: Possible mold growth observed on shower ceiling

105 CMR 451.123	Maintenance: Shield on water control loose

105 CMR 451.123	Maintenance: Rope used to secure shower curtain not easily cleanable

105 CMR 451.130	Hot Water: Shower water temperature recorded in excess of 1400F

Cells

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, water running continuously in cell 	# 40

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 26, 27, 28, 29, 32, 33, 34, 36, 37, 	38, 39, 40, 41, 42, 43, 45, 46, and 48

TV Room

105 CMR 451.344	Illumination in Habitable Areas: Inadequate lighting, two light fixtures not 	functioning properly

105 CMR 451.353	Interior Maintenance: Window sills dirty

CRA Program Basement

Stairway

105 CMR 451.350	Structural Maintenance: Wall damaged

105 CMR 451.350*	Structural Maintenance: Floor tiles missing

Inmate Bathroom

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

105 CMR 451.123*	Maintenance: Light shield missing

105 CMR 451.126	Hot Water: Hot water temperature recorded in excess of 1900F

Break Room

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, refrigerator door secured with Velcro

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

105 CMR 451.350	Structural Maintenance: Floor tiles missing

Classrooms

No Violations Noted

SMU-First Floor

Search Room C1-3

No Violations Noted

Search Room C1-4

No Violations Noted

Storage Room

No Violations Noted

Medical Exam Room C1-10

No Violations Noted

Staff Bathroom C1-11

No Violations Noted

Slop Sink Room C1-62

105 CMR 451.130	Plumbing: Backflow preventer cap loose on slop sink

105 CMR 451.353	Interior Maintenance: Ceiling vent dirty

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls and floor in shower # C1-60 and C1-61

105 CMR 451.123*	Maintenance: Ceiling vent dirty in shower # C1-60 and C1-61

105 CMR 451.123*	Maintenance: Soap scum on shower chair in shower # C1-60

105 CMR 451.123	Maintenance: Ceiling vent dirty in shower # C1-24, C1-25, and C1-26

105 CMR 451.123	Maintenance: Soap scum on walls and floor in shower # C1-24, C1-25, and C1-26

105 CMR 451.123	Maintenance: Shower bench no secured properly in shower # C1-60

Cells

No Violations Noted

Staff Break Room C1-22

FC 4-601.11(A)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, interior of 	freezer unit dirty

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, utensils not stored with handles up

Property C1-23

No Violations Noted

Recreational Decks

No Violations Noted

SMU-Second Floor

Slop Sink Room C2-62

105 CMR 451.353	Interior Maintenance: Vent dirty

Showers

105 CMR 451.123*	Maintenance: Ceiling vent dirty in shower # C2-24, C2-25, and C2-26

105 CMR 451.123*	Maintenance: Ceiling vent dirty in shower # C2-60 and C2-61

105 CMR 451.123*	Maintenance: Soap scum on walls and floor in shower # C2-60 and C2-61

105 CMR 451.123*	Maintenance: Wall damaged in shower # C2-61

105 CMR 451.123	Maintenance: Soap scum on walls and floor in shower # C2-24, C2-25, and C2-26

Cells

105 CMR 451.103	Mattresses: Mattress damage in cell # 2-34

Room C2-22

105 CMR 451.353*	Interior Maintenance: Vent dirty

Room C2-23

105 CMR 451.353*	Interior Maintenance: Vent dirty

Recreational Deck

No Violations Noted

Building D

Exterior

FC 6-202.15(A)(2)*	Design, Construction, and Installation; Functionality: Red exterior door not weather 	and vermin tight

Food Service Area

FC 2-402.11	Hygienic Practices; Hair Restraints: Food service personnel not wearing appropriate 	hair restraints, no appropriate hair nets available for kitchen staff

FC 2-402.11	Hygienic Practices; Hair Restraints: Food service personnel not wearing appropriate 	hair restraints, beard guards at the start of inspection

FC 2-401.11	Hygienic Practices Food Contamination Prevention: Food service personnel eating in 	an inappropriate area at the start of inspection

FC 3-304.14(B)(2)	Preventing Contamination from Linens: Wet cloth not stored in sanitizer bucket 	throughout the food service area

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, walk-in units were not functioning properly and under repair at the time of 	inspection

FC 4-501.114(C)(2)	Maintenance and Operation; Equipment: No properly prepared and tested sanitizer 	solution available throughout the food service area, several sanitizer buckets observed 	with soap or dirty water

FC 4-701.10	Sanitization of Equipment and Utensils, Objective: Food contact surfaces not properly 	sanitized, kitchen staff observed cleaning without sanitizer solution available

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor grout 	damaged in between pots and pans room and dry storage room

Barrel Wash Room

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, slop sink leaking

B Tool Room #1 (1377)

No Violations Noted

Produce Cooler # 1376

FC 3-305.11(A)(2)*	Preventing Contamination from Premises: Food exposed to dust, fans in cooler dusty

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, floor damaged

Tool Storage Room

FC 4-502.11(A)	Maintenance and Operation, Utensils: Utensils not maintained in a state of good	repair, service utensils etched on food contact surface

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, vent fan not 	functioning

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, floor dirty

Freezer

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, ice build up observed in freezer unit

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, floor damaged

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, 	gasket dirty

Staff Office

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, refrigerator gasket damaged

Staff Bathroom

FC 5-202.12(A)*	Plumbing System, Design: Handwashing sinks hot water temperature recorded in 	excess of 1400F

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, heater cover not 	secured properly

B Tool Room # 2

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, unfinished wooden 	shelves wet, rotted, and not easily cleanable

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, standing water 	observed on floor

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, wooden shelf 	covered with cleaning product debris

Inmate Bathroom

FC 5-202.12(A)*	Plumbing System, Design: Handwashing sinks hot water temperature recorded in 	excess of 1700F

FC 5-205.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, faucet loose

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, vent dirty

Bakery/Dry Storage Room

FC 5-202.12(A)*	Plumbing System, Design: Handwashing sinks hot water temperature recorded in 	excess of 1700F

FC 5-205.11(A)	Plumbing System, Operations and Maintenance: Handwashing sink not easily 	accessible, baked goods racks blocking access

FC 6-301.11	Numbers and Capacity; Handwashing Facilities: No soap at handwash sink

FC 6-301.12	Numbers and Capacity; Handwashing Facilities: No hand drying method available at 	handwashing sink, no paper towels available in paper towel holder

FC 6-301.20	Numbers and Capacity; Handwashing Facilities: No waste receptacle provided for 	disposable towel

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, ceiling tiles not 	installed properly

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, vent cover missing

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, several light 	fixtures not functioning properly

FC 6-501.111(B)	Maintenance and Operations; Pest Control: Flying insects observed

Walk-in Freezers

FC 3-305.11(A)(2)*	Preventing Contamination from Premises: Food exposed to dust, fans in cooler dusty

Freezer and Refrigerator Units

No Violations Noted

Pots and Pans Room

FC 6-501.111(B)	Maintenance and Operations; Pest Control: Flying insects observed

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, vent fan dirty

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, one light fixture 	not functioning properly

3 Compartment Sink

FC 5-202.12(A)*	Plumbing System, Design: Three compartment sink hot water temperature recorded in 	excess of 1700F

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, faucet leaking

South Side

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, vent cover not 	secured properly

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, heater cover not 	secured properly

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, wall damaged near 	dinning room entrance

Kettles and Ovens Hood Area

FC 5-501.113(A)	Refuse, Recyclables, and Returnables: Trash receptacles in the kitchen area not 	equipped with a lid

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, kettles not functioning properly

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, two light fixtures 	not functioning properly

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, wall damaged

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, ceiling paint 	damaged

Handwash Sink

FC 5-202.12(A)*	Plumbing System, Design: Handwashing sinks hot water temperature recorded in 	excess of 1800F

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, faucet leaking and loose

Tray Prep

FC 5-202.12(A)*	Plumbing System, Design: Prep sinks hot water temperature recorded in excess of 	1900F

Traulsen Cooler

No Violations Noted

Old Food Service Line

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, food debris and 	arachnids observed in old food warmers

Food Warmers

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, doors latch and gasket damaged

South Side Dinning Room

FC 5-205.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, water dispenser drain not functioning properly

FC 6-202.15(D)(1)	Design, Construction, and Installation; Functionality: Screens not installed in exterior 	windows, one screen missing

FC 6-202.15(A)(2)*	Design, Construction, and Installation; Functionality: Yellow exterior door not 	weather and vermin tight

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, window sills 	dirty

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor grout 	missing in several areas

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, two light fixtures 	not functioning properly

North Side

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, vent cover not 	secured properly

FC 6-501.111(B)	Maintenance and Operations; Pest Control: Cockroaches observed in hood area

Hoods

FC 6-202.11(A)*	Design, Construction, and Installation; Functionality: Light bulbs not shatter-resistant 	or protected by light shields

FC 6-501.114(A)	Maintenance and Operations; Maintaining Premises: Nonfunctional equipment not 	repaired or removed from premises, griddle out of order

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, wall damaged

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, electrical junction 	box not secured properly near ovens

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, build up of 	grease and food debris observed on equipment, wall, and floor in hood area

Handwash Sink

FC 5-202.12(A)*	Plumbing System, Design: Handwashing sinks hot water temperature recorded in 	excess of 1700F

FC 5-205.11(B)	Plumbing System, Operations and Maintenance: Handwashing sink used for an	unapproved purpose, drinking cup and food debris observed in handwash sink

FC 6-301.20	Numbers and Capacity; Handwashing Facilities: No waste receptacle provided for 	disposable towel

Tray Prep Tables

FC 2-401.11	Hygienic Practices Food Contamination Prevention: Food service personnel drink 	observed in an inappropriate area

Old Food Service Line

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, food debris 	observed in old food warmers

North Side Dinning Room

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor grout 	missing in several areas

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor damaged 	near doorway

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, two light fixtures 	not functioning properly

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, light bulb missing 	and ballast damaged in one light fixture

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, window sills 	dirty

Mechanical Warewashing Room

FC 3-304.14(B)(2)*	Preventing Contamination from Linens: Wet cloth not stored in sanitizer bucket

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, one side of the blow dryer unit not functioning properly at the time of 	inspection

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, splash curtain missing and replaced with a plastic bag on warewashing 	machine

FC 5-205.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, faucet leaking

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, sprayer leaking and damaged

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, vent cover missing

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, ceiling panel 	missing

Prep Area

FC 4-202.11(A)(2)	Design and Construction, Cleanability: Damaged food-contact surface no longer	easily cleanable, cutting board surface damaged

Milk Refrigerator

FC 3-305.11(A)(2)*	Preventing Contamination from Premises: Food exposed to dust, fans in cooler dusty

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, light 	fixture cage and pipe insulation dirty

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, one light fixture not functioning properly

Meat Refrigerator

FC 3-302.11(A)(1)(b)	Preventing Food and Ingredient Contamination: Preventing cross contamination,	ready-to-eat foods not appropriately separated from raw foods, meat patties

FC 3-305.11(A)(2)*	Preventing Contamination from Premises: Food exposed to dust, fans in cooler dusty

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, gasket damaged

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, wall cover not secured properly

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, 	gasket dirty

Ice Machine

FC 4-601.11(A)*	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, interior 	surfaces of ice machine dirty

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, ice scoop holder 	dirty

Building E

West Side

Stairway

105 CMR 451.350*	Structural Maintenance: Window pane damaged

West Down Control

Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling paint damaged

105 CMR 451.123*	Maintenance: Wall tiles missing

105 CMR 451.123	Maintenance: Ceiling vent dirty

West Down Low

Hallway

105 CMR 451.350*	Structural Maintenance: Floor damaged

Showers

105 CMR 451.119	Bathing Facilities: Inadequate shower to inmate ratio, 2 functioning shower heads 	available for 50 plus inmates

105 CMR 451.121(A)	Privacy: No privacy partition between shower heads

105 CMR 451.123	Maintenance: Shower walls and floor tiles need re-grouting

105 CMR 451.123	Maintenance: Shower tiles damaged

105 CMR 451.123	Maintenance: Soap scum on walls and floor in shower

105 CMR 451.123	Maintenance: Pipe on ceiling rusted

105 CMR 451.123	Maintenance: Rope used to secure shower curtain no easily cleanable

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head # 1 leaking

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, 3 shower head unit not 	functioning at the time of inspection

Cells

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 105

Day Room

105 CMR 451.353*	Interior Maintenance: Window sills filled with trash

Phone Room

105 CMR 451.344	Illumination in Habitable Areas: Inadequate lighting, one light fixture not functioning 	properly

105 CMR 451.353*	Interior Maintenance: Window sills filled with trash

West Down High

Hallway

105 CMR 451.350*	Structural Maintenance: Floor damaged

Slop Sink Room

105 CMR 451.353	Interior Maintenance: No light shield provided in maintenance area

105 CMR 451.353	Interior Maintenance: Wet mop left in bucket

105 CMR 451.353	Interior Maintenance: Vent cover damaged

105 CMR 451.353	Interior Maintenance: Light switch cover plate damaged

Showers

105 CMR 451.119*	Bathing Facilities: Inadequate shower to inmate ratio, 2 functioning shower heads 	available for 50 plus inmates

105 CMR 451.121(A)	Privacy: No privacy partition between shower heads

105 CMR 451.123*	Maintenance: Ceiling dirty

105 CMR 451.123*	Maintenance: Dirty tap on upper wall tiles

105 CMR 451.123*	Maintenance: Rope used to secure shower curtain not easily cleanable

105 CMR 451.123*	Maintenance: Shower walls need re-grouting

105 CMR 451.123*	Maintenance: Wall tiles damaged

105 CMR 451.123*	Maintenance: Soap scum on lower walls in shower

105 CMR 451.123	Maintenance: Step tiles damaged

105 CMR 451.123	Maintenance: Drain cover loose

105 CMR 451.123	Maintenance: Floor tiles missing

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, 3 shower head unit not 	functioning at the time of inspection

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, 1 shower head missing from 3 	shower head unit

Cells

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 134 and 153

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 128, 129, 130, 131, 132, 137, 	138, and 142

105 CMR 451.353	Interior Maintenance: Evidence of water damaged on the ceiling in cell # 130 and 131

Day Room

105 CMR 451.344	Illumination in Habitable Areas: Inadequate lighting, one light fixture not functioning 	properly

105 CMR 451.353	Interior Maintenance: Window sills filled with trash

West Up Control

105 CMR 451.344*	Illumination in Habitable Areas: One light fixture not working properly

105 CMR 451.353*	Interior Maintenance: Counter top and drawer covers damaged and no longer easily 	cleanable

105 CMR 451.353	Interior Maintenance: Dead insects observed in light shield

Control Closet

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

Staff Bathroom

105 CMR 451.123*	Maintenance: Light shield missing

105 CMR 451.123*	Maintenance: Interior door frame loose from wall

105 CMR 451.123*	Maintenance: Sink not properly secured to wall

105 CMR 451.123*	Maintenance: Walls need re-grouting in some areas

105 CMR 451.123*	Maintenance: Wall tiles damaged

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 920F

Broom Closet

105 CMR 451.350*	Structural Maintenance: Window pane damaged

105 CMR 451.350*	Structural Maintenance: Floor damaged

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

105 CMR 451.353	Interior Maintenance: Wet mop not hung properly

West Up Low

Hallway

105 CMR 451.350*	Structural Maintenance: Floor damaged

Showers

105 CMR 451.121(A)	Privacy: No privacy partition between shower heads

105 CMR 451.123*	Maintenance: Wall tiles damaged

105 CMR 451.123*	Maintenance: Shower walls and floor need re-grouting

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Rope used to secure shower curtain not easily cleanable

105 CMR 451.123*	Maintenance: Ceiling outside shower unit dirty and paint damaged

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation in shower area

Cells

105 CMR 451.350*	Structural Maintenance: Window pane damaged in cell # 210

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 207

Day Room

105 CMR 451.353*	Interior Maintenance: Window sills filled with trash

105 CMR 451.353	Interior Maintenance: One stool top missing from table

Phone Room

105 CMR 451.353*	Interior Maintenance: Window sills filled with trash

West Up High

Hallway

105 CMR 451.350*	Structural Maintenance: Floor damaged

Slop Sink Room

No Violations Noted

Showers

105 CMR 451.119*	Bathing Facilities: Inadequate shower to inmate ratio, 2 functioning shower heads 	available for 50 plus inmates

105 CMR 451.121(A)	Privacy: No privacy partition between shower heads

105 CMR 451.123*	Maintenance: Shower walls need re-grouting

105 CMR 451.123*	Maintenance: Wall tiles damaged

105 CMR 451.123*	Maintenance: Soap scum and possible mold growth on walls in shower

105 CMR 451.123*	Maintenance: Rope used to secure shower curtain not easily cleanable

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, 3 shower head unit not 	functioning at the time of inspection

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation in shower area

Cells

No Violations Noted

Day Room

105 CMR 451.350	Structural Maintenance: Window panes missing

105 CMR 451.353*	Interior Maintenance: Window sills filled with trash

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged

East Side

Stairway

105 CMR 451.353	Interior Maintenance: Window sill filled with trash

East Down Control

105 CMR 451.353*	Interior Maintenance: Counter top and drawer covers damaged and no longer easily 	cleanable

Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling and ceiling paint damaged

East Down Low

Hallway

105 CMR 451.350*	Structural Maintenance: Floor damaged

Showers

105 CMR 451.119*	Bathing Facilities: Inadequate shower to inmate ratio, 2 functioning shower heads 	available for 50 plus inmates

105 CMR 451.121(A)	Privacy: No privacy partition between shower heads

105 CMR 451.123*	Maintenance: Wall tiles damaged

105 CMR 451.123*	Maintenance: Vent cover rusted

105 CMR 451.123*	Maintenance: Floor tiles damaged and missing

105 CMR 451.123*	Maintenance: Ceiling rusted outside shower unit

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, 3 shower head unit not 	functioning at the time of inspection

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation in shower area

Cells

105 CMR 451.350	Structural Maintenance: Window pane in door damaged in cell # 308 and 320

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 301, 302, 303, 304,306, 309, 	310, 311, 314, 315, 316, 317, 319, 320, 322, 325, and 327

Day Room

105 CMR 451.350*	Structural Maintenance: Floor damaged

105 CMR 451.353	Interior Maintenance: Window sills filled with trash

Phone Room

105 CMR 451.350*	Structural Maintenance: Wall damaged

East Down High

Hallway

105 CMR 451.350*	Structural Maintenance: Floor damaged

Slop Sink Room

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet not secured properly

105 CMR 451.353	Interior Maintenance: Ceiling rusted

Showers

105 CMR 451.119*	Bathing Facilities: Inadequate shower to inmate ratio, 2 functioning shower heads 	available for 50 plus inmates

105 CMR 451.121(A)	Privacy: No privacy partition between shower heads

105 CMR 451.123*	Maintenance: Wall and floor tiles damaged and missing

105 CMR 451.123*	Maintenance: Shower walls and floor need re-grouting

105 CMR 451.123*	Maintenance: Vent rusted

105 CMR 451.123	Maintenance: Shield missing from water controls on shower head # 2

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, one shower head leaking

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, 3 shower head unit not 	functioning at the time of inspection

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation in shower area

Cells

105 CMR 451.103	Mattresses: Mattress damage in cell # 334

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 330, 331, 332, 338, 339, 346, 	and 348

Day Room

105 CMR 451.344	Illumination in Habitable Areas: Inadequate lighting, one light fixture not functioning 	properly

105 CMR 451.353	Interior Maintenance: Window sills filled with trash

East Up Control

105 CMR 451.353*	Interior Maintenance: Counter top and drawer covers damaged and no longer easily 	cleanable

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator 	temperature recorded at 430F

Staff Bathroom

105 CMR 451.123*	Maintenance: Window sill dirty

105 CMR 451.123*	Maintenance: Ceiling paint damaged

105 CMR 451.126*	Hot Water: Hot water temperature recorded in excess of 1350F

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet loose

Broom Closet

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

105 CMR 451.353*	Interior Maintenance: Light shield not provided in a maintenance area

East Up Low

Hallway

105 CMR 451.350*	Structural Maintenance: Floor damaged

Showers

105 CMR 451.121(A)	Privacy: No privacy partition between shower heads

105 CMR 451.123*	Maintenance: Ceiling, wall, floor, and step tiles missing and damaged

105 CMR 451.123*	Maintenance: Ceiling paint damaged outside shower unit

105 CMR 451.123	Maintenance: Vent rusted

105 CMR 451.123	Maintenance: Shower wall tiles need re-grouting

105 CMR 451.123	Maintenance: Soap scum on walls in shower unit

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation in shower area

Cells

105 CMR 451.350	Structural Maintenance: Window pane missing in cell # 404

Day Room

105 CMR 451.353*	Interior Maintenance: Window sills filled with trash

Phone Room

105 CMR 451.353	Interior Maintenance: Window sills filled with trash

East Up High

Hallway

105 CMR 451.350*	Structural Maintenance: Floor damaged

Slop Sink Room

105 CMR 451.353	Interior Maintenance: Wet mop left in bucket

Showers

105 CMR 451.121(A)	Privacy: No privacy partition between shower heads

105 CMR 451.123*	Maintenance: Wall and floor tiles damaged

105 CMR 451.123*	Maintenance: Shower ceiling, walls, and floor need re-grouting

105 CMR 451.123*	Maintenance: Vent dirty and rusted

105 CMR 451.123*	Maintenance: Step tiles missing

105 CMR 451.123*	Maintenance: Rope used to secure shower curtain not easily cleanable

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation in shower area

Cells

105 CMR 451.103	Mattresses: Mattress damage in cell # 443

Day Room

105 CMR 451.353*	Interior Maintenance: Window sills filled with trash

Building H

Basement

H-1 Overflow Housing Unit	Closed

Workout Room

No Violations Noted

Inmate Bathroom

105 CMR 451.123*	Maintenance: Floor dirty

105 CMR 451.123	Maintenance: Light shield dirty

Stairway

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged and missing

First Floor

Hallway

105 CMR 451.350*	Structural Maintenance: Wall damaged

Gym Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling paint damaged

105 CMR 451.123*	Maintenance: Floor tiles damage near doorway

Gym

No Violations Noted

Mop Closet

105 CMR 451.353	Interior Maintenance: Light fixture not functioning properly

Office

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, refrigerator gasket damaged

Staff Bathroom

105 CMR 451.123*	Maintenance: Wall damaged

105 CMR 451.123	Maintenance: Paper towels secured using an absorbent string that is not easily 	cleanable

Inmate Bathroom

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.123*	Maintenance: Ceiling paint damaged

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, no water provided to sink # 3

Slop Sink Room

105 CMR 451.353*	Interior Maintenance: Slop sink not easily cleanable

105 CMR 451.353*	Interior Maintenance: Uncapped wires on ceiling

Barber Shop

105 CMR 451.344	Illumination in Habitable Areas: Inadequate lighting, light fixtures not functioning 	properly

105 CMR 451.350	Structural Maintenance: Floor tiles damaged

105 CMR 451.353*	Interior Maintenance: Insulation not secured properly to vent

105 CMR 451.353*	Interior Maintenance: Ceiling panels not installed properly

Second Floor

Hallway

No Violations Noted

Inmate Bathroom

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sinks

105 CMR 451.123	Maintenance: Inadequate lighting, one light fixture not functioning properly

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, toilet #2 out of order

Male Staff Bathroom

105 CMR 451.123	Maintenance: Inadequate lighting, two light fixtures not functioning properly

105 CMR 451.123	Maintenance: Privacy partition loose

Female Staff Bathroom

No Violations Noted

Slop Sink Room

No Violations Noted

Building I

Common Area

105 CMR 451.345	Illumination in Common Passage Ways and Areas: Inadequate lighting, several light 	fixtures not functioning properly

Front Staff Office

No Violations Noted

Front Staff Bathroom

105 CMR 451.110(B)	Hygiene Supplies at Toilet and Handwash Sink: No waste receptacle at handwash sink

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1060F

Front Inmate Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 910F

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilets clogged

Side Office

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator 	temperature recorded at 500F

Back Staff Bathroom

105 CMR 451.123*	Maintenance: Light shield missing

105 CMR 451.123*	Maintenance: Cold water control difficult to use

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 700F

Back Inmate Bathroom

105 CMR 451.124	Water Supply: Insufficient water supply in quantity and pressure at handwash sink

Paint Shop Trap and Bathroom	Under renovation at the time of inspection

Paint Shop Inmate Bathroom	Under renovation at the time of inspection

Building J

Hallways

105 CMR 451.350	Structural Maintenance: Floor tiles damaged

J Control Corridor

105 CMR 451.345*	Illumination in Common Passage Ways and Areas: Inadequate lighting, one light 	fixture not working properly

105 CMR 451.345	Illumination in Common Passage Ways and Areas: Inadequate lighting, light 	fixtures not functioning properly

Female Staff Bathroom

105 CMR 451.123*	Maintenance: Wall damaged and no longer easily cleanable

105 CMR 451.123*	Maintenance: Floor damaged and no longer easily cleanable

105 CMR 451.123	Maintenance: Inadequate lighting, light fixture not functioning properly

105 CMR 451.124*	Water Supply: Insufficient water supply in quantity and pressure at handwash sink # 1

105 CMR 451.126	Hot Water: Hot water temperature recorded in excess of 1300F

Male Staff Bathroom

105 CMR 451.123*	Maintenance: Wall damaged and no longer easily cleanable

105 CMR 451.123*	Maintenance: Floor damaged and no longer easily cleanable

105 CMR 451.123	Maintenance: Countertop damaged

105 CMR 451.126	Hot Water: Hot water temperature recorded in excess of 1300F

Janitor’s Closet

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking

Staff Kitchen and Dinning Room

Outside-Dry Storage

No Violations Noted

Back Hallway

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, one light fixture 	not functioning properly

Back Door

FC 6-202.15(A)(2)*	Design, Construction, and Installation; Functionality: Outer door not weather and 	vermin tight

Refrigerators and Freezer Units

FC 3-302.11(A)(1)(b)	Preventing Food and Ingredient Contamination: Preventing cross contamination,	ready-to-eat foods not appropriately separated from raw foods, eggs

Staff Bathroom

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks hot water temperature recorded in 	excess of 1340F

Baking and Prep Room

FC 3-304.12(A)*	Preventing Contamination from Utensils: Service utensils handle stored below the 	food and container line, several Styrofoam bowls left in dry goods containers

FC 3-305.11(A)(2)	Preventing Contamination from Premises: Food exposed to dust, vent fans dusty

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, dry goods containers lids damaged and do not close tightly

Refrigerator

FC 3-501.16(B)*	Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator 	temperature recorded at 500F

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer or gage in 	refrigerator unit

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, refrigerator gasket damaged

Kitchen Area

FC 2-402.11	Hygienic Practices; Hair Restraints: Food service personnel not wearing appropriate 	hair restraints, beard guards

Inmate Bathroom

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, paper towel holder 	damaged

Dry Storage Closet

FC 4-102.11(B)(2)*	Materials for Construction and Repair; Multiuse: Unused single-service article not 	protected against contamination, plastic utensil boxes left open

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor paint 	damaged

2-Compartment Sink

FC 3-304.14(B)(2)	Preventing Contamination from Linens: Wet cloth not stored in sanitizer bucket, 	cloths store in a bucket of soap water at the start of inspection

Dish Washing Area

FC 4-501.112(A)(2)	Maintenance and Operation, Equipment: Inadequate water temperature in the	mechanical warewashing machine, wash temperature reading 1400F on the gage

FC 4-501.114(C)(2)	Maintenance and Operation; Equipment: Quaternary ammonium solution inadequate 	concentration according to the manufacturers recommendations in the sanitizer bay of 	the 3 compartment sink

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor tiles 	damaged

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, caulking dirty 	near rinse sink

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, vent dirty over 	mechanical warewashing machine

Food Service Line

FC 3-305.11(A)(2)	Preventing Contamination from Premises: Food exposed to dust, fans in salad bar 	refrigerator dusty

FC 3-501.16(B)*	Limitation of Growth of Organisms, Temperature and Time Control: Salad bar 	refrigerator temperature recorded at 680F

FC 4-204.112(A)*	Design and Construction, Functionality: No functioning thermometer in salad bar 	refrigerator unit

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, dessert and salad bar cooler gaskets damaged

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks hot water temperature recorded in 	excess of 1340F

FC 6-501.111(B)	Maintenance and Operations; Pest Control: Dead insects observed in draws near salad 	bar refrigerator

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, portable fan 	dirty

Ice Machine

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, ice scoop holder damaged

Dinning Room

FC 3-302.11(A)(4)*	Preventing Food and Ingredient Contamination: Preventing cross contamination, 	several self-service food items not appropriately covered or protected by a sneeze 	guard

FC 6-202.15(A)(2)*	Design, Construction, and Installation; Functionality: Outer door not weather and 	vermin tight

Janitor’s Closet

FC 5-203.14	Plumbing System, Design: Cap missing from backflow prevention device

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, vent dirty

Second Floor

Phase II Classification

Inmate Bathroom

No Violations Noted

Staff Bathroom	Occupied at the time of inspection

Inmate Bathroom-Waiting Area

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Water Fountain

No Violations Noted

Slop Sink Room

105 CMR 451.353	Interior Maintenance: Wall paint damaged

Female Staff Bathroom

105 CMR 451.123*	Maintenance: Wall damaged and no longer easily cleanable

Male Staff Bathroom

105 CMR 451.123*	Maintenance: Unfinished wooden surface secured to wall

Staff Dinning Room

No Violations Noted

J Housing Units

105 CMR 451.322*	Cell Size: Inadequate floor space in cells

Unit J1

Common Areas

105 CMR 451.345	Illumination in Common Passage Ways and Areas: Inadequate lighting, light 	fixture not functioning properly outside cell # 11

105 CMR 451.353	Interior Maintenance: Wall paint damaged near cell # 18

105 CMR 451.353	Interior Maintenance: Wall dirty near cell # 20 and fan

Staff Bathroom

105 CMR 451.123*	Maintenance: Wall paint damaged near toilet fixture

105 CMR 451.126	Hot Water: Hot water temperature recorded in excess of 1400F

Staff Office

105 CMR 451.353*	Interior Maintenance: Vent cover missing

Slop Sink Room (1st Tier)

105 CMR 451.353	Interior Maintenance: Wall paint damaged behind slop sink

Slop Sink Room (3rd Tier)

No Violations Noted

Cells

105 CMR 451.353*	Interior Maintenance: Sprinkler head cone not flush to wall in cell # 5

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 8, 11, 14, 15, 16, and 21

1st Tier Showers

105 CMR 451.123	Maintenance: Standing water observed on floor

105 CMR 451.123	Maintenance: Shower floor need re-grouting in shower # 2

105 CMR 451.123	Maintenance: Shower walls no longer easily cleanable, unfilled holes in shower # 2

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, vent painted over in shower # 2

2nd Tier Showers

105 CMR 451.123*	Maintenance: Floor tiles missing in all shower stalls

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1 and 2

105 CMR 451.123*	Maintenance: Wall cover damaged in shower # 1 and 2

105 CMR 451.123	Maintenance: Shower walls no longer easily cleanable, unfilled holes in shower stalls

105 CMR 451.123	Maintenance: Wall cover not secured properly in shower stalls

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower heads leaking in shower 	stalls

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, vent painted over in all shower stalls

3rd Tier Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in both showers stalls

105 CMR 451.123*	Maintenance: Door frame paint damaged in both showers stalls

105 CMR 451.123	Maintenance: Shower walls no longer easily cleanable, unfilled holes in shower stalls

105 CMR 451.123	Maintenance: Wall cover damaged in shower stall # 1

105 CMR 451.123	Maintenance: Floor tiles missing in shower # 2

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, vent painted over in both showers stalls

Unit J2

Common Area

105 CMR 451.353*	Interior Maintenance: Water stains on wall near cell # 45

105 CMR 451.353	Interior Maintenance: Ceiling dirty

Staff Bathroom

No Violations Noted

Slop Sink Room (1st Tier)

105 CMR 451.353	Interior Maintenance: Wet mop left in bucket

105 CMR 451.353	Interior Maintenance: Inadequate lighting, light fixture not functioning properly

Slop Sink Room (3rd Tier)

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, slop sink leaking

105 CMR 451.353	Interior Maintenance: Inadequate lighting, light fixture not functioning properly

Cells

105 CMR 451.101	Blankets: Blanket damaged in cell # 10

105 CMR 451.353*	Interior Maintenance: Sprinkler head not flush to wall in cell # 33

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 1, 3, 5, 7, 8, 9, 11, 12, 26, 27, 	28, 30, and 41

1st Tier Showers

105 CMR 451.123*	Maintenance: Unfilled holes in wall cover at in shower stall # 1 and 2

105 CMR 451.123*	Maintenance: Soap scum on walls in shower stall # 1 and 2

105 CMR 451.123*	Maintenance: Rope used to secure shower curtain not easily cleanable in shower stall 	# 3

105 CMR 451.123	Maintenance: Soap scum on shower curtain in shower stall # 3

105 CMR 451.123	Maintenance: Floor tiles damaged in shower stall # 1 and 2

2nd Tier Showers

105 CMR 451.123*	Maintenance: Unfilled holes in wall cover in shower stall # 1 and 3

105 CMR 451.123*	Maintenance: Soap scum on walls in shower stall # 1 and 3

105 CMR 451.123*	Maintenance: Floor tiles damaged and missing in all shower stall # 1 and 3

105 CMR 451.123	Maintenance: Shower wall cover damaged in shower stall # 1 and 3

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking in shower 	stall # 3

105 CMR 451.123	Maintenance: Soap scum on curtain in shower stall # 1, 2, and 3

3rd Tier Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in both showers stalls

105 CMR 451.123*	Maintenance: Shower floor need re-grouting in both showers stalls

105 CMR 451.123*	Maintenance: Wall finish peeling in shower stall # 2

105 CMR 451.123*	Maintenance: Shower curtain dirty

105 CMR 451.123*	Maintenance: Floor tiles missing in shower stalls

105 CMR 451.123	Maintenance: Soap scum on floor in both showers stalls

105 CMR 451.123	Maintenance: Wall damaged in shower stall # 1

Unit J3

Common Area

105 CMR 451.353	Interior Maintenance: Wall fan dirty

Staff Bathroom

No Violations Noted

Slop Sink Room (1st Tier)

105 CMR 451.353	Interior Maintenance: Vent dirty

Slop Sink Room (3rd Tier)

105 CMR 451.130*	Plumbing: Backflow preventer cap missing on slop sink

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Water Fountain

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 1, 2, 5, 7, 8, 11, 12, 13, 14, 15, 	16, 22, 25, and 38

1st Tier Showers 	Shower stall # 1 and 3 under renovation at the time of inspection

105 CMR 451.123*	Maintenance: Unfilled holes in wall cover in shower stall # 2

105 CMR 451.123	Maintenance: Wall cover damaged in shower stall # 2

105 CMR 451.123	Maintenance: Floor unfinished in shower stall # 2

2nd Tier Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower stall # 1, 2, and 3

105 CMR 451.123*	Maintenance: Wall cover damaged in shower stall # 1 and 3

105 CMR 451.123	Maintenance: Unfilled holes in wall cover in shower stall # 1, 2, and 3

105 CMR 451.123	Maintenance: Floor tiles damaged in shower stall # 1, 2, and 3

3rd Tier Showers

105 CMR 451.123	Maintenance: Shower vents dirty

105 CMR 451.123	Maintenance: Soap scum on walls in shower stall # 1 and 2

105 CMR 451.123	Maintenance: Wall cover damaged in shower # 1

105 CMR 451.123	Maintenance: Unfilled holes in wall cover in shower stall # 1 and 2

105 CMR 451.123	Maintenance: Floor tiles damaged in shower stall # 2

Unit J4

Common Area

105 CMR 451.345*	Illumination in Common Passage Ways and Areas: Inadequate lighting, several light bulbs missing

105 CMR 451.353*	Interior Maintenance: Light shield missing

105 CMR 451.353	Interior Maintenance: Ceiling paint water damaged

Staff Room

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator 	temperatures recorded at 45 and 430F

105 CMR 451.344	Illumination in Habitable Areas: Inadequate lighting, one light fixture not functioning 	properly

Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling damaged

Slop Sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, slop sink leaking

Cells

105 CMR 451.101	Blankets: Blanket damaged in cell # 10, 12, and 21

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 12, 13, and 18

1st Tier Showers

105 CMR 451.123*	Maintenance: Floor tiles damaged in shower stall # 1 and 2

105 CMR 451.123*	Maintenance: Wall covering not secured properly in shower stall # 1 and 2

105 CMR 451.123	Maintenance: Lower wall tiles damaged in shower stall # 1 and 2

105 CMR 451.123	Maintenance: Shower vents dirty

2nd Tier Showers

105 CMR 451.123	Maintenance: Shower floor need re-grouting in shower stall # 1

105 CMR 451.123	Maintenance: Shower vent rusted and dirty in shower stall # 1 and 2

105 CMR 451.123	Maintenance: Vent cover damaged in shower # 2

105 CMR 451.123	Maintenance: Wall cover damaged in shower stall # 1 and 2

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking in shower 	stall # 2

3rd Tier Showers

105 CMR 451.123*	Maintenance: Unfilled holes in wall covering in shower stall # 1

105 CMR 451.123*	Maintenance: Wall cover damaged in shower stall # 1 and 2

105 CMR 451.123*	Maintenance: Vent cover rusted in shower stall # 1 and 2

105 CMR 451.123*	Maintenance: Wall cover not sealed to floor properly in shower stall # 1

105 CMR 451.123*	Maintenance: Floor tiles damaged and missing in shower stall # 2

Unit J5

Common Area

105 CMR 451.353	Interior Maintenance: Several light bulbs missing

105 CMR 451.353	Interior Maintenance: Ceiling dirty

Staff Bathroom

105 CMR 451.123	Maintenance: Toilet paper holder damaged

Slop Sink Room (1st Tier)

105 CMR 451.353*	Interior Maintenance: Wet mop left in bucket

Slop Sink Room (3rd Tier)

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Staff Room (3rd Tier)

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Cells

105 CMR 451.101	Blankets: Blanket damaged in cell # 6

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 1, 2, 3, 4, 5, 6, 7, 8, 9, 11, 13, 	14, 16, 17, 18, 19, 20, 23, 25, 26, 30, 33, 34, 35, 36, 37, 38, 40, 41, and 44

105 CMR 451.353	Interior Maintenance: Ceiling dirty in cell # 3

1st Tier Showers

105 CMR 451.123*	Maintenance: Wall covering not properly secured in shower stall # 1, 2, and 3

105 CMR 451.123*	Maintenance: Vent cover missing in shower stall # 1

105 CMR 451.123*	Maintenance: Unfilled holes in wall covering in shower stall # 1, 2, and 3

105 CMR 451.123	Maintenance: Ceiling paint damaged outside shower unit

105 CMR 451.123	Maintenance: Soap scum on shower curtain in shower # 2 and 3

105 CMR 451.123	Maintenance: Floor tiles damaged and missing in shower stall # 1, 2, and 3

105 CMR 451.123	Maintenance: Wall cover damaged in shower stall # 1, 2, and 3

105 CMR 451.123	Maintenance: Rope used to secure shower curtain not easily cleanable in shower stall 	# 1 and 2

105 CMR 451.123	Maintenance: Shower vent dirty in shower stall # 2 and 3

2nd Tier Showers

105 CMR 451.123*	Maintenance: Unfilled holes in wall covering in shower stall # 1 and 3

105 CMR 451.123*	Maintenance: Wall cover damaged in shower stall # 1 and 3

105 CMR 451.123*	Maintenance: Wall covering not properly secured in shower stall # 3

105 CMR 451.123	Maintenance: Ceiling paint damaged outside shower unit

105 CMR 451.123	Maintenance: Floor tiles missing in shower stall # 3

105 CMR 451.123	Maintenance: Vent cover rusted in shower stall # 1

105 CMR 451.123	Maintenance: Rope used to secure shower curtain not easily cleanable in shower stall 	# 2

3rd Tier Showers

105 CMR 451.123*	Maintenance: Wall cover damaged and unfilled holes in shower stall # 2

105 CMR 451.123*	Maintenance: Floor tiles damaged in shower stall # 2

105 CMR 451.123*	Maintenance: Shower floor need re-grouting in shower stall # 2

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1 and 2

105 CMR 451.123	Maintenance: Soap scum on shower curtain in shower # 1

105 CMR 451.123	Maintenance: Soap scum on floor in shower # 2

105 CMR 451.123	Maintenance: Rope used to secure shower curtain not easily cleanable in shower stall 	# 1

Unit J6

Common Area

No Violations Noted

Staff Bathroom

105 CMR 451.123	Maintenance: Toilet paper and paper towel holders damaged

Slop Sink Room (1st Tier)

105 CMR 451.353*	Interior Maintenance: Wet mops not allowed to dry properly, wet mop left on floor

Slop Sink Room (3rd Tier)

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 1, 3, 4, 8, 9, 11, 12, 13, 15, 26, 	29, 32, 35, 36, and 44

1st Tier Showers

105 CMR 451.123*	Maintenance: Unfilled holes in wall covers in shower stall # 2 and 3

105 CMR 451.123*	Maintenance: Soap scum on walls in shower stall # 2 and 3

105 CMR 451.123	Maintenance: Ceiling paint damaged outside shower unit

105 CMR 451.123	Maintenance: Wall cover damaged in shower stall # 2 and 3

105 CMR 451.123	Maintenance: Vent cover rusted in shower stall # 2

105 CMR 451.123	Maintenance: Step tiles damaged in shower # 2

105 CMR 451.123	Maintenance: Floor tiles damaged in shower stall # 3

105 CMR 451.123	Maintenance: Floor finish damaged in shower stall # 1

2nd Tier Showers

105 CMR 451.123*	Maintenance: Ceiling paint damage outside shower stalls

105 CMR 451.123*	Maintenance: Unfilled holes in wall covers in shower stall # 1, 2, and 3

105 CMR 451.123*	Maintenance: Wall cover damaged in shower stall # 1, 2, and 3

105 CMR 451.123*	Maintenance: Soap scum on walls in shower stall # 1, 2, and 3

105 CMR 451.123*	Maintenance: Shower floor need re-grouting in shower stall # 1 and 2

105 CMR 451.123*	Maintenance: Floor tiles damaged in shower stall # 1, 2, and 3

105 CMR 451.123*	Maintenance: Vent cover rusted in shower stall # 1, 2, and 3

105 CMR 451.123	Maintenance: Rust stains observed on shower wall cover in shower stall # 1, 2, and 3

3rd Tier Showers

105 CMR 451.123*	Maintenance: Unfilled holes in wall covers in both shower stalls

105 CMR 451.123*	Maintenance: Wall cover damaged in both shower stalls

105 CMR 451.123	Maintenance: Floor tiles damaged in shower stall # 2

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking in shower 	stall # 2

Dorm J7

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm area

Mop Closet

105 CMR 451.353	Interior Maintenance: Wet mop left in bucket

Bathroom

105 CMR 451.123*	Maintenance: Vent cover missing

105 CMR 451.123	Maintenance: Light shield damaged

Shower Room

105 CMR 451.123	Maintenance: Walls no longer easily cleanable, unfilled holes from old water controls 	left in shower stall # 1 and 5

105 CMR 451.123	Maintenance: Walls no longer easily cleanable, wall finish damaged in shower stall

# 4 and 5

Health Service Unit

Hallway

No Violations Noted

Med Room C125B

No Violations Noted

Med Room C122

105 CMR 451.353*	Interior Maintenance: Vent dirty

Nurses’ Control Area

105 CMR 451.345*	Illumination in Common Passage Ways and Areas: Inadequate lighting, several light 	fixtures not working properly

Waiting Rooms 102 to 104

No Violations Noted

Medical Unit Cells

Cell # 108

No Violations Noted

Cell # 110

No Violations Noted

Cell # 112

No Violations Noted

Shower Unit

105 CMR 451.123*	Maintenance: Wall dirty

105 CMR 451.123*	Maintenance: Bench rusted

Janitor’s Closet # 133

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, slop sink leaking

Men’s Room C107A

105 CMR 451.123	Maintenance: Ceiling vent dirty

Optometry Room C 108A

105 CMR 451.123	Maintenance: Inadequate lighting, one light fixture not functioning properly

Slop Sink Room C109A

No Violations Noted

Room C110A

105 CMR 451.353	Interior Maintenance: Vent dirty

Trauma Room 2 C111A

105 CMR 451.344	Illumination in Habitable Areas: Inadequate lighting, one light fixture not functioning 	properly

Nurse Practitioners Office C112A

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1400F

105 CMR 451.353	Interior Maintenance: Vent dirty

Phlebotomy Room C114A

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1650F

105 CMR 451.353	Interior Maintenance: Vent dirty

Exam Room C116A

105 CMR 451.126	Hot Water: Hot water temperature recorded at 650F in exam rooms

Exam Room C117A 	Occupied at the time of inspection

Exam Room C118A	Occupied at the time of inspection

Staff Break Room C119A

105 CMR 451.350	Structural Maintenance: Floor damaged

105 CMR 451.353	Interior Maintenance: Vent dirty

Women’s Bathroom C 121

105 CMR 451.123*	Maintenance: Hot water handle damaged

Back Storage

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking

105 CMR 451.353	Interior Maintenance: Handwash sink hard water stained

Exam Room C126

105 CMR 451.344	Illumination in Habitable Areas: Inadequate lighting, one light fixture not functioning 	properly

X-Ray Room C 127

No Violations Noted

Dental Exam Room C129 and C130

No Violations Noted

Building K

Staff Bathroom C-101

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink at the start 	of inspection

Inmate Bathroom C-102

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink at the start 	of inspection

Janitor’s Closet

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353*	Interior Maintenance: Ceiling dirty

105 CMR 451.353	Interior Maintenance: Vent dirty

105 CMR 451.353	Interior Maintenance: Wet mop left in bucket

Protestant Chapel

105 CMR 451.350	Structural Maintenance: Wall damaged

Catholic Chapel

105 CMR 451.141	Screens: Screen damaged on window # 6 and 18

105 CMR 451.344	Illumination in Habitable Areas: Inadequate lighting, several light fixtures not 	functioning properly

Islamic Chapel

No Violations Noted

Security Staff Room

No Violations Noted

Storage Room

No Violations Noted

Building L

Inmate Processing Common Area

No Violations Noted

Office

105 CMR 451.353	Interior Maintenance: Vent dirty

Staff Break Room

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator 	temperature recorded at 480F

FC 4-101.16*	Materials for Construction and Repair; Multiuse: Sponges used in kitchen

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks hot water temperature recorded in 	excess of 1330F

Bathroom

105 CMR 451.123*	Maintenance: Handwash sinks dirty

105 CMR 451.123*	Maintenance: Ceiling paint damaged

105 CMR 451.123*	Maintenance: Vent covers missing

105 CMR 451.123*	Maintenance: Tiles damaged

105 CMR 451.123	Maintenance: Inadequate lighting, one light fixture not functioning properly

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 620F at sink # 1

105 CMR 451.126*	Water Supply: No hot water supplied to handwash sink # 2

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet loose

Staff Bathroom

No Violations Noted

Dorms

Laundry Room

105 CMR 451.353	Interior Maintenance: Vent dirty

Buffer Storage Room

No Violations Noted

Dorm Control

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

FC 4-601.11(c)*	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty,	refrigerator gasket and door handles dirty

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty,	refrigerator interior surfaces dirty

Control Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dirty

L1 Dorm

Common Area

105 CMR 451.344*	Illumination in Habitable Areas: Several light fixtures not working properly

105 CMR 451.350*	Structural Maintenance: Floor damaged

105 CMR 451.350*	Structural Maintenance: Ceiling damaged near bed # 26, 43, 64, and 81

Bathroom L1-14

105 CMR 451.123	Maintenance: Inadequate lighting, one light fixture not functioning properly

Shower Room L1-13 A&B	Occupied at the time of Inspection

Bathroom L1-12

105 CMR 451.123	Maintenance: Inadequate lighting, one light fixture not functioning properly

105 CMR 451.123	Maintenance: Ceiling vents dirty

105 CMR 451.126	Hot Water: Hot water temperature recorded in excess of 1300F

Dorm L2

Common Area

105 CMR 451.141*	Screens: Several screen damaged

105 CMR 451.344	Illumination in Habitable Areas: Several light fixtures not working properly

105 CMR 451.350*	Structural Maintenance: Ceiling water damaged in several areas

105 CMR 451.350	Structural Maintenance: Window damaged near bed # 70

Bathroom L1-22

105 CMR 451.123	Maintenance: Handwash sink # 3 and 4 dirty

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, cold water handle not functioning 	properly on handwash sink # 2

Shower Room L2-23 A&B

105 CMR 451.123*	Maintenance: Ceiling and ceiling paint damaged in shower area and stalls

105 CMR 451.123*	Maintenance: Soap scum on walls and floor in shower stalls

105 CMR 451.123*	Maintenance: Wall vents dirty in shower stalls

105 CMR 451.123	Maintenance: Possible mold growth observed on ceiling in shower stall # 1 and 2

105 CMR 451.123	Maintenance: Light fixture not working properly in front of shower stall # 5 and 6

105 CMR 451.123	Maintenance: Floor finish damaged in shower stall # 1, 2, 4, 6, 7, 9, and shower area

105 CMR 451.123	Maintenance: Shower curtain missing in shower stall # 6

105 CMR 451.123	Maintenance: Shower curtain rod rusted and damaged in shower # 2 and 4

105 CMR 451.123	Maintenance: Soap scum on shower curtain in shower stall #7, 8, and 9

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head missing in shower 	stall # 1

Bathroom L2-24

105 CMR 451.123*	Maintenance: Ceiling damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, one urinal out of order

105 CMR 451.123	Maintenance: Inadequate lighting, one light fixture not functioning properly

Dorm L3	Closed at the time of inspection

Modular Units

Lobby Area

105 CMR 451.345	Illumination in Common Passage Ways and Areas: Inadequate lighting, one light 	fixture not functioning properly

105 CMR 451.353	Interior Maintenance: Ceiling vents dirty

Control Area

No Violations Noted

Staff Bathroom

105 CMR 451.123	Maintenance: Ceiling vent dirty

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1350F

A Side

Recreational Area

105 CMR 451.344	Illumination in Habitable Areas: Inadequate lighting, several light fixtures not 	functioning properly

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

105 CMR 451.353	Interior Maintenance: Ceiling vents dirty

Bathroom

105 CMR 451.123	Maintenance: Floor damaged

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet loose on slop sink

Laundry Area

105 CMR 451.353	Interior Maintenance: Wall and floor dirty behind washer and dryer units

Shower Room

105 CMR 451.123*	Maintenance: Floor damaged in shower area

105 CMR 451.123	Maintenance: Dead insects observed on the ceiling in shower stall # 4

105 CMR 451.123	Maintenance: Shower curtain rod missing in shower stall # 3

105 CMR 451.123	Maintenance: Floor no longer easily cleanable, finish damaged in shower stall # 5, 6, 	and 8

105 CMR 451.123	Maintenance: Shower room floor dirty

105 CMR 451.123	Maintenance: Standing water observed on floor in shower room

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower head leaking in shower 	stall # 3

105 CMR 451.140	Adequate Ventilation: Evidence of inadequate ventilation observed, condensation 	building on ceiling outside shower stalls

A Dorm Rooms

1A

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

2A

105 CMR 451.344*	Illumination in Habitable Areas: One light fixture not working properly

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Potentially	hazardous food not held at the proper cold holding temperature, unrefrigerated milk 	and other foods observed in dorm room

3A

105 CMR 451.344	Illumination in Habitable Areas: Inadequate lighting, one light fixture not functioning 	properly

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

4A

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, two vents blocked

105 CMR 451.344	Illumination in Habitable Areas: Inadequate lighting, one light fixture not functioning 	properly

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

5A

105 CMR 451.344	Illumination in Habitable Areas: Inadequate lighting, two light fixtures not 	functioning properly

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

6A

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Potentially	hazardous food not held at the proper cold holding temperature, unrefrigerated milk 	observed in dorm room

7A

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

8A

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Potentially	hazardous food not held at the proper cold holding temperature, unrefrigerated milk 	observed in dorm room

9A

105 CMR 451.344	Illumination in Habitable Areas: Inadequate lighting, one light fixture not functioning 	properly

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

10A

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, one vent blocked

105 CMR 451.344	Illumination in Habitable Areas: Inadequate lighting, one light fixture not functioning 	properly

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

B Side

Recreational Area

105 CMR 451.345	Illumination in Common Passage Ways and Areas: Inadequate lighting, several light	fixtures not working properly

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

Mop Closets 103B

105 CMR 451.353	Interior Maintenance: Wet mop left in bucket

Bathroom

105 CMR 451.123*	Maintenance: Floor damaged

105 CMR 451.123	Maintenance: Countertop and backsplash damaged

105 CMR 451.123	Maintenance: Baseboard damaged

105 CMR 451.126*	Hot Water: Hot water temperature recorded in excess of 1400F

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, urinal # 3 out of order

Laundry Area

105 CMR 451.353	Interior Maintenance: Wall and floor dirty behind washer and dryer units

Shower Room

105 CMR 451.123*	Maintenance: Vent and speaker rusted in shower area

105 CMR 451.123*	Maintenance: Floor damaged in shower area

105 CMR 451.123*	Maintenance: Drain cover missing in shower stall # 1

105 CMR 451.123*	Maintenance: Floor no longer easily cleanable, finish damaged in shower stall # 8

105 CMR 451.123	Maintenance: Ceiling dirty

105 CMR 451.123	Maintenance: Ceiling vent dirty

105 CMR 451.123	Maintenance: Soap scum observed on shower curtain in shower stall # 7

105 CMR 451.123	Maintenance: Floor no longer easily cleanable, finish damaged in shower stall # 1, 2, 	3, 4, 5, 6, and 7

B Dorm Rooms

1B

105 CMR 451.344	Illumination in Habitable Areas: Inadequate lighting, one light fixture not functioning 	properly

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Potentially	hazardous food not held at the proper cold holding temperature, unrefrigerated milk 	observed in dorm room

2B

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, one vent blocked

105 CMR 451.344	Illumination in Habitable Areas: Inadequate lighting, one light fixture not functioning 	properly

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

3B

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, two vents blocked

105 CMR 451.344*	Illumination in Habitable Areas: Inadequate lighting, one light fixture not functioning 	properly

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

4B

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, one vent blocked

105 CMR 451.344*	Illumination in Habitable Areas: Inadequate lighting, one light fixture not functioning 	properly

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

5B

105 CMR 451.344*	Illumination in Habitable Areas: Inadequate lighting, two light fixtures not 	functioning properly

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

6B

105 CMR 451.344	Illumination in Habitable Areas: Inadequate lighting, one light fixture not functioning 	properly

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

7B

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

8B

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

9B

105 CMR 451.344*	Illumination in Habitable Areas: Inadequate lighting, one light fixture not functioning 	properly

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

10B

105 CMR 451.344*	Illumination in Habitable Areas: Inadequate lighting, one light fixture not functioning 	properly

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

Outside Facility

Store House

Box 1

FC 6-202.11(A)*	Design, Construction, and Installation; Functionality: Light bulbs not shatter-resistant 	or protected by light shields

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, liquid observed in 	light fixture

Box 2

FC 6-202.11(A)*	Design, Construction, and Installation; Functionality: Light bulbs not shatter-resistant 	or protected by light shields

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, baseboard tiles 	damaged

Box 3	Used for storage at the time of inspection

Chemical Storage Room # 4

No Violations Noted

Slop Sink Room

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

105 CMR 451.353*	Interior Maintenance: Light shield not provided in a maintenance area

Men’s Room

105 CMR 451.123*	Maintenance: Light shield missing

105 CMR 451.123	Maintenance: Ceiling vent dirty

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 620F

Freezer 5

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, baseboard tiles 	damaged

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, wall seams 	damaged

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, liquid observed in 	light fixture

Cooler 6	Used for storage at the time of inspection

Cooler 7

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, baseboard tiles 	damaged

Staff Office

105 CMR 451.353	Interior Maintenance: Vent dirty

Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dirty

105 CMR 451.123	Maintenance: Light shield missing

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 620F

Inmate Break Room

No Violations Noted

Dry Goods Storage Room-2nd Floor

No Violations Noted

Towers

Tower # 1

No Violations Noted

Tower # 2

No Violations Noted

Tower # 3

No Violations Noted

Tower # 4

105 CMR 451.123	Maintenance: Handwash sink cracked

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking

Tower # 5

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator 	temperature recorded at 430F

Tower # 6

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

Observations and Recommendations

- Electrical outlet in staff bathroom C1-11 not equipped with a ground fault interrupter

- During the course of inspection several inmates and staff complained about a lack of ventilation in Building J, the Department recommends these complaints be investigated to ensure proper ventilation

- Hot water temperatures throughout the majority of the facility were well in excess of 1300F, the Department recommends care be taken to ensure water temperature are always maintained within appropriate range

- The inmate population was 1341 at the time of inspection

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within 10 days of receipt of this letter and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Community Sanitation Regulations" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Lauren Molotnikov

Environmental Health Inspector, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

JudyAnn Bigby, MD, Secretary, Executive Office of Health and Human Services

Luis S. Spencer, Acting Commissioner, DOC

George Frascarelli, FS/EHSO

Maurice Campbell, FS/EHSO

Concord Board of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Mary Elizabeth Heffernan, EOPS