The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

5 Randolph Street

Canton, MA 02021

Telephone:  (781) 828-8046

Facsimile:  (781) 828-7703

mikel.beacham@state.ma.us

DEVAL L. PATRICK GOVERNOR TIMOTHY P. MURRAY LIEUTENANT GOVERNOR JUDYANN BIGBY, MD SECRETARY JOHN AUERBACH COMMISSIONER

February 24, 2011

# Steven J. O’Brien, Superintendent

# M.C.I. Plymouth

# Myles Standish State Forest

# P.O. Box 207

# South Carver, MA 02366

Re: Facility Inspection

Dear Superintendent O’Brien:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, and Department of Public Health Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the M.C.I. Plymouth on February 16, 2011 accompanied by Jason Badger, Environmental Health and Safety Officer. Violations noted are listed below (* indicates conditions documented on previous inspection reports).

Central Control

Lobby

No Violations Noted

Staff Bathroom

105 CMR 451.121(B)*		Privacy: Bathroom is unisex

Medical Office

No Violations Noted

A Dorm

Bathroom

105 CMR 451.123*	Maintenance: Tiles need re-grouting

105 CMR 451.123	Maintenance: Tiles damaged

105 CMR 451.123	Maintenance: 3 light shields missing

105 CMR 451.123	Maintenance: Fan dirty

Hallway

105 CMR 451.350	Structural Maintenance: Light shield damaged

105 CMR 450.340		Illumination: Light out

B Dorm

Bathroom

105 CMR 451.123	Maintenance: Tiles damaged

105 CMR 451.123		Maintenance: Fan dirty

Hallway

105 CMR 450.340		Illumination: Light out

FC 4-601.11(A)			Equipment: Microwave dirty

C Dorm (Offices and Dog Area)

Staff Male Bathroom

No Violations Noted

Staff Female Bathroom

105 CMR 451.123	Maintenance: Light shield damaged

Inmate Bathroom

105 CMR 451.123*		Maintenance: Tile damaged

Inmate Break Room

FC 4-601.11(A)			Equipment: Microwave dirty

Food Service

Inmate Bathroom

No Violations Noted

Kitchen

FC 6-501.16			Maintenance and Operation; Cleaning: Wet mop stored in bucket

FC 5-205.15(B)			Plumbing System, Operations and Maintenance: Handwash sink in dish area leaks

FC 4-903.11(A)(2)		Protection of Clean Items, Storing: Single-service items not protected from 					contamination, utensils not stored with handles up

FC 5-202.12(A)			Plumbing System, Design: Handwashing sinks water temperature recorded at 145ºF

FC 4-601.11(A)	Cleaning of Equipment and Utensils, Objective: Chute inside ice machine dirty

Walk In Refrigerator

No Violations Noted

Dry Storage

No Violations Noted

Toxic/Caustic Room

No Violations Noted

Morton Building

Freezer

No Violations Noted

Program Center

No Violations Noted

Storage One

No Violations Noted

Bunk House

No Violations Noted

Weight Building

No Violations Noted

Property Room

No Violations Noted

Maintenance Building

No Violations Noted

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within ten working days of receiving this report and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Community Sanitation Regulations" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Mikel Beacham

Environmental Health Inspector, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

JudyAnn Bigby, MD, Secretary, Executive Office of Health and Human Services

Luis S. Spencer, Acting Commissioner, DOC

Jason Badger, Environmental Health and Safety Officer

Carver Board of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Mary Elizabeth Heffernan, EOPS