The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

5 Randolph Street

Canton, MA 02021

Telephone: 781 828-8046

Facsimile: 781 828-7703

Nicholas.Gale@state.ma.us

DEVAL L. PATRICK GOVERNOR JOHN W. POLANOWICZ SECRETARY CHERYL BARTLETT, RN COMMISSIONER

February 6, 2014

Allison Hallett, Superintendent

Massachusetts Alcohol and Substance Abuse Center

2 Administration Road

Bridgewater, MA 02324

Re: Facility Inspection - Massachusetts Alcohol and Substance Abuse Center, Bridgewater

Dear Superintendent Hallett:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the Massachusetts Alcohol and Substance Abuse Center on January 28, 2014 accompanied by Michael DeCosta, EHSO. Violations noted during the inspection are listed below including 2 repeat violations:

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

Administration Building # 5

Lobby

No Violations Noted

Women’s Room # 102

No Violations Noted

Men’s Room # 143

No Violations Noted

Male Officers Locker Room # 114

No Violations Noted

Female Officers Locker Room # 115

No Violations Noted

Roll Call Room # 117

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

Slop Sink # 121

105 CMR 451.353	Interior Maintenance: Light shield missing

Office # 123

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-601.11(A)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, toaster oven dirty

Food Service Area # 6

Kitchen

FC 6-201.11	Design, Construction and Installation: Floor not easily cleanable, floor damaged in many areas

FC 6-501.111(B)	Maintenance and Operations; Pest Control: Insects observed under dishwashing machine

FC 5-501.16(C)	Refuse, Recyclables, and Returnables; Numbers and Capacities: No conveniently located waste receptacle at handwashing sink

Food Storage

No Violations Noted

Dining Area

No Violations Noted

Intake # 6

Toxic/Caustic Cabinet

No Violations Noted

Inmate Bathroom # 151

No Violations Noted

Slop Sink Room # 152

No Violations Noted

Urinalysis Room # 153

No Violations Noted

Staff Bathroom # 154

No Violations Noted

Biohazard Storage Room # 155

No Violations Noted

Laundry Cage

No Violations Noted

Medication Room # 161

Unable to Inspect - Locked

X-Ray Room

No Violations Noted

Dentist Office # 162 and 164

No Violations Noted

Shower Room # 167

No Violations Noted

Shake Room # 168

No Violations Noted

Property Room # 170

No Violations Noted

Property Room # 171

No Violations Noted

Doctor’s Office

No Violations Noted

A Barracks

A1 Barracks

Officer’s Station # 186

No Violations Noted

Officer’s Bathroom # 185

No Violations Noted

Sleeping Area

105 CMR 451.353	Interior Maintenance: Wall not maintained in good repair, paint peeling under payphone

Laundry

No Violations Noted

Inmate Bathroom

105 CMR 451.121(A)	Privacy: No privacy partition between showers

A2 Barracks

Sleeping Area

No Violations Noted

Inmate Bathroom

105 CMR 451.123	Maintenance: All showers out-of-order

105 CMR 451.121(A)	Privacy: No privacy partition between showers

B Barracks

B1 Barracks

Officer’s Station # 201

No Violations Noted

Officer’s Bathroom # 201A

No Violations Noted

Toxic and Caustic Storage Room # 203

No Violations Noted

Sleeping Area

FC 4-602.12(B)*	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-601.11(B)*	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, toaster oven dirty

Inmate Bathroom

105 CMR 451.121(A)	Privacy: No privacy partition between showers

105 CMR 451.123	Maintenance: Electric hand dryer out-of-order

105 CMR 451.123	Maintenance: Soap scum on floor in shower area

B2 Barracks

Sleeping Area

105 CMR 451.353	Interior Maintenance: Wooden table not maintained in good repair, table damaged

FC 4-601.11(B)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, toaster oven dirty

Slop Sink Room # 200

No Violations Noted

Inmate Bathroom

Unable to Inspect – In Use

C Barracks

C1 Barracks

Officer’s Station # 218

No Violations Noted

Officer’s Bathroom # 218A

No Violations Noted

Workout Area

No Violations Noted

Laundry

No Violations Noted

Inmate Bathroom

105 CMR 451.121(A)	Privacy: No privacy partition between showers

105 CMR 451.130	Hot Water: Shower water temperature recorded at 1200F

C2 Barracks

Sleeping Area

No Violations Noted

Inmate Bathroom

105 CMR 451.121(A)	Privacy: No privacy partition between showers

D Barracks

D1 Barracks

Officer’s Station

No Violations Noted

Storage Closet

No Violations Noted

Sleeping Area

No Violations Noted

Medical Cells

No Violations Noted

Inmate Bathroom

105 CMR 451.121(A)	Privacy: No privacy partition between showers

Nurse’s Station # 231

No Violations Noted

Nurse’s Bathroom

No Violations Noted

Medical Cell # 233

No Violations Noted

D2 Barracks

Doctor’s Office

105 CMR 451.126	Hot Water: Hot water temperature recorded at 990F

105 CMR 451.353	Interior Maintenance: Exam table not maintained in good repair, table covering damaged

Sleeping Area

105 CMR 451.350	Structural Maintenance: Back door not rodent and weathertight

105 CMR 451.353	Interior Maintenance: Ceiling not maintained in good repair, ceiling damaged at entrance

Slop Sink Room # 230

No Violations Noted

Inmate Bathroom

105 CMR 451.121(A)	Privacy: No privacy partition between showers

105 CMR 451.123	Maintenance: Sink leaking on right side

105 CMR 451.123	Maintenance: Toilet broken

Observations and Recommendations

- The inmate population was 168 at the time of inspection.

- At the time of inspection, the certificate from Radiation Control within the Intake Unit had expired. The Department recommended reaching out to Radiation Control for an updated certificate of compliance.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within ten working days of receiving this report and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Nicholas Gale

Environmental Health Inspector, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

John W. Polanowicz, Secretary, Executive Office of Health and Human Services

Luis S. Spencer, Commissioner, DOC

Michael DeCosta, EHSO

Eric J. Badger, CHO, Health Agent, Bridgewater Board of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Andrea Cabral, Secretary, EOPS