The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

5 Randolph Street

Canton, MA 02021

Telephone:  (781) 828-8046

Facsimile:  (781) 828-7703

Nicholas.Gale@massmail.state.ma.us

DEVAL L. PATRICK GOVERNOR TIMOTHY P. MURRAY LIEUTENANT GOVERNOR JOHN W. POLANOWICZ SECRETARY LAUREN A. SMITH, MD, MPH INTERIM COMMISSIONER

February 5, 2013

Allison Hallett, Superintendent

Massachusetts Alcohol and Substance Abuse Center

2 Administration Road

Bridgewater, MA 02324

Re: Massachusetts Alcohol and Substance Abuse Center Facility Inspection

Dear Superintendant Hallett:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, and Department of Public Health Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the Massachusetts Alcohol and Substance Abuse Center on January 24, 2013 accompanied by Michael DeCosta, EHSO, and Paul Halfmann, Assistant Director of the Community Sanitation Program. Violations noted are listed below (* indicates conditions documented on previous inspection reports).

Administration Building # 5

Lobby

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, utensils left uncovered

Women’s Room # 102

No Violations Noted

Men’s Room # 143

105 CMR 451.123	Maintenance: Ceiling damaged, crack in ceiling

Male Officers Locker Room # 114

No Violations Noted

Female Officers Locker Room # 115

No Violations Noted

Roll Call Room # 117

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from contamination, utensils left uncovered

FC 4-903.11(B)(1)	Protection of Clean Items, Storing: Pots/Pans under sink not stored in the inverted/self-draining position

Slop Sink # 121

105 CMR 451.353	Interior Maintenance: Light shield missing

Offices

No Violations Noted

Food Service Area # 6

Kitchen

FC 6-201.11	Design, Construction and Installation: Floor not easily cleanable, floor damaged under dishwashing sink

FC 4-903.11(B)(1)	Protection of Clean Items, Storing: Trays not stored in the inverted/self-draining position

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Walls not easily cleanable, wall damaged under sink across from ice machine

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, pipe leaking under 3-bay sink

FC 6-501.111(B)	Maintenance and Operations; Pest Control: Insects observed inside light shield above 3-bay sink

Food Storage

FC 6-201.11	Design, Construction and Installation: Floor not easily cleanable, tiles damaged next to cooler unit

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, floor dirty behind cooler unit

Dining Area

No Violations Noted

Intake # 6

Toxic/Caustic Cabinet

No Violations Noted

Inmate Bathroom # 151

No Violations Noted

Slop Sink Room # 152

No Violations Noted

Urinalysis Room # 153

105 CMR 451.353	Interior Maintenance: Light shield missing

Staff Bathroom # 154

No Violations Noted

Biohazard Storage Room # 155

105 CMR 451.353	Interior Maintenance: Interior of biohazard freezer dirty

105 CMR 451.353	Interior Maintenance: Light shield missing

Laundry Cage

No Violations Noted

Medication Room # 161

No Violations Noted

X-Ray Room

No Violations Noted

Dentist Office # 162 and 164

No Violations Noted

Shower Room # 167

No Violations Noted

Shake Room # 168

No Violations Noted

Property Room # 170

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, utensils left uncovered

Property Room # 171

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Doctor’s Office

No Violations Noted

A Barracks

A1 Barracks

Officer’s Station # 186

No Violations Noted

Officer’s Bathroom # 185

No Violations Noted

Sleeping Area

105 CMR 451.350	Structural Maintenance: Floor damaged near bed # 34A and 35A

Laundry

No Violations Noted

Inmate Bathroom

105 CMR 451.130	Hot Water: Shower water temperature recorded at 950F

105 CMR 451.123	Maintenance: Wall damaged, paint peeling on wooden baseboard under sink

A2 Barracks

Sleeping Area

No Violations Noted

Inmate Bathroom 		Showers In Use – Unable to Inspect

105 CMR 451.124	Water Supply: Insufficient water pressure at handwash sink near urinals

B Barracks

B1 Barracks

Officer’s Station # 201

No Violations Noted

Officer’s Bathroom # 201A

No Violations Noted

Toxic and Caustic Storage Room # 203

105 CMR 451.353	Interior Maintenance: Light shield missing

Sleeping Area

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-601.11(B)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, toaster oven dirty

Inmate Bathroom

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottles

B2 Barracks

Sleeping Area

105 CMR 451.103	Mattresses: Mattress damaged in bed # 21A

Slop Sink Room # 200

No Violations Noted

Inmate Bathroom

105 CMR 451.123	Maintenance: Shower floor damaged

105 CMR 451.123	Maintenance: Mirror damaged

C Barracks

C1 Barracks

Officer’s Station # 218

No Violations Noted

Officer’s Bathroom # 218A

No Violations Noted

Workout Area

No Violations Noted

Laundry

105 CMR 451.350	Structural Maintenance: Ceiling tiles missing

Inmate Bathroom

No Violations Noted

C2 Barracks

Sleeping Area

105 CMR 451.103	Mattresses: Mattress damaged in bed # 10A

Inmate Bathroom

105 CMR 451.123	Maintenance: Shower floor damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, showerhead leaking

105 CMR 451.123	Maintenance: Wall dirty

D Barracks

D1 Barracks

Officer’s Station

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Storage Closet

No Violations Noted

Sleeping Area

No Violations Noted

Medical Cells

No Violations Noted

Inmate Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 990F

Nurses’ Station # 231

No Violations Noted

Nurses’ Bathroom

No Violations Noted

Medical Cell # 233

No Violations Noted

D2 Barracks

Sleeping Area

105 CMR 451.103	Mattresses: Mattress damaged in bed # 20

Slop Sink Room # 230

No Violations Noted

Inmate Bathroom

105 CMR 451.123	Maintenance: Shower floor damaged

105 CMR 451.123	Maintenance: Ceiling damaged, paint peeling around vent

Observations and Recommendations

- The inmate population was 154 at the time of inspection

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within ten working days of receiving this report and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Community Sanitation Regulations" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Nicholas Gale

Environmental Health Inspector, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

John W. Polanowicz, Secretary, Executive Office of Health and Human Services

Luis S. Spencer, Commissioner, DOC

Michael DeCosta, EHSO

Bridgewater Board of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Andrea J. Cabral, Secretary, EOPS