The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

5 Randolph Street

Canton, MA 02021

Telephone: 781 828-8046

Facsimile: 781 828-7703

Nicholas.Gale@state.ma.us

DEVAL L. PATRICK GOVERNOR JOHN W. POLANOWICZ SECRETARY CHERYL BARTLETT, RN COMMISSIONER

December 4, 2013

Joseph D. McDonald, Jr., Sheriff

Plymouth County Correctional Facility

26 Long Pond Road

Plymouth, MA 02360

Re: Facility Inspection – Plymouth County Correctional Facility

Dear Sheriff McDonald:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the Plymouth County Correctional Facility on November 4 and 5, 2013 accompanied by Captain Eugene Irvine, Environmental Health and Safety Officer. Violations noted during the inspection are listed below:

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

Administration/Entrance Area

Front Lobby

Main Area

105 CMR 451.353*	Interior Maintenance: Ceiling vent dirty

105 CMR 451.353	Interior Maintenance: Ceiling not maintained in good repair, ceiling tiles damaged

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Light shield missing

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Male Bathroom

105 CMR 451.123	Maintenance: Ceiling vent damaged, rusty

Female Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent damaged, rusty

105 CMR 451.123	Maintenance: Ceiling vent dusty

Main Hallway

Janitor’s Closet

105 CMR 451.350	Structural Maintenance: Wall not easily cleanable, wall damaged

Female Locker Room

105 CMR 451.353*	Interior Maintenance: Ceiling vents damaged, rusty

Showers

No Violations Noted

Male Locker Room

105 CMR 451.123*	Maintenance: Ceiling vents damaged, rusty

105 CMR 451.123*	Maintenance: Ceiling vents dusty

105 CMR 451.123*	Maintenance: Carpets damaged

105 CMR 451.350	Structural Maintenance: Ceiling leaking

105 CMR 451.123	Maintenance: No soap at handwash sink

Showers

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, leak in shower # 1

105 CMR 451.123*	Maintenance: Soap scum on walls in all showers

105 CMR 451.123	Maintenance: Shower tiles stained

Staff Gym

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353	Interior Maintenance: Weight lifting equipment not easily cleanable, bench padding damaged

General Male Locker Room

No Violations Noted

General Female Locker Room

No Violations Noted

Administration Area – 1018

Break Room

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, Poland Spring tray dirty

FC 3-701.11(A)	Contaminated Food, Disposition: Unsafe, adulterated, or not honestly presented food not properly reconditioned or discarded, outdated milk left in refrigerator

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, toaster oven missing door

Male Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Female Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

IPS Office

105 CMR 451.353	Interior Maintenance: Floor dirty, appearance of mold on floor

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

FC 4-601.11(A)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, toaster oven dirty

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, Poland Spring tray dirty

Kitchen

FC 6-201.11	Design, Construction and Installation: Floor not easily cleanable, floor damaged in many areas

Staff Dining Area

FC 4-601.11(A)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, cereal tray dirty

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, Poland Spring tray dirty

FC 6-501.14	Maintenance and Operation; Cleaning: Ventilation Systems, ceiling vents dusty

Staff Serving Line

FC 6-201.11	Design, Construction and Installation: Floor not easily cleanable, floor damaged

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, ventilation hoods dirty

Office

No Violations Noted

Office Bathroom

No Violations Noted

Dry Storage

No Violations Noted

Tool Closet

FC 4-502.11(A)	Maintenance and Operation, Utensils: Utensils not maintained in a state of good	repair, green cooking spoon damaged

Cooler # 2

No Violations Noted

Inmate Break Area

No Violations Noted

Inmate Bathroom

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, ceiling vent dirty

Janitor’s Closet

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, ceiling vent dirty

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, light out

Freezer # 1

No Violations Noted

Cooler # 3

No Violations Noted

Cooler # 4

No Violations Noted

Cooler # 5

FC 3-302.11(A)(4)	Preventing Food and Ingredient Contamination: Preventing cross contamination, herbs 	not appropriately covered

Freezer # 6

FC 3-302.11(A)(4)	Preventing Food and Ingredient Contamination: Preventing cross contamination, chicken not appropriately covered

Prep Area

FC 5-205.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, leak at prep sink

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Wall not easily cleanable, paint peeling

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, oven out-of-order

Kettle Area

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, light out

Bakery Area

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, sink leaking

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, cold water not working

3-Bay Sink Area

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, incorrect backflow preventer installed

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, standing water on floor

Dishwashing Machine Area

Slop Sink

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Ceiling not easily cleanable, ceiling damaged above slop sink

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, slop sink leaking

Medical Corridor

105 CMR 451.350*	Structural Maintenance: Ceiling leaking

105 CMR 451.353*	Interior Maintenance: Ceiling not maintained in good repair, ceiling tiles damaged

105 CMR 451.353	Interior Maintenance: Floor dirty, appearance of mold on floor

HSU

Kitchen

FC 4-204.112(A)*	Design and Construction, Functionality: No functioning thermometer in refrigerator

FC 4-903.11(A)(2)*	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, utensils left uncovered

FC 4-601.11(A)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, coffee maker dirty

Room – M132

105 CMR 451.126	Hot Water: Hot water temperature recorded at 860F

Autoclave – M131

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Pharmacy – M128

105 CMR 451.126	Hot Water: Hot water temperature recorded at 710F

Staff Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 710F

Janitor’s Closet – M127

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353	Interior Maintenance: Wet mop stored in sink

Laboratory

No Violations Noted

Dentist – M124

No Violations Noted

Inmate Bathroom

105 CMR 451.126	Water Supply: No hot water supplied to handwash sink

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Exam Room – M121

105 CMR 451.126	Hot Water: Hot water temperature recorded at 730F

Room – M119

105 CMR 451.126	Hot Water: Hot water temperature recorded at 730F

Handicap Bathroom

No Violations Noted

Cells

No Violations Noted

Chapel/Contact Room

105 CMR 451.350*	Structural Maintenance: Wall not easily cleanable, water leak behind wall

105 CMR 451.353	Interior Maintenance: Wall dirty

105 CMR 451.353*	Interior Maintenance: Carpet dirty

105 CMR 451.353*	Interior Maintenance: Air vent dirty

Laundry

105 CMR 451.353*	Interior Maintenance: Ceiling vents dusty

105 CMR 451.353	Interior Maintenance: Floor not maintained in good repair, paint peeling

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, drinking fountain out-of-order

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Light shield missing

Office

No Violations Noted

Chemical Closet

No Violations Noted

Maintenance

105 CMR 451.353	Interior Maintenance: Wet mop stored on floor

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, refrigerator gaskets dirty

Small Tool Room

105 CMR 451.353*	Interior Maintenance: Light shield missing

Bathroom

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Office

No Violations Noted

Office Bathroom

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Inmate Bathroom – 1058

105 CMR 451.123*	Maintenance: Floor damaged, paint peeling

Loading Dock

105 CMR 451.350*	Structural Maintenance: Garage doors not rodent and weathertight

Gymnasium

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.350	Structural Maintenance: Floor not easily cleanable, baseboard missing around floor

105 CMR 451.353	Interior Maintenance: Ceiling ventilation missing diffusers

Hallway

Janitor’s Closet - 1084

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353	Interior Maintenance: Floor dirty

Staff Bathroom – 1090

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Janitor’s Closet – 1095

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353*	Interior Maintenance: Floor not maintained in good repair, paint peeling

Staff Bathroom – 1098

105 CMR 451.123	Maintenance: Ceiling vent dusty

Staff Bathroom – 1099

No Violations Noted

Staff Bathroom – 1107

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

Janitor’s Closet – 1108

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353	Interior Maintenance: Floor dirty

Unit Manager’s Office

No Violations Noted

Staff Bathroom – 1102

105 CMR 451.123	Maintenance: Ceiling damaged

Classroom – 1110

105 CMR 451.353	Interior Maintenance: Ceiling vents dusty

105 CMR 451.353	Interior Maintenance: Ceiling dirty

Library

105 CMR 451.353	Interior Maintenance: Ceiling vents dusty

Human Services

Break Room

FC 4-601.11(A)*	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, toaster oven dirty

FC 4-601.11(A)*	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, coffee maker dirty

FC 3-302.11(A)(4)	Preventing Food and Ingredient Contamination: Preventing cross contamination, food not appropriately covered

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from contamination, utensils left uncovered

Offices

105 CMR 451.353	Interior Maintenance: Floor dirty

105 CMR 451.353	Interior Maintenance: Ceiling dirty

105 CMR 451.353	Interior Maintenance: Ceiling vents dusty

Staff Bathroom

No Violations Noted

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Booking

Main Area

FC 4-204.112(A)*	Design and Construction, Functionality: No functioning thermometer in refrigerator

FC 4-601.11(c)*	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, interior of refrigerator dirty

FC 3-701.11(A)	Contaminated Food, Disposition: Unsafe, adulterated, or not honestly presented food not properly reconditioned or discarded, outdated food stored in refrigerator

Office – R112

105 CMR 451.350	Structural Maintenance: Ceiling not easily cleanable, ceiling leaking

105 CMR 451.353	Interior Maintenance: Ceiling not maintained in good repair, ceiling tiles damaged

Records

No Violations Noted

Inmate Toilet

No Violations Noted

Inmate Bathroom – R118

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water not working properly

105 CMR 451.123	Maintenance: Floor dirty

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

Showers

No Violations Noted

Staff Bathroom – R127

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123*	Maintenance: Floor dirty

105 CMR 451.123*	Maintenance: Paper towel dispenser broken

Kitchen Area

FC 4-204.112(A)*	Design and Construction, Functionality: No functioning thermometer in refrigerator

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, refrigerator gaskets dirty

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded at 1000F

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from contamination, utensils left uncovered

FC 4-903.11(B)(1)	Protection of Clean Items, Storing: Cups not stored in the inverted under sink

Officer’s Landing

105 CMR 451.353	Interior Maintenance: Carpet dirty

Cells

105 CMR 451.353*	Interior Maintenance: Ceiling vent damaged in cell # R110 and R111

105 CMR 451.353*	Interior Maintenance: Ceiling dirty in cell # R110 and R111

105 CMR 451.353	Interior Maintenance: Ceiling dirty in cell # R103

Property

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from contamination, utensils left uncovered

Cell Blocks/Pods

A1

Unable to Inspect – Under Construction

E1

Main Area

105 CMR 451.353*	Interior Maintenance: Floor dirty

105 CMR 451.353*	Interior Maintenance: Staircases dirty

105 CMR 451.353	Interior Maintenance: Ceiling vents dusty

105 CMR 451.353	Interior Maintenance: Ceiling not maintained in good repair, ceiling tiles damaged

Slop Sink

105 CMR 451.353*	Interior Maintenance: Ceiling vent dirty

Showers

105 CMR 451.123*	Maintenance: Ceiling vents dirty

105 CMR 451.123	Maintenance: Shower hooks rusty

105 CMR 451.123	Maintenance: Soap scum on walls in showers

Recreation Area

No Violations Noted

Cells

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, wall ventilation grille blocked in cell    # 109, 110, 113, 115, 116, 203, 209, and 235

105 CMR 451.353	Interior Maintenance: Light fixture blocked in cell # 101, 123, 127, 210, 217, 220, 221, 223, and 229

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty in cell # 237

105 CMR 451.353	Interior Maintenance: Ceiling not maintained in good repair, ceiling tiles damaged in cell # 238

H1

Main Area

105 CMR 451.350*	Structural Maintenance: Wall damaged, hole in wall near cell # 119

105 CMR 451.353*	Interior Maintenance: Ceiling vents dusty

105 CMR 451.353	Interior Maintenance: Ceiling not maintained in good repair, ceiling tiles damaged

Slop Sink

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Showers

105 CMR 451.123*	Maintenance: Shower hooks rusty

105 CMR 451.123*	Maintenance: Ceiling vents dirty

105 CMR 451.123*	Maintenance: Soap scum on walls in all showers

105 CMR 451.123*	Maintenance: Curtains dirty

105 CMR 451.123	Maintenance: Standing water outside handicap shower

105 CMR 451.123	Maintenance: Ceiling dirty, appearance of mold outside showers

Recreation Area

105 CMR 451.353*	Interior Maintenance: Birds’ nests in the rafters

Cells

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty in cell # 237 and 238

105 CMR 451.350*	Structural Maintenance: Ceiling leaking in cell # 237

105 CMR 451.350*	Structural Maintenance: Ceiling tiles damaged in cell # 237 and 238

105 CMR 451.353	Interior Maintenance: Light fixture rusty in cell # 101 and 104

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, wall ventilation grille blocked in cell    # 107, 108, 110, 113, 114, 119, 124, 125, 134, 204, 213, 218, 219, 221, 228, and 234

105 CMR 451.353	Interior Maintenance: Light fixture blocked in cell # 127

105 CMR 451.350	Structural Maintenance: Wall not easily cleanable, paint peeling in cell # 230

FN1

Main Area

105 CMR 451.353	Interior Maintenance: Ceiling tiles dirty

105 CMR 451.353	Interior Maintenance: Ceiling vents dusty

105 CMR 451.370	Garbage Storage: Garbage stored in an unsanitary condition, trash covers missing flaps

Slop Sink

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353	Interior Maintenance: Wall not maintained in good repair, paint peeling

Rec Area

105 CMR 451.353*	Interior Maintenance: Birds’ nests in the rafters

Showers – 1st Floor

105 CMR 451.123*	Maintenance: Ceiling vents dirty

105 CMR 451.123*	Maintenance: Rusty shower hooks

105 CMR 451.123	Maintenance: Soap scum on walls in all showers

105 CMR 451.123	Maintenance: Floors dirty

105 CMR 451.123	Maintenance: Curtain missing

Showers – 2nd Floor

105 CMR 451.123*	Maintenance: Ceiling vents dirty

105 CMR 451.123*	Maintenance: Wall damaged behind faucets

105 CMR 451.123	Maintenance: Ceiling tiles rusty outside showers

105 CMR 451.123	Maintenance: Soap scum on walls in all showers

105 CMR 451.123	Maintenance: Curtain missing in shower # 7

105 CMR 451.123	Maintenance: Floor drains rusty in showers

105 CMR 451.123	Maintenance: Floor damaged, paint peeling outside showers

Cells

105 CMR 451.353	Interior Maintenance: Floor not maintained in good repair, paint peeling in cell # 204, 206, and 207

105 CMR 451.353	Interior Maintenance: Wall not maintained in good repair, paint peeling in cell # 101

105 CMR 451.353	Interior Maintenance: Ceiling not maintained in good repair, paint peeling in cell        # 102 and 106

105 CMR 451.353	Interior Maintenance: Light fixture blocked in cell # 107

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, wall ventilation grille blocked in cell    # 102, 104, 105, and 204

FS1

Main Area

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353	Interior Maintenance: Ceiling not maintained in good repair, ceiling tiles damaged

Slop Sink

No Violations Noted

Showers – 1st Floor

105 CMR 451.123*	Maintenance: Ceiling dirty, appearance of mold outside showers

105 CMR 451.123*	Maintenance: Rusty shower hooks

105 CMR 451.123*	Maintenance: Ceiling vents dirty

105 CMR 451.123*	Maintenance: Curtains dirty

Showers – 2nd Floor

105 CMR 451.123*	Maintenance: Floor paint peeling outside of showers

105 CMR 451.123*	Maintenance: Ceiling dirty, appearance of mold outside showers

105 CMR 451.123*	Maintenance: Curtains dirty

105 CMR 451.123*	Maintenance: Rusty shower hooks

105 CMR 451.123	Maintenance: Curtains missing

Recreation Area

105 CMR 451.353*	Interior Maintenance: Birds’ nests in the rafters

Cells

105 CMR 451.353	Interior Maintenance: Floor not maintained in good repair, paint peeling in cell # 101, 105, and 206

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, wall ventilation grille blocked in cell    # 102

105 CMR 451.353	Interior Maintenance: Light fixture blocked in cell # 104, 201, 202, 205, and 206

DN1

Main Area

105 CMR 451.353	Interior Maintenance: Ceiling tiles dirty

105 CMR 451.353	Interior Maintenance: Ceiling vents dusty

105 CMR 451.370	Garbage Storage: Garbage stored in an unsanitary condition, trash covers missing flaps

Slop Sink

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Toilet Area

105 CMR 451.123	Maintenance: Floor damaged

Showers – 1st Floor

105 CMR 451.123*	Maintenance: Ceiling vents dusty

105 CMR 451.123	Maintenance: Soap scum on walls in all showers

Showers – 2nd Floor

105 CMR 451.123	Maintenance: Soap scum on walls in all showers

105 CMR 451.123	Maintenance: Floor damaged, paint peeling outside showers

105 CMR 451.123	Maintenance: Wall ventilation grilles damaged, rusty

105 CMR 451.123	Maintenance: Rusty shower hooks

Recreation Area

105 CMR 451.353*	Interior Maintenance: Birds’ nests in the rafters

Cells

105 CMR 451.353*	Interior Maintenance: Ceiling not maintained in good repair, paint peeling in cell        # 101

105 CMR 451.353	Interior Maintenance: Wall not maintained in good repair, paint peeling in cell # 107

105 CMR 451.350	Structural Maintenance: Wall not easily cleanable, hole in wall in cell # 208

105 CMR 451.353	Interior Maintenance: Light fixture blocked in cell # 107 and 201

105 CMR 451.353	Interior Maintenance: Floor not maintained in good repair, paint peeling in cell # 201 and 204-207

DS1

Slop Sink

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

Showers – 1st Floor

105 CMR 451.123	Maintenance: Rusty shower hooks

105 CMR 451.123	Maintenance: Ceiling vents dusty

Showers – 2nd Floor

105 CMR 451.123*	Maintenance: Floor paint peeling

105 CMR 451.123*	Maintenance: Rusty shower hooks

105 CMR 451.123*	Maintenance: Shower drains rusty

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, leak in shower # 1

105 CMR 451.123	Maintenance: Ceiling dirty, appearance of mold outside showers

Cells

105 CMR 451.353	Interior Maintenance: Ceiling not maintained in good repair, paint peeling in cell        # 201

105 CMR 451.353*	Interior Maintenance: Wall not maintained in good repair, paint peeling in cell # 205

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty in cell # 208 and 209

105 CMR 451.353*	Interior Maintenance: Ceiling not maintained in good repair, ceiling tiles damaged in cell # 208

105 CMR 451.350*	Structural Maintenance: Roof leaking in cell # 208

105 CMR 451.353	Interior Maintenance: Floor not maintained in good repair, paint peeling in cell # 107, 202, and 205

BS101

105 CMR 451.353*	Interior Maintenance: Ceiling vents dusty

105 CMR 451.353	Interior Maintenance: Ceiling ventilation grilles damaged, rusty

Bunks

No Violations Noted

Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet # 4 and 7 out-of-order

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet loose at sink # 5

105 CMR 451.123	Maintenance: Wall damaged, paint peeling

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in all showers

105 CMR 451.123*	Maintenance: Rusty shower hooks

105 CMR 451.123*	Maintenance: Shower curtains dirty

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower leaking in shower # 7

BN101

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.350	Structural Maintenance: Ceiling not easily cleanable, ceiling leaking

105 CMR 451.353	Interior Maintenance: Ceiling not maintained in good repair, ceiling tiles damaged

105 CMR 451.350	Structural Maintenance: Floor not easily cleanable, floor damaged

Bunks

No Violations Noted

Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet # 6 leaking

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at sink # 2

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in all showers

105 CMR 451.123*	Maintenance: Curtains dirty

BS201

105 CMR 451.350*	Structural Maintenance: Floor not easily cleanable, baseboard missing behind bed      # 13 and 14

105 CMR 451.353*	Interior Maintenance: Ceiling vents dusty

Bunks

No Violations Noted

Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink # 2 out-of-order

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at slop sink

105 CMR 451.123	Maintenance: Light fixtures rusty

Showers

105 CMR 451.123	Maintenance: Curtains dirty

105 CMR 451.123*	Maintenance: Soap scum on walls in all showers

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, leak at shower # 4

BN201

105 CMR 451.353*	Interior Maintenance: Ceiling vents dusty

105 CMR 451.353*	Interior Maintenance: Floor not maintained in good repair, floor tiles damaged

105 CMR 451.353	Interior Maintenance: Ceiling ventilation grilles rusty

105 CMR 451.353	Interior Maintenance: Floor not maintained in good repair, baseboard damaged

105 CMR 451.353	Interior Maintenance: Outlet cover not installed properly

Bunks

No Violations Noted

Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink # 7 out-of-order

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet loose at sink # 1

Showers

105 CMR 451.123*	Maintenance: Rusty metal shutoffs at shower # 1 and 2

105 CMR 451.123*	Maintenance: Rusty shower hooks

105 CMR 451.123*	Maintenance: Soap scum on walls in all showers

C1

Main Area

105 CMR 451.350*	Structural Maintenance: Wall damaged, hole in wall near cell # 113

105 CMR 451.353*	Interior Maintenance: Ceiling vents dusty

105 CMR 451.353	Interior Maintenance: Ceiling not maintained in good repair, ceiling tiles damaged

105 CMR 451.353	Interior Maintenance: Chair not easily cleanable, officer’s chair padding damaged

Slop Sink

105 CMR 451.353	Interior Maintenance: Floor not maintained in good repair, floor tiles damaged

Showers

105 CMR 451.123*	Maintenance: Rusty metal doors

105 CMR 451.123*	Maintenance: Soap scum on walls in all showers

105 CMR 451.123*	Maintenance: Rusty shower hooks

105 CMR 451.123*	Maintenance: Ceiling dirty, appearance of mold outside showers

105 CMR 451.123	Maintenance: Ceiling damaged, paint peeling outside showers

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 2 and 4 out-of-order

Recreation Area

105 CMR 451.353	Interior Maintenance: Birds’ nests

Cells

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, wall ventilation grilles blocked in all cells

105 CMR 451.353	Interior Maintenance: Light fixture blocked in cell # 107, 109, 120, 121, 127, 131, 201, 202, 204, 209, 215, 217, 219, 221, 223, 226, and 228

Visitor Room

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Non-Contact Room

105 CMR 451.350*	Structural Maintenance: Ceiling not easily cleanable, ceiling leaking

105 CMR 451.353*	Interior Maintenance: Ceiling not maintained in good repair, ceiling tiles damaged

G Block

Main Area

No Violations Noted

GE South

105 CMR 451.353	Interior Maintenance: Ceiling not maintained in good repair, ceiling tiles damaged

105 CMR 451.350	Structural Maintenance: Ceiling not easily cleanable, ceiling leaking

Slop Sink

No Violations Noted

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in all showers

105 CMR 451.123*	Maintenance: Wall damaged

105 CMR 451.123*	Maintenance: Rusty shower hooks

105 CMR 451.123	Maintenance: Ceiling vent rusty

Chemical Storage

No Violations Noted

Cells

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, wall ventilation grille blocked in cell    # 102, 104, 108, and 207

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, wall ventilation grille blocked in cell    # 103, 105, 202, 203, and 205

GE North

Slop Sink

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Showers

105 CMR 451.123	Maintenance: Pipe chase door rusty

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Rusty shower hooks

105 CMR 451.123	Maintenance: Soap scum on walls in all showers

105 CMR 451.123	Maintenance: Floor dirty in all showers

Recreation Deck

No Violations Noted

Cells

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, wall ventilation grille blocked in cell    # 113, 114, 117, 118, and 216-218

105 CMR 451.353	Interior Maintenance: Light fixture blocked in cell # 109, 111, 113, and 217

GW North

Main Area

105 CMR 451.350*	Structural Maintenance: Wall not easily cleanable, hole in wall near cell # 109

105 CMR 451.350*	Structural Maintenance: Ceiling not easily cleanable, ceiling leaking

105 CMR 451.353	Interior Maintenance: Ceiling not maintained in good repair, ceiling tiles damaged

Slop Sink

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Showers

Unable to Inspect – In Use

Cells

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, wall ventilation grille blocked in cell    # 109

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, wall ventilation grille blocked in cell    # 117, 209, 214, and 215

105 CMR 451.353	Interior Maintenance: Wall not maintained in good repair, paint peeling in cell # 110

105 CMR 451.353	Interior Maintenance: Light fixture blocked in cell # 112-114

GW219

No Violations Noted

GW South

Main Area

105 CMR 451.353	Interior Maintenance: Ceiling vents dusty

Slop Sink

No Violations Noted

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in all showers

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Cells

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, wall ventilation grille blocked in all cells

105 CMR 451.353	Interior Maintenance: Wall not maintained in good repair, paint peeling at entrance of all cells

105 CMR 451.353	Interior Maintenance: Light fixture blocked in cell # 205

3rd Floor

Main Hallway

Janitor’s Closet – 3022

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353*	Interior Maintenance: Trash in slop sink

Staff Bathroom – 3021

No Violations Noted

Storage – 3020

Unable to Inspect – No Access

Janitor’s Closet – 3018

105 CMR 451.344	Illumination in Habitable Areas: Light not functioning properly, light out

Janitor’s Closet - 3010

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Staff Bathroom – 3009

105 CMR 451.123	Maintenance: Ceiling vent dusty

Storage – 3008

FC 4-204.112(A)*	Design and Construction, Functionality: No functioning thermometer in refrigerator

FC 4-601.11(c)*	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, inside of freezer dirty

105 CMR 451.344*	Illumination in Habitable Areas: Light fixture not functioning properly

FC 4-601.11(A)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, coffee maker dirty

Janitor’s Closet – 3006

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353	Interior Maintenance: Debris clogging slop sink drain

Staff Bathroom – 3003

105 CMR 451.123*	Maintenance: Ceiling vent dusty

FS3

Main Area

105 CMR 451.350*	Structural Maintenance: Ceiling not easily cleanable, ceiling leaking

105 CMR 451.353	Interior Maintenance: Ceiling not maintained in good repair, ceiling tiles damaged

105 CMR 451.353	Interior Maintenance: Ceiling vents dusty

Slop Sink

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Medical Room

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Toilet Area

105 CMR 451.123	Maintenance: Wall damaged

Showers – 1st Floor

105 CMR 451.123*	Maintenance: Soap scum on walls in all showers

105 CMR 451.123*	Maintenance: Ceiling vents dusty

105 CMR 451.123*	Maintenance: Shower hooks rusty

Showers – 2nd Floor

105 CMR 451.123*	Maintenance: Soap scum on walls in all showers

105 CMR 451.123*	Maintenance: Floor damaged, paint peeling outside showers

105 CMR 451.123*	Maintenance: Floor drains rusty

105 CMR 451.123*	Maintenance: Shower hooks rusty

105 CMR 451.123	Maintenance: Floor dirty in all showers

105 CMR 451.123	Maintenance: Curtains missing

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 5 out-of-order

Cells

105 CMR 451.353	Interior Maintenance: Floor not maintained in good repair, paint peeling in cell # 301, 302, 304, and 306

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, wall ventilation grille blocked in cell    # 307 and 407

FN3

Slop Sink

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

Showers – 1st Floor

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123*	Maintenance: Floor drains rusty

105 CMR 451.123*	Maintenance: Shower hooks rusty

105 CMR 451.123	Maintenance: Soap scum on walls in all showers

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower leaking in shower # 1

Showers – 2nd Floor

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123*	Maintenance: Floor drains rusty

105 CMR 451.123*	Maintenance: Shower hooks rusty

105 CMR 451.123	Maintenance: Soap scum on walls in all showers

Cells

105 CMR 451.353	Interior Maintenance: Ceiling not maintained in good repair, paint peeling in cell        # 307

105 CMR 451.350	Structural Maintenance: Floor not easily cleanable, floor damaged in cell # 401 and 402

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty in cell # 408 and 409

105 CMR 451.350*	Structural Maintenance: Ceiling not easily cleanable, ceiling leaking in cell # 408

105 CMR 451.343*	Electric Fixtures in Cell: No electrical outlet in cell # 408

H3

Main Area

105 CMR 451.353	Interior Maintenance: Ceiling vents dusty

105 CMR 451.353	Interior Maintenance: Ceiling tiles dirty

Slop Sink

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Showers

105 CMR 451.123*	Maintenance: Shower hooks rusty

105 CMR 451.123*	Maintenance: Soap scum on walls in all showers

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, leak in shower # 3

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, leak in shower # 4-7

105 CMR 451.123*	Maintenance: Ceiling dirty, appearance of mold outside showers

105 CMR 451.123	Maintenance: Ceiling vent dusty in all showers

Cells

105 CMR 451.353	Interior Maintenance: Ceiling dirty in cell # 324 and 412

105 CMR 451.103	Mattresses: Mattress damaged in cell # 305

105 CMR 451.353	Interior Maintenance: Light fixture blocked in cell # 301

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, wall ventilation grille blocked in cell    # 307, 328, 333, 412, 426, 432, and 434

105 CMR 451.353	Interior Maintenance: Ceiling not maintained in good repair, paint peeling in cell        # 413

DN3

Main Area

105 CMR 451.353	Interior Maintenance: Ceiling vents dusty

Slop Sink

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353	Interior Maintenance: Mop stored in slop sink

Toilet Area

105 CMR 451.123*	Maintenance: Floor not easily cleanable, floor tiles damaged

Showers – 1st Floor

105 CMR 451.123*	Maintenance: Shower hooks rusty

105 CMR 451.123*	Maintenance: Floor drains rusty

105 CMR 451.123	Maintenance: Soap scum on walls in all showers

Showers – 2nd Floor

105 CMR 451.123*	Maintenance: Floor not easily cleanable, paint peeling outside showers

105 CMR 451.123*	Maintenance: Shower hooks rusty

105 CMR 451.123*	Maintenance: Floor drains rusty

105 CMR 451.123*	Maintenance: Ceiling not maintained in good repair, ceiling tiles damaged outside showers

Cells

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, wall ventilation grille blocked in all cells

105 CMR 451.353*	Interior Maintenance: Ceiling not maintained in good repair, paint peeling in cell        # 306

105 CMR 451.353*	Interior Maintenance: Floor not maintained in good repair, paint peeling in cell # 406 and 407

Recreation Deck

No Violations Noted

DS3

Main Area

105 CMR 451.353	Interior Maintenance: Wall dirty near recreation deck

Slop Sink

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Showers – 1st Floor

105 CMR 451.123*	Maintenance: Shower hooks rusty

105 CMR 451.123*	Maintenance: Soap scum on walls in all showers

105 CMR 451.123*	Maintenance: Ceiling vents dirty

105 CMR 451.123	Maintenance: Floor dirty in showers

Showers – 2nd Floor

105 CMR 451.123*	Maintenance: Floor not easily cleanable, paint peeling outside showers

105 CMR 451.123*	Maintenance: Shower hooks rusty

105 CMR 451.123*	Maintenance: Shower drains rusty

105 CMR 451.123*	Maintenance: Ceiling not maintained in good repair, ceiling tiles damaged outside showers

105 CMR 451.123*	Maintenance: Ceiling dirty, appearance of mold outside showers

Cells

105 CMR 451.353*	Interior Maintenance: Floor not maintained in good repair, paint peeling in all cells

105 CMR 451.353	Interior Maintenance: Bed not maintained in good repair, paint peeling in cell # 406 and 407

105 CMR 451.353	Interior Maintenance: Ceiling not maintained in good repair, paint peeling in cell        # 403

105 CMR 451.353	Interior Maintenance: Wall not maintained in good repair, paint peeling in cell # 408

Recreation Deck

105 CMR 451.353	Interior Maintenance: Trash on recreation deck

E3

105 CMR 451.353	Interior Maintenance: Wall not maintained in good repair, paint peeling

105 CMR 451.353	Interior Maintenance: Ceiling vents dusty

Slop Sink

105 CMR 451.353*	Interior Maintenance: Ceiling not maintained in good repair, ceiling tiles damaged

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in all showers

105 CMR 451.123*	Maintenance: Curtains dirty

105 CMR 451.123*	Maintenance: Ceiling vents dirty

105 CMR 451.123*	Maintenance: Shower hooks rusty

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower leaking in shower # 7

Cells

105 CMR 451.353*	Interior Maintenance: Wall not maintained in good repair, paint peeling in all cells

105 CMR 451.353	Interior Maintenance: Light fixture blocked in cell # 301, 308, 314, and 330

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, wall ventilation grille blocked in cell    # 410, 430, and 434

105 CMR 451.353	Interior Maintenance: Ceiling not maintained in good repair, paint peeling in cell        # 302, 307, 321, and 428

105 CMR 451.353	Interior Maintenance: Floor not maintained in good repair, paint peeling in cell # 320

105 CMR 451.353*	Interior Maintenance: Molding damaged in cell # 438

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty in cell # 438

C3

105 CMR 451.353	Interior Maintenance: Wall not maintained in good repair, paint peeling near phones

105 CMR 451.353	Interior Maintenance: Ceiling vents dusty

105 CMR 451.353	Interior Maintenance: Ceiling tiles dirty

Slop Sink

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353*	Interior Maintenance: Ceiling not maintained in good repair, ceiling tiles damaged

105 CMR 451.344	Illumination in Habitable Areas: Light not functioning properly, light out

Showers

Unable to Fully Inspect – In Use

105 CMR 451.123	Maintenance: Ceiling dirty, appearance of mold outside showers

Cells

105 CMR 451.353	Interior Maintenance: Light fixture blocked in cell # 305

Warehouse – Support Building

Freezer

No Violations Noted

Fridge # 1

No Violations Noted

Fridge # 2

FC 6-202.11(A)	Design, Construction, and Installation; Functionality: Light bulbs not shatter-resistant 	or protected by light shields

Male Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123*	Maintenance: Floor not easily cleanable, damaged at entrance

Female Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123*	Maintenance: Wall not easily cleanable, hole in wall behind flusher

Inmate Bathroom

No Violations Noted

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

K9 Unit

Bathroom # 1

105 CMR 451.123*	Maintenance: Wall not easily cleanable, damaged behind door

105 CMR 451.123*	Maintenance: Floor dirty

Bathroom # 2

105 CMR 451.123*	Maintenance: Wall not easily cleanable, wall damaged behind door

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

Kitchen Area

105 CMR 451.353	Interior Maintenance: Dryer not vented to the exterior

Garage

Bathroom – W124

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Janitor’s Closet – W123

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

Print Shop

FC 4-601.11(A)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, coffee maker dirty

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, Refrigerator door broken

Inmate Bathroom

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

Staff Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1330F

105 CMR 451.123*	Maintenance: Ceiling vent dirty

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Janitor’s Closet – W111

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking at slop sink

Observations and Recommendations

- The inmate population was 1256 at the time of inspection.

- Cell block A1 was under construction at the time of inspection. No inmates were housed in this block.

- Cell block DS3 was empty at the time of inspection. The Department conducted the inspection of this block as normal.

- Many locations did not have a paper towel dispenser installed and paper towels were left exposed. The Department recommended that paper towels are stored in a dispenser.

- Ceiling air vents were painted black in the staff dining room next to the kitchen. The dark color makes dirt and dust difficult to see and cleaning problematic. The Department recommended replacing these vents.

- The warewash machine in the main kitchen took an excessive amount of time to reach appropriate sanitizing temperature. The Department recommended looking at the manufacturer’s specifications for the unit to find out the acceptable amount of time to reach temperature.

- The large tool room in the maintenance area was disorganized and posed dangerous conditions for workers. The Department recommended organizing this room.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within ten working days of receiving this report and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Nicholas Gale

Environmental Health Inspector, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

John W. Polanowicz, Secretary, Executive Office of Health and Human Services

Luis S. Spencer, Commissioner, DOC

Antone Moniz, Superintendent

Captain Eugene Irvine, EHSO

Michelle Roberts, MA, CHO, Health Director, Plymouth Health Department

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Andrea Cabral, Secretary, EOPS