The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

23 Service Center

Northampton, MA 01060

Telephone 413 586-7525, ext. 3167

Facsimile 413 784-1037

TTY 800 769-9991

charlie.kaniecki@state.ma.us

DEVAL L. PATRICK GOVERNOR TIMOTHY P. MURRAY LIEUTENANT GOVERNOR JOHN POLANOWICZ SECRETARY LAUREN A. SMITH, MD, MPH COMMISSIONER

February 28, 2013

Bruce I. Gelb, Superintendent

Souza-Baranowski Correctional Center

P.O. Box 8000

Shirley, MA 01464

Re: Souza-Baranowski Correctional Center Facility Inspection

Dear Superintendent Gelb:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, and Department of Public Health Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of Souza-Baranowski Correctional Center on February 4, 5, 6, & 7, 2013 accompanied by Sgt. Jeffery Bussiere and Officer John Pelletier, EHSO. Violations noted are listed below (* indicates conditions documented on previous inspection reports).

ENTRANCE AREA

Bubbler

No Violations Noted

Female Bathroom A1-10

105 CMR 451.130                      Plumbing not maintained in good repair, first sink out-of-order

Male Bathroom A1-9

No Violations Noted

Janitor’s Closet A1-11

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

Reception area

105 CMR 451.353	             Interior Maintenance: Two chairs damaged

1st Floor

Female Bathroom A1-31

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Janitor’s Closet A1-43

No Violations Noted

Men’s Locker Room A1-33

105 CMR 451.123	Maintenance: Wall needs painting

105 CMR 451.123*	Maintenance: Ceiling tile water damaged

ADMINISTRATION AREA A2-6

2nd Floor

Kitchenette

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, refrigerator needs defrosting

Female Bathroom A2-22

No Violations Noted

Male Bathroom A2-21

No Violations Noted

Female Locker Room A-44

No Violations Noted

Hallway Bubbler

No Violations Noted

Men’s Locker Room A2–48

Unable to Inspect - Occupied

Weight Room A2-37

105 CMR 451.353*                     Interior Maintenance: Mirror damaged on wall

105 CMR 451.350*	Structural Maintenance: Wall damaged by mirror

105 CMR 451.353	Interior Maintenance: Damaged seats on Body Master

OUTER CONTROL A1-16

105 CMR 451.123	Maintenance: Damaged chairs

Bathroom A1-17

No Violations Noted

VISITING AREA

Non-Contact Visiting Area B1-22

No Violations Noted

Contact Area

105 CMR 451.350*	Structural Maintenance: Ceiling damaged, rust and loose paint

105 CMR 451.353*	Interior Maintenance: Water leaking from ceiling in two areas

Bathrooms

No Violations Noted

Janitor’s Closet B1-12

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

INNER CONTROL B1-1B

FC 4-602.12(B)*		Cleaning of Equipment and Utensils; Frequency: Interior of microwave

oven dirty

Bathroom B1-39

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.350	Structural Maintenance: Floor tiles damaged

OPERATIONS AREA

Female Bathroom B1-48

No Violations Noted

Male Bathroom B -49

No Violations Noted

Janitor’s Closet

Unable to Inspect - Locked

MAIN KITCHEN

Inmate Dining Area

No Violations Noted

Tray Washing Room

FC 4-501.11(B)	Maintenance and Operation, Equipment: Hand wash sink damaged

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at

handwash sink

North Side Serving

FC 5-205.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, prep sink leaking

South Side Serving

FC 5-202.12(A)*	Plumbing System, Design: Handwashing sinks water temperature recorded

at 860F

Pot Washing Area

FC 6-501.11*                    	Maintenance and Operation; Repairing: Facility not in good repair, loose insulation on

piping in wash ware area

Kitchen Cook Area

FC 4-601.11(A)	*                        Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, cutting

boards worn

Bakery

FC 7-101.11*	Poisonous or Toxic Materials; Original Containers: Cleaning chemicals not labeled properly, original manufactures label missing, garlic containers being used for rag sanitizer containers

FC 5-202.12(A)*	Plumbing System, Design: Handwashing sinks water temperature recorded at 950F

Dry Storage for Kitchen

No Violations Noted

Meat Cooler

FC 3-305.11(A)(2)*	Preventing Contamination from Premises: Meat freezer, food exposed to dust, fans in left over cooler dusty

Produce Cooler

No Violations Noted

Dairy Cooler

No Violations Noted

Hallal Station

FC 4-903.11(A)(2) 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 			             from contamination

Storage (next to Office)

No Violations Noted

Office

No Violations Noted

Janitor’s Closet

No Violations Noted

Staff Bathroom/Locker Room

No Violations Noted

Inmate Bathroom C-59

No Violations Noted

Staff Bathroom

No Violations Noted

CULINARY D1-36

No Violations Noted

Dry Goods D1-41

No Violations Noted

Kitchen

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, a wood box has been constructed over plumbing

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not properly cleaned, rubber floor mats are being stored next to the cook kettles

FC 6-501.12(A)	                          Maintenance and Operation; Cleaning: Facility not properly cleaned, floor under

countertop in serving area.

Janitor’s Closet DG-44

No Violations Noted

Dishwasher Area DG-37

No Violations Noted

Serving Line D1-36A

No Violations Noted

Staff Dining Area D1-25

No Violations Noted

Male Staff Locker Room D1-27

105 CMR 451.350*	Structural Maintenance: Ceiling damaged, near shower and by entry door

Female Staff Locker Room D1-31

105 CMR 451.344*	Illumination in Habitable Areas: Inadequate lighting, missing light blub

Janitor’s Closet D1-26

No Violations Noted

GYM AREA D1-15

Control

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, refrigerator gasket damaged

Janitor’s Closet D1-24

No Violations Noted

Inmate Bathroom D1-23

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

SOUTH GYM D1 -17

Room D1-21

No Violations Noted

Janitor’s Closet D1-22

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Staff D1-19

Unable to Inspect - Locked

Room D1-20

105 CMR 451.353*	Interior Maintenance: Mixed chemicals stored on floor

NORTH GYM D1-13

No Violations Noted

Storage Room D1-14

No Violations Noted

WEIGHT ROOM D1-11

105 CMR 451.353	Interior Maintenance: Seats damaged on 1 sit up machine, 2 pull

over machines & 2 pull down machines

LAUNDRY D1-5A

No Violations Noted

Inmate Bathroom D1-7

No Violations Noted

Staff Bathroom D1-9

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 920F

Supply D1-5B

No Violations Noted

Office D1-8

No Violations Noted

Janitor’s Closet D1-46

105 CMR 451.383(B)	Fire Safety System: Facility not in compliance with State Building Code provisions on fire safety, boxes piled to ceiling, no 18 inch open space

BARBER SHOP/VOC ED

Office C1-40

No Violations Noted

Female Bathroom C1-37

No Violations Noted

Male Bathroom C1-38

No Violations Noted

Office C1-40

FC 4-903.11(A)(2) 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 			             from contamination

Computer Room C1-34

No Violations Noted

Barber Shop C1-27

No Violations Noted

Janitor’s Closet C1-25

No Violations Noted

Storage Room C1-29

Unable to Inspect - Locked

Storage C1-30

No Violations Noted

Chemical Storage C1-31

No Violations Noted

Computer Class Room C1-34

No Violations Noted

RTU CLASS ROOMS C1-35

No Violations Noted

TRAINING ROOM C1-6

FC 4-602.12(B)*	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Janitor’s Closet C1-9

No Violations Noted

Inmate Bathroom C1-11

No Violations Noted

Staff Bathroom C1-10

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 870F

105 CMR 451.123*	Maintenance: Outlet GFI not operable

BOOKING/PROPERTY D6-74A

Room D6-24

Unable to Inspect - Locked

Female Bathroom D6-60

No Violations Noted

Male Bathroom D6-59

No Violations Noted

Janitor’s Closet D6-62

No Violations Noted

Cell #3 D6-63

No Violations Noted

Group Holding D6-65

No Violations Noted

Adm. 1

No Violations Noted

Protocol Room D6-50

No Violations Noted

Adm. 2 D6-41

105 CMR 451.130*	Plumbing not maintained in good repair, cold water not working

Room 37 & 38

No Violations Noted

Laundry D6-40

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.353*	Interior Maintenance: Chemical bottles on floor

105 CMR 451.350*	Structural Maintenance: Ceiling damaged, water leak

105 CMR 451.350*	Structural Maintenance: Floor damaged by water

105 CMR 451.123*	Maintenance: Dryer vent damaged

Adm. 3 D6-42

No Violations Noted

Staff Break room DG-36

No Violations Noted

Property Room Annex DG-43

105 CMR 451.123*	Maintenance: Blocked ceiling vent

Room DG-44A

No Violations Noted

Property Room DG-46

No Violations Noted

Room DG-45

105 CMR 451.350	Structural Maintenance: Ceiling damaged, tile missing

105 CMR 451.350	Structural Maintenance: Wall damaged with wiring exposed

Female Staff Bathroom DG-48

No Violations Noted

Male Bathroom DG-49

No Violations Noted

Janitor’s Closet DG-47

No Violations Noted

TRASH DOCK DG-22B

No Violations Noted

Can Storage Area

No Violations Noted

Refrigerated Garbage DG-25

No Violations Noted

Dumpster Area

No Violations Noted

INSIDE WAREHOUSE

Dry Goods

No Violations Noted

Chemical Storage DG-67

No Violations Noted

Freezer DG-69

No Violations Noted

Room DG-70

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Room DG-68

No Violations Noted

Room DG-71

No Violations Noted

INDUSTRIES CG-10

Inmate Bathroom

No Violations Noted

Bubbler

No Violations Noted

Break Room CG-10A

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Dirty microwave oven

Staff CG-23

Unable to Inspect – Locked

Janitor’s Closet C-7

No Violations Noted

Staff Female Bathroom CG-7

No Violations Noted

Male Bathroom CG-8

No Violations Noted

Tool Bin CG-9

No Violations Noted

FL 21 & Fl 34

No Violations Noted

MAINTENANCE CG-13

105 CMR 451.350*	Structural Maintenance: Ceiling tiles missing and some damaged

Female Bathroom/Locker CG-25

105 CMR 451.353*	Interior Maintenance: Light cover damaged in sink area

Male Bathroom/Locker CG-24

No Violations Noted

Electrical Room CG-18

No Violations Noted

Janitor’s Closet

No Violations Noted

RECORDS AND CLASSIFICATION C2-14A

105 CMR 451.350*	Structural Maintenance: Ceiling tiles water stained throughout the area

Break Room hallway near C2-36

No Violations Noted

Male Bathroom C2-42

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 82oF

105 CMR 451.340*	Illumination: Insufficient lighting, one light not working

Female Bathroom C2-41

No Violations Noted

Janitor’s Closet C2-35

Unable to Inspect – Locked

Break Room C2-49

105 CMR 451.123*	Maintenance: Bubbler dirty

Spectrum C2-15C

Male Bathroom C2-27

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 840F

Female Bathroom C2-26

No Violations Noted

Inmate Bathroom

No Violations Noted

Janitor’s Closet C2-24

Unable to Inspect – Locked

SCHOOL/LIBRARY C2-84

Female Bathroom C2-76

105 CMR 451.126	Hot Water: Hot water temperature 910F recorded at sink

Male Bathroom C2-77

No Violations Noted

Room C2-72

No Violations Noted

Inmate Bathrooms C2-75

No Violations Noted

Room C2-66

No Violations Noted

Room C2-64

No Violations Noted

Janitor’s Closet C2-65

105 CMR 451.383(B)	Fire Safety System: Facility not in compliance with State Building Code provisions on 	fire safety, storage within 18 inches of ceiling

Room C2-62

Unable to Inspect –Occupied

Staff Break Room C2-63

FC 4-903.11(A)(2)* 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 			             from contamination

Library C2-67A

No Violations Noted

Room C2-74

Unable to Inspect – No Access

H.S.U

Officer’s Side B2-1A

Room B2-2

No Violations Noted

Room B2-3

No Violations Noted

Janitor’s Closet B2-64

No Violations Noted

Staff Bathroom B2 -90

No Violations Noted

X-Ray

No Violations Noted

Trauma Room B2-15

No Violations Noted

Outpatient

No Violations Noted

Exam Room

No Violations Noted

Room B2-24

Unable to Inspect - Locked

Room B2-23

Unable to Inspect - Locked

Room B2-22

Unable to Inspect - Locked

Room B2-28

No Violations Noted

PT Room B2-30

No Violations Noted

Dental Room B2-5

No Violations Noted

Inmate Bathroom B2-17

No Violations Noted

Officer's Side B2-1A

No Violations Noted

Break Room B2-52

105 CMR 451.123	Maintenance: Floor damaged

Pharmacy B2-31

No Violations Noted

Female Bathroom

No Violations Noted

Men’s Room

No Violations Noted

Nurse’s Side

Nurse’s Break Room B2-81

No Violations Noted

Janitor’s Closet B2-91

No Violations Noted

Staff Bathroom B2-60

No Violations Noted

Mini Pharmacy B2-58

No Violations Noted

Storage B2-56A

No Violations Noted

Waiting Area B2-36

No Violations Noted

Break Room/Storage B2-8

No Violations Noted

HSU Records B2-53

Unable to Inspect - Locked

Isolation/Inpatient B2-83

105 CMR 451.103	Mattresses: Mattress damaged

Janitor’s Room B2-50

No Violations Noted

Utility Room

Bio Hazard Storage B2-80

No Violations Noted

Isolation Cell B2-69

No Violations Noted

Cell B2-70

105 CMR 451.353*	Interior Maintenance: Ceiling vent rusty

Cells B2-83

No Violations Noted

Shower 1 B2-61

105 CMR 451.123*	Maintenance: Floor damaged

Shower 2

No Violations Noted

Shower 3

No Violations Noted

CHAPEL C2-9

Inmate Bathroom C2-8

No Violations Noted

Storage Closet C2-7

No Violations Noted

Office C2-90

No Violations Noted

MOSQUE C2-87

105 CMR 451.126*	Hot Water: Hot water temperature 910F

105 CMR 451.353	Interior Maintenance: Ceiling needs painting

Inmate Bathroom

No Violations Noted

C2-6

105 CMR 451.353	Interior Maintenance: Ceiling needs painting

C2-10

105 CMR 451.353*	Interior Maintenance: Ceiling needs painting

NORTH STP M F2-19

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

Staff Bathroom

105 CMR 451.345	Illumination in Common Passage Ways and Areas: Inadequate lighting in bathroom

Men’s Bathroom F2-21

No Violations Noted

Female Bathroom F2-20

No Violations Noted

Janitors Closet F2-19

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

Kitchen Area F2-8

FC 4-602.12(B)*		Cleaning of Equipment and Utensils; Frequency: Dirty microwave oven

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1370F

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

FC 6-501.114(A)*	Maintenance and Operations; Maintaining Premises: Nonfunctional equipment not 	repaired or removed from premises, ice machine

Visiting Bathroom F2-24

105 CMR 451.353	Interior Maintenance: Light shield damaged

Control F2-16

FC 4-602.12(B)*	             Cleaning of Equipment and Utensils; Frequency: Interior of microwave

oven dirty

105 CMR 451.353	Interior Maintenance: Ceiling tiles damaged

Staff Bathroom in Control F2-17

105 CMR 451.353	Interior Maintenance: Floor tiles damaged

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1400F

Recreation Deck F2-10A

No Violations Noted

Office

No Violations Noted

Cells F2-M100

105 CMR 451.353*	Interior Maintenance: Cracked wall cell # M3-09

105 CMR 451.353	Interior Maintenance: Blocked light cell # M3-18

Showers M3 S1-S4

105 CMR 451.123*	Maintenance: Paint peeling in all showers

Janitor's Closet F2M-103

105 CMR 451.383(B)	Fire Safety System: Facility not in compliance with State Building Code provisions on fire safety, boxes piled to ceiling, no 18 inch open space

NORTH STP L F2-L100

105 CMR 451.320*	Cell Size: Inadequate floor space in cells

Nurse Room L-105

105 CMR 451.353	Interior Maintenance: Vent blocked

Recreation Deck

No Violations Noted

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

105 CMR 451.383(B)	Fire Safety System: Facility not in compliance with State Building Code provisions on fire safety, boxes piled to ceiling, no 18 inch open space

Cells

105 CMR 451.353	Interior Maintenance: Vent blocked in cell # L3-07, 14, 15 & 19

105 CMR 451.350	Structural Maintenance: Floor damaged in front of cell # L3-20

Showers S1-4

105 CMR 451.123*	Maintenance: Peeling paint in all showers

105 CMR 451.353	Interior Maintenance: Vent blocked in shower # L3-S1 & L3-S4

L2M2 POD F1-20A

Female Bathroom

No Violations Noted

Male Bathroom

No Violations Noted

Nurse’s Station F1-24

Unable to Inspect - Locked

L2 CELL BLOCK F1-L111

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350	Structural Maintenance: Cell area ceiling damaged

Storage F1-L100

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Staff Bathroom

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, floor drain blocked and rusty

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No soap at

handwash sink, bar soap being used

Common Sink

No Violations Noted

Recreation Deck

No Violations Noted

Bubbler

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Vent blocked in cell # L2-02,

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # L2-21 & 32

Showers

105 CMR 451.123*	Maintenance: Peeling paint in all showers

M2 CELL BLOCK F1-M111

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

Storage F1-M100

FC 4-102.11(B)(2)*		Materials for Construction and Repair; Multiuse: Unused single-service article not 			             protected against contamination

Janitor’s Closet F1-M105

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaks

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

Staff Bathroom

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink,

bar soap being used

Common Sink

No Violations Noted

Recreation Deck

No Violations Noted

Bubbler

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Wall damaged by light switch in cell # M2-44

Showers M2-S1-4

105 CMR 451.123*	Maintenance: Peeling paint in all showers

105 CMR 451.123*	Maintenance: Soap scum on all shower walls

105 CMR 451.123*	Maintenance: Wall vent dusty in all showers

N2P2 POD F1-8

Unit Team

FC 4-102.11(B)(2)*		Materials for Construction and Repair; Multiuse: Unused single-service article not 			             protected against contamination

Female Bathroom F1-16

No Violations Noted

Male Bathroom F1-15

No Violations Noted

Nurse’s Station F1-9

105 CMR 451.103	Mattresses: Mattress damaged

N2 CELL BLOCK F1-N111

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

Storage F1-N100

105 CMR 451.353*	Interior Maintenance: Unlabeled chemical bottle

FC 4-102.11(B)(2)		Materials for Construction and Repair; Multiuse: Unused single-service article not 			             protected against contamination

Janitor’s Closet F1-10

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Staff Bathroom F1-106

105 CMR 451.126		Hot Water: Hot water temperature recorded at 132oF

Staff Work Station

105 CMR 451.1238	Maintenance: Chair damaged

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

105 CMR 451.353	Interior Maintenance: Common area ceiling dirty

Common Counter

No Violations Noted

Recreation Deck

No Violations Noted

Bubbler

No Violations Noted

Cells

105 CMR 451.353*	Interior Maintenance: Vents blocked in cell # N2-10

105 CMR 451.353	Interior Maintenance: Vents blocked in cell # N2-5, 13 & 46

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # N2-15

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, water leaking between cell # N2-

20 & 21

Showers S1-8

105 CMR 451.123*	Maintenance: Peeling paint in all showers

105 CMR 451.123	Maintenance: Ceiling damaged in all showers

105 CMR 451.130	Hot Water: Shower water temperature recorded at 98oF

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, valve to regulate water damaged

in all showers

P2 CELL BLOCK F1-P111

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

Storage F1-13

No Violations Noted

Storage F1-P100

FC 4-102.11(B)(2)		Materials for Construction and Repair; Multiuse: Unused single-service article not 			             protected against contamination

Staff Work Station

105 CMR 451.123*	Maintenance: Chair damaged

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

105 CMR 451.353*	Interior Maintenance: Missing drain cover

Staff Bathroom F1-106

105 CMR 451.126	Hot Water: Hot water temperature recorded at 135oF

Common Counter

No Violations Noted

Recreation Deck

No Violations Noted

Bubbler

No Violations Noted

Cells

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # P2-05

105 CMR 451.353	Interior Maintenance: Vents blocked in cell # P2 – 28, 36, 38 & 50

105 CMR 451.353	Interior Maintenance: Blocked light in cell # P2-11

Showers P2S1-8

105 CMR 451.123*	Maintenance: Peeling paint in all showers

105 CMR 451.123	Maintenance: Ceiling & wall damaged in showers

L1M1 POD

Unit Team FG-23

Unable to Inspect - Locked

Female Bathroom

Unable to Inspect - Locked

Male Bathroom

Unable to Inspect - Locked

Storage FG-28

Unable to Inspect - Locked

Nurse’s Station FG-24

105 CMR 451.103*	Mattresses: Mattress damaged

Janitor’s Closet FG-22

No Violations Noted

L1 CELL BLOCK FG-20A

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

Room FG L100

No Violations Noted

Janitor’s Closet FG-105

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.345	Illumination in Common Passage Ways and Areas: Inadequate lighting

Staff Bathroom FG-L106

105 CMR 451.350	Structural Maintenance: Floor damaged

105 CMR 451.126		Hot Water: Hot water temperature recorded at 136oF

Staff Work Station

105 CMR 451.123*	Maintenance: Chair damaged

105 CMR 451.350	Structural Maintenance: Water damaged ceiling in common area towards showers

Common Counter

No Violations Noted

Recreation Deck

No Violations Noted

Bubbler

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Vent blocked in cell # L1-06 & 15

105 CMR 451.353	Interior Maintenance: Light blocked in cell # 55 & 59

105 CMR 451.350	Structural Maintenance: Wall damaged from water leak between cell # L1-44 & 47

Showers

105 CMR 451.123*	Maintenance: Paint removed or peeling in all showers

105 CMR 451.123*	Maintenance: Ceiling damaged in shower # 1, 3, 4, 5 & 7

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower leaking in

cell # 3, 5 & 6

M1 CELL BLOCK FG-M111

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

Storage FG M100

FC 4-102.11(B)(2)*		Materials for Construction and Repair; Multiuse: Unused single-service article not 				protected against contamination

Janitor’s Closet FG-M105

105 CMR 451.350*	Structural Maintenance: Ceiling not easily cleanable

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, water leaking from upstairs

Staff Bathroom FG-M106

No Violations Noted

Common Sink Counter

No Violations Noted

Recreation Deck

No Violations Noted

Bubbler

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Vents blocked in cell # M1-11 & 14

Showers M1 S1-8

105 CMR 451.123*	Maintenance: Peeling paint in shower # 1, 2, 4, 5, 6 & 7

N1P1 POD

Female Bathroom

Unable to Inspect - Locked

Male Bathroom

Unable to Inspect - Locked

Nurse’s Station

Unable to Inspect – Locked

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Missing drain cover

105 CMR 451.350*	Structural Maintenance: Ceiling damaged, water leak

N1 CELL BLOCK FG-N111

105 CMR 451.320*	Cell Size: Inadequate floor space in cells

Storage FG-N105

FC 4-602.12(B)*	             Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty &

damaged

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, microwave damaged

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

Janitor’s Closet FG-N105

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.350*	Structural Maintenance: Missing ceiling

Staff Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 138oF

Common Counter

No Violations Noted

Recreation Deck

No Violations Noted

Bubbler

No Violations Noted

Cells

105 CMR 451.353*	Interior Maintenance: Vents blocked in cell # N1-17

105 CMR 451.350	Structural Maintenance: Ceiling damaged, water leaking in cell # N1-25, 26 & 52

Showers S1-8

105 CMR 451.123*	Maintenance: Peeling paint in all showers

Unable to Inspect - Shower # 1 occupied

P1 CELL BLOCK FG-P111

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

Storage FG-P100

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

Janitor’s Closet FG-P105

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Staff Bathroom FG-P106

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, toilet leaking

105 CMR 451.126	Hot Water: Hot water temperature recorded at 133oF

Common Counter

No Violations Noted

Recreation Deck

105 CMR 451.350	Structural Maintenance: Holes in block wall

Bubbler

No Violations Noted

Cells

105 CMR 451.350	Structural Maintenance: Ceiling damaged, water leaking in cell # P1-21 & 42

Showers

105 CMR 451.123*	Maintenance: Peeling paint in all showers

105 CMR 451.123*	Maintenance: Soap scum on all shower walls

105 CMR 451.123*	Maintenance: Ceiling damaged in all showers

105 CMR 451.123*	Maintenance: Wall vent dusty in all showers

105 CMR 451.123*	Maintenance: Floor damaged in shower # 7

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower leaking in shower #8

105 CMR 451.350*	Structural Maintenance: Floor damaged in front of shower # 7

SOUTH SMU J E2-4

Recreation Deck

No Violations Noted

Male Bathroom E2-20

No Violations Noted

Female Bathroom E2-21

No Violations Noted

Storage E2-26

No Violations Noted

Scrub Room

105 CMR 451.126	Hot Water: Hot water temperature recorded at 144oF

Janitor’s Closet E2-19

No Violations Noted

Kitchen

FC 4-501.11(A)*	             Maintenance and Operation, Equipment: Equipment not maintained in a state

of good repair, ice machine leaking

FC 3-304.12(A)*	             Preventing Contamination from Utensils: Ice scoop not stored properly

Visitor’s Bathroom E-24

No Violations Noted

Protocol Room

105 CMR 451.126	Hot Water: Hot water temperature recorded at 143oF

Cells

105 CMR 451.123*	Maintenance: Damaged paint in cell # J3-22

Showers J3-S1-4

105 CMR 451.123*	Maintenance: Soap scum on shower walls

105 CMR 451.123*	Maintenance: Peeling paint in all showers

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, drain cover missing in

shower J3-S3

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking in shower # J3-S2

Janitor’s Closet

105 CMR 451.383(B)	Fire Safety System: Facility not in compliance with State Building Code provisions on 	fire safety, storage within 18 inches of ceiling

SOUTH SMU K E2-10B

Control

105 CMR 451.353	Interior Maintenance: Floor tiles damaged

Recreation Deck

No Violations Noted

Janitor’s Closet E2-K103

105 CMR 451.383(B)	Fire Safety System: Facility not in compliance with State Building Code provisions on fire safety, boxes piled to ceiling

Cells

105 CMR 451.350*	Structural Maintenance: Wall damaged in cell # K3-02, 17 & 27

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # K3-22

105 CMR 451.350	Structural Maintenance: Wall paint peeling in cell # K3-12

105 CMR 451.103	Mattresses: Mattress damaged in cell # K3-25

105 CMR 451.123	Maintenance: Light blocked in cell # K3-31

Showers K3-S1-4

105 CMR 451.123*	Maintenance: Peeling paint in all showers

105 CMR 451.350	Structural Maintenance: Wall damaged in shower # K3-S1

G2H2 POD South

Janitor’s Closet

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, sink leaking

Bathrooms E1-8

Male Bathroom E1-15

No Violations Noted

Female Bathroom E1-16

No Violations Noted

Nurse’s Station E1-9

105 CMR 451.103*	Mattresses: Mattress damaged

G2 CELL BLOCK G111

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353*	Interior Maintenance: Common area ceiling vents dusty

Storage

FC 4-602.12(B)*		Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Janitor’s Closet E1 G105

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

Staff Bathroom

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: Bar soap being used

105 CMR 451.126	Hot Water: Hot water temperature recorded at 133oF

Common Counter

No Violations Noted

Recreation Deck

No Violations Noted

Bubbler

No Violations Noted

Cells

105 CMR 451.350	Structural Maintenance: Hole in wall in cell # G2-39

105 CMR 451.103	Mattresses: Mattress damaged in cell # G2-31

105 CMR 451.353	Interior Maintenance: Vents blocked in cells # G2-09, 12, 13, 24, 27, 47 & 58

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, low pressure in

cell # G2-28

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, water leak in

cell # G2-53

Showers G2-S1-8

105 CMR 451.123*	Maintenance: Peeling paint in all showers

105 CMR 451.123*	Maintenance: Soap scum on all shower walls

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower leaking in # 3

105 CMR 451.123*	Maintenance: Hole in ceiling in shower #1 & 3

105 CMR 451.123*	Maintenance: Ceiling damaged in shower # 2

H2 CELL BLOCK E1-H111

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

Storage E1-4100

No Violations Noted

Janitor’s Closet E1-H105

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Toilet/Handwash sink damaged, faucet dripping

Staff Bathroom E1-H106

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at

handwash sink, bar soap being used

105 CMR 451.126		Hot Water: Hot water temperature recorded at 135oF

Common Counter

No Violations Noted

Recreation Deck

No Violations Noted

Bubbler

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Floor drain blocked by cell # H2-05 & H2-21

105 CMR 451.123	Maintenance: Wall damaged in cell # H2-01

Showers H2-S1-4

105 CMR 451.123*	Maintenance: Peeling paint in all showers

105 CMR 451.123*	Maintenance: Soap scum on all shower walls

105 CMR 451.123*	Maintenance: Ceiling damaged in shower # 5 & 8

105 CMR 451.123*	Maintenance: Baseboard damaged in shower # 4 & 8

105 CMR 451.123*	Maintenance: Hole in ceiling in shower # 1

J2K2 POD E1-5111

Bathrooms E1-23

Unable to Inspect - Locked

Janitor Closet E1-22

No Violations Noted

Nurse’s Station

105 CMR 451.103*	Mattresses: Mattress damaged

J2 CELL BLOCK

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353*	Interior Maintenance: Ceiling dusty in common area

Storage E1-5100

No Violations Noted

Janitor’s Closet E1-J105

No Violations Noted

Staff Bathroom E1-J106

105 CMR 451.126*		Hot Water: Hot water temperature recorded at 146oF

Common Counter

No Violations Noted

Recreation Deck

No Violations Noted

Bubbler

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Wall vent blocked in cell # J2-05

Showers J2-S1-8

105 CMR 451.123*	Maintenance: Peeling paint in all showers

105 CMR 451.360*	Protective Measures: Drain flies observed in shower # J2-07

K2 CELL BLOCK E1-K1

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.123*	Maintenance: Ceiling needs painting in the block common area

Control

105 CMR 451.123	Maintenance: Chair damaged

Storage E1-K100

No Violations Noted

Janitor’s Closet E1-K105

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Staff Bathroom

105 CMR 451.123*	Maintenance: Sink cracked

105 CMR 451.126	Hot Water: Hot water temperature recorded at 145oF

Common Counter

No Violations Noted

Recreation Deck

No Violations Noted

Bubbler

No Violations Noted

Cells

105 CMR 451.353*	Interior Maintenance: Floor tiles damaged outside cell # K2-21, K2-30,

K2-31 & K2-51

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking in cell # K2-37

Showers K2-S1-6

105 CMR 451.123*	Maintenance: Peeling paint in all showers

105 CMR 451.123*	Maintenance: Soap scum on walls in all showers

105 CMR 451.123*	Maintenance: Tile damaged outside of shower # 7

105 CMR 451.123*	Maintenance: Ceiling damaged in shower # 2, 4, 5 & 6

105 CMR 451.123*	Maintenance: Mold like substance in shower # 1, 2 & 6

105 CMR 451.360*	Protective Measures: Drain flies observed in shower # 6

G1H1 POD EG 6A

Janitor’s Closet

Unable to Inspect - Locked

Bathrooms EG-8

Male Bathroom EG-15

105 CMR 451.126	Hot Water: Hot water temperature recorded at 133oF

Female Bathroom EG-16

No Violations Noted

Offices E6

105 CMR 451.353	Interior Maintenance: Ceiling vent blocked in room # 11, 12 & 13

Nurse’s Station E6-9

105 CMR 451.103*	Mattresses: Mattress damaged

G1 CELL BLOCK EG-G111

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

Storage G 100

FC 4-903.11(A)(2)* 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 			             from contamination

105 CMR 451.353	Interior Maintenance: Ceiling vent blocked

FC 4-602.12(B)*	             Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Staff Bathroom EG-G106

105 CMR 451.126	Hot Water: Hot water temperature recorded at 134oF

Common Counter

No Violations Noted

Recreation Deck

No Violations Noted

Bubbler

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Vent blocked in cell # G1-36 & 55

Showers

105 CMR 451.123*	Maintenance: Peeling paint in all showers

105 CMR 451.123	Maintenance: Ceiling and walls damaged in all showers

H1 CELL BLOCK G6-H111

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

Storage E6 H100

No Violations Noted

Janitor’s Closet E6-H105

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

105 CMR 451.353*	Interior Maintenance: Missing drain cover

Staff Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 135oF

Staff Work Station

No Violations Noted

Common Counter

No Violations Noted

Recreation Deck

No Violations Noted

Bubbler

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Vent blocked in cell # H1-14, 18, 32, 39 & 50

105 CMR 451.123	Maintenance: Vent dusty in cell # H1-64

Showers H1-S1-8

105 CMR 451.123*	Maintenance: All showers not easily cleanable

105 CMR 451.123*	Maintenance: Peeling paint in all showers

105 CMR 451.350	Structural Maintenance: Major damaged wall and ceiling in shower # H1-S8

105 CMR 451.360	Protective Measures: Drain flies observed in shower # H1-S8

J1K1 POD EG-21A

Bathrooms E-23

Male Bathroom EG-31

No Violations Noted

Female Bathroom EG-30

No Violations Noted

Offices EG-25

105 CMR 451.353	Interior Maintenance: Ceiling vent blocked in room # 27

Nurse’s Station

105 CMR 451.103	Mattresses: Mattress damaged

J1 CELL BLOCK EG-J111

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

Storage EG J100

FC 4-903.11(A)(2)* 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 			             from contamination

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

Janitor’s Closet EG-J105

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

FC 6-501.16*	Maintenance and Operation; Cleaning: Wet mop stored in bucket

Staff Bathroom EG-J106

105 CMR 451.126	Hot Water: Hot water temperature recorded at 135oF

Common Counter

No Violations Noted

Recreation Deck

No Violations Noted

Bubbler

No Violations Noted

Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # J1-17

Showers

105 CMR 451.123*	Maintenance: Paint peeling in all showers

105 CMR 451.350	Structural Maintenance: Wall and ceiling damaged in all showers

K1 CELL BLOCK EG-K111

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

Control Area

105 CMR 451.353	Interior Maintenance: Counter top damaged

105 CMR 451.353	Interior Maintenance: Ceiling dirty in common area

Storage EG K100

No Violations Noted

Janitor’s Closet EG-K105

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

105 CMR 451.353*	Interior Maintenance: Sink drain cover missing

Staff Bathroom EG-K106

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1350F

Common Counter

No Violations Noted

Recreation Deck

No Violations Noted

Bubbler

No Violations Noted

Cells

No Violations Noted

Showers

105 CMR 451.123*	Maintenance: Paint peeling in all showers

105 CMR 451.123*	Maintenance: Ceiling damaged in shower # 1, 2 & 6

105 CMR 451.123*	Maintenance: Floor damaged in shower # 4

OUTSIDE WAREHOUSE

Refrigerator with Freezer

No Violations Noted

Freezer

No Violations Noted

Janitor’s Closet

FC 6-501.16*	Maintenance and Operation; Cleaning: Wet mop stored in bucket

Bathroom/Office

105 CMR 451.123	Maintenance: Hole in wall with exposed wires

Room WH-6

105 CMR 451.346                      Safe Wiring: Use of extension cord as temporary wiring, for water cooler, through a

doorway and under carpet

Observations and Recommendations

- The inmate population was 1237 at the time of inspection

- The inmate’s bathroom has been removed from the Barber Shop area

- The computer Classroom area has 3 toilet areas with no privacy to the Classrooms or hallway

- The showers should be numbered for location purposes

- Many of the showers require attention and concerns were expressed of the lack of hot water in the nighttime

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within ten working days of receiving this report and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Community Sanitation Regulations" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Charles J Kaniecki

District Health Officer, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

John Polanowicz, Secretary, Executive Office of Health and Human Services

Luis S. Spencer, Commissioner, DOC

Sgt. Jeffery Bussiere, EHSO

Shirley Board of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Andrea Cabral, EOPS