

The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

5 Randolph Street

Canton, MA 02021

Telephone: 781 828-8046

Facsimile: 781 828-7703

Nicholas.Gale@state.ma.us

|  |
| --- |
| DEVAL L. PATRICK  GOVERNOR  JOHN W. POLANOWICZ  SECRETARY  EILEEN M. SULLIVAN  ACTING COMMISSIONER |

December 22, 2014

Lisa Mitchell, Superintendent

OCCC Kitchen Core Services

1 Administration Road

Bridgewater, MA 02324

Re: Facility Inspection - OCCC Kitchen Core Services, Bridgewater

Dear Superintendent Mitchell:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the OCCC Kitchen Core Services on December 19, 2014 accompanied by Donald Wright, Deputy Director of Food Service, Bill Pappas, EHSO, Lieutenant Ed Costa, Sergeant Robert Travers, and Kerry Wagner, Community Sanitation Program. Violations noted during the inspection are listed below including 5 repeat violations:

**HEALTH AND SAFETY VIOLATIONS**

(*\* indicates conditions documented on previous inspection reports*)

**Loading Dock**

*Trap Office*

No Violations Noted

**Main Kitchen**

*Hallway*

No Violations Noted

*Swill Room*

FC 6-201.11 Design, Construction and Installation: Ceiling not easily cleanable, paint peeling

*Director’s Office*

No Violations Noted

*Cooler # 9*

No Violations Noted

*Cart Storage Room*

No Violations Noted

*Handwash Sink (near Cart Storage Room)*

No Violations Noted

*Grease Hood Area*

No Violations Noted

*Diet Kitchen*

No Violations Noted

*Office # 155*

FC 6-201.11 Design, Construction and Installation: Ceiling not easily cleanable, paint peeling

FC 6-501.12(A) Maintenance and Operation; Cleaning: Facility not cleaned properly, ceiling stained

*Office # 157*

No Violations Noted

*Office # 158*

No Violations Noted

*Kettle Area*

FC 3-304.12(A) Preventing Contamination from Utensils: Service utensils handle stored below the food and container line, scoop stored in chicken base

*Oven Area*

No Violations Noted

*Bakery Area*

FC 5-205.15(B) Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, cold water out-of-order at prep sink

*Tool Crib*

No Violations Noted

*Cooler # 1*

No Violations Noted

*Cooler # 3*

No Violations Noted

*Cooler # 7*

No Violations Noted

*Hobart Refrigerator # 1294*

No Violations Noted

*Freezer # 1*

No Violations Noted

*Cooler # 2*

No Violations Noted

*Ice Machine*

No Violations Noted

*Dry Storage*

FC 4-903.11(A)(2) Protection of Clean Items, Storing: Single-service items not protected from contamination, utensils left uncovered

*Inmate Bathroom # 165*

No Violations Noted

*Utensil Closet*

No Violations Noted

*New Pot Room*

FC 6-501.11 Maintenance and Operation; Repairing: Facility not in good repair, soap dispenser rusted

FC 4-903.11(B)(2) Protection of Clean Items, Storing: Uncovered equipment not protected from contaminations, bakery mixing bowls not covered while in storage

**Market Area**

*Cooler # 4*

No Violations Noted

*Freezer # 2*

FC 3-302.11(A)(4) Preventing Food and Ingredient Contamination: Preventing cross contamination, chicken patties not appropriately covered

*Cooler # 5*

FC 4-204.112(A) Design and Construction, Functionality: No functioning thermometer in cooler

*Cooler # 6*

No Violations Noted

*Inmate Bathroom # 168*

FC 6-201.11 Design, Construction and Installation: Ceiling not easily cleanable, ceiling cracked

*Toxic/Caustic Closet*

No Violations Noted

*Receiving Office*

No Violations Noted

**Warehouse**

*Warehouse Storage Office*

FC 4-501.11(B)\* Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, refrigerator gaskets dirty

*Staff Bathroom*

No Violations Noted

*Double Door Freezer*

FC 6-501.12(A)\* Maintenance and Operation; Cleaning: Facility not cleaned properly, ice buildup on walls

FC 6-501.11\* Maintenance and Operation; Repairing: Facility not in good repair, floor uneven

*Single Door Freezer*

No Violations Noted

**Bakery**

FC 6-501.11\* Maintenance and Operation; Repairing: Facility not in good repair, floor tiles damaged

*Bathroom # 126*

FC 6-201.11 Design, Construction and Installation: Ceiling not easily cleanable, ceiling cracked

*Three-Compartment Sink and Mechanical Warewashing Area*

No Violations Noted

*Records # 127*

No Violations Noted

*Cooler # 12*

No Violations Noted

*Storage Room # 121*

No Violations Noted

*Freezer*

FC 6-501.12(A)\* Maintenance and Operation; Cleaning: Facility not cleaned properly, ice buildup on ceiling

**Inmate Dining Area**

*Dining Room*

FC 6-501.11 Maintenance and Operation; Repairing: Facility not in good repair, table seats not easily cleanable, paint peeling

*Traulsen Double Door Warmer*

No Violations Noted

*Traulsen Refrigerator*

FC 4-204.112(A) Design and Construction, Functionality: No functioning thermometer in refrigerator

*Food Service Line*

No Violations Noted

*Kitchen Area*

No Violations Noted

*Handwash Sink*

No Violations Noted

*Mechanical Warewashing Machine*

No Violations Noted

**Hallway**

*Slop Sink Room # 111*

FC 6-501.16 Maintenance and Operation; Cleaning: Wet mop stored in bucket

*Male Bathroom # 112*

No Violations Noted

*Inmate Bathroom # 114*

FC 6-501.12(A) Maintenance and Operation; Cleaning: Facility not cleaned properly, floor dirty

*Female Bathroom # 115*

No Violations Noted

*Toxic and Caustic Storage Room # 118*

No Violations Noted

**Observations and Recommendations**

1. The inmate population was 16 at the time of inspection.
2. The Department recommended covering the ceiling exhaust pipe which is currently exposed in the old bakery.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at [www.mass.gov/dph/dcs](http://www.mass.gov/dph/dcs) and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at [www.mass.gov/dph/fpp](http://www.mass.gov/dph/fpp) and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “[1999 Food Code](http://www.cfsan.fda.gov/%7Edms/fc99-toc.html)”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Nicholas Gale

Environmental Health Inspector, CSP, BEH

cc: Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

John W. Polanowicz, Secretary, Executive Office of Health and Human Services

Carol Higgins O’Brien, Commissioner, DOC

Donald Wright, Deputy Director of Food Service

Bill Pappas, EHSO

Eric Badger, CHO, Health Agent, Bridgewater Board of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Andrea Cabral, Secretary, EOPS