The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

5 Randolph Street

Canton, MA 02021

Telephone: 781-828-7910

Facsimile: 781-828-7703

marian.robertson@state.ma.us

DEVAL L. PATRICK GOVERNOR TIMOTHY P. MURRAY LIEUTENANT GOVERNOR JUDYANN BIGBY, MD SECRETARY JOHN AUERBACH COMMISSIONER

October 16, 2012

Frank G. Cousins, Jr., Sheriff

Essex County Women in Transition

20 Manning Avenue

Middleton, MA 01949

Re: Facility Inspection

Dear Sheriff Cousins:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, and Department of Public Health Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of Essex County Women in Transition on October 9, 2012 accompanied by Michael Zaffiro, EHSO and Amy Riordan, Environmental Health Inspector of the Community Sanitation Program. Violations noted are listed below (* indicates conditions documented on previous inspection reports).

Hallway

No Violations Noted

Office (2)

No Violations Noted

Program Coordinator’s Office (3)

105 CMR 451.353*	Interior Maintenance: Light shield damaged

Deputy Superintendant’s Office (4)

No Violations Noted

Laundry Room (5)

105 CMR 451.353*	Interior Maintenance: Floor dirty behind washer and dryer units

105 CMR 451.353	Interior Maintenance: Wall vent dusty

Staff Bathroom (6)

105 CMR 451.123*	Maintenance: Ceiling vent dirty

Copy Room (7)

No Violations Noted

Hot Water Heater Room (8)

105 CMR 451.350	Structural Maintenance: Wall damaged, on-going repairs

105 CMR 451.350	Structural Maintenance: Hole in floor, on-going

HSU (9)

105 CMR 451.353	Interior Maintenance: Floor tile damaged

105 CMR 480.500(B)	Current Record-Keeping Log:  No medical waste log available at time of inspection

Communication Room (10)

No Violations Noted

Dorm Room # 11

105 CMR 451.123*	Maintenance: Ceiling vent dirty in bathroom

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.123	Maintenance: Light out in bathroom

105 CMR 451.123	Maintenance: Screw missing in electrical outlet cover plate in bathroom

Visitor’s Bathroom (12)

105 CMR 451.353	Interior Maintenance: Vent fan dusty

Dorm Room # 13

105 CMR 451.123	Maintenance: Ceiling vent dirty in bathroom

105 CMR 451.123	Maintenance: Toilet seat no longer easily cleanable, seat worn

105 CMR 451.123	Maintenance: Circular outlet cover not secured properly in bathroom

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

Dorm Room # 14

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.123	Maintenance: Ceiling vent dirty in bathroom

Dorm Room # 15

105 CMR 451.123*	Maintenance: Shelf below mirror not secured properly in bathroom

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

Dorm Room # 16

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.123	Maintenance: Wall paint damaged in bathroom

Dorm Room # 17

105 CMR 451.123*	Maintenance: Water stains on ceiling in bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dirty in bathroom

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.353	Interior Maintenance: Wall paint damaged in dorm room

Shower Room (18)

105 CMR 451.123*	Maintenance: Wall tile grout missing between shower stalls

105 CMR 451.123	Maintenance: Seam in shower wall cover not sealed properly in stall # 3

105 CMR 451.123	Maintenance: Ceiling light vents dusty

105 CMR 451.123	Maintenance: Shower floor finish damaged in shower stall # 3

105 CMR 451.123	Maintenance: Floor dirty in shower stall # 1 and 2

Kitchen (19)

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, gasket damaged on refrigerator unit

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, ice machine not working

FC 4-601.11(c)*	Cleaning of Equipment and Utensils, Objective: Vending machine drawer dirty

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, floor tiles 	damaged in several locations

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, siding on 	handwash sink cabinet damaged

FC 3-304.14(B)(2)	Preventing Contamination from Linens: Wet cloth not stored in sanitizer bucket

FC 4-903.11(B)(1)	Protection of Clean Items, Storing: Bowls not stored in the inverted/self-draining 
                                                     position

Meeting and Dinning Room (20)

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged near doorway

105 CMR 451.350	Structural Maintenance: Wall damaged in meeting room

Observations and Recommendations

- The inmate population was 23 at the time of inspection

- Handicap equipped shower was offline at the time of inspection; according to the facility this shower is kept offline unless needed

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within 10 days of receipt of this letter and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Community Sanitation Regulations" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Marian Robertson

Environmental Health Inspector, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

JudyAnn Bigby, MD, Secretary, Executive Office of Health and Human Services

Luis S. Spencer, Commissioner, DOC

Kim Murtagh, Deputy Superintendent

Michael Zaffiro, EHSO

Salisbury Board of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Mary Elizabeth Heffernan, EOPS