The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

5 Randolph Street

Canton, MA 02021

Telephone:  (781) 828-8046

Facsimile:  (781) 828-7703

Nicholas.Gale@massmail.state.ma.us

DEVAL L. PATRICK GOVERNOR TIMOTHY P. MURRAY LIEUTENANT GOVERNOR JUDYANN BIGBY, MD SECRETARY LAUREN A. SMITH, MD, MPH INTERIM COMMISSIONER

November 1, 2012

James J. Saba, Superintendant

M.C.I. Cedar Junction

P.O. Box 100

South Walpole, MA 02071

Re: Facility Inspection

Dear Superintendant Saba:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, and Department of Public Health Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the M.C.I. Cedar Junction on September 17, 18, 19, and 20, 2012 accompanied by Brad Gilman, EHSO and Amy Riordan, Environmental Health Inspector of the Community Sanitation Program. Violations noted are listed below (* indicates conditions documented on previous inspection reports).

PERIMETER TOWERS

P Tower

105 CMR 451.350*	Structural Maintenance: Window broken near stairs

105 CMR 451.350*	Structural Maintenance: Ceiling damaged near search light

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

105 CMR 451.353	Interior Maintenance: Light shield missing

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-903.11(A)(2)		Protection of Clean Items, Storing: Single-service items not protected from 					contamination, utensils not stored with handles up

Tower 1

105 CMR 451.350*	Structural Maintenance: Ceiling leaks at spotlight

FC 4-204.112(A)*		Design and Construction, Functionality: No functioning thermometer in refrigerator

105 CMR 451.350	Structural Maintenance: Exterior stairs damaged

105 CMR 451.350	Structural Maintenance: Wall damaged behind toilet

105 CMR 451.350	Structural Maintenance: Floor tiles damaged

105 CMR 451.126	Hot Water: Hot water temperature recorded at 710F

FC 4-903.11(A)(2)		Protection of Clean Items, Storing: Single-service items not protected from 					contamination, utensils not stored with handles up

105 CMR 451.350	Structural Maintenance: Leak at the top of windows

105 CMR 451.350	Structural Maintenance: Window damaged, propped open near refrigerator

105 CMR 451.350	Structural Maintenance: Window damaged in front of refrigerator, taped shut

105 CMR 451.353	Interior Maintenance: Window-sill paint peeling

Tower 2

105 CMR 451.350*	Structural Maintenance: Ceiling leaking near spotlight

105 CMR 451.350	Structural Maintenance: Wall damaged, under window at entrance

105 CMR 451.350	Structural Maintenance: Window broken

105 CMR 451.353	Interior Maintenance: Heater dirty

105 CMR 451.123*	Maintenance: Sink is generally dirty

105 CMR 451.350	Structural Maintenance: Floor tiles damaged at entrance

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, refrigerator gaskets dirty

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Tower 3

105 CMR 451.350*	Structural Maintenance: Ceiling leaking

105 CMR 451.350	Structural Maintenance: Wall damaged near window-sill

105 CMR 451.350	Structural Maintenance: Wall damaged, corner behind door

105 CMR 451.350	Structural Maintenance: Window broken

Tower 4

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

105 CMR 451.353	Interior Maintenance: Heater dirty

105 CMR 451.350	Structural Maintenance: Wall damaged, hole behind sink

105 CMR 451.350	Structural Maintenance: Wall damaged, behind door

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Tower 5

105 CMR 451.126	Hot Water: Hot water temperature recorded at 960F

105 CMR 451.353	Interior Maintenance: Wall paint peeling

FC 4-903.11(A)(2)		Protection of Clean Items, Storing: Single-service items not protected from 					contamination, utensils not stored with handles up

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

105 CMR 451.350*	Structural Maintenance: Ceiling leaking at spotlight

105 CMR 451.350*	Structural Maintenance: Exterior stairs damaged

105 CMR 451.353	Interior Maintenance: Fan dirty

105 CMR 451.353	Interior Maintenance: Heater dirty

Tower 6

105 CMR 451.350*	Structural Maintenance: Ceiling leaking near spotlight

105 CMR 451.350*	Structural Maintenance: Exterior stairs damaged

105 CMR 451.350*	Structural Maintenance: Wall damaged under windows

105 CMR 451.350	Structural Maintenance: Wall damaged, corner above toilet

105 CMR 451.350	Structural Maintenance: Floor tiles damaged

105 CMR 451.350	Structural Maintenance: Window broken

105 CMR 451.350	Structural Maintenance: Ceiling damaged above stairs

105 CMR 451.353	Interior Maintenance: Windows dirty

FC 4-602.12(B)*	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Tower 7

105 CMR 451.350*	Structural Maintenance: Ceiling damaged near spotlight

105 CMR 451.350	Structural Maintenance: Floor tiles damaged

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

Tower 8

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1370F

105 CMR 451.141*	Screens: Screen doesn’t fit window near heater

FC 4-602.12(B)*		Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

105 CMR 451.350	Structural Maintenance: Window broken

105 CMR 451.350*	Structural Maintenance: Window cracked

105 CMR 451.350*	Structural Maintenance: Baseboard damaged

105 CMR 451.350	Structural Maintenance: Wall damaged in staircase

105 CMR 451.350	Structural Maintenance: Blue molding damaged near switches at entrance

105 CMR 451.353*	Interior Maintenance: Cabinet under sink doesn’t close properly

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

105 CMR 451.353	Interior Maintenance: Chair damaged, not easily cleanable

GARAGE

105 CMR 451.353	Interior Maintenance: Chair damaged, not easily cleanable

Break Room

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, refrigerator dirty

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from contamination, utensils left uncovered

OUTER CONTROL

FC 4-602.12(B)	*		Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, refrigerator gaskets dirty

FC 4-601.11(A)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, toaster dirty

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from contamination, foam trays left uncovered

Bathroom (inside control)

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Vending Area

No Violations Noted

Female Bathroom

105 CMR 451.123*	Maintenance: Lock does not properly secure the door on the stall

Male Bathroom

No Violations Noted

Handicapped Bathroom

No Violations Noted

Utility Closet

105 CMR 451.344	Illumination in Habitable Areas: Light out

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Male Locker Room

105 CMR 451.123*	Maintenance: Sink damaged

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1

Lower Locker Room

No Violations Noted

Female Locker Room

105 CMR 451.350*	Structural Maintenance: Wall unfinished near sink in corner

105 CMR 451.123*	Maintenance: Shower tiles damaged

Female Staff Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 710F

Superintendent’s Investigators Office/Paralegal

No Violations Noted

Parole Office

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Treasurer’s Office

FC 4-903.11(A)(2)		Protection of Clean Items, Storing: Single-service items not protected from 					contamination, utensils not stored with handles up

Hallway

105 CMR 451.350	Structural Maintenance: Exit door not rodent and weathertight

VISITING ROOM

Non-Contact Visits

No Violations Noted

Male Bathroom

105 CMR 451.353	Interior Maintenance: Air vent dirty

Female Bathroom

105 CMR 451.353	Interior Maintenance: Air vent dirty

Contact Visits

No Violations Noted

INNER CONTROL

Control Room

FC 4-601.11(A)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, toaster oven dirty

Bathroom

FC 4-903.12 (A)	Protection of Clean Items, Storing: Paper goods stored in bathroom

FOOD SERVICE

Dining Area

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.353*	Interior Maintenance: Ceiling paint peeling

105 CMR 451.353	Interior Maintenance: Fans dirty

105 CMR 451.353	Interior Maintenance: Air vents dirty

105 CMR 451.353	Interior Maintenance: Electrical outlet broken in serving line

105 CMR 451.350	Structural Maintenance: Floor tiles damaged around floor drain

105 CMR 451.350	Structural Maintenance: Wall tiles damaged in serving line

Inmate Bathroom

No Violations Noted

Serving Area

FC 5-205.11(B)*	Plumbing System, Operations and Maintenance: Handwashing sink used for an	unapproved purpose, dishes in handwash sink

FC 3-305.11(A)(2)	Preventing Contamination from Premises: Food exposed to dust, fans in cooler dusty

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded at 1050F

Oven and Kettle Area

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, area under grill dirty

FC 3-305.11(A)(1)	Preventing Contamination from Premises: Food stored in an inappropriate location, chicken left out under grill

FC 3-305.11(A)(1)	Preventing Contamination from Premises: Food stored in an inappropriate location, lunch stored above oven

FC 3-305.11(A)(2)	Preventing Contamination from Premises: Food exposed to dust, dusty fan blowing on rice

Prep Area

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, standing water under 3-bay sink

FC 6-501.14	Maintenance and Operation; Cleaning: Ventilation Systems, vent dirty above sinks

FC 5-205.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, faucet leaking at 3-bay sink

FC 3-302.11(A)(4)	Preventing Food and Ingredient Contamination: Preventing cross contamination, food not appropriately covered in walk-in warmer

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from contamination, utensils and foam trays uncovered

FC 3-302.11(A)(4)	Preventing Food and Ingredient Contamination: Preventing cross contamination, blueberries not stored properly

FC 6-201.16(A)*	Design, Construction, and Installation; Cleanability: Walls not easily cleanable, hole in wall at handwash sink

Cooler # 4

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, two lights out

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, uneven floor

FC 4-903.12 (A)	Protection of Clean Items, Storing: Inappropriate storage of potatoes

FC 3-305.11(A)(2)	Preventing Contamination from Premises: Food exposed to dust, fans in cooler dusty

Dishwashing Area

FC 7-101.11	Poisonous or Toxic Materials; Original Containers: Cleaning chemical bottle not labeled

FC 3-304.12(A)	Preventing Contamination from Utensils: Scoop stored in flour bucket

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, fan dirty

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, pipe leaking at 3-bay dishwashing sink

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, middle bay faucet leaking

Dishwasher Machine Area

FC 5-501.16(C)	Refuse, Recyclables, and Returnables; Numbers and Capacities: No conveniently 	located waste receptacle at handwashing sink

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, debris on floor under dishwasher

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, floor drain clogged under dishwasher

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, pipe insulation damaged

Bakery

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, microwave handle broken

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, light bulb out

Diet Cooler

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, gaskets damaged on diet cooler

FC 3-701.11(A)	Contaminated Food, Disposition: Bad produce not properly discarded

Diet Freezer

No Violations Noted

Staff Office

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, refrigerator dirty

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, pipe insulation damaged

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, ceiling tiles stained and damaged

FC 4-903.12 (A)	Protection of Clean Items, Storing: Food product stored in an inappropriate location, box of pretzels stored on the floor

Dry Storage

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, debris on floor

FC 6-501.111(B)	Maintenance and Operations; Pest Control: Insects observed inside food product

FC 3-304.12(A)	Preventing Contamination from Utensils: Scoop stored in chicken base powder

FC 3-302.11(A)(4)	Preventing Food and Ingredient Contamination: Preventing cross contamination, food 	not appropriately covered, beef paste left uncovered

FC 3-302.11(A)(4)	Preventing Food and Ingredient Contamination: Preventing cross contamination, food 	not appropriately covered, spaghetti package open

Tool Crib

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, debris on floor

FC 3-304.12(A)	Preventing Contamination from Utensils: Scoop stored in sugar bucket

Back Room

Box 1

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, debris on floor

FC 3-305.11(A)(2)	Preventing Contamination from Premises: Food exposed to dust, fans in cooler dusty

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, Apples spilled on floor

FC 3-302.11(A)(4)	Preventing Food and Ingredient Contamination: Preventing cross contamination, food not appropriately covered, uncovered fruit and vegetables

Box 2

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, ice build-up

Box 3

FC 4-903.12 (A)	Protection of Clean Items, Storing: Food product stored in an inappropriate location, food on the floor

FC 3-302.11(A)(4)	Preventing Food and Ingredient Contamination: Preventing cross contamination, food not appropriately covered, open box of blueberries

FC 3-302.11(A)(4)	Preventing Food and Ingredient Contamination: Preventing cross contamination, food not appropriately covered, uncovered hamburgers

Chemical Room

FC 4-602.11(E)(4)(b)	Cleaning of Equipment and Utensils, Frequency: Mold-like substance observed on interior	surfaces of ice machine

105 CMR 451.350	Structural Maintenance: Window broken outside coolers

Loading Dock

FC 6-202.15(A)(2)*	Design, Construction, and Installation; Functionality: Outer door not weather and 	vermin tight

Exterior

FC 5-501.116(B)*	Refuse, Recyclables, and Returnables: Trash receptacles not cleaned after use, pig swill buckets

Office

FC 4-903.11(A)(2)*	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, items left uncovered

Fire Hose Room

FC 6-501.16*	Maintenance and Operation; Cleaning: Wet mop stored in bucket

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, screen damaged

Staff Bathroom

No Violations Noted

Store House

Freezer

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, ice build-up

Refrigerator

FC 3-305.11(A)(2)	Preventing Contamination from Premises: Food exposed to dust, fans in cooler dusty

FC 3-302.11(A)(4)	Preventing Food and Ingredient Contamination: Preventing cross contamination, food 	not appropriately covered, uncovered chicken

Office # 1

No Violations Noted

Office # 2

FC 7-101.11	Poisonous or Toxic Materials; Original Containers: Unlabeled cleaning bottle

Staff Kitchen

FC 4-903.11(A)(2)*	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, utensils left uncovered

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, utensils not stored with handles up

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty,	microwave # 2 dirty

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, fan dusty

CHEMICAL ROOM

No Violations Noted

RECORDS

Breakroom

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Female Bathroom

No Violations Noted

HSU

105 CMR 451.350	Structural Maintenance: Exit door not weathertight

Inmate Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Triage

No Violations Noted

Med Room

105 CMR 451.350	Structural Maintenance: Ceiling leaks at entrance

105 CMR 451.353	Interior Maintenance: Portable fan dusty

Administration Area

No Violations Noted

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Medical Office # 4

No Violations Noted

Supply Closet

No Violations Noted

Dark Room

No Violations Noted

Break Room

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Bathroom

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Dentist # 8

No Violations Noted

Shower

105 CMR 451.123	Maintenance: Soap scum on walls in shower

105 CMR 451.123	Maintenance: Shower curtain dirty

Cell # 3

105 CMR 451.353*	Interior Maintenance: Ceiling vent blocked

Cell # 5

105 CMR 451.350	Structural Maintenance: Ceiling tiles damaged

Cell # 6

No Violations Noted

NEW MAN SECTION

Cells

105 CMR 451.353	Interior Maintenance: Floor dirty in cells A-F

105 CMR 451.353	Interior Maintenance: Vent dusty in cells A-F

105 CMR 451.350	Structural Maintenance: Ceiling damaged in cell F

Supply Closet

No Violations Noted

Medical Room

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water not working

Handwash Sink

105 CMR 451.350*	Structural Maintenance: Wall damaged

Clothing/Break Room

105 CMR 451.353*	Interior Maintenance: Dryer not vented to the exterior

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, utensils left uncovered and not inverted

Shower Area

105 CMR 451.123	Maintenance: Drains blocked

PROPERTY

105 CMR 451.350*	Structural Maintenance: Ceiling leaks when it rains

Male Bathroom

105 CMR 451.123*	Maintenance: Floor paint peeling

Female Bathroom

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

Office

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, refrigerator gaskets dirty

FC 4-903.11(A)(2)*		Protection of Clean Items, Storing: Single-service items uncovered and not protected 				from contamination, utensils left uncovered and not inverted

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Supply Closet

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

Property Storage

No Violations Noted

UNIT MANAGEMENT

Unit Team Office

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, refrigerator dirty

Supply Closet

No Violations Noted

Programs

Administrative Assistant Office

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, utensils left uncovered

Male Bathroom

105 CMR 451.123	Maintenance: Floor dirty, debris on floor

Female Bathroom

No Violations Noted

Operations Office

Break Room

FC 4-903.11(A)(2)*	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, utensils left uncovered

Bathroom

No Violations Noted

AUDITORIUM

105 CMR 451.350*	Structural Maintenance: Damaged and missing ceiling tiles

105 CMR 451.350*	Structural Maintenance: Some ceiling tiles water stained

105 CMR 451.350*	Structural Maintenance: Ceiling damaged above stage

105 CMR 451.350	Structural Maintenance: Stage floor damaged

Backroom # 1

105 CMR 451.350	Structural Maintenance: Wall damaged

105 CMR 451.350	Structural Maintenance: Floor damaged

Backroom # 2

105 CMR 451.350	Structural Maintenance: Wall damaged

105 CMR 451.350	Structural Maintenance: Floor damaged, floor paint peeling

105 CMR 451.350	Structural Maintenance: Ceiling damaged, ceiling paint peeling

Bathroom

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.353*	Interior Maintenance: Uncovered junction box

105 CMR 451.344	Illumination in Habitable Areas: Light not functioning properly

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

DOS OFFICE

FC 4-102.11(B)(2)*	Materials for Construction and Repair; Multiuse: Unused single-service article not protected against contamination

Bathroom

No Violations Noted

GYM

105 CMR 451.350*	Structural Maintenance: Wall damaged in the corridor

105 CMR 451.350	Structural Maintenance: Wall paint peeling

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353	Interior Maintenance: Padding on weight-lifting bench damaged

Bathroom

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.123*	Maintenance: Handwash sink dirty

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

Chemical Storage

No Violations Noted

Lower Gym

105 CMR 451.350*	Structural Maintenance: Wall paint peeling

105 CMR 451.350	Structural Maintenance: Floor damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, pipe leaking

BARBER SHOP

105 CMR 451.353	Interior Maintenance: Missing receptacle cover at phone connection

Handwash Sink

105 CMR 451.110(B)*	Hygiene Supplies at Toilet and Handwash Sink: No waste receptacle at handwash sink

CENTRAL CORRIDOR

Slop Sink Room

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Male Bathroom

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.123*	Maintenance: Baseboard damaged

Female Bathroom

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

EAST WING

Unit Team

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator in office # 1

Chemical Storage

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

CHAPEL

105 CMR 451.353	Interior Maintenance: Kneeling pads damaged

105 CMR 451.353	Interior Maintenance: AC units not installed properly, fumes and heat not vented to outside

LIBRARY

105 CMR 451.350	Structural Maintenance: Walls leaking in Librarian’s office

Bathroom

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, cold water doesn’t work

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.350	Structural Maintenance: Wall paint peeling

Mop Closet

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

105 CMR 451.353	Interior Maintenance: Drain blocked in slop sink

1 BLOCK

105 CMR 451.350*	Structural Maintenance: Ceiling missing interior glass sections

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

3rd Floor

Shower

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Slop Sink

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Cells

105 CMR 451.103	Mattresses: Mattress damage in cells # 31, 35, and 43

105 CMR 451.350	Structural Maintenance: Paint peeling in cell # 34

2nd Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Wall damaged

Slop Sink

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaks when it’s turned on

Cells

105 CMR 451.350	Structural Maintenance: Wall paint peeling in cell # 22

1st Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.123*	Maintenance: Floor damaged

Storage Area

No Violations Noted

Slop Sink

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Cells

No Violations Noted

2 BLOCK

105 CMR 451.350*	Structural Maintenance: Ceiling missing interior glass sections

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

3rd Floor

Shower

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Slop Sink

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Cells

105 CMR 451.350*	Structural Maintenance: Wall damaged by light in cell # 43

2nd Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Paint peeling

Slop Sink

No Violations Noted

Cells

105 CMR 451.350	Structural Maintenance: Wall damaged near light in cell # 23, 24, and 26

1st Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.123	Maintenance: Floor damaged

Storage Area

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No handwash soap available

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

105 CMR 451.350	Structural Maintenance: Ceiling paint peeling

Slop Sink

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, sink leaks

105 CMR 451.350*	Structural Maintenance: Wet mop stored in bucket

Cells

105 CMR 451.350	Structural Maintenance: Paint peeling in cell # 9

3 BLOCK

105 CMR 451.350*	Structural Maintenance: Ceiling missing interior glass sections

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

3rd Floor

Shower

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123*	Maintenance: Walls dirty

Slop Sink

105 CMR 451.126	Hot Water: Hot water temperature recorded at 850F

Cells

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 36

105 CMR 451.103	Mattresses: Mattress damaged in cell # 32 and 38

105 CMR 451.353	Interior Maintenance: Electrical outlet cover not secured in cell # 32

2nd Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Paint peeling

Slop Sink

105 CMR 451.350*	Structural Maintenance: Floor paint peeling

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1050F

Cells

105 CMR 451.350*	Structural Maintenance: Wall damaged in cell # 21

Storage

105 CMR 451.350*	Structural Maintenance: Wall damaged

1st Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.353*	Interior Maintenance: Light cover loose

Storage Area

No Violations Noted

Slop Sink

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.350*	Structural Maintenance: Paint peeling

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 6

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet flush button leaks in cell # 3

4 BLOCK

105 CMR 451.350*	Structural Maintenance: Ceiling missing interior glass sections

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

3rd Floor

Shower

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower leaks

105 CMR 451.123*	Maintenance: Tile damaged

Slop Sink

105 CMR 451.350*	Structural Maintenance: Floor paint peeling

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Cells

No Violations Noted

2nd Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Damaged tiles

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower leaks

105 CMR 451.123*	Maintenance: Paint peeling

Slop Sink

105 CMR 451.350*	Structural Maintenance: Floor paint peeling

Cells

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 27 and 28

105 CMR 451.353	Interior Maintenance: Light covered in cell # 29

Storage

105 CMR 451.353*	Interior Maintenance: Light doesn’t work

1st Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.123*	Maintenance: Damaged tiles

Storage Area

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

105 CMR 451.350	Structural Maintenance: Ceiling paint peeling

Slop Sink

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, sink leaking

105 CMR 451.350*	Structural Maintenance: Floor paint peeling

105 CMR 451.350	Structural Maintenance: Ceiling damaged

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Cells

105 CMR 451.350*	Structural Maintenance: Paint peeling in cell # 3

105 CMR 451.350	Structural Maintenance: Paint peeling in cell # 6

105 CMR 451.350	Structural Maintenance: Ceiling damaged in cell # 1

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 12

5 BLOCK

105 CMR 451.350*	Structural Maintenance: Ceiling missing interior glass sections

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353*	Interior Maintenance: Toilet paper on block walls

3rd Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.123*	Maintenance: Missing shower head

105 CMR 451.123*	Maintenance: Vent dusty

105 CMR 451.123*	Maintenance: Floor paint peeling

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower leaking

105 CMR 451.123	Maintenance: Wall dirty, mold-like substance

Slop Sink

105 CMR 451.350*	Structural Maintenance: Floor paint peeling

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353	Interior Maintenance: Drain blocked

Cells

105 CMR 451.350	Structural Maintenance: Wall paint peeling in cell # 35 and 40

2nd Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.123*	Maintenance: Walls dirty

105 CMR 451.353	Interior Maintenance: Ceiling dirty

Slop Sink

105 CMR 451.350*	Structural Maintenance: Floor paint peeling

105 CMR 451.353	Interior Maintenance: Drain blocked

Cells

105 CMR 451.350*	Structural Maintenance: Wall paint peeling in cell # 18, 20, 24, 25, and 28

105 CMR 451.350	Structural Maintenance: Wall paint peeling in cell # 24

105 CMR 451.103*	Mattresses: Mattress damaged in cell # 22

105 CMR 451.353*	Interior Maintenance: Electrical outlet not secure to the wall in cell # 28

105 CMR 451.353	Interior Maintenance: Electrical outlet not secure to the wall in cell # 27

Storage

No Violations Noted

1st Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.123*	Maintenance: Walls dirty

Storage Area

No Violations Noted

Slop Sink

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, sink leaks when it’s turned on

Cells

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 13

105 CMR 451.353*	Interior Maintenance: Electrical outlet not secured to the wall in cell # 7 and 9

6 BLOCK

105 CMR 451.350*	Structural Maintenance: Ceiling missing interior glass sections

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.353*	Interior Maintenance: Toilet paper on block walls

3rd Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.123*	Maintenance: Vent dusty

Slop Sink

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Cells

105 CMR 451.353	Interior Maintenance: Electrical outlet not secured to the wall in cell # 37

2nd Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.123*	Maintenance: Floor damaged

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Slop Sink

No Violations Noted

Storage

No Violations Noted

Cells

105 CMR 451.350*	Structural Maintenance: Wall damaged in cell # 22

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 23

105 CMR 451.353*	Interior Maintenance: Electrical outlet not secured to the wall in cell # 20 and 24

105 CMR 451.353	Interior Maintenance: Electrical outlet not secured to the wall in cell # 24

105 CMR 451.344	Illumination in Habitable Areas: Light fixture not functioning properly in cell # 23

105 CMR 451.350	Structural Maintenance: Wall paint peeling in cell # 26

1st Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.123*	Maintenance: Vent dusty

105 CMR 451.123	Maintenance: No shower curtain

105 CMR 451.123	Maintenance: Shower out-of-order

Storage Area

No Violations Noted

Slop Sink

105 CMR 451.350*	Structural Maintenance: Floor paint peeling

105 CMR 451.350	Structural Maintenance: Wall paint peeling

Cells

105 CMR 451.353*	Interior Maintenance: Electrical outlet not secured to the wall in cell # 2, 5, 7, and 14

105 CMR 451.353	Interior Maintenance: Electrical outlet not secured to the wall in cell # 12

105 CMR 451.350	Structural Maintenance: Wall paint peeling in cell # 3

7 BLOCK

105 CMR 451.350*	Structural Maintenance: Ceiling missing interior glass sections

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

3rd Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.123*	Maintenance: Vent dusty

105 CMR 451.123*	Maintenance: Walls dirty

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower leaking

Slop Sink

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 36

105 CMR 451.353*	Interior Maintenance: Electrical outlet not secured to the wall in cell # 33 and 39

105 CMR 451.350*	Structural Maintenance: Wall damaged in cell # 31

2nd Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Paint peeling

Slop Sink

105 CMR 451.350*	Structural Maintenance: Wall paint peeling

Cells

105 CMR 451.353*	Interior Maintenance: Electrical outlet not secured to the wall in cell # 24 and 30

105 CMR 451.353	Interior Maintenance: Electrical outlet not secured to the wall in cell # 30

Storage

No Violations Noted

1st Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower leaks

105 CMR 451.123*	Maintenance: Mold on walls

105 CMR 451.123*	Maintenance: Wall damaged

Storage Area

No Violations Noted

Slop Sink

No Violations Noted

Cells

105 CMR 451.350	Structural Maintenance: Wall paint peeling in cell # 2 and 4

105 CMR 451.353*	Interior Maintenance: Electrical outlet not secured to the wall in cell # 6, 9 and 12

105 CMR 451.353	Interior Maintenance: Electrical outlet not secured to the wall in cell # 5

BLOCK 8

105 CMR 451.350*	Structural Maintenance: Ceiling missing interior glass sections

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

3rd Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123*	Maintenance: Walls dirty

Slop Sink

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.350	Structural Maintenance: Ceiling paint peeling

Cells

105 CMR 451.103*	Mattresses: Mattress damaged in cell # 35

105 CMR 451.353*	Interior Maintenance: Electrical outlet not secured to the wall in cell # 31

105 CMR 451.353	Interior Maintenance: Electrical outlet not secured to the wall in cell # 39

2nd Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.123*	Maintenance: Floor damaged

Slop Sink

105 CMR 451.350*	Structural Maintenance: Floor paint peeling

Cells

105 CMR 451.353*	Interior Maintenance: Electrical outlet not secured to the wall in cell # 25

1st Floor

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.123*	Maintenance: Floor damaged

Storage Area

105 CMR 451.350	Structural Maintenance: Ceiling paint peeling

Slop Sink

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaks when turned on

105 CMR 451.350	Structural Maintenance: Ceiling damaged

105 CMR 451.350	Structural Maintenance: Wall paint peeling

Cells

105 CMR 451.350*	Structural Maintenance: Wall paint peeling in cell # 1, 2, and 10

105 CMR 451.350	Structural Maintenance: Wall paint peeling in cell # 4

9 BLOCK – BMU

Staff Area

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, refrigerator gaskets dirty

FC 4-601.11(A)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, toaster oven dirty

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, utensils left uncovered

Bathroom

No Violations Noted

Office Area

No Violations Noted

Right Side

Shower

105 CMR 451.123*	Maintenance: Wall paint peeling

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Floor damaged

Slop Sink Room

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.130	Plumbing: No backflow preventer on right faucet

Storage

105 CMR 451.350	Structural Maintenance: Ceiling paint peeling

Cells

105 CMR 451.350	Structural Maintenance: Wall damaged behind toilet in cell # 103

Group Room

No Violations Noted

Game Room

105 CMR 451.353*	Interior Maintenance: Uncovered junction box

Library Room

105 CMR 451.350	Structural Maintenance: Ceiling paint peeling

105 CMR 451.350	Structural Maintenance: Floor paint peeling

Bathroom (back)

No Violations Noted

Exit Door

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

Office

105 CMR 451.350	Structural Maintenance: Floor paint peeling

Bathroom (in office)

No Violations Noted

One on One Room

No Violations Noted

Left Side

Cells

No Violations Noted

Storage

105 CMR 451.353*	Interior Maintenance: Uncovered junction box

Mop Closet

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.130	Plumbing: No backflow preventer on left faucet

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Floor damaged

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

2nd Floor

Right Side – Not in Use

Left Side

Storage

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

105 CMR 451.350	Structural Maintenance: Wall damaged

Slop Sink

No Violations Noted

Cells

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 202-204

Visits

No Violations Noted

10 BLOCK

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

Hallway

105 CMR 451.350	Structural Maintenance: Ceiling tiles damaged outside of bathroom

2nd Floor

Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1070F

Left Side

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Tile damaged

105 CMR 451.123	Maintenance: Wall dirty, mold-like substance on walls

105 CMR 451.123	Maintenance: Shower curtain dirty

105 CMR 451.123	Maintenance: Bench tiles damaged

105 CMR 451.353	Interior Maintenance: Ceiling vent dirty

Slop Sink

105 CMR 451.130	Plumbing: No backflow preventer on right faucet

105 CMR 451.353	Interior Maintenance: Wet mop stored on the floor

105 CMR 451.350	Structural Maintenance: Wall tiles damaged

Medical Room

105 CMR 451.350	Structural Maintenance: Ceiling tile damaged near window

Visiting Area - Visitors

105 CMR 451.353*	Interior Maintenance: Missing junction box

Visiting Area – Inmates

105 CMR 451.350*	Structural Maintenance: Tile damaged

105 CMR 451.350	Structural Maintenance: Ceiling damaged

105 CMR 451.353	Interior Maintenance: Missing junction box

Law Library

No Violations Noted

Storage

No Violations Noted

Mop Room

105 CMR 451.353*	Interior Maintenance: Mop stored on floor

Right Side

105 CMR 451.350*	Structural Maintenance: Windows broken in middle of hallway

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Tile damaged

105 CMR 451.123	Maintenance: Shower curtain dirty

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Mop Closet

105 CMR 451.353	Interior Maintenance: Mop stored on floor

105 CMR 451.130	Plumbing: No backflow preventer on right faucet

Storage

105 CMR 451.350*	Structural Maintenance: Ceiling paint peeling

Cells

105 CMR 451.353	Interior Maintenance: Light covered in cell # 50 and 60

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, air vent covered in cell # 60

1st Floor

Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaks

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

Break Room

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, refrigerator gaskets dirty

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, freezer dirty

Office

No Violations Noted

Visitor’s Room

No Violations Noted

Left Side

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Peeling paint

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Officers Office

No Violations Noted

Storage

No Violations Noted

Mop Sink

105 CMR 451.350*	Structural Maintenance: Ceiling paint peeling

Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 1, 3, and 14

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 12 and 14

105 CMR 451.350	Structural Maintenance: Floor tiles missing in cell # 14

Right Side

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty in cell # 21 and 22

105 CMR 451.103	Mattresses: Mattress damaged in cell # 28

Shower

Unable to Inspect – In Use

Mop Sink

105 CMR 451.353	Interior Maintenance: Mop stored on floor

105 CMR 451.130	Plumbing: No backflow preventer on right faucet

105 CMR 451.350	Structural Maintenance: Ceiling paint peeling

Storage

105 CMR 451.350	Structural Maintenance: Wall damaged, covered by cardboard

A1 BLOCK

3rd Floor

Slop Sink

105 CMR 451.350*	Structural Maintenance: Floor damaged

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Cells

105 CMR 451.350*	Structural Maintenance: Wall paint peeling in cell # 65 and 66

105 CMR 451.350	Structural Maintenance: Wall paint peeling in cell # 56, 62, 67, and 68

105 CMR 451.350	Structural Maintenance: Ceiling paint peeling in cell # 54

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 59 and 65

105 CMR 451.350*	Structural Maintenance: Ceiling leaking in cell # 66 and 68

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, air vent covered in cell # 64

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Peeling paint

105 CMR 451.123*	Maintenance: Wall damaged

105 CMR 451.123*	Maintenance: Ceiling damaged

2nd Floor

Slop Sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaks

Cells

105 CMR 451.350*	Structural Maintenance: Ceiling damaged in cell # 38

105 CMR 451.353	Interior Maintenance: Light covered in cell # 44 and 48

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 28 and 34

Showers

Unable to Inspect – In Use

1st Floor

Day Room

105 CMR 451.353	Interior Maintenance: Wall outlets covered or missing

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Cells

105 CMR 451.350*	Structural Maintenance: Wall damaged in cell # 18

105 CMR 451.350	Structural Maintenance: Wall paint peeling in cell # 6

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Peeling paint

105 CMR 451.123*	Maintenance: Floor damaged

Mop Closet

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

A2 BLOCK

3rd Floor

Cells

105 CMR 451.353*	Interior Maintenance: Ceiling vent blocked in cell # 51

105 CMR 451.353	Interior Maintenance: Air vents blocked in cell # 65

105 CMR 451.350*	Structural Maintenance: Wall paint peeling in cell # 54

105 CMR 451.350*	Structural Maintenance: Wall damaged in cell # 72

105 CMR 451.350*	Structural Maintenance: Ceiling damaged in cell # 70

Showers

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.123*	Maintenance: Floor damaged

105 CMR 451.123*	Maintenance: Walls unfinished

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.350	Structural Maintenance: Ceiling unfinished

Slop Sink

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: No running water at slop sink

2nd Floor

Cells

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, air vent blocked in cell # 37 and 45

105 CMR 451.350*	Structural Maintenance: Paint peeling in cell # 25, 26, and 38

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.350*	Structural Maintenance: Unfinished wall

105 CMR 451.350	Structural Maintenance: Ceiling unfinished

Slop Sink

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

1st Floor

Day Room

No Violations Noted

Cells

105 CMR 451.350	Structural Maintenance: Paint peeling in cell # 2, 3, 6, and 16

105 CMR 451.353	Interior Maintenance: Light covered in cell # 11 and 18

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.350	Structural Maintenance: Ceiling unfinished

105 CMR 451.350	Structural Maintenance: Unfinished wall

Mop Closet

105 CMR 451.350*	Structural Maintenance: Wall damaged

Slop Sink

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

A3 BLOCK

3rd Floor

Cells

105 CMR 451.350	Structural Maintenance: Wall paint peeling in cell # 66

105 CMR 451.353	Interior Maintenance: Switch cover missing in cell # 58

105 CMR 451.353	Interior Maintenance: Light covered in cell # 52, 54, and 55

105 CMR 451.350*	Structural Maintenance: Ceiling paint peeling in cell # 62

Showers

105 CMR 451.123	Maintenance: Soap scum on walls in all showers

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Paint peeling

105 CMR 451.350	Structural Maintenance: Wall and ceiling, unfinished

Slop Sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, no running water at slop sink

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

2nd Floor

Cells

105 CMR 451.350*	Structural Maintenance: Paint peeling in cell # 25, 28, and 37

Showers

Unable to Inspect – In Use

Slop Sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, no running water at slop sink

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

1st Floor

Day Room

105 CMR 451.350	Structural Maintenance: Wall paint peeling

105 CMR 451.353	Interior Maintenance: Outlet covered

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Cells

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet leaking in cell # 4

105 CMR 451.350*	Structural Maintenance: Paint peeling in cell # 2, 10, and 23

105 CMR 451.350	Structural Maintenance: Paint peeling in cell # 9, 13, 16, 17 and 24

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.123*	Maintenance: Vent dusty

105 CMR 451.350	Structural Maintenance: Ceiling unfinished

Mop Closet

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

105 CMR 451.350	Structural Maintenance: Ceiling paint peeling

Slop Sink

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

ORIENTATION

Control

FC 4-903.11(A)(2)* 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 				from contamination

Bathroom

No Violations Noted

1st Floor

Mop Room

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.350*	Structural Maintenance: Window damaged

105 CMR 451.350	Structural Maintenance: Floor damaged

105 CMR 451.353	Interior Maintenance: Missing junction box cover

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in all showers

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking in shower # 1

105 CMR 451.123	Maintenance: Missing curtain in shower # 2

Cells

105 CMR 451.350	Structural Maintenance: Paint peeling in cell # 128

105 CMR 451.103	Mattresses: Mattress damage in cell #120 and 121

105 CMR 451.350	Structural Maintenance: Window cracked in cell # 104, 109-113, 116, 117, and 126

105 CMR 451.350	Structural Maintenance: Ceiling damaged in cell # 109

105 CMR 451.353	Interior Maintenance: Toilet paper on ceiling in cell # 113

2nd Floor

Cells

105 CMR 451.350	Structural Maintenance: Paint peeling in cell # 214, and 230

105 CMR 451.350*	Structural Maintenance: Paint peeling in cell # 209, 221, 232 and 233

105 CMR 451.350	Structural Maintenance: Window cracked in cell # 203, 204, 219, and 223

105 CMR 451.350*	Structural Maintenance: Window cracked in cell # 202, 212, and 218

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 209 and 221

105 CMR 451.350	Structural Maintenance: Ceiling damaged in cell # 202

105 CMR 451.344	Illumination in Habitable Areas: Inadequate lighting, window covered in cell # 231

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.350*	Structural Maintenance: Water leaking from ceiling

105 CMR 451.123	Maintenance: Shower # 1 and 3 out-of-order

Mop Room

105 CMR 451.350*	Structural Maintenance: Paint peeling

INDUSTRIES

Office

No Violations Noted

Laundry

No Violations Noted

Staff Bathroom

No Violations Noted

Inmate Bathroom

No Violations Noted

Sewing Shop

No Violations Noted

Store House

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Bathroom

No Violations Noted

Office

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, refrigerator dirty

Plate Shop

Break Room

FC 4-602.12(B)*		Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-102.11(B)(2)*		Materials for Construction and Repair; Multiuse: Unused single-service article not 				protected against contamination, uncovered plastic utensils

FC 3-305.11(A)(3)*		Preventing Contamination from Premises: Food stored in an inappropriate location, 				food product stored less than 6 inches from the floor, cups stored on the floor

Inmate Bathroom

No Violations Noted

Staff Bathroom

No Violations Noted

School

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

105 CMR 451.350*	Structural Maintenance: Baseboard damaged

Inmate Bathroom

No Violations Noted

Staff Bathroom

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Hallway

105 CMR 451.350*	Structural Maintenance: Windows cracked

105 CMR 451.350*	Structural Maintenance: Window leaks

Office

FC 4-204.112(A)*		Design and Construction, Functionality: No functioning thermometer in refrigerator

Copy Room

105 CMR 451.350	Structural Maintenance: Window leaks

DDU

Outer Control

Bathroom (inside control)

105 CMR 451.123*	Maintenance: Unfinished wall

105 CMR 451.353*	Interior Maintenance: Vent dusty

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, refrigerator gaskets dirty

Loading Dock Area

FC 5-501.110*	Refuse, Recyclables, and Returnables; Operations and Maintenance: Refuse storage not inaccessible to insects and rodents, litter and debris scattered around dumpster area

Tool Closet

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Laundry Room

No Violations Noted

Chemical Closet

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Visits

Female Bathroom

105 CMR 451.123	Maintenance: Ceiling vent dusty

Male Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Staff Corridor

Male Staff Bathroom

No Violations Noted

Female Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, left sink leaks

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Emergency Response Room

105 CMR 451.350*	Structural Maintenance: Ceiling tiles missing

105 CMR 451.350	Structural Maintenance: Ceiling tiles damaged

Strip Cell

105 CMR 451.350	Structural Maintenance: Missing floor tiles

Barbershop

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

105 CMR 451.350	Structural Maintenance: Missing floor tiles

Break Room

FC 4-903.11(A)(2)* 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 				from contamination

FC 4-601.11(c)*		Cleaning of Equipment and Utensils, Objective: Vending machine drawer dirty

FC 6-201.11*			Floors, Walls and Ceilings: Floor not easily cleanable, floor damaged by sink

FC 6-501.11*	Maintenance and Operation; Repairing: Equipment not in good repair, lights not working properly

FC 4-101.16	Materials for Construction and Repair; Multiuse: Sponges used in kitchen

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Wood molding damaged behind sink

Administration Area

Female Bathroom

No Violations Noted

Male Bathroom

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Conference Room

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, refrigerator dirty

Operations Office

FC 4-903.11(A)(2)		Protection of Clean Items, Storing: Single-service items not protected from 					contamination, utensils not stored with handles up

Medical Storage Room (1st Floor)

No Violations Noted

Mattress Storage

No Violations Noted

Inner Control

Bathroom

105 CMR 451.123	Maintenance: Wall tiles missing

105 CMR 451.123	Maintenance: Ceiling cracked

105 CMR 451.123	Maintenance: Ceiling vent dusty

C2

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, air vent blocked in cell # 144

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Showers

105 CMR 451.123*	Maintenance: Vents dusty

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Peeling paint

105 CMR 451.123*	Maintenance: Wall damaged

C1

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Peeling paint

B2

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Vents dusty

105 CMR 451.123*	Maintenance: Wall damaged

B1

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.123*	Maintenance: Vent dusty

A2

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, air vent blocked in cell # 180

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Showers

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.123*	Maintenance: Vents dusty

105 CMR 451.123*	Maintenance: Wall damaged

A1

Janitor’s Closet

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, drain clogged

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.123*	Maintenance: Ceiling damaged

105 CMR 451.123	Maintenance: Vents dusty

C4

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaks

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, drain clogged

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

105 CMR 451.353	Interior Maintenance: Rusty door

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Wall damaged

105 CMR 451.123*	Maintenance: Paint peeling

C3

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, drain clogged

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Wall damaged

105 CMR 451.123*	Maintenance: Vents dusty

B4

Multipurpose Room

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, drain clogged

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Wall damaged

105 CMR 451.123*	Maintenance: Vents dusty

105 CMR 451.123	Maintenance: Light fixture rusty

105 CMR 451.123	Maintenance: Floor dirty, trash in showers

B3

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Wall damaged

105 CMR 451.123*	Maintenance: Vents dusty

105 CMR 451.123*	Maintenance: Paint peeling

A4

105 CMR 451.103	Mattresses: Mattress damaged in cell # 281

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Vents dusty

105 CMR 451.123*	Maintenance: Paint peeling

A3

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Rusty door

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Vents dusty

105 CMR 451.123*	Maintenance: Peeling paint

105 CMR 451.123	Maintenance: Light fixture rusty

Triage

No Violations Noted

Dentist

105 CMR 451.350	Structural Maintenance: Wall damaged above compressor switch

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hands-free sink out-of-order

D-Wing

Showers

105 CMR 451.123	Maintenance: Vents blocked

105 CMR 451.123	Maintenance: Soap scum on walls in showers

Observations and Recommendations

- The inmate population was 785 at the time of inspection

- Parking lot is badly damaged, the Department recommends this be re-paved

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within ten working days of receiving this report and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Community Sanitation Regulations" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Nicholas Gale

Environmental Health Inspector, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

JudyAnn Bigby, MD, Secretary, Executive Office of Health and Human Services

Luis S. Spencer, Commissioner, DOC

Brad Gilman, EHSO

Walpole Board of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Mary Elizabeth Heffernan, EOPS