The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

5 Randolph Street

Canton, MA 02021

Telephone: 781-828-7910

Facsimile: 781-828-7703

lauren.molotnikov@state.ma.us

DEVAL L. PATRICK GOVERNOR TIMOTHY P. MURRAY LIEUTENANT GOVERNOR JUDYANN BIGBY, MD SECRETARY JOHN AUERBACH COMMISSIONER

January 25, 2012

Lynn M. Bissonette, Superintendent

MCI Framingham

P.O. Box 9007

99 Loring Drive

Framingham, MA 01704

Re: Facility Inspection

Dear Superintendent Bissonette:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, and Department of Public Health Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the MCI Framingham on January 5 and 6, 2012 accompanied by Chris Lanoue, Director of Engineering, Pamela Dunford, Fire Safety and Environmental Health Officer, and Lizette Melo, Correctional Officer. Violations noted are listed below (* indicates conditions documented on previous inspection reports).

Smith Building

Lobby Area

105 CMR 451.345*	Illumination in Common Passage Ways and Areas: Inadequate lighting, several light 	fixtures not functioning properly

Women’s Bathroom C133A

105 CMR 451.123	Maintenance: Toilet seat no longer easily cleanable, toilet seat damaged

Men’s Bathroom C141A

No Violations Noted

Janitor’s Closet

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, slop sink faucet leaking

Officer’s Area

Break Room

No Violations Noted

Men’s Locker Room

No Violations Noted

Women’s Locker Room

No Violations Noted

Inside Control

P Trap

No Violations Noted

Inmate Bathroom 103A

105 CMR 451.123	Maintenance: Sink fixture not secured properly

Admissions

105 CMR 451.350	Structural Maintenance: Ceiling water damaged

Storage Room C104A

105 CMR 451.350	Structural Maintenance: Floor tiles damaged

Inmate Break Room 105A

No Violations Noted

Office C106A

No Violations Noted

Staff Bathroom 106A

No Violations Noted

Storage Room 107A

No Violations Noted

Transportation Office 108A

No Violations Noted

Officer’s Room C108A

No Violations Noted

Medical Room 109A

Locked at the time of inspection

Inmate Shower 110A

105 CMR 451.123*	Maintenance: Floor finish damaged

105 CMR 451.123	Maintenance: Wall paint damaged

105 CMR 451.123	Maintenance: Possible mold growth observed on shower walls

Inmate Shower 111A

105 CMR 451.123	Maintenance: Wall paint damaged

105 CMR 451.123	Maintenance: Baseboard not sealed properly

105 CMR 451.123	Maintenance: Soap scum and possible mold growth observed on shower walls

Control Room 112A

105 CMR 451.353	Interior Maintenance: Ceiling tiles water stained

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator 	temperature recorded at 500F

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

Mechanical and Laundry Room 136A

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vent hose damaged

Search Room 115A & 116A

No Violations Noted

Holding Cells 117A-120A

No Violations Noted

Visiting Area

Common Area

105 CMR 451.353	Interior Maintenance: One ceiling vent dirty

105 CMR 451.345	Illumination in Common Passage Ways and Areas: Inadequate lighting, several light 	fixtures not functioning properly

Inmate Bathroom C138A

No Violations Noted

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Ceiling vent dirty

Women’s Bathroom

No Violations Noted

Men’s Bathroom

105 CMR 451.123*	Maintenance: Changing table damaged and no longer easily cleanable

Visitation Play Area

105 CMR 451.353	Interior Maintenance: Ceiling vent dirty

Smith Food Service

Kitchen

FC 3-304.15(A)	Preventing Contamination from Utensils: Inappropriate use of single-use gloves, 	gloves not used while handling food contact items

FC 4-501.114(A)	Maintenance and Operation; Equipment: Chlorine Sanitizer solution tested greater 	than recommended concentration in mechanical warewashing machine

FC 4-903.11(A)	Protection of Clean Items, Storing: Clean items not protected from contamination, 	utensils not stored with handles up

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, excess water pressure at handwash sink

FC 6-403.11(B)	Location and Placement; Employee Accommodations: No locker room area 	designated for employees, coats stored in inappropriate locations

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, paper towels 	dispenser rusted and paint damaged

Dinning Room

No Violations Noted

Smith Hallway

Smith Clinic

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator 	temperature recorded at 450F

Janitor’s Closet C102

105 CMR 451.353	Interior Maintenance: Wet mop left in bucket

105 CMR 451.353	Interior Maintenance: Vent dirty

Staff Bathroom C131

105 CMR 451.123	Maintenance: Faucet not secured properly

Staff Bathroom C154

No Violations Noted

Multi-Purpose Room

Under renovation at the time of inspection

Smith Galleries

Not in use at the time of inspection

ATU East

Common Area

105 CMR 451.350*	Structural Maintenance: Ceiling damaged due to roof leak near cell # 217, 218, 220, 	and 221

Storage Room C129

No Violations Noted

Day Room C130

105 CMR 451.345	Illumination in Common Passage Ways and Areas: Inadequate lighting, several light 	fixtures not functioning properly

105 CMR 451.353	Interior Maintenance: Vent dirty

Break Room C124

No Violations Noted

Office C136

No Violations Noted

Lower Level Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Wet mop left in bucket

Lower Level Showers

105 CMR 451.123	Maintenance: Soap scum on walls in shower stall # C116B

105 CMR 451.123	Maintenance: Floor finish damaged in shower stall # C116B

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking in shower 	stall # C116B

Upper Level Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Wet mop left on floor

105 CMR 451.353	Interior Maintenance: Duct tape not secured properly to pipe insulation

Upper Levels Showers

105 CMR 451.123*	Maintenance: Floor paint damaged in shower unit # C212

105 CMR 451.123*	Maintenance: Door rusted in shower unit # C211, and C212

Cells

105 CMR 451.101	Blankets: Blanket damaged in cell # 225

105 CMR 451.350	Structural Maintenance: Cell # 217, 218, 220, and 221 offline due to roof leak

ATU West

Common Area

105 CMR 451.345	Illumination in Common Passage Ways and Areas: Inadequate lighting, several light 	fixtures not functioning properly

Storage Room

105 CMR 451.353	Interior Maintenance: Trash left on cardboard boxes

Day Room

105 CMR 451.345	Illumination in Common Passage Ways and Areas: Inadequate lighting, one light 	fixture not functioning properly

Sergeant’s Office

105 CMR 451.353	Interior Maintenance: Ceiling vent dirty

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator 	temperature recorded at 450F

Office C141

105 CMR 451.353	Interior Maintenance: Ceiling vent dirty

Lower Level Janitor’s Closet

No Violations Noted

Lower Level Showers

105 CMR 451.123*	Maintenance: Wall paint damage in shower stall # C145

105 CMR 451.123	Maintenance: Vent dirty in shower stall # C142

Upper Level Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Duct tape not secured properly to pipe insulation

Upper Level Showers

105 CMR 451.123	Maintenance: Vent cover rusted and damaged in shower stall # C224 and 226

105 CMR 451.123	Maintenance: Wall paint damaged in shower stall # C225

105 CMR 451.123	Maintenance: Light cover dirty in shower stall # C225

105 CMR 451.123	Maintenance: Floor finish damaged in shower stall # C226

Cells

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 144 and 145

New Line

Common Area

105 CMR 451.345	Illumination in Common Passage Ways and Areas: Inadequate lighting, light 	fixture not functioning properly outside shower stalls

105 CMR 451.350	Structural Maintenance: Floor tile damaged outside cell # 155

Storage Room C155

No Violations Noted

Day Room C153

No Violations Noted

Office C161

No Violations Noted

Lower Level Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Wet mop left in bucket

105 CMR 451.353	Interior Maintenance: Duct tape not secured properly to pipe insulation

Lower Level Showers

No Violations Noted

Upper Level Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Wet mop left in slop sink

Upper Level Showers

105 CMR 451.123	Maintenance: Vent dirty in shower stall # C230

Cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint loose in shower unit # 149 and 159

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 147 and 159

CCU

Common Area

No Violations Noted

Storage Room C109

No Violations Noted

Inmate Break Room and Storage Room

105 CMR 451.353	Interior Maintenance: Vent dirty

Office

No Violations Noted

Medical Room

105 CMR 451.123	Maintenance: Caps covering holes from old water controls not secured properly

Lower Level Janitor’s Closet

No Violations Noted

Lower Level Showers

105 CMR 451.123	Maintenance: Floor finish damaged in shower stall # 112 and 113

Upper Level Janitor’s Closet

No Violations Noted

Upper Level Showers

105 CMR 451.123	Maintenance: Ceiling dirty in shower stall # C206 and C208

105 CMR 451.123	Maintenance: Floor finish damaged in all shower stalls

Cells

105 CMR 451.330	Room Temperature: Room temperature 600F in cell # 207

Second Floor Office Area

Bathroom C210A

No Violations Noted

Bathroom C211A

105 CMR 451.123	Maintenance: Ceiling vent dirty

Janitor’s Closet C237A

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged

Break Room C218A

No Violations Noted

HSU Building

Second Floor

Medical Room (2)

105 CMR 451.353	Interior Maintenance: Vent dirty

Ob-Gyn Exam Room (3)

No Violations Noted

Optometry Room (5)

No Violations Noted

Residential Treatment Unit

No Violations Noted

Project Catch the Hope (7)

No Violations Noted

CPOs Office

No Violations Noted

Barton Housing Unit

Hallway

No Violations Noted

Janitor’s Closet

No Violations Noted

Library

No Violations Noted

Day Room

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, refrigerator gasket damaged

Officer’s Room

No Violations Noted

Activity Room

No Violations Noted

Shower Room

105 CMR 451.123	Maintenance: Room temperature 530F in shower room

Kitchenette

No Violations Noted

Cells

105 CMR 451.350	Structural Maintenance: Windows not weather tight and structurally sound, window 	covered with plastic wrap in cell # 220

105 CMR 451.141	Screens: Screen damaged in cell # 218

First Room

Pharmacy

No Violations Noted

Pharmacy Bathroom

No Violations Noted

Medical Records Room

No Violations Noted

Medical Records Break Room

FC 3-304.12(A)	Preventing Contamination from Utensils: Service utensils handle stored below the 	food and container line, single use spoon left in coffee grinds

HSU Unit

Office

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator 	temperature recorded at 450F

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

Office Bathroom

No Violations Noted

Nurses’ Station

No Violations Noted

Detox Room 114

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.350	Structural Maintenance: Windows not weather tight and structurally sound, window 	covered with plastic wrap in detox cell

Medical Cells

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm rooms

105 CMR 451.350	Structural Maintenance: Windows not weather tight and structurally sound, window 	covered with plastic wrap in cell # 111, 112, 113, and 115

Doctor’s Office 110

No Violations Noted

Interview Room

105 CMR 451.350	Structural Maintenance: Windows not weather tight and structurally sound, window 	covered with plastic wrap

Shower Room

105 CMR 451.123*	Maintenance: Soap scum on walls in shower units

Biohazard Room

No Violations Noted

Laundry Room

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, slop sink leaking

105 CMR 451.353*	Interior Maintenance: Floor tiles missing

Clinical Area

Waiting Area

105 CMR 451.353*	Interior Maintenance: Ceiling rusted

Nurses’ Bathroom

No Violations Noted

Inmate Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking due to water controls 	not being installed properly

X-Ray Room # 1

105 CMR 451.350	Structural Maintenance: Floor tiles damaged

Dental Room # 2

105 CMR 451.126	Hot Water: Hot water temperature recorded at 920F

Nurses’ Break Room

No Violations Noted

Trauma Room # 4

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking

Trauma Room # 6

105 CMR 451.350	Structural Maintenance: Floor tiles missing

Lab #7

No Violations Noted

Treatment Room # 8

No Violations Noted

Treatment Room # 9

No Violations Noted

Treatment Room # 10

No Violations Noted

RN Clinic # 11

105 CMR 451.350*	Structural Maintenance: Floor tiles missing

Cottages

Laurel Building

105 CMR 451.330*	Room Temperature: Room temperature inconsistent throughout the cottage, room 	temperature measured in excess of 800F in some areas

105 CMR 451.350*	Structural Maintenance: Windows not weather tight and structurally sound throughout 	the cottage

Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling panels not installed properly and damaged in several areas

Officer’s Room

105 CMR 451.330	Room Temperature: Room temperature 890F

Kitchenette

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1600F

Refrigerator Room

No Violations Noted

Slop Sink Room (A)

No Violations Noted

Storage Room (A)

No Violations Noted

Dog Supply Storage Room (A)

No Violations Noted

Interview Room (A)

No Violations Noted

Caustic Room (C)

No Violations Noted

Shower Room A & B

105 CMR 451.123*	Maintenance: Floor finish damaged in shower stalls

105 CMR 451.123	Maintenance: Baseboard finish damaged in shower area

105 CMR 451.123	Maintenance: Room temperature 830F

105 CMR 451.123	Maintenance: Ceiling panels rusted and paint loose

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 1450F

Shower Room B & C

105 CMR 451.123*	Maintenance: Floor finish damaged in shower stalls

105 CMR 451.123	Maintenance: Room temperature 820F

105 CMR 451.123	Maintenance: Ceiling panels rusted and paint loose

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 1450F

Hallway A Cells

No Violations Noted

Hallway B Cells

No Violations Noted

Hallway C Cells

No Violations Noted

Algon Building

105 CMR 451.330*	Room Temperature: Room temperature inconsistent throughout the cottage, room 	temperature measured in excess of 800F in some areas

105 CMR 451.350*	Structural Maintenance: Windows not weather tight and structurally sound throughout 	the cottage

Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling panels not installed properly in several areas

Officer’s Room

No Violations Noted

Kitchenette

FC 4-501.114(C)(2)*	Maintenance and Operation; Equipment: Quaternary ammonium solution greater than 	the manufacturers recommended concentration

Refrigerator Room

No Violations Noted

Slop Sink Room (A)

105 CMR 451.353*	Interior Maintenance: Floor finish damaged

Kaivac Machine Storage Room (A)

No Violations Noted

Storage Room (A)

105 CMR 451.350	Structural Maintenance: Ceiling tiles not installed properly

105 CMR 451.345	Illumination in Common Passage Ways and Areas: Inadequate lighting, light 	fixture not functioning properly

Interview Room (A)

No Violations Noted

Caustic Room (C)

No Violations Noted

Shower Room A & B

105 CMR 451.123	Maintenance: Floor finish damaged in shower stall # 1, 2, and 3

Shower Room B & C

105 CMR 451.123	Maintenance: Soap scum on walls in shower stall # 2 and 4

105 CMR 451.123	Maintenance: Floor finish damaged in shower stall # 1, 2, and 3

Hallway A Cells

105 CMR 451.353	Interior Maintenance: Light shield not installed properly in cell # A1

Hallway B Cells

105 CMR 451.350	Structural Maintenance: Window not weather tight and structurally sound, window covered in plastic wrap in cell # B24

Hallway C Cells

105 CMR 451.350	Structural Maintenance: Window not weather tight and structurally sound, window covered in plastic wrap in cell # 28 and 30

Town Line Building

105 CMR 451.350*	Structural Maintenance: Windows not weather tight and structurally sound throughout 	the cottage

Common Area

105 CMR 451.353*	Interior Maintenance: Ceiling panels not installed properly in several areas

Officer’s Room

No Violations Noted

Kitchenette

FC 4-501.114(C)(2)	Maintenance and Operation; Equipment: Quaternary ammonium solution greater than 	the manufacturers recommended concentration

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1350F

Refrigerator Room

No Violations Noted

Slop Sink Room (A)

No Violations Noted

Storage Room (A)

No Violations Noted

Office (A)

No Violations Noted

Correctional Recovery Academy (A)

No Violations Noted

Caustic Room (C)

No Violations Noted

Shower Room A & B

105 CMR 451.123*	Maintenance: Baseboard and floor finish damaged in shower stall # 1, 2, and 3

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 2 and 3

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1230F

Shower Room B & C

105 CMR 451.123	Maintenance: Baseboard and floor finish damaged in shower stall # 1, 2, and 3

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 2

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1250F

Hallway A Cells

No Violations Noted

Hallway B Cells

105 CMR 451.350	Structural Maintenance: Window not weather tight and structurally sound, window blocked with a blanket in cell # B13

105 CMR 451.350	Structural Maintenance: Window not weather tight and structurally sound, window covered in plastic wrap in cell # B18

105 CMR 451.141	Screens: Screen damaged in cell # B16

Hallway C Cells

105 CMR 451.350	Structural Maintenance: Window not weather tight and structurally sound, window covered in plastic wrap in cell # C27, C31, and C33

Pioneer Building

105 CMR 451.350*	Structural Maintenance: Windows not weather tight and structurally sound throughout 	the cottage

Common Area

105 CMR 451.350	Structural Maintenance: Sky light damaged in hallway C

105 CMR 451.353*	Interior Maintenance: Ceiling panels not installed properly in several areas

Officer’s Room

No Violations Noted

Kitchenette

FC 4-501.114(C)(2)*	Maintenance and Operation; Equipment: Quaternary ammonium solution greater than 	the manufacturers recommended concentration

Refrigerator Room

No Violations Noted

Slop Sink Room (A)

105 CMR 451.353	Interior Maintenance: Floor finish damaged

Storage Room (A)

No Violations Noted

Interview Room (A)

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

Caustic Room (C)

No Violations Noted

Shower Room A & B

105 CMR 451.123*	Maintenance: Ceiling paint damaged in shower rooms

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 4

105 CMR 451.123	Maintenance: Floor finish damaged in shower stalls

Shower Room B & C

105 CMR 451.123	Maintenance: Floor finish damaged in shower stalls

Hallway A Cells

105 CMR 451.350	Structural Maintenance: Window not weather tight and structurally sound, window covered in plastic wrap in cell # A2, A6, and A7

Hallway B Cells

105 CMR 451.350	Structural Maintenance: Window not weather tight and structurally sound, window covered in plastic wrap in cell # B19 and B21

Hallway C Cells

105 CMR 451.350	Structural Maintenance: Window not weather tight and structurally sound, window covered in plastic wrap in cell # C28

Modular Building – Overflow Unit

Officer’s Room

105 CMR 451.350	Structural Maintenance: Floor damaged

Officer’s Bathroom

105 CMR 451.123	Maintenance: Wall panel under sink not secured properly

105 CMR 451.123	Maintenance: Door knob not secured properly

Common

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged near the entry way and bathroom

Dorm Area

105 CMR 451.353	Interior Maintenance: One ceiling vent dirty

Shower Room

105 CMR 451.123	Maintenance: Ceiling rusted on metal supports

105 CMR 451.123	Maintenance: Standing water observed on floor

105 CMR 451.123	Maintenance: Ceiling vent dirty

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Wet mop left in slop sink

Bathroom

105 CMR 451.123	Maintenance: Cold water controls missing on sink # 8

Brewster Building

Brewster 1

Common Area

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

Control Room

105 CMR 451.350	Structural Maintenance: Floor unfinished

Control Bathroom

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Storage Room

No Violations Noted

Fire System Room

No Violations Noted

Bathroom

105 CMR 451.123	Maintenance: Ceiling paint damaged

Shower Room

105 CMR 451.123*	Maintenance: Standing water observed on floor outside shower stalls

105 CMR 451.123	Maintenance: Inadequate lighting, one light fixture not functioning properly

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 1190F

Kitchenette Area

FC 4-501.114(C)(2)*	Maintenance and Operation; Equipment: Quaternary ammonium solution greater than 	the manufacturers recommended concentration

Slop Sink Room

No Violations Noted

Room # 1

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

Room # 2	Out of order at the time of inspection

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

Room # 3

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

105 CMR 451.350*	Structural Maintenance: Vent cover damaged

Room # 4

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.344	Illumination in Habitable Areas: Inadequate lighting, one light fixture not functioning 	properly

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

Room # 5

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

105 CMR 451.353	Interior Maintenance: Vent covers damaged near window

Room # 6

105 CMR 451.141	Screens: Screen damaged

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

Room # 7

105 CMR 451.101	Blankets: Blanket damaged in cell # 8

105 CMR 451.141	Screens: Screen damaged

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

Room # 8

105 CMR 451.141	Screens: Screen damaged

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

Room # 9	Out of order at the time of inspection

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

Room # 10

105 CMR 451.141	Screens: Screen damaged

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

Brewster 2

Common Area

No Violations Noted

Control Room

No Violations Noted

Control Bathroom

No Violations Noted

Razor Storage Room

No Violations Noted

Storage Room

No Violations Noted

Fire System Room

No Violations Noted

Bathroom

105 CMR 451.124	Water Supply: Insufficient hot water supply in quantity and pressure at handwash

sink # 5

Shower Room

105 CMR 451.123	Maintenance: Standing water observed on floor outside shower stalls

Kitchenette Area

No Violations Noted

Slop Sink Room

No Violations Noted

Room # 1

105 CMR 451.103	Mattresses: Mattress damage in bed # 1

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.350	Structural Maintenance: Floor tiles damaged

Room # 2

105 CMR 451.141*	Screens: Screen damaged

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

Room # 3

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.344*	Illumination in Habitable Areas: Inadequate lighting, one light fixture not functioning 	properly

Room # 4

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

105 CMR 451.353	Interior Maintenance: Vent dirty

Room # 5

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

105 CMR 451.353	Interior Maintenance: Vent dirty

Room # 6

105 CMR 451.141	Screens: Screen damaged

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.350	Structural Maintenance: Floor tiles damaged

105 CMR 451.353	Interior Maintenance: Vent dirty

Room # 7

105 CMR 451.141	Screens: Screen damaged

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.353*	Interior Maintenance: Vent dirty

Room # 8

105 CMR 451.141*	Screens: Screen damaged

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

Room # 9

105 CMR 451.141*	Screens: Screen damaged

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.344*	Illumination in Habitable Areas: Inadequate lighting, one light fixture not functioning 	properly

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

Room # 10

105 CMR 451.141*	Screens: Screen damaged

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

Old Administration Building

A Corridor

Inmate Bathroom # 117

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No toilet paper in stall # 1

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 900F

Pre-Release Office

No Violations Noted

Inmate Weight Room # 118

No Violations Noted

Fire Equipment Room and Bathroom # 119

105 CMR 451.123	Maintenance: Inadequate lighting, light fixture not functioning properly

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 900F

Back Storage Closets

Hallway

105 CMR 451.350	Structural Maintenance: Exterior door not weather tight

Officer’s Room # 121

No Violations Noted

Closet # 122 - 1 & 2

No Violations Noted

Closet # 122 - 3 & 4

No Violations Noted

Janitor’s Closet 122-5

105 CMR 451.353*	Interior Maintenance: Ceiling damage repaired not finished in a workman like manner

Closet 122-7 	Locked - Room not accessible at the time of inspection

Closet 122-8

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Office 120

No Violations Noted

CO Office 124

No Violations Noted

B Corridor

No Violations Noted

Tool Control Office 107

No Violations Noted

Classroom 111

No Violations Noted

Gym 112

No Violations Noted

Operations near the Gym

105 CMR 451.126	Hot Water: Hot water temperature recorded at 760F

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

Operations Bathroom

No Violations Noted

Disciplinary Office 113

No Violations Noted

Staff Bathroom 114

105 CMR 451.123	Maintenance: Vent dirty

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 700F

Water Fountain

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, fountain not functioning properly

Slop Sink outside Staff Bathroom 114

No Violations Noted

Work Assignment 114

No Violations Noted

Activity Room 115

No Violations Noted

Classroom 116

No Violations Noted

C Corridor

Classroom

No Violations Noted

D Corridor

Cosmetology 130

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 840F in hair wash and bathroom sinks

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator 	temperature recorded at 500F

Classroom 131

No Violations Noted

Protestant Chaplain’s Office 137

No Violations Noted

Office 138

No Violations Noted

Catholic Chaplain’s Office 139

No Violations Noted

Needs Office 141

No Violations Noted

Office 142

No Violations Noted

Office 143

No Violations Noted

Family Service Office 146

No Violations Noted

Staff Bathroom 147

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1050F

Waiting Room 148

No Violations Noted

Second Floor

Intensive Treatment Unit	Under renovation at the time of inspection

Psychology Corridor

Offices

No Violations Noted

Kitchenette

No Violations Noted

Bathroom

No Violations Noted

B Corridor

Staff Bathroom

No Violations Noted

Classroom 201

No Violations Noted

Office 206

No Violations Noted

Office 208	Under renovation at the time of inspection

Library 209-210

No Violations Noted

Law Library 211

No Violations Noted

Education Area 212

Bathroom

No Violations Noted

Classrooms

No Violations Noted

Offices

No Violations Noted

Industries 213

105 CMR 451.330	Room Temperature: Room temperature 810F

105 CMR 451.350	Structural Maintenance: Floor tiles damaged

Industries Bathroom

105 CMR 451.123	Maintenance: Light fixture not functioning properly in staff and inmate bathroom

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink in inmate bathroom

Building and Trades 214	Program closed - Locked at the time of inspection

Classroom 215-2

105 CMR 451.350*	Structural Maintenance: Windows not weather tight and structurally sound

Classroom 215-4

105 CMR 451.344*	Illumination in Habitable Areas: Inadequate lighting, several light fixtures not functioning properly

Classroom 215-7

No Violations Noted

Computer Room 215-8

No Violations Noted

Bathroom 215-9

105 CMR 451.123*	Maintenance: Floor no longer easily cleanable, floor tiles damaged and missing

105 CMR 451.123*	Maintenance: Light shield missing

105 CMR 451.123*	Maintenance: Vent and light area dirty

Janitor’s Closet 216

No Violations Noted

Parole Hallway 218

105 CMR 451.350	Structural Maintenance: Floor tiles damaged in office # 10 and 14

Parole Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 880F

First Floor

Store Room

No Violations Noted

Store Room Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1000F, hot water tank not functioning properly

105 CMR 451.123	Maintenance: Wall repair not finished in a work-person like fashion

Food Service Area

Hallway

FC 6-202.15(D)(1)	Design, Construction, and Installation; Functionality: Screens damaged in exterior 	windows

Inmate Dining Room

FC 4-501.114(C)(2)	Maintenance and Operation; Equipment: Quaternary ammonium solution greater than 	the manufacturers recommended concentration

FC 6-202.15(D)(1)	Design, Construction, and Installation; Functionality: Screens not installed properly in 	exterior windows

FC 6-202.15(D)(1)	Design, Construction, and Installation; Functionality: Screens damaged in exterior 	windows

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, baseboard not 	secured properly

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, wall damaged

FC 6-501.111(B)	Maintenance and Operations; Pest Control: Rodent droppings observed around the 	perimeter of the room and in corners

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, vent fan dirty

Serving Line

FC 3-304.12(A)	Preventing Contamination from Utensils: Service utensils handle stored below the 	food and container line, ice scoop stored in ice cooler

FC 4-601.11(A)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, ice scoop 	dirty

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor tiles 	damaged

Mechanical Warewashing Room

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, rinse gage not functioning properly

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, rinse pump leaking

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, wall paint 	damaged

Culinary Arts

Kitchen

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, steamer electrical cord damaged

Staff Dining Room

No Violations Noted

Dry Storage Room

FC 6-404.11	Location and Placement; Distressed Merchandise: Dented cans not properly 	segregated

Basement

Laundry Area

105 CMR 451.353	Interior Maintenance: Portable fan dirty

105 CMR 451.353	Interior Maintenance: Vent fan dirty

Inmate Bathroom

105 CMR 451.123	Maintenance: Vent fan dirty

105 CMR 451.123	Maintenance: Room temperature recorded at 800F

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1030F

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, water tap on ceiling leaking

Main Kitchen

Hallway

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, windows not 	weather tight and covered over to reduce draft

Paper Goods Storage Room

No Violations Noted

Dry Storage Room

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, one light fixture 	not functioning properly

FC 6-501.111(B)	Maintenance and Operations; Pest Control: Rodent droppings observed on and under 	shelves

FC 6-501.111(B)	Maintenance and Operations; Pest Control: Bit marks observed on bag of beans

Freezer and Refrigerator Hallway

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, ceiling tiles water 	stained

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, vent fan dirty

Freezer Unit

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, ice buildup observed on ceiling

Refrigerator Unit

No Violations Noted

Food Service Staff Office

FC 3-305.11(A)(2)	Preventing Contamination from Premises: Food exposed to dust, fans in cooler dusty 	in the Beverage Air refrigerator

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: True refrigerator 	temperature recorded at 470F

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, gasket damaged on Gibson freezer unit

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, 	gasket dirty on the True refrigerator unit

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, ceiling paint 	damaged

Back Pots and Pans Storage Area

FC 6-202.15(A)(2)*	Design, Construction, and Installation; Functionality: Outer door not weather and 	vermin tight

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, floor paint 	damaged

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, floor dirty under 	pots and pans storage racks

Bakery Area

FC 3-304.12(A)	Preventing Contamination from Utensils: Service utensils handle stored below the 	food and container line, scoop left in cake mix

FC 6-501.111(B)	Maintenance and Operations; Pest Control: Rodent droppings observed in corner of 	window sill and on the floor

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, wall dirty near 	ramp

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, vent fan dirty

Refrigerator Unit # 5

FC 3-305.11(A)(2)*	Preventing Contamination from Premises: Food exposed to dust, fans in cooler dusty

Freezer Unit # 6

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, ice build up observed in freezer unit

Inmate Dinning Area

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, floor dirty

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, floor drain dirty

Dry Goods Storage Room

FC 6-501.111(B)	Maintenance and Operations; Pest Control: Dead insect observed in dry goods 	container

Broom Storage Area

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, yellow door rusted

Slop Bucket Refrigerator

No Violations Noted

Prep-Table Handwash Sink near Can Opener

FC 6-501.111(B)	Maintenance and Operations; Pest Control: Rodent droppings observed in cabinet and 	drawers

Prep-Counter Handwash Sink near 3-Compartment Sink

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded at 1020F

Prep Tables

FC 6-501.111(B)	Maintenance and Operations; Pest Control: Excessive build up of rodent droppings 	and nesting materials observed under tables

FC 6-501.111(B)	Maintenance and Operations; Pest Control: Rodent droppings observed in prep table 	drawers

3-Compartment Sink

No Violations Noted

Warmers

No Violations Noted

Back Area – Officer’s Area

FC 4-601.11(A)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, oil brush 	damaged and dirty

FC 6-202.15(A)(2)*	Design, Construction, and Installation; Functionality: Outer door not weather and 	vermin tight

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, utensil cabinet 	dirty

Inmate Bathroom

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded at 1010F

FC 6-501.111(B)	Maintenance and Operations; Pest Control: Rodent droppings observed on floor

Staff Bathroom

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded at 1020F

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, cold water faucet leaking

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, heating pipes not 	insulated properly

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, handwash sink 	water worn and no longer easily cleanable

Power Plant Building # 3

Bathroom

No Violations Noted

Break Room

105 CMR 451.344*	Illumination in Habitable Areas: Inadequate lighting, one light fixture not functioning 	properly

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator 	temperature recorded at 470F

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

Maintenance Building # 4

Tool Crib

No Violations Noted

Paint Room

No Violations Noted

Bathroom in Office	Locked at the time of inspection

Inmate Break Room

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, 2-compartment sink leaking

105 CMR 451.353	Interior Maintenance: Outlet uncapped

Inmate Bathroom

105 CMR 451.123*	Maintenance: Pipes not properly insulated

105 CMR 451.123	Maintenance: Room temperature 900F

Staff Bathroom

No Violations Noted

Break Room

No Violations Noted

Vehicle Trap

Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water dropped from 1230F to 1060F at the time of inspection

105 CMR 451.123	Maintenance: Vent cover detached

Observations and Recommendations

- Inmate count was 627 at the time of inspection

- Radiation Control Certificate expired

- Water controls were not installed properly in Barton Clinical Area Treatment rooms. The position of the water controls did not allow the controls to be used as hand free controls which are required by the regulations.

- The steamer cord in the Culinary Arts Kitchen was on the ground under a cardboard box. This location may have contributed to the damage of the cord. The electrical outlet for the steamer cord should be located in an area that would not require the cord to be “walked over” during use.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within ten working days of receiving this report and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Community Sanitation Regulations" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Lauren Molotnikov

Environmental Health Inspector, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

JudyAnn Bigby, MD, Secretary, Executive Office of Health and Human Services

Luis S. Spencer, Commissioner, DOC

Pamela Dunford, FS/EHSO

Framingham Board of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Mary Elizabeth Heffernan, EOPS