The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

5 Randolph Street

Canton, MA 02021

Telephone: 781-828-7910

Facsimile: 781-828-7703

marian.robertson@state.ma.us

DEVAL L. PATRICK GOVERNOR TIMOTHY P. MURRAY LIEUTENANT GOVERNOR JOHN W. POLANOWICZ SECRETARY LAUREN A. SMITH, MD, MPH INTERIM COMMISSIONER

February 4, 2013

Peter J. Koutoujian, Sheriff

Middlesex County House of Correction

269 Treble Cove Road

Billerica, MA 01862

Re: Middlesex County House of Correction Facility Inspection

Dear Sheriff Koutoutjian:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, and Department of Public Health Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the Middlesex County House of Correction on January 9 and 10, 2013 accompanied by Sergeant Rudy Chaput, EHSO, Captain Daniel Finn, Standards and Compliance, and Amy Riordan, Environmental Health Inspector of the Community Sanitation Program. Violations noted are listed below (* indicates conditions documented on previous inspection reports).

# Checkpoint Building

# Checkpoint

FC 4-601.11(c)*	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, 	gasket dirty on refrigerator unit

105 CMR 451.353*	Interior Maintenance: Vent cover missing from heater fan

# Women’s Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1010F

# Men’s Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1010F

# Janitor’s Closet

No Violations Noted

# New Building

# Lobby

# Water Fountain

No Violations Noted

# Women’s Room

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 930F

# Men’s Room

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 920F

# Janitor’s Closet

No Violations Noted

# Administration Wing

# Women’s Room

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 850F

# Men’s Room

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 850F

# Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Wet mop not hung properly

# Kitchenette

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Coffee maker dirty

# Central Control

# No Violations Noted

# Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dirty

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 920F

# Attorney Visit Hallway

# Women’s Room

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 930F

# Men’s Room

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 930F

# Janitor’s Closet

No Violations Noted

# Inmate Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1070F

105 CMR 451.123	Maintenance: Ceiling vent dusty

# Kitchenette

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, inadequate cold water pressure at handwash sink

FC 4-204.112(A)*	Design and Construction, Functionality: No functioning thermometer in refrigerator

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, gaskets damaged on refrigerator unit

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, utensils not stored with handles up

# Entrance Hallway for Pod A & B

# Nurse’s Station

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 940F

Women’s Room

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 940F

# Men’s Room

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 940F

# Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

# Caseworker’s Office

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator 	temperature recorded at 470F

# Pod A

# Common Area

No Violations Noted

Storage Cage (Barber Shop)

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

# Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: GFI electrical outlet damaged

105 CMR 451.353*	Interior Maintenance: Unlabeled chemical bottle

105 CMR 451.353	Interior Maintenance: Wet mop left in bucket

Storage Room (Small)

No Violations Noted

Storage Room (Large)

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

# Lower Level Shower Area

105 CMR 451.123	Maintenance: Ceiling vent dusty outside shower units

105 CMR 451.123	Maintenance: Soap scum on walls outside shower stalls

# Lower Cells

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking in cell # 1-03, 1-15, 1-16, 1-19, and 1-30

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink water constantly running in cell # 1-05 and 1-07

# Upper Level Shower Area

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking in shower 	# 5

105 CMR 451.123	Maintenance: Soap scum on floor and walls in shower # 1 and 3

105 CMR 451.123	Maintenance: Ceiling dirty outside shower stalls

# Upper Cells

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking in cell # 2-04, 2-15, 2-19, and 2-29

# Pod B

# Common Area

No Violations Noted

Storage Cage (Barber Shop)

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

# Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

# Storage Room

No Violations Noted

# Lower Level Shower Area

105 CMR 451.123*	Maintenance: Flying insects observed in shower area

105 CMR 451.123	Maintenance: Soap scum on walls outside shower units

105 CMR 451.123	Maintenance: Possible mold growth on floor outside shower stalls

105 CMR 451.130	Hot Water: Shower water temperature recorded at 910F

105 CMR 451.123	Maintenance: Soap scum on floor and walls in shower # 1 and 2

# Lower Cells

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking in cell # 1-02, 1-05, and 1-21

# Upper Level Shower Area

105 CMR 451.130	Hot Water: Shower water temperature recorded at 910F

# Upper Cells

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, 2-03 and 2-16

105 CMR 451.353	Interior Maintenance: Light fixture blocked by paper in cell # 2-31 and 2-32

# Entrance Hallway for Pod C & D

# Nurses’ Station

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1000F

# Women’s Room

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 700F

105 CMR 451.123	Maintenance: Ceiling vent dusty

# Men’s Room

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No paper towels in holder

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 880F

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink draining slowly

# Office

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

# Pod C

# Common Area

No Violations Noted

Storage Cage (Barber Shop)

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

# Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Wet mop stored improperly on floor

# Storage Room

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

# Counselor/Interview Office

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

# Multi-Purpose Room

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

# Lower Level Shower Area

105 CMR 451.123	Maintenance: Light out in shower # 1

105 CMR 451.130	Hot Water: Shower water temperature recorded at 760F

# Lower Cells

105 CMR 451.353	Interior Maintenance: Light fixture blocked by paper in cell # 1-18, 1-20, and 1-31

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking in cell # 1-16

# Upper Level Shower Area

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1, 4, and 5

105 CMR 451.123	Maintenance: Floor dirty outside shower # 1, 2, 4, and 5

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 900F at handwash sink

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet loose on handwash sink

# Upper Cells

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, 2-21, 2-28, and 2-30

105 CMR 451.353	Interior Maintenance: Light fixture blocked by paper in cell # 2-05, 2-06, and 2-07

# Pod D

# Common Area

No Violations Noted

Storage Cage (Barber Shop)

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink not functioning properly

105 CMR 451.126	Hot Water: Hot water temperature recorded at 960F

105 CMR 451.350	Structural Maintenance: Old washer hook-up not covered, opening in wall

# Janitor’s Closet

No Violations Noted

# Storage Room

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

# Lower Level Shower Area

105 CMR 451.123*	Maintenance: Flying insects observed in shower area

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, lower shower head not 	functioning properly in handicap equipped shower stall # 1

105 CMR 451.123	Maintenance: Soap scum on walls in shower stall # 1, 2, 3, and 4

105 CMR 451.123	Maintenance: Ceiling vent dusty outside shower units

105 CMR 451.123	Maintenance: Walls dirty outside shower stall # 3 and 4

105 CMR 451.123	Maintenance: Floor dirty outside shower stall # 3 and 4

# Lower Cells

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking in cell # 1-18, 1-21, and 1-29

# Upper Level Shower Area

105 CMR 451.123*	Maintenance: Flying insects observed in shower area

105 CMR 451.123	Maintenance: Floor drains filled with debris in all shower stalls

105 CMR 451.123	Maintenance: Soap scum on floor and walls in all shower stalls

105 CMR 451.123	Maintenance: Floor and walls dirty outside shower stall # 2, 3, and 4

# Upper Cells

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking in cell # 2-03 and 	2-30

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink water constantly running in cell # 2-05

# Intake and Discharge

# Desk Area

No Violations Noted

# Shake Room # 1 & 2

105 CMR 451.353	Interior Maintenance: Wall vent dusty in Shake # 2

# Holding Cell # 1 & 2

105 CMR 451.353*	Interior Maintenance: Bench paint damaged in holding cell # 1

105 CMR 451.353	Interior Maintenance: Bench dirty in holding cell # 1

105 CMR 451.353	Interior Maintenance: Wall vent dusty in holding cell # 1 and 2

# Institutional Property

No Violations Noted

# Holding Cell # 1-6

105 CMR 451.350*	Structural Maintenance: Floor cracked in holding cell # 1, 4, 5, and 6

105 CMR 451.350	Structural Maintenance: Floor cracked in holding cell # 2

105 CMR 451.353	Interior Maintenance: Trash and debris in sink in cell # 3

# Shower Room # 1 & 2

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink not functioning properly in shower room # 1

105 CMR 451.130	Hot Water: Shower water temperature recorded at 700F

105 CMR 451.126	Water Supply: No hot water supplied to handwash sink in shower room # 2

# Women’s Room

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 980F

105 CMR 451.123	Maintenance: Ceiling vent dusty

# Men’s Room

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 980F

105 CMR 451.123	Maintenance: Ceiling vent dusty

# Janitor’s Closet

No Violations Noted

# Break Room

No Violations Noted

Inmate Property Room

No Violations Noted

# Urinalysis Room

No Violations Noted

# Hall A

# Teacher’s Office

105 CMR 451.126	Hot Water: Hot water temperature recorded at 960F

# Food Service Area

# Staff Dinning Room

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Potentially hazardous food not held at the proper cold holding temperature, salad bar temperature 450F

FC 5-202.13	Plumbing System, Design: Air gap between (inlet) pipe and drain, air gap 	less than twice the diameter of the pipe from drink machine

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, handwash sink leaking

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Coffee maker dirty

# Men’s Room

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded at 940F

# Women’s Room

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded at 940F

# Main Kitchen

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, several floor tiles damaged and missing

# Freezer # 1

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, two light shields damaged

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, one light fixture 	not functioning properly

# Warmer #1 & 2

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, gasket damaged on both warmers

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Bottom of warming unit # 2 dirty

# Proofer

No Violations Noted

# Arctic Air Freezer Unit 	Not in use at time of inspection

No Violations Noted

# Tray Prep Area

No Violations Noted

# Prep Handwash sink

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded at 920F

# Janitor’s Closet

No Violations Noted

# Locker Area

No Violations Noted

# Ice Machine # 1 & 2

No Violations Noted

# Walk-In Refrigerator # 1

FC 3-305.11(A)(2)*	Preventing Contamination from Premises: Food exposed to dust, fans in cooler dusty

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, gasket damaged

# Diet Food Prep Area

FC 3-304.14(B)(2)	Preventing Contamination from Linens: Wet cloth not stored in sanitizer bucket

# Grease Hood Area

# Kettles

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, kettle lid broken

FC 5-202.13	Plumbing System, Design: Air gap between (inlet) pipe and drain, air gap 	less than twice the diameter of the pipe from kettle # 3

FC 3-302.12	Preventing Food and Ingredient Contamination: Unlabeled spice containers

# Fryers

No Violations Noted

# Grills and Stovetop

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, one light fixture 	not functioning properly

Ovens

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, two light fixtures 	not functioning properly

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, oven handles dirty

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, debris behind ovens

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Debris and food particles inside back side of ovens

# Steam Hood Area

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, one light fixture not functioning properly

# Meat Cutter Area

No Violations Noted

# Vegetable Prep and Sink Area

FC 5-205.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, faucets loose

# Ice Machine # 3

No Violations Noted

# Handwash Sink

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded at 920F

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, faucet loose

# Walk-In Refrigerator # 2

No Violations Noted

# Back Kitchen Pots & Pans Sink

No Violations Noted

# Dry Goods Bins and Baking Area

No Violations Noted

Serve Line # 1 Handwash Sink (near B Hallway Door)

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded at 920F

# Serve Line # 2 Handwash Sink

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded at 910F

# Serve Line # 2

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, utensils left uncovered

FC 6-202.13(B)(1)	Insect Control Devices, Design and Installation: Insect control device located over a food preparation area

# Mechanical Warewashing Area

FC 5-205.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, pipe leaking under sink fixture

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, wall dirty with 	possible mold growth behind spray sink

FC 5-202.13	Plumbing System, Design: Air gap between (inlet) pipe and drain, air gap 	less than twice the diameter of the pipe under sink fixture

FC 4-204.115	Design and Construction, Functionality: Thermometer gauge not functioning properly on warewashing machine, gauge not reading correctly while running

# Front Kitchen Pots & Pans Sink

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded at 960F

FC 4-903.11(B)(1)	Protection of Clean Items, Storing: Pots not stored in the inverted/self-draining position

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, sink drain covers missing

FC 5-203.14	Plumbing System, Design: No backflow prevention device on threaded sink faucet of 3-bay sink

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, sink drain lever under 3-bay sink broken and not functioning properly

# Hallway

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, several floor tiles 	missing

# Rack Spray Area

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, outlet damaged, uncovered and unsafe

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of warming unit dirty near rack spray area

# Inmate Bathroom

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded at 950F

# Staff Bathroom

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded at 950F

FC 7-101.11	Poisonous or Toxic Materials; Original Containers: Cleaning chemicals not labeled 	properly, original manufactures label missing

Supply Room # 1 (Culinary Arts Supply Room)

FC 3-202.15  	Package Integrity: Food packages not in good condition; packaging was compromised, packaging torn with contains spilt out

105 CMR 451.383(B)	Fire Safety System: Facility not in compliance with 780 CMR Massachusetts Building Code provisions for fire safety, food stored less than 18” from ceiling

Supply Room # 1 (Dry Storage Room)

FC 3-202.15  	Package Integrity: Food packages not in good condition; packaging was compromised, packaging torn with contains spilt out in box

FC 3-202.15  	Package Integrity: Food packages not in good condition; packaging was compromised, corn meal bag torn and spilt out in box

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, floor dirty under shelving units

Chemical Storage Cabinet

No Violations Noted

Spice Cabinet

No Violations Noted

# Loading Dock

No Violations Noted

# Laundry Area

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, light shields missing

# Culinary Arts Kitchen

# Grease Hood

No Violations Noted

# Prep Tables

No Violations Noted

# Pots & Pans Sink

No Violations Noted

# Handwash Sink

No Violations Noted

# Storage Racks

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, utensils left uncovered

# Prep Sink Area

No Violations Noted

# Walk-In Refrigerator

No Violations Noted

# Freezer Unit

No Violations Noted

# Health Service Unit

# ISO 1& 2

Not accessible at the time of inspection

Nurse’s Pantry

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 920F

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Coffee maker dirty

# Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Wet mop left in bucket

# Risk Cell # 1& 2

No Violations Noted

# Holding Cell # 1-4

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking in holding cell # 3

# Ward A

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 910F

# Inmate Shower Room

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 930F

105 CMR 451.123*	Maintenance: Soap scum on walls and floor in shower unit

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower head leaking

105 CMR 451.123	Maintenance: Ceiling vent dusty

105 CMR 451.130	Hot Water: Shower water temperature recorded at 900F

# Nurses’ Station and Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 930F

105 CMR 451.123	Maintenance: Ceiling vent dusty

# Cleaning Utility Room

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

# Storage Room # 1

No Violations Noted

# Storage Room # 2

No Violations Noted

# Ward B

105 CMR 451.123*	Maintenance: Ceiling vent dirty near showers

105 CMR 451.126	Water Supply: No hot water supplied to handwash sink unit # 1

105 CMR 451.126	Water Supply: No hot/cold water supplied to handwash sink # 2

105 CMR 451.123	Maintenance: Soap scum on floor and walls in shower # 1

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Potentially hazardous food not held at the proper cold holding temperature, milk stored inappropriately in sink unit

# Treatment Room #1

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 930F

# Inmate Bathroom

No Violations Noted

# Treatment Room # 2

105 CMR 451.126	Hot Water: Hot water temperature recorded at 910F

# Dental Room

105 CMR 451.126	Hot Water: Hot water temperature recorded at 910F

# Pharmacy

105 CMR 480.500(B)	Current Record-Keeping Log:  No medical waste log available at time of inspection

Medical Waste Room

105 CMR 480.300(B)	Packaging, Labeling, and Shipping: Medical waste inappropriately stored; insufficient secondary container, cardboard box needs double red bag lining to be impervious to moisture

Lab

105 CMR 451.126	Hot Water: Hot water temperature recorded at 920F

105 CMR 451.353	Interior Maintenance: Carbon dioxide tanks not secure

Internal Medicine Office

No Violations Noted

Psychiatry Office

105 CMR 451.126	Water Supply: No cold water supplied to handwash sink

# Treatment Room #3

105 CMR 451.126	Hot Water: Hot water temperature recorded at 680F

Exam Room # 1 – Used as office space

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

# Exam Room # 2 – Used as office space

No Violations Noted

Physical Therapy

105 CMR 451.126	Hot Water: Hot water temperature recorded at 920F

Health Service Administrator’s Office

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

# Women’s Bathroom

No Violations Noted

# Men’s Bathroom

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

# Old Building

# Main Level

# Lobby

105 CMR 451.345*	Illumination in Common Passage Ways and Areas: Inadequate lighting, one light 	fixture not functioning properly

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Wet mop left in bucket

# Women’s Room

105 CMR 451.123*	Maintenance: Windows not weather tight and structurally sound

105 CMR 451.123*	Maintenance: Light shield missing

105 CMR 451.123*	Maintenance: Self-closer detached from door

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 780F

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, toilet # 2 out of order

105 CMR 451.123	Maintenance: Glass window panel broken

# Men’s Room

105 CMR 451.123*	Maintenance: Windows not weather tight and structurally sound

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 800F

105 CMR 451.123	Maintenance: One urinal out-of-order at time of inspection

# Control Area

105 CMR 451.350*	Structural Maintenance: Windows not weather tight and structurally sound

105 CMR 451.350*	Structural Maintenance: Window sills and wall near windows damaged

105 CMR 451.350*	Structural Maintenance: Several window panes broken

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

105 CMR 451.350	Structural Maintenance: Glass window panel broken

# Roll Call Room

No Violations Noted

# Old Administration Wing

# Women’s Room

105 CMR 451.123*	Maintenance: Windows not weather tight and structurally sound

# Second Floor Break Room

FC 4-204.112(A)*	Design and Construction, Functionality: No functioning thermometer in refrigerator

FC 4-601.11(c)*	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty,	interior of freezer and refrigerator dirty

# Men’s Room

105 CMR 451.123	Maintenance: Ceiling damaged

105 CMR 451.123	Maintenance: Wall vent cover missing

# Men’s Locker Room	Bathroom occupied at time of inspection

105 CMR 451.123*	Maintenance: Windows not weather tight and structurally sound

# Women’s Locker Room

Locked at the time of inspection

Breakroom

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, gaskets dirty on refrigerator unit

# Officer’s Weight Room

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

# Lower Report

# A & B Side Cells – No longer in use due to lack of natural lighting on cell blocks

1st Floor Training Building

Offices and Classroom

No Violations Noted

# Library

105 CMR 451.344	Illumination in Habitable Areas: One light fixture not functioning properly

# Bathroom and Storage Room

105 CMR 451.123*	Maintenance: Wall paint damaged

105 CMR 451.123	Maintenance: Glass window panel broken

105 CMR 451.126	Water Supply: No cold water supplied to handwash sink

Stairway to Canteen/Laundry

105 CMR 451.350	Structural Maintenance: Glass window panel broken

# Main Laundry

105 CMR 451.350*	Structural Maintenance: Windows not weather tight and structurally sound

105 CMR 451.353	Interior Maintenance: Wet mop left in bucket

105 CMR 451.353	Interior Maintenance: Wet mop store improperly on floor

Barber Shop	No longer in use

# Canteen

105 CMR 451.350*	Structural Maintenance: Windows not weather tight and structurally sound

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

105 CMR 451.350	Structural Maintenance: Glass window panel broken

FC 4-903.11(B)(1)	Protection of Clean Items, Storing: Bowls not stored in the inverted position

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, utensils not covered

FC 3-305.11(A)(3)	Preventing Contamination from Premises: Food stored in an inappropriate location, 	food stored less than 6 inches from the floor

# Main Level

# Old Wing Day Room

105 CMR 451.350*	Structural Maintenance: Windows not weather tight and structurally sound

105 CMR 451.350	Structural Maintenance: Wall and floor damaged where old bubbler was located

105 CMR 451.353	Interior Maintenance: Ice machine water filter dirty

# Side Entry Stairs

No Violations Noted

# Tier Building Dorm Room

105 CMR 451.350*	Structural Maintenance: Windows not weather tight and structurally sound

FC 3-501.16(B)*	Limitation of Growth of Organisms, Temperature and Time Control: Potentially	hazardous food not held at the proper cold holding temperature, unrefrigerated milk 	stored in windows

FC 3-305.11(A)(2)	Preventing Contamination from Premises: Food stored in an inappropriate location, milk exposed to environmental conditions while being stored in windows

# Dorm Bathroom

105 CMR 451.123*	Maintenance: Windows not weather tight and structurally sound

105 CMR 451.123*	Maintenance: Soap scum on walls in shower units

105 CMR 451.123*	Maintenance: Wall dirty near handicap equipped shower

105 CMR 451.124*	Water Supply: Insufficient hot water supply in quantity and pressure at handwash

sink # 2

105 CMR 451.124*	Water Supply: Insufficient hot water supply in quantity and pressure at handwash

sink # 1 and 4

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 780F

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink # 1 leaking

# First Tier

# Common Area

105 CMR 451.350*	Structural Maintenance: Windows not weather tight and structurally sound

# Control

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator 	temperature recorded at 560F

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

# Shower Room

105 CMR 451.123*	Maintenance: Ceiling paint damaged in shower stall # 1 and 2

105 CMR 451.123*	Maintenance: Soap scum on walls in shower stall # 4, 5, 6, 9 and 11

105 CMR 451.123	Maintenance: One light fixture not functioning properly

# A & B Side

105 CMR 451.350*	Structural Maintenance: Windows not weather tight and structurally sound in cells

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell A3, A7, A8, A9, A14, B3, B9, B13, B12, B13, B15, B22, and B25

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # A12

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink water constantly running in cell # B21

105 CMR 451.353	Interior Maintenance: Light fixture blocked by paper in cell # B17

C & D Side (Administrative Segregation and Segregation Unit)

105 CMR 451.350*	Structural Maintenance: Windows not weather tight and structurally sound in cells

105 CMR 451.353*	Interior Maintenance: Windows dirty and damaged paint in cells

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # C11 and D14

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # C19, C20, and D19

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # D17

105 CMR 451.353	Interior Maintenance: Window dirty in cell # C14

# Shower Room D23

105 CMR 451.119*	Bathing Facilities: Inadequate shower to inmate ratio, 1 shower provided for 20 	inmates

105 CMR 451.123*	Maintenance: Walls and floor cover with a thick coat of soap scum

105 CMR 451.123*	Maintenance: Window frame badly rusted out in shower room

105 CMR 451.123*	Maintenance: Door badly rusted out in shower room

105 CMR 451.141	Screens: Screen missing

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, bathroom not vented properly, moisture present

# Second Tier

# Common Area

105 CMR 451.350*	Structural Maintenance: Windows not weather tight and structurally sound in cells

# Control

No Violations Noted

# Shower Room

105 CMR 451.123*	Maintenance: Ceiling paint damaged in shower stall # 1, 2, 3, 4, 5, and 8

105 CMR 451.123	Maintenance: Ceiling paint damaged in shower stall # 7, 9, 10, 11 and 12

105 CMR 451.123*	Maintenance: Soap scum on walls in all shower stalls

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking in shower 	stall # 8, 9, and 12

105 CMR 451.123	Maintenance: Shower wall damaged in shower stall # 1

105 CMR 451.123	Maintenance: Toilet dirty

105 CMR 451.123	Maintenance: Possible mold growth outside shower units

105 CMR 451.123	Maintenance: Shower head dirty in shower stall #1 and 2

Janitorial Cage

105 CMR 451.353	Interior Maintenance: Wet mop left in bucket

# E & F Side

105 CMR 451.350*	Structural Maintenance: Windows not weather tight and structurally sound in cells

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # E21 and F7

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # E1 and E7

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # E10, E12, E16, E18, F11, F14, and F26

105 CMR 451.350	Structural Maintenance: Wall damaged outside cell # E18 and E19

105 CMR 451.353	Interior Maintenance: Window dirty in cell # E3 and F4

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Potentially	hazardous food not held at the proper cold holding temperature, milk stored in sink

105 CMR 451.353	Interior Maintenance: Light fixture blocked by paper in cell # F5

# G & H Side

105 CMR 451.350*	Structural Maintenance: Windows not weather tight and structurally sound in cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in hallway

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # G13

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # G7, G9, and G12

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # G2, G3, G4, G6, G14, G18, H5, H7, H8, H9, H11, and H21

# Gym

105 CMR 451.350*	Structural Maintenance: Windows not weather tight and structurally sound

# Office

105 CMR 451.350*	Structural Maintenance: Floor tiles missing

105 CMR 451.350	Structural Maintenance: Wall panel missing

# Officer’s Bathroom

105 CMR 451.123*	Maintenance: Floor no longer easily cleanable, floor damaged

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, water controls not functioning 	properly

Third Tier	Unable to Inspect – Under Renovation

# CWP Building

# First Floor

# Entrance

No Violations Noted

# Officers’ Bathroom

No Violations Noted

# Food Service Area

# Dining Room

FC 6-202.15(A)(2)*	Design, Construction, and Installation; Functionality: Outer door not weather and 	vermin tight

105 CMR 451.350	Structural Maintenance: Windows not weather tight and structurally sound

105 CMR 451.350	Structural Maintenance: Window broken

FC 3-302.12	Preventing Food and Ingredient Contamination: Unlabeled spice container

# Kitchen

FC 5-202.12(A)*	Plumbing System, Design: Handwashing sinks water temperature recorded at 41F

FC 6-202.15(A)(2)*	Design, Construction, and Installation; Functionality: Windows not weather tight and 	structurally sound

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, vent fan dirty

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, sink next to dishwasher leaking

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, floor dirty under 3-bay sink

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, wall damaged near 3-bay sink

FC 6-301.14	Numbers and Capacity; Handwashing Facilities: No handwashing signage located at handwashing sink

FC 6-301.20	Numbers and Capacity; Handwashing Facilities: No waste receptacle provided for disposable towel

FC 6-301.11	Numbers and Capacity; Handwashing Facilities: No soap at handwash sink

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, vent fan not functioning properly, ventilation gates to outside not closing properly

# Inmate Housing Area

# Shower and Bathroom

105 CMR 451.123*	Maintenance: Vent fan dirty

105 CMR 451.123*	Maintenance: Soap dispenser # 3 damaged

105 CMR 451.126*	Water Supply: No hot water supplied to handwash sink # 6

105 CMR 451.123	Maintenance: Handwash sink # 3 faucet loose

105 CMR 451.123	Maintenance: Handwash sink # 4 missing hot water faucet handle

105 CMR 451.126	Water Supply: No hot water supplied to handwash sink # 6

105 CMR 451.123	Maintenance: Handwash sink # 7 cold water faucet handle loose

105 CMR 451.123	Maintenance: Shower soap dispenser damaged in shower stall # 1 and 3

105 CMR 451.123	Maintenance: Toilet stall # 1 and 5 out-of-order

105 CMR 451.123	Maintenance: Urinal # 1 out-of-order

105 CMR 451.123	Maintenance: Wall damaged in toilet stall # 5

# Supply Cage

No Violations Noted

# Hallway

No Violations Noted

# Laundry Area

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, air gap between (inlet) pipe and drain, air gap less than twice the diameter of the pipe

# Recreational and Weight Room

105 CMR 451.350*	Structural Maintenance: Windows not weather tight and structurally sound

105 CMR 451.353	Interior Maintenance: Weight bench covering damaged

# Second Floor

# Hallway

No Violations Noted

# Bathroom

105 CMR 451.123*	Maintenance: Vent fan dirty

105 CMR 451.123*	Maintenance: Hot water controls not functioning properly on sink # 1 and 2

105 CMR 451.123*	Maintenance: Faucet loose on sink fixture # 1

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, urinal out of order

105 CMR 451.123	Maintenance: Glass window panel broken

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vent fan not functioning properly

105 CMR 451.123	Maintenance: Light fixtures not functioning properly

# Plaza # 1

No Violations Noted

# Plaza # 2

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged

105 CMR 451.141	Screens: Screens missing in open windows during inspection

105 CMR 451.353	Interior Maintenance: Wall paint damaged

# Plaza # 3

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm rooms

# Room # 1

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.353*	Interior Maintenance: Outlet cover missing

# Room # 2

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.353	Interior Maintenance: Outlet cover not secure

# Room # 3

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.353*	Interior Maintenance: Inappropriate outlet cover

# Room # 4

105 CMR 451.353	Interior Maintenance: Outlet cover not secure

105 CMR 451.350	Structural Maintenance: Wall damaged

# Room # 5

105 CMR 451.350	Structural Maintenance: Wall damaged

# Room # 6

No Violations Noted

# Room # 7

105 CMR 451.350*	Structural Maintenance: Wall damaged

# Room # 8

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.353*	Interior Maintenance: Outlet cover not secured properly

# Room # 9

105 CMR 451.350*	Structural Maintenance: Wall damaged

# Room # 10

105 CMR 451.350*	Structural Maintenance: Wall damaged

# Work Release Building-House # 1

# First Floor

# Hallway

No Violations Noted

# Bathroom

105 CMR 451.123*	Maintenance: One light fixture not functioning properly

105 CMR 451.123*	Maintenance: Vent fan dirty

105 CMR 451.353	Interior Maintenance: Wet mop left in bucket

105 CMR 451.123	Maintenance: Baseboard damaged under sink

# Bedrooms

105 CMR 451.353	Interior Maintenance: Wall paint damaged in bedroom # 5

# Food Service Area

# Dining Room

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, gasket damaged on refrigerator unit

FC 4-601.11(c)*	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, 	countertop and drawers dirty

FC 6-202.15(A)(2)*	Design, Construction, and Installation; Functionality: Windows not weather tight and 	structurally sound

FC 6-501.111(B)*	Maintenance and Operations; Pest Control: Rodent droppings observed on countertop 	and in drawers

FC 6-501.111(B)	Maintenance and Operations; Pest Control: Rodent droppings observed in cabinets

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, debris in cabinets

FC 6-501.111(B)	Maintenance and Operations; Pest Control: Dead insects observed in cabinets

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, refrigerator possibly leaking, standing water observed around bottom

FC 4-601.11(A)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, interior 	surfaces of refrigerator unit dirty and cover in a mold like substance

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, gaskets dirty on refrigerator unit

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, gaskets damaged on refrigerator unit

FC 4-903.11(B)(1)	Protection of Clean Items, Storing: Plates not stored in the inverted position

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of toaster over dirty

FC 3-302.12	Preventing Food and Ingredient Contamination: Unlabeled spice container

# Kitchen

FC 3-202.16*	Sources, Specifications; Specifications for Receiving: Inappropriate water source for 	ice, water filter dirty

FC 4-601.11(A)*	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, can 	opener dirty

FC 5-202.13*	Plumbing System, Design: Air gap between pipe and flood rim, air gap less than twice 	the diameter of the pipe near ice machine

FC 6-202.15(D)(1)*	Design, Construction, and Installation; Functionality: Screens damaged in windows

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, gasket damaged on True refrigerator unit

FC 3-501.13	Limitation of Growth of Organisms, Temperature and Time Control: Potentially hazardous food not thawed using an approved method, frozen chicken observed located on top shelf in refrigerator unit thawing

FC 6-301.12*	Numbers and Capacity; Handwashing Facilities: No hand drying method available at 	handwashing sink, no paper towels at handwash sink

FC 6-301.20*	Numbers and Capacity; Handwashing Facilities: No waste receptacle provided for 	disposable towel

FC 3-304.14(B)(2)	Preventing Contamination from Linens: Wet cloth not stored in sanitizer bucket

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, outlet damaged near heat warming unit

FC 5-205.11(A)	Plumbing System, Operations and Maintenance: Handwashing sink not accessible, blocked at the beginning of inspection

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, floor dirty behind stove

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, grease hood dirty

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Warming unit dirty

FC 6-404.11	Location and Placement; Distressed Merchandise: Dented can not properly segregated

FC 6-202.15(D)(1)	Design, Construction, and Installation; Functionality: Screens not installed in exterior windows, door screen missing, door window down at the beginning of inspection with no screen

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, 3-bay sink faucet leaking

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, piping leaking under 3-bay sink unit

FC 7-102.11	Poisonous or Toxic Materials; Working Containers: Working containers of poisonous or toxic materials must be clearly labeled with common name, floor wax container not labeled

FC 7-102.11(A)	Poisonous or Toxic Materials; Storage: Poisonous and toxic materials not properly stored, floor wax stored with food products

105 CMR 451.383(B)	Fire Safety System: Facility not in compliance with 780 CMR Massachusetts Building Code provisions for fire safety, food stored less than 18” from ceiling

# Second Floor

# Stairway

No Violations Noted

# Hallway

No Violations Noted

# Bedrooms

105 CMR 451.353	Interior Maintenance: Wall paint damaged in bedroom # 7 and 10

# Bathroom

105 CMR 451.123	Maintenance: Soap dispenser damaged near handwash sink

105 CMR 451.123	Maintenance: Ceiling vent damaged

105 CMR 451.123	Maintenance: Shower drain covers missing in all showers

105 CMR 451.123	Maintenance: Shower soap dispensers damaged in shower # 1 and 3

105 CMR 451.123	Maintenance: Shower floor dirty in shower # 1

105 CMR 451.123	Maintenance: Bathroom floor drain cover missing

105 CMR 451.123	Maintenance: Floor paint damaged

105 CMR 451.130	Hot Water: Shower water temperature recorded at 890F

105 CMR 451.353	Interior Maintenance: Wet mop hanging improperly to dry

# Basement

# Laundry Room

105 CMR 451.353*	Interior Maintenance: Standing water observed on floor

105 CMR 451.353	Interior Maintenance: Cloth stuffed in hole in wall

# Chemical Storage Room

105 CMR 451.350	Structural Maintenance: Wall and floor damaged

# Day Room Between Houses

105 CMR 451.350*	Structural Maintenance: Floor damaged

105 CMR 451.353*	Interior Maintenance: Vent dirty

# Work Release Building-House # 2

# First Floor

# Officer’s Bathroom

No Violations Noted

# Bedrooms

105 CMR 451.353	Interior Maintenance: Window blinds damaged in bedroom # 10

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Potentially	hazardous food not held at the proper cold holding temperature, unrefrigerated milk in 	room # 8

# Second and Third Floor

# Bathroom

No Violations Noted

# Basement

# Day Room

105 CMR 451.350	Structural Maintenance: Windows panels broken

# Bathroom

105 CMR 451.123	Maintenance: One light shield not secure

105 CMR 451.123	Maintenance: One light shield missing

105 CMR 451.123	Maintenance: Shower curtain missing in shower # R1

105 CMR 451.123	Maintenance: Shower drain cover missing in shower # R2 and L1

105 CMR 451.123	Maintenance: Ceiling paint damaged

105 CMR 451.123	Maintenance: Toilet paper/paper towels stuff in stall partition walls and doors

# Observations and Recommendations

- The inmate population was 761 at the time of inspection

- The Warehouse was not visited at time of inspection

- The Third Tier was still closed at the time of inspection. Windows in the cells, on this tier, are not weather tight and structurally sound. Several cells have trash and other debris on work surfaces. The Department recommends the unit be thoroughly cleaned out prior to reoccupying the I & J and the K & L units.

- Electric fly traps in the food service area were full of dead flies at the time of inspection. The Department recommends cleaning them more frequently.

- Mechanical warewashing machine was not functioning properly at the time of inspection. Hot water rinse cycle temperature was not reached during the time of inspection. After several attempts by kitchen staff, staff switched the machine over to chemical cleaning. The Department recommends the mechanical warewashing machine be replaced.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within ten working days of receiving this report and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Community Sanitation Regulations" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

# This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

# Marian Robertson

Environmental Health Inspector, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

John W. Polanowicz, Secretary, Executive Office of Health and Human Services

Luis S. Spencer, Commissioner, DOC

Sean McAdam, Superintendent

Captain William Buckley, EHSO

Billerica Board of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Andrea J. Cabral, EOPS